| PRR Number | 701 | PRR Title | Enabling of Stranded Capacity During Alerts |
| --- | --- | --- | --- |
| Date |  | December 12, 2006 |  |
| Submitter’s Information |  |  |  |
| Name |  | Henry Durrwachter |  |
| E-mail Address |  | hdurrwachter@txu.com |  |
| Company |  | TXU Wholesale |  |
| Company Address |  | 1601 Bryan Street, Dallas TX 75201 |  |
| Phone Number |  | (214) 875-9285 |  |
| Fax Number |  | (214) 875-9480 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

TXU Wholesale does not believe that this PRR is necessary because in times of system emergencies (i.e., EECP conditions), ERCOT can (and does) call on generators to provide the maximum amount of generation from their facilities.  And, upon request by the Generator (after the event), ERCOT usually exempts those intervals from SCE performance metric calculations.  Thus, the only benefit of this PRR to ERCOT would be the notification that some additional capacity (through duct-firing of combined-cycle combustion turbines) might be available during times that ERCOT issues an Alert, with possible deployment of the additional capacity when ERCOT issues an Emergency Notice (prior to entering EECP).  Furthermore, TXU Wholesale believes that adoption of this PRR as proposed could lead to price-chasing during times of system emergencies and/or possible degradation of ERCOT’s SCPS1 and SCPS2 performance criteria, already an issue of concern.

However, if market participants believe that this PRR provides some value to ERCOT market, then TXU Wholesale would recommend several changes to this PRR to remove the requirement that a Resource owner must make such “stranded” capacity available, regardless of the potential damage or increased maintenance cost to the Resource owner caused by this action.  Therefore, our comments attempt to allow some flexibility to the owner of a Resource with “stranded” capacity to offer such capacity to ERCOT at his/her discretion.  Also, we have included some language changes to clarify the concept of “stranded” capacity and to remove the concept of an automatic waiver from ERCOT Compliance for ramp rate violations.  The resource owner should continue to adhere to ramp rate requirements as much as possible and only, after the fact, ask ERCOT for an exception for those intervals included in an Emergency event.

Revised Proposed Protocol Language

5.6.5	Alert

ERCOT will issue an Alert when ERCOT determines:

(1)	That conditions have developed such that additional Ancillary Services are needed in the Operating Period;

(2)	That market Congestion Management techniques specified in these Protocols will not be adequate to resolve transmission problems; or

(3)	Forced Outages or other abnormal operating conditions occur which require operations outside first contingency security limits as defined in the ERCOT Operating Guides;

(4)	That there are insufficient AS bids.

ERCOT will post the Alert electronically and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

ERCOT must issue an Alert before acquiring Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services.  With the issuance of an Alert pursuant to item (1) or (4) above, ERCOT may exercise its authority to immediately procure the following services from existing bids:

(1)	Regulation Services;

(2)	Responsive Reserve Services; and

(3)	Non-Spinning Reserve Services.

Emergency Short Supply Regulation Services, Emergency Short Supply Responsive Reserve Services or Emergency Short Supply Non-Spinning Reserve Services will be procured if there is insufficient availability of bids for any of the listed Ancillary Services.

ERCOT will post the Alert electronically on the MIS and will notify all TDSPs and QSEs via the Messaging System of the posted Alert(s).

Corrective actions identified by ERCOT shall be communicated through Dispatch Instructions to TDSPs and/or QSEs required to implement the corrective action.  Each QSE shall immediately notify the Market Participants that it represents of such Alert.  To minimize the effects on the ERCOT System, all TDSPs will identify and prepare to implement actions, including restoring outaged lines as appropriate and preparing for Load shedding.  ERCOT may instruct TDSPs to reconfigure ERCOT System elements as necessary to improve the reliability of the ERCOT System.  On notification of an Alert, each QSE and TDSP will prepare for an emergency in case conditions worsen.  ERCOT may require information from QSEs representing Resources regarding their fuel capabilities.  Requests for this type of information shall be for a time period of no more than seven (7) days from the date of the request.  The specific information which may be requested shall be defined in the Operating Guides.  QSEs representing Resources shall provide the requested information in a timely manner, as defined by ERCOT at the time of the request.

If the Alert notice is the result of a capacity short supply situation, QSEs with additional generating capacity that is normally not readily available due to ramp rate limitations (e.g., additional capacity on combined-cycle combustion turbines utilizing duct firing), commonly referred to as “stranded” capacity, may notify ERCOT of the quantity of such capacity that can become available.

5.6.6	Emergency Notice

ERCOT will issue an Emergency Notice only for the following reasons:

(1)	ERCOT cannot maintain minimum reliability standards (for reasons including fuel shortages) during the Operating Period using every Resource practicably obtainable from the market;

(2)	ERCOT is in an unreliable condition, as defined below;

(3)	Immediate action must be taken to avoid or relieve an overloaded transmission element; or

(4)	ERCOT varies from timing requirements or omits one or more scheduling procedures, as described in Section 4.8, Temporary Deviations from Scheduling Procedures.

The actions ERCOT takes during an Emergency Condition will depend on the nature and severity of the situation.

ERCOT is considered to be in an unreliable condition whenever ERCOT Transmission Grid status is such that the most severe single-contingency event presents the threat of uncontrolled separation or cascading outages and/or large-scale service disruption to Load (other than Load being served from radial transmission service) and/or overload of a critical transmission element, and no timely solution is obtainable from the market.

If the Emergency Condition is the result of a transmission problem that puts ERCOT in an unreliable condition, then ERCOT will act immediately to return ERCOT to a reliable condition, including instructing Resources to change output and instructing TDSPs to drop Load.

If the Emergency Condition is the result of a short supply situation, each QSE having reported stranded capacity during the Alert period, may update their Resource plan to reflect the  deployment of such incremental capacity.  Each QSE may then increase the output of their Resource,  subject to ERCOT’s dispatch instructions, as quickly as possible to produce the incremental capacity reported.  Each QSE that utilizes such capacity to deploy incremental energy may request ERCOT Compliance  for a waiver from  the SCE Performance and the Ancillary Services 10 minute ramp requirement.

If the short supply Emergency Condition continues, then the Emergency Electric Curtailment Plan procedures will be followed.

5.6.7.1	Restoration of Market Operations

ERCOT shall continue EECP until sufficient bids are received and deployed by ERCOT to eliminate the conditions requiring the EECP.  Upon ERCOT notification that the EECP is cancelled, each QSE that enabled stranded capacity on a particular generating Resource during the Emergency Condition shall reduce output of the Resource to its normal level as soon as practicable.  Each QSE shall update its Resource plan to reflect the stranded capacity as unavailable.

5.6.8	Emergency Compensation

Deployment and compensation for OOMC and OOME Resources that ERCOT instructs for deployment due to a supply-related Emergency will be according to Section 6.8.2, Capacity and Energy Payments for Out of Merit Services.

There will be no compensation other than normal settlement methods to Resources for the utilization of stranded capacity provided during a supply-related Emergency.

There will be no compensation other than normal settlement methods to Loads in the event of Load shedding by the TDSP during EECP.

[PRR543: Add the following two paragraphs upon ERCOT Legal review of the Comision Federal de Electricidad contract:] When energy is delivered to the ERCOT Control Area from a non-ERCOT Control Area through emergency instructions over a BtB Tie, the BtB Tie will be treated as a Resource receiving an OOME instruction via its QSE in the Congestion Zone where it is located. For settlement purposes, the Resource Plan of the BtB Resource shall be set to zero. When energy is delivered from the ERCOT Control Area through an emergency Dispatch Instruction over a BtB Tie, the BtB Tie will be treated as Load in the Congestion Zone in which the BtB Tie is located. The QSE(s) representing the BtB Tie is responsible for any applicable fees and charges as described in Section 4.4.18.4, Settlement.