## Slide 1: PDCWG Report to ROS
Sydney L. Niemeyer - Chair
January 11, 2007

## Slide 2: PDCWG Report to ROS January 11, 2007
PDCWG has not met since last ROS meeting.
Next meeting Jan 23 & 24.
Chair and Vice Chair nominations:
  Chair: Bob Green – Garland Power & Light
  Vice Chair: Stephen Knapp – Constellation Energy Commodities Group, Inc.

## Slide 7
Best days in Dec 2006 12-24 & 12-25
Poorest days in Dec 2006 12-11, 12-14 & 12-15

## Slide 8: ERCOT CPS1 Hourly on Dec 11, 14 & 15, 2006

## Slide 9: QSE Control Performance 2006
http://www.ercot.com/mktinfo/reports/sce_qse/index.html
SCPS1 requires a minimum score of 100.0 to pass the monthly metric.
SCPS2 requires a minimum score of 90.0 to pass the monthly metric.
Wind only QSEs are measured, but have not been required to pass the metric.

## Slide 49: Wind only QSEs