OWG Report to ROS

1/11/ 2007

The OWG met December 13, 2006. The following OGRRs are pending at the OGRTF:

- OGRR165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- OGRR188 – Generating Facility Model Validation for Conformance with NERC Field Test Standards Background presented by Mark on reason for validation and self-certification.  OGRTF recommended that a TF be designated to develop strategies for the development and implementation of an agreed upon procedure for the required NERC Field Test.  OWG recommends to ROS that OGRR188 be remanded back to OWG for further discussion and to determine whether a special TF should be created to review the NERC Field Test requirements.

- The OGRTF has reviewed Section 1, 2, 4, 5 and started 9 (which will be an appendix of sorts):

  - January 9, 10, 11 and 12 Sections 3, 7, 8, 9 will be worked on and any remaining issues from the previous meeting

  - The entire Nodal Operating Guides will be sent to the OWG two weeks prior to posting the Nodal Operating Guides for comments (21 day comment period)

  - February 13, 14, 15, 16 the OGRTF will meet to review and coordinate all comments received.

  - The first meeting of the OWG after the February OGRTF meeting days will be for final review and recommendation to the ROS

  - The first meeting day after the recommendation by OWG, the Nodal Protocols will be presented to ROS for further action.

Steve Knapp of Constellation will remain the OGRTF Chairman with Rick Keetch of Reliant as Vice Chairman.

- The Black Start Task Force met on December 19, 2006 at the Met Center facility.  The meeting was short due to ERCOT’s representative was ill. TO Black Start Plans were exchanged.

Dennis Starbuck of AE will be the Chairman and Aubrey Harris of TMPA a Vice Chairman for 2007.

- The OTF met on November 29th. The meeting began the process of scripting the next drill. There will be emphasis on the new EECP process and how it is implemented. The drill has been extended by a couple of hours to help facilitate better participation, (07:30 to 15:00). Next meeting set for January 31st, 2007.

Jason Sweeney of SUEZ Energy Marketing NA. Inc. will be the OTF Chairman for 2007. There currently is not a volunteer for vice chairman.

- At the December 13th  OWG meeting, James Hinson discussed Adjusted RR with OWG and has agreed to the posting of the real-time data on the MIS.  John Dumas has staff investigating what steps will be necessary to implement this data in the MIS.  For this posting only, the term Adjusted Responsive Reserve (ARR) per the ERCOT Power Operations Bulletin 309, will be used.

Steve Carpenter discussed the new addition to the ERCOT “Operations Support Procedure – Resource Outage Procedure” Section 2.2.1. - Emergency Coordination (see below).    On November 7th, 2006 ERCOT identified the need to develop and implement language that would allow them to cancel or withdraw approved outages based on system security studies and conditions. Resource Outage submitted 8 Days and longer, ERCOT will still automatically approve the requested resource outage without study.  The question was asked as to how far out do the studies go with respect to identifying the need to withdraw/cancel an approved outage. Steve replied that the study process timetable has not been defined yet and is on going for that determination. (Protocol 8.6.2 reference for language)  The OWG agreed that ERCOT needs to be prudent in determining the study timetable duration to be used in the withdraw/cancel procedure for an approved outage.

(If an agreeable solution cannot be reached, the ERCOT Outage Coordinator will consult with the ERCOT Outage Coordination Supervisor and the ERCOT Operations Support Engineer. If they concur that these outages may cause ERCOT to violate applicable reliability standards specified in the ERCOT Protocols and Operating Guides, the Outage Coordinator will ask the ERCOT Operations Support Engineer to issue an Emergency Notice according to Protocol Section 5.6.6. Once an Emergency Notice has been issued the Outage Coordinator may withdraw previously accepted Resource outages, as required to mediate the violation. ERCOT operations management shall be informed of the required actions.)

- The OWG nominated Jack Thormahlen of LCRA as Chairman and Steve Knapp of Constellation as Vice Chairman for another term.

- The next OWG meeting is scheduled for January 17th , 2007

- Training Seminar:  19 CEH will be accredited to the 2007 seminar. Seminar will run from March 26th through May 3rd. March 1st cut-off for participants to register.  Tip requested follow-up on Nodal Training for Operators, what will be required and how beneficial is the materials being presented.  Van stated that two hours have been slated in the seminar program for Nodal Training.

- It should be noted that the chair of OWG has obtained a spread sheet from one of the members that has done some work related to this action item. The chair has not furthered that effort to-date.

- The next two meetings of the OWG have been scheduled for December 13th, 2006 and January 17, 2007.