| PRR Number | 701 | PRR Title | Enabling of Stranded Capacity During Alerts |
| --- | --- | --- | --- |
| Date |  | January 12, 2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Dumas |  |
| E-mail Address |  | jdumas@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other | 1 |  |  |

Comments

ERCOT agrees with the TXU comment that PRR701 is not necessary to ensure that the referenced stranded capacity is available during capacity short supply situations.  The Protocols currently require that this capacity to be made available to ERCOT in an emergency situation.  This requirement is set forth in the Emergency Electric Curtailment Plan (EECP) Step 1 in Section, 5.6.7, EECP Steps, which states that ERCOT will:

(3)	 Issue OOM dispatch instructions to uncommitted units available within the expected timeframe of the emergency.

And QSEs will:

- Notify ERCOT of any resources uncommitted but available in the timeframe of the emergency.

More importantly, ERCOT would not want Qualified Scheduling Entities (QSEs) to unilaterally raise generation in EECP Step 1 or prior to EECP Step 1.  This action could result in high frequency and/or may cause units to trip unnecessarily.  ERCOT will issue Verbal Dispatch Instruction (VDIs) as necessary to control frequency and maintain regulation room.  VDIs are currently handled in the ERCOT Settlement process and ERCOT Compliance exempts these intervals from the performance evaluation.  ERCOT also notes that once the QSEs reach their target output level, they would be expected to conform to the Schedule Control Error (SCE) requirements.

Revised Proposed Protocol Language

None