## Slide 1: Texas-New Mexico Power & CenterPoint Energy Alvin 345/138 kV Tie Project TAC – 01/04/2007

## Slide 2: Description of Project - 2007
Build 345/138 kV station and loop PH Robinson to Oasis 345 kV line into this station
Loop existing Hastings to Alvin 138 kV line into new station
  Rebuild this line from new station to Hastings
Rebuild Hastings to Friendswood 138 kV line
Cost $19.4 M (2006 dollars)

## Slide 3: Associated Long Term Projects – 2010+
Rebuild South Shore to P.H. Robinson 138 kV line
Rebuild Friendswood to Seminole 138 kV line
Cost $5.1 M (2006 dollars)

## Slide 4
Projects Needed for Reliability
Generation re-dispatch will not be able to relieve post-contingency loading during peak load by 2007
Occurs with single and multiple line outages

## Slide 5: Options Considered
TNMP considered eight options
ERCOT studied the two least expensive of TNMP’s eight options in depth
Recommended Project is the least expensive option considering the long term (2015) needs of the area

## Slide 6
Stakeholder Review
The Stakeholder review period for this project was held in August 2006
There were no dissenting comments on this package of projects and TNMP resolved all questions

## Slide 7
ERCOT Support for the Project
ERCOT supports the need for this project, as described, and will be requesting that it be endorsed by the Board