## Slide 1: Compliance Update
January 2007

## Slide 2: Control Performance Highlights
NERC CPS1 Performance
  November performance indicated a fifth straight month of declining scores since scores peaked in June
    June – 154.6
    July – 153.1
    August – 151.3
    September – 142.5
    October – 137.3
    November – 132.0
PRR 525 Performance
  Initial scores for November indicate 32 QSEs passed / 1 non-wind-only QSE failed the measure
  Scores posted on the ERCOT Compliance Website

## Slide 3: ERCOT CPS1 Performance Comparison

## Slide 4: ERCOT’s CPS1 Monthly Trend

## Slide 5: ERCOT CPS1 by Interval

## Slide 6: QSE PRR525 10-Minute Interval Scoring

## Slide 7: SCE Performance Monitoring
SCE Performance Monitoring scores for all QSEs are published on the Compliance Website
  SCE Performance Scores

## Slide 8: 525 Passing 10-Min Interval Percentage Trends

## Slide 9: Resource Plan Performance Metrics November 2006 Results

## Slide 10: NERC ERO Developments
Proposed Delegation Agreement, Exhibits, and Related Documents for the Texas Regional Entity were submitted to NERC on November 17th
ERCOT Compliance Staff participating with NERC on two ERCOT Local Control Center Reliability Readiness Audits – CenterPoint (October) & TXU Electric Delivery (December)
Events under investigation
  October 3rd Bryan-College Station Loss of Load Event – Potential ERCOT Protocol & Operating Guides violations and/or NERC Reliability Standards violations identified for January 2007 ERCOT Board Meeting