| PRR Number | 703 | PRR Title | Emergency Interruptible Load Service (EILS) |
| --- | --- | --- | --- |
| Date |  | 01/12/2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | Alice Jackson |  |
| E-mail Address |  | Alice_Jackson@oxy.com |  |
| Company |  | Occidental Chemical Corporation |  |
| Company Address |  | 5 Greenway Plaza, Suite 110; Houston, TX 77046 |  |
| Phone Number |  | 713-215-7844 |  |
| Fax Number |  | 713-985-1456 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
|  | 2 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |

Comments

As written PRR703 does not meet the requirements as outlined by ERCOT.  Namely, it provides limited assurances that ERCOT will receive a response from load providers.

In detail, Section 6.5.12(3) states that “[a] QSE’s EILS Resources must be loaded and capable of reducing their load by their committed capacity compared to their baseline capacity within ten (10) minutes of the instruction by ERCOT and must be able to maintain such reduced capacity level for the entire period of the service commitment.”  Prior to or following this Section revision there are no details of what the baseline is or how it is utilized following an event.  In addition, there are no penalties for not performing.  Therefore, the Section 6.5.12(3) requirement is unenforceable.

This service’s original intent was to delay or even replace the need for ERCOT to call the TDSPs during an EECP event to provide firm load shedding.  To meet this purpose the loads that are called upon to perform must provide a response at the time they are called to perform, otherwise the need to proceed to firm load shedding remains.

Theoretically, an EILS Resource could provide a bid for the EILS bid stack and when struck provide no response to the market, however the price they have bid in will still be utilized to set market prices.  The non-response could have come from either the EILS Resource shedding load prior to being deployed or electing not to respond.  There currently exists no measure of compliance or penalty for non-compliance in PRR703.

As another example, an EILS Resource that is also qualified to participate in other Ancillary Services could provide a month bid for EILS and at the same time participate in the daily Ancillary Service markets as well.  While they would not be double dipping they would be providing a false sense of comfort to ERCOT for the anticipated EILS response because for any daily Ancillary Service they are committed they would have been deployed in an EECP Step prior to EILS deployment.

In PRR703 it is feasible even probable that when ERCOT makes the call for loads to dispatch they will not receive a response from the loads in the bid stack for EILS, however the price to the market will still increase to the last marginal load struck, regardless of response.

Revised Proposed Protocol Language

None.