Conceptual System Design

Texas Nodal Commercial Systems

Day-Ahead Settlements

Version 0.92

18-Jan-07

GP&L Comments can be found on page i under the “Table of Contents”.

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
|  | 0.01 | First draft | David Denby |
| 11/09/2006 | 0.02 | Converted to latest template | Gary Wariner |
| 11/10/2006 | 0.03 | Revised with new content | David Denby |
| 11/27/2006 | 0.04 | Revised in accordance with comments | David Denby |
| 11/27/2006 | 0.91 | Added Supplemental Specs. Ready for review | David Denby and Sanjay Mijar |
| 12/5/2006 | 0.92 | Reviewed comments from IDA and applied changes. Updated drawings per business recommendations | David Denby and Sanjay Mijar |
| 12/14/2006 | 0.92 | Updated items identified by IDA | David Denby |
| 12/27/2006 | 0.93 | Updated Supplementary Specifications | Sanjay Mijar |

Document Approvals

| Date | Approved By | Approval Documented In (select) |
| --- | --- | --- |
|  | <Name> <Role> | ___ Approval email on file ___ Signature |

Table of Contents

GP&L Comment: The page numbers are out of sequence both in this table of contents and on the bottom of the pages. For instance, the numbering on the bottom of the pages starts over with page 4 several times and with page 34 several times.

1.	Introduction	4

1.1.	Purpose	4

1.2.	Scope	4

1.3.	Definitions, Acronyms, and Abbreviations	4

1.4.	References	5

2.	Overview	4

2.1.	Design Goals	4

2.2.	Design Approach	4

2.3.	System functional capabilities	4

2.4.	Black Box View	4

2.5.	Assumptions	4

3.	Functional Specification	6

3.1.	Day-Ahead Energy	7

3.1.1.	Function: Calculate DAESAMT related outputs	10

3.1.2.	Function: Calculate DAEPAMT related outputs	12

3.1.3.	Function: Calculate DARTOBLAMT related outputs	14

3.1.4.	Function: Calculate DAOBLPR	16

3.1.5.	Function: Calculate DACONGRENT	18

3.1.6.	Function: Calculate DAEREV	20

3.1.7.	Function: Calculate RMRDAEREVTOT	4

3.2.	Day-Ahead Make Whole Settlements	6

3.2.1.	Function: Calculate DAMGCOST	4

3.2.2.	Function: Calculate DAASREV	36

3.2.3.	Function: Calculate DAMWAMT related outputs	38

3.2.4.	Function: Calculate LADAMWAMT related outputs	40

3.3.	Day-Ahead Ancillary Service	34

3.3.1.	Function: Calculate Day-Ahead Market PCRUAMT related outputs	34

3.3.2.	Function: Calculate Day-Ahead Market PCRDAMT related outputs	36

3.3.3.	Function: Calculate Day-Ahead Market PCRRAMT related outputs	38

3.3.4.	Function: Calculate Day-Ahead Market PCNSAMT related outputs	40

3.3.5.	Function: Calculate DARUAMT related outputs	42

3.3.6.	Function: Calculate DARDAMT related outputs	44

3.3.7.	Function: Calculate DARRAMT related outputs	46

3.3.8.	Function: Calculate DANSAMT related outputs	48

4.	Supplementary Specifications	50

4.1.	Performance Requirements	50

4.2.	Legal and Regulatory requirements	50

4.3.	System and Communication Requirements	50

4.4.	System Security Requirements	50

4.5.	Back up and Recovery Requirements	51

4.6.	Maintainability Requirements	51

4.7.	Usability Requirements	51

4.8.	Transactional Usage *	52

4.9.	Growth	52

4.10.	Information Lifecycle Management	52

4.11.	Settlements and Billing Batch Processes Usage *	53

4.12.	Availability and Fail-over	53

4.13.	Disaster Recovery	53

4.14.	Provisioning Requirements	53

4.14.1.	Application Environment	55

5.	Appendix A.  Subsystem mapping to Nodal SoSA	56

6.	Appendix  B.  Traceability to Requirements	56

# Introduction

## Purpose

This document is intended to be a communication tool between IT and business to demonstrate a level of comprehension by IT of the needs outlined in the business requirements for the various Charge Type and global calculations needed to settle the Day-Ahead Market.  It is not intended to be a detailed design document.  It will graphically represent the calculation logic for the determinates at a high level sufficient to demonstrate the afore mentioned comprehension of the requirements.

## Scope

This document addresses the requirements for Day-Ahead Market Settlements that are covered in separate documents (TN.COMS.63C01.DAMENERGY.REQUIREMENTS.A.doc, TN.COMS.63C01.DAMAS.REQUIREMENTS.A.doc and TN.COMS.63C01.DAMAKEWHOLE.REQUIREMENTS.A.doc)

## Definitions, Acronyms, and Abbreviations

The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE

<CO> = CRR Owner

<R> = Resource

<SP> = Settlement Point

< BLTP> = Block Load Transfer Point

<SRSP> = Source Settlement Point

<SKSP> = Sink Settlement Point

<ST> = Start Type

<F> = Flowgate

<E> = Directional Network Element

<C> = Constraint Identifier

<M> = Market

<RUC> = RUC Process

<OPi> = Ordered Pair Number

## References

| Artifact | Definition |
| --- | --- |
| TN.COMS.63C01.DAMENERGY.REQUIREMENTS.A.doc dated 7/25/2006 | Requirements Specification for Day-Ahead Market Energy Settlements, Settlement for PTP Obligations Bought in DAM, & Day-Ahead Congestion Rent |
| TN.COMS.63C01.DAMAS.REQUIREMENTS.A.doc dated 7/26/2006 | Requirements Specification for Day-Ahead Market Ancillary Service Settlements |
| TN.COMS.63C01.DAMAKEWHOLE.REQUIREMENTS.A.doc dated 8/23/2006 | Requirements Specification for Day-Ahead Market Make-Whole Settlement |

# Overview

## Design Goals

This document will not include one-to-one traceability to the requirements documents. Requirement traceability will be covered in the detailed design document.

## Design Approach

Development will use the LODESTAR application in conjunction with customized code and data to fulfill and comply with the requirements as specified.  The LODESTAR environment is specifically designed to perform useful and efficient handling of time series (interval) data

## System functional capabilities

The Settlement System must efficiently and effectively handle time series and scalar calculations.

## Black Box View

Development will create Rates and Riders, using LODESTAR Rules Language to perform the calculations specified by the requirements. Additionally, the logic and data flow, included in this document will provide a graphical representation of the requirements as specified.  The instructions, detailed in the Functional Specification of this document, will include the retrieval of the relevant records from the LODESTAR database, the applicable calculation processes, and the storing of specified outputs into the LODESTAR database.

## Assumptions

A1) Appropriate interfaces between external systems (e.g. MMS, Siebel, Paper Free, etc.)  and the LODESTAR system have been created and successfully executed to populate the LODESTAR database with the required input records for the calculations specified in the requirements for this settlement. (This is further defined in TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc.)

A2) Appropriate interfaces between LODESTAR and external systems have been created to pull specified settlements data, and will execute at the appropriate time.

A3) The LODESTAR System will not directly interact with any external system, during the LODESTAR calculation process for these requirements.

A4) Availability of input, intermediate and output bill determinant data cuts to the extract processes will be controlled by an internal business process and will be defined specific to each bill determinant. (This is further defined in TN.COMS.63C01.MARKET DATA TRANSPARENCY.REQUIREMENTS.A.doc)

A5) The process will save all Intermediate bill determinant data cuts, as defined by the requirements document, to the LODESTAR database.

A6) For purposes of this Conceptual System Design (CSD) data referred to as either an “Intermediate Bill Determinant” or an “Output Bill Determinant” in the business requirements will be referred to as an output.

A7) No inputs, outputs or intermediate results will be rounded unless specifically declared in this CSD.

A8) Unless otherwise indicated, intervals on driver cuts that contain a zero value will result in a zero in the corresponding interval in the outputs.

A9) During the detail design process, IT may modify the process flow logic documented here, if it does not materially change the original requirements and if it provides a more efficient process flow.

A10) This document will not describe the calculation process for any input bill determinant that was assumed by the requirements to be calculated in a source system or in the interface.

A11) Any dashed lines contained within the process flow diagrams in this document indicate conditional logic (e.g. retrieval of prior run AMTs for computing BILLAMT only occurs in a resettlement.)

# Functional Specification

This diagram is an abstraction of the settlement process at the Charge Type and Global calculation level.  Each box encompasses all calculations required to achieve the Charge Type or Global calculation result.

## Day-Ahead Energy

Sub-Process for Settlements and Billing

Figures 1.0 through 6.0 have been provided for illustrative purposes.  Each figure illustrates the dependencies between input data and intermediate calculations for a Charge Type.  The figures should be considered in conjunction with the textual requirements as listed in the requirements document (TN.COMS.63C01.DAMENERGY.REQUIREMENTS.A.doc) which is also tied to the requirements traceability for this section.

The legend below describes the levels used by the figures within this section:

Figure 1.0: Day-Ahead Energy Payment

Figure 2.0: Day-Ahead Energy Charge                Figure 3.0: Settlement of PTP Obligations Bought in DAM   \

(Charge or Payment)

Figure 4.0: Day-Ahead Obligation Price

Figure 5.0: Day-Ahead Congestion Rent

Figure 6.0: Day-Ahead Energy Revenue and RMR Day-Ahead Energy Revenue Total

### Function: Calculate DAESAMT related outputs

The following section covers the calculation of the Day-Ahead Energy Payment (DAESAMT) related values.

#### Introduction

The Day-Ahead Energy Payment is made for all cleared offers (excluding offers submitted for the RMR Units) to sell energy in the DAM, whether through Three-Part Supply Offers or DAM Energy-Only Offer Curves

.

Calculation values will include: DAESAMT, DAESBILLAMT, DAESAMTQSETOT, and DAESAMTTOT.

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DASPP_<SP> | Interval data | $/MWh | 1 | No |
| DAES_<Q>_<SP> | Interval data | MW | 1 | Yes |
| DAESAMTQSETOT_<Q> (from prior settlement run) | Interval data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAESAMT_<Q>_<SP> | Interval data | $ | 1 |
| DAESAMTQSETOT_<Q> | Interval data | $ | 1 |
| DAESAMTTOT | Interval data | $ | 1 |
| DAESBILLAMT_<Q> | Scalar | $ | 1/24 |

### Function: Calculate DAEPAMT related outputs

The following section covers the calculation of the Day-Ahead Energy Charge (DAEPAMT) related values.

#### Introduction

The Day-Ahead Energy Charge is made for all cleared DAM Energy Bids.

Calculations will include: DAEPAMT, DAEPBILLAMT, DAEPAMTQSETOT, and DAEPAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DASPP_<SP> | Interval data | $/MWh | 1 | No |
| DAEP_<Q>_<SP> | Interval data | MW | 1 | Yes |
| DAEPAMTQSETOT_<Q> (from prior settlement run) | Interval data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAEPAMT_<Q>_<SP> | Interval data | $ | 1 |
| DAEPAMTQSETOT_<Q> | Interval data | $ | 1 |
| DAEPAMTTOT | Interval data | $ | 1 |
| DAEPBILLAMT_<Q> | Scalar | $ | 1/24 |

### Function: Calculate DARTOBLAMT related outputs

The following section covers the calculation of the Settlement of PTP Obligations Bought in DAM (DARTOBLAMT) related values.

#### Introduction

ERCOT shall pay or charge a QSE for a cleared PTP Obligation Bid the difference in the DAM Settlement Point Prices between the sink Settlement Point and the source Settlement Point.

Calculations will include: DARTOBLAMT, DARTOBLBILLAMT, DARTOBLAMTQSETOT and DARTOBLAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAOBLPR_<SRSP>_<SKSP> | Interval data | $/MW | 1 | No |
| RTOBL_<Q>_<SRSP>_<SKSP> | Interval data | MW | 1 | Yes |
| DARTOBLAMTQSETOT_<Q> (from prior settlement run) | Interval data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DARTOBLAMT_<Q>_<SRSP>_<SKSP> | Interval data | $ | 1 |
| DARTOBLAMTQSETOT_<Q> | Interval data | $ | 1 |
| DARTOBLAMTTOT | Interval data | $ | 1 |
| DARTOBLBILLAMT_<Q> | Scalar | $ | 1/24 |

### Function: Calculate DAOBLPR

The following section covers the calculation of the Day-Ahead Obligation Price (DAOBLPR) global bill determinant.

#### Introduction

The Day-Ahead Obligation Price is necessary for settlement of PTP Obligations that were purchased in the DAM, as well as Payments and Charges for PTP Obligations Settled in DAM and Payments and Charges for PTP Obligations with Refund Settled in DAM.  The price is calculated based upon the Day-Ahead Settlement Point Price at the source and sink Settlement Points.

Calculation include: DAOBLPR

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DASPP_<SRSP> | Interval data | $/MWh | 1 | No |
| DASPP_<SKSP> | Interval data | $/MWh | 1 | No |
| RTOBL_<Q>_<SRSP>_<SKSP> | Interval data | MW | 1 | Yes |
| DAOBL_<Q>_<SRSP>_<SKSP> | Interval data | MW | 1 | Yes |
| DAOBLR_<Q>_<SRSP>_<SKSP> | Interval data | MW | 1 | Yes |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAOBLPR_<SRSP>_<SKSP> | Interval data | $/MWh | 1 |

### Function: Calculate DACONGRENT

The following section covers the calculation of the Day-Ahead Congestion Rent (DACONGRENT) global bill determinant.

#### Introduction

Day-Ahead Congestion Rent is calculated as the net of the Day-Ahead Energy Charge, Day-Ahead Energy Payment, Day-Ahead Energy Revenue to RMR Units, and the Settlement for PTP Obligations Bought in the DAM.  The Congestion Rent value is a component used by CRR Balancing Account Settlements to determine if CRR Owners should be partially paid or paid in full.  Additionally, if the CRR Owners are paid in full and there is a surplus, the surplus will go to the Balancing Account.

Calculation will include: DACONGRENT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAESAMTTOT | Interval data | $ | 1 | No |
| DAEPAMTTOT | Interval data | $ | 1 | No |
| RMRDAEREVTOT | Interval data | $ | 1 | No |
| DARTOBLAMTTOT | Interval data | $ | 1 | No |
| Operating Day | n/a | n/a | n/a | Yes |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DACONGRENT | Interval data | $ | 1 |

### Function: Calculate DAEREV

The following section covers the calculation of the Day-Ahead Energy Revenue (DAEREV) global bill determinant.

#### Introduction

Day-Ahead Energy Revenue (DAEREV) is a global bill determinant.  This is a global bill determinant because it is used by multiple charge types and intermediate calculations, including:  Day-Ahead Make-Whole Payment and the RMR Day Ahead Energy Revenue Total calculation, which is also a global bill determinant.  DAEREV should be calculated for all RMR and non-RMR Resources with a Day-Ahead Energy Sale.

Calculation will include: DAEREV

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DASPP_<SP> | Interval data | $/MWh | 1 | No |
| DAESR_<Q>_<R>_<SP> | Interval data | MW | 1 | Yes |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAEREV_<Q>_<R>_<SP> | Interval data | $ | 1 |

### Function: Calculate RMRDAEREVTOT

The following section covers the calculation of the RMR Day-Ahead Energy Revenue Total (RMRDAEREVTOT) global bill determinant.

#### Introduction

The RMR Day-Ahead Energy Revenue Total (RMRDAEREVTOT) is a global bill determinant.  This is a global bill determinant because it used by multiple charge types and intermediate calculations, including:  Day-Ahead Congestion Rent and RMR Service Charge.  RMRDAEREVTOT is the ERCOT-wide summation of the DAEREV data cut for all RMR units.

Calculation will include: RMRDAEREVTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAEREV_<Q>_<R>_<SP> | Interval data | $/MWh | 1 | No |
| Operating Day | n/a | n/a | n/a | Yes |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| RMRDAEREVTOT | Interval data | $ | 1 |

## Day-Ahead Make Whole Settlements

Sub-Process for Settlements and Billing

The Figures below have been provided for illustrative purposes.  Each figure illustrates the dependencies between input data and intermediate calculations for a Charge Type.  The figures should be considered in conjunction with the textual requirements as listed in the requirements document (TN COMS 63C01 DAMMAKEWHOLE REQUIREMENTS A.doc) which is also tied to the requirements traceability for this section.

Day-Ahead Make-Whole Charge Dependencies

### Function: Calculate DAMGCOST

The following section covers the calculation of Day-Ahead Market Guaranteed Cost (DAMGCOST) bill determinant.

#### Introduction

The DAMGCOST is an intermediate bill determinant required for the Day-Ahead Make-Whole Payment calculation; it represents the sum of the startup cost and the operating cost for a DAM-committed Resource.  DAMGCOST will be calculated for each of a Resource’s DAM commitments and the resulting value will exist in the first hour of the DAM commitment period

Calculation will include: DAMGCOST

The following clarifications are provided in this document because they were not explicitly stated in the Day-Ahead Make-Whole Settlements Requirements, but are is necessary in order to determine the appropriate design for the Day-Ahead Make Whole Payment calculation:

- SUFLAG is missing for a QSE, Resource, Settlement Point, and Operating Day for which a DAMCOMMITFLAG exists, a “WARN” error should occur.  The system should continue processing DAMWAMT for that QSE, Resource, Settlement Point, and Operating Day assuming a zero value for the DAMSUFLAG and should log a warning message that indicates the missing data element, QSE, Resource, Settlement Point, and Operating Day.

- If DAMWENEFLAG is missing for a QSE, Resource, Settlement Point, and Operating Day for which a DAMCOMMITFLAG exists, a “WARN” error should occur.  The system should continue processing DAMWAMT for that QSE, Resource, Settlement Point, and Operating Day assuming a zero value for the DAMWENEFLAG and should log a warning message that indicates the missing data element, QSE, Resource, Settlement Point, and Operating Day.

- If STARTTYPE is missing for a QSE, Resource, Settlement Point, and Operating Day for which a DAMCOMMITFLAG exists and the Resource is eligible for startup (SUFLAG = 1), a “WARN” error should occur.  The system should continue processing DAMWAMT for that QSE, Resource, Settlement Point, and Operating Day assuming a cold startup (STARTTYPE = 3) and should log a warning message that indicates the missing data element, QSE, Resource, Settlement Point, and Operating Day.

The appropriate requirements document will be updated upon approval of this CSD. (TN.COMS.63C01.DAMMAKEWHOLE.REQUIREMENTS.A)

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| SUFLAG_<Q>_<R>_<SP> | Interval data | misc | 1 | No |
| DASUO_<Q>_<R>_<SP>_<ST> | Interval data | $ | 1 | No |
| DAMCOMMITFLAG_<Q>_<R>_<SP> | Interval data | misc | 1 | Yes |
| DAMWENEFLAG_<Q>_<R>_<SP> | Interval data | misc | 1 | No |
| DAMEO_<Q>_<R>_<SP> | Interval data | $/MWh | 1 | No |
| DALSL_<Q>_<R>_<SP> | Interval data | MW | 1 | No |
| DAAIEC_<Q>_<R>_<SP> | Interval data | $/MWh | 1 | No |
| DAESR_<Q>_<R>_<SP> | Interval data | MW | 1 | No |
| STARTTYPE_<Q>_<R>_<SP> | Interval data | misc | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAMGCOST_<Q>_<R>_<SP> | Interval data | $ | 1 |

### Function: Calculate DAASREV

The following section covers the calculation of DAASREV.

#### Introduction

The DAASREV is an intermediate bill determinant required for the Day-Ahead Make-Whole Payment calculation; it represents the Resource’s hourly Ancillary Services revenue.  DAASREV only needs to be calculated for DAM-committed Resources.

.

Calculation will include: DAASREV

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAMCOMMITFLAG_<Q>_<R>_<SP> | Interval data | misc | 1 | Yes |
| MCPCRU_<M> | Interval data | $/MW | 1 | No |
| PCRUR_<Q>_<R>_<M> | Interval data | MW | 1 | No |
| MCPCRD_<M> | Interval data | $/MW | 1 | No |
| PCRDR_<Q>_<R>_<M> | Interval data | MW | 1 | No |
| MCPCRR_<M> | Interval data | $/MW | 1 | No |
| PCRRR_<Q>_<R>_<M> | Interval data | MW | 1 | No |
| MCPCNS_<M> | Interval data | $/MW | 1 | No |
| PCNSR_<Q>_<R>_<M> | Interval data | MW | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAASREV_<Q>_<R>_<SP> | Interval data | $ | 1 |

### Function: Calculate DAMWAMT related outputs

The following section covers the calculation of DAMWAMT related values.

#### Introduction

The Day-Ahead Make-Whole Payment compensates an eligible Generation Resource for the portion of its guaranteed operating costs that are greater than the Day-Ahead energy and ancillary service revenue for the commitment period, when that resource starts up to meet its DAM commitment.  Only non-RMR Resources that are deemed eligible (for startup and/or energy costs) can receive payment through the Day-Ahead Make Whole Payment.  A Day-Ahead Make-Whole Payment amount will be calculated, but not paid, for any eligible RMR Resource.

Calculations will include: DAMWAMT, DAMWAMTQSETOT, DAMWAMTTOT, and DAMWAMTRMR

The following clarification is provided in this document because it is not explicitly stated in the Day-Ahead Make-Whole Settlements Requirements, but is necessary in order to determine the appropriate design for the Day-Ahead Make Whole Payment calculation:

- The DAMWBILLAMT shall be calculated based upon the total Day-Ahead Make-Whole Payment amounts (DAMWAMT) calculated for the QSE, excluding any DAMWAMT calculated for an RMR Unit

The appropriate requirements document will be updated upon approval of this CSD. (TN.COMS.63C01.DAMMAKEWHOLE.REQUIREMENTS.A)

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAMCOMMITFLAG_<Q>_<R>_<SP> | Interval data | misc | 1 | Yes |
| DAMGCOST_<Q>_<R>_<SP> | Interval data | $ | 1 | No |
| DAEREV_<Q>_<R>_<SP> | Interval data | $ | 1 | No |
| DAASREV_<Q>_<R> | Interval data | $ | 1 | No |
| DAESR_<Q>_<R>_<SP> | Interval data | MW | 1 | No |
| DAMWAMTQSETOT_<Q> (from prior settlement run) | Interval data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DAMWAMT_<Q>_<R>_<SP> | Interval data | $ | 1 |
| DAMWBILLAMT | Scalar | $ | 1/24 |
| DAMWAMTQSETOT_<Q> | Interval data | $ | 1 |
| DAMWAMTTOT | Interval data | $ | 1 |
| DAMWAMTRMR_<Q>_<R>_<SP> | Interval data | $ | 1 |

### Function: Calculate LADAMWAMT related outputs

The following section covers the calculation of the Day-Ahead Make-Whole Charge (LADAMWAMT) related values.

#### Introduction

The Day-Ahead Make-Whole Payment, for RMR and non-RMR units, is uplifted to QSE’s with DAM cleared Energy Bids and/or DAM cleared Real-Time Obligation Bids via the Day-Ahead Make Whole Charge.  The RMR units are not actually paid through the Day-Ahead Make-Whole Payment; however, the Day-Ahead Make-Whole Charge includes a component for Day-Ahead Make-Whole Payment to RMR units.  The RMR Day-Ahead Make-Whole Revenue Total component is included in the Day-Ahead Make-Whole Charge as a mechanism to collect money to be paid to the RMR resources in Real-Time settlements.

Calculation will include: LADMWAMT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DAMWAMTTOT | Interval data | $ | 1 | Yes |
| DAEP | Interval data | MW | 1 | No |
| RTOBL | Interval data | MW | 1 | No |
| LADAMWAMT_<Q> (from prior settlement run) | Interval data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| RMRDAMWREVTOT_<Q>_<R>_<SP> | Interval data | $ | 1 |
| DAERS_<Q> | Interval data | misc | 1 |
| DAETOT | Interval data | MW | 1 |
| DAE_<Q> | Interval data | MW | 1 |
| LADAMWAMT_<Q> | Interval data | $ | 1 |
| LADAMTBILLAMT_<Q> | scalar | $ | 1 |

## Day-Ahead Ancillary Service

The following chart illustrates the dependencies between the various DAM Ancillary Service Settlement calculations.

### Function: Calculate Day-Ahead Market PCRUAMT related outputs

The following section covers the calculation of the Day-Ahead Regulation Up Service Payment (PCRUAMT) related values.

#### Introduction

ERCOT shall pay each QSE whose Ancillary Service Offers to provide Reg-Up to ERCOT were cleared in the DAM. (PR 4.6.4.1.1)  Payment is calculated by QSE for each hour of the Operating Day within the Day Ahead Market.

Calculations will include: PCRUAMT, PCRUBILLAMT and PCRUAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MCPCRU_<M> | Interval Data | $/MW | 1 | No |
| PCRUR_<Q>_<R>_<M> | Interval Data | MW | 1 | Yes |
| PCRUAMT_<Q>_<M> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| PCRU_<Q>_<M> | Interval data | MW | 1 |
| PCRUAMT_<Q>_<M> | Interval data | $ | 1 |
| PCRUAMTTOT_<M> | Interval data | $ | 1 |
| PCRUBILLAMT_<Q>_<M> | Scalar value | $ | 1/24 |

### Function: Calculate Day-Ahead Market PCRDAMT related outputs

The following section covers the calculation of the Day-Ahead Regulation Down Service Payment (PCRDAMT) related values.

#### Introduction

ERCOT shall pay each QSE whose Ancillary Service Offers to provide Reg-Down to ERCOT were cleared in the DAM. Payment is calculated by QSE for each hour of the Operating Day within the Day-Ahead Market

.

Calculations will include: PCRDAMT, PCRDBILLAMT and PCRDAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MCPCRD_<M> | Interval Data | $/MW | 1 | No |
| PCRDR_<Q>_<R>_<M> | Interval Data | MW | 1 | Yes |
| PCRDAMT_<Q>_<M> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| PCRD_<Q>_<M> | Interval data | MW | 1 |
| PCRDAMT_<Q>_<M> | Interval data | $ | 1 |
| PCRDAMTTOT_<M> | Interval data | $ | 1 |
| PCRDBILLAMT_<Q>_<M> | Scalar value | $ | 1/24 |

### Function: Calculate Day-Ahead Market PCRRAMT related outputs

The following section covers the calculation of the Day-Ahead Responsive Reserve Service Payment (PCRRAMT) related values.

#### Introduction

ERCOT shall pay each QSE whose Ancillary Service Offers to provide Responsive Reserve to ERCOT were cleared in the DAM.  Payment is calculated by QSE for each hour of the Operating Day within the Day Ahead Market.

Calculations will include: PCRRAMT, PCRRBILLAMT and PCRRAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MCPCRR_<M> | Interval Data | $/MW | 1 | No |
| PCRRR_<Q>_<R>_<M> | Interval Data | MW | 1 | Yes |
| PCRRAMT_<Q>_<M> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| PCRR_<Q>_<M> | Interval data | MW | 1 |
| PCRRAMT_<Q>_<M> | Interval data | $ | 1 |
| PCRRAMTTOT_<M> | Interval data | $ | 1 |
| PCRRBILLAMT_<Q>_<M> | Scalar value | $ | 1/24 |

### Function: Calculate Day-Ahead Market PCNSAMT related outputs

The following section covers the calculation of the Day-Ahead Non-Spin Service Payment (PCNSAMT) related values.

#### Introduction

ERCOT shall pay each QSE whose Ancillary Service Offers to provide Non-Spin to ERCOT were cleared in the DAM.  Payment is calculated by QSE for each hour of the Operating Day within the Day Ahead Market.

Calculations will include: PCNSAMT, PCNSBILLAMT and PCNSAMTTOT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MCPCNS_<M> | Interval Data | $/MW | 1 | No |
| PCNSR_<Q>_<R>_<M> | Interval Data | MW | 1 | Yes |
| PCNSAMT_<Q>_<M> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| PCNS_<Q>_<M> | Interval data | MW | 1 |
| PCNSAMT_<Q>_<M> | Interval data | $ | 1 |
| PCNSAMTTOT_<M> | Interval data | $ | 1 |
| PCNSBILLAMT_<Q>_<M> | Scalar value | $ | 1/24 |

### Function: Calculate DARUAMT related outputs

The following section covers the calculation of the Day-Ahead Regulation Up Service Charge (DARUAMT) related values.

#### Introduction

The Regulation Up Service Charge is assessed to a QSE whose net Regulation Up obligation is in excess of its Regulation Up self-arranged quantity.  The QSE’s net obligation is the result of netting the QSE’s self-arranged amounts against its Regulation Up obligation.  The obligation is based upon the QSE’s Load Ratio Share.  ERCOT determines each QSE’s Ancillary Service obligation for DAM settlement based on Load ratio Share values from the most recent Initial settlement data for the same hour and day of the week as the Operating Day in question.  The QSE is charged for its net obligation at a dollar per MW price that is calculated using the total Regulation Up payment ($) to the market and the total of the excess Regulation Up obligation (MW) for the market.

Calculations will include: DARUAMT and DARUBILLAMT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DARUO_<Q> | Interval Data | MW | 1 | Yes |
| DARUCS_<Q> | Interval Data | MW | 1 | Yes |
| DARUCP_<Q> | Interval Data | MW | 1 | Yes |
| RUSQ_<Q>_<M> | Interval Data | MW | 1 | Yes |
| DARUAMT_<Q> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DARUONET_<Q> | Interval | MW | 1 |
| DARUQ_<Q> | Interval | MW | 1 |
| DARUQTOT | Interval | MW | 1 |
| DARUPR | Interval | $ | 1 |
| DARUAMT_<Q> | Interval | $ | 1 |
| DARUBILLAMT_<Q> | Scalar value | $ | 1/24 |

### Function: Calculate DARDAMT related outputs

The following section covers the calculation of the Day-Ahead Regulation Down Service Charge (DARDAMT)related values.

#### Introduction

The Regulation Down Service Charge is assessed to a QSE whose net Regulation Down obligation is in excess of its Regulation Down self-arranged quantity.  The QSE’s net obligation is the result of netting the QSE’s self-arranged amounts against its Regulation Down obligation.  The obligation is based upon the QSE’s Load Ratio Share.  ERCOT determines each QSE’s Ancillary Service obligation for DAM settlement based on Load ratio Share values from the most recent Initial settlement data for the same hour and day of the week as the Operating Day in question.  The QSE is charged for its net obligation at a dollar per MW price that is calculated using the total Regulation Down payment ($) to the market and the total of the excess Regulation Down obligation (MW) for the market.

Calculations will include: DARDAMT and DARDBILLAMT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DARDO_<Q> | Interval Data | MW | 1 | Yes |
| DARDCS_<Q> | Interval Data | MW | 1 | Yes |
| DARDCP_<Q> | Interval Data | MW | 1 | Yes |
| RDSQ_<Q>_<M> | Interval Data | MW | 1 | Yes |
| DARDAMT_<Q> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DARDONET_<Q> | Interval | MW | 1 |
| DARDQ_<Q> | Interval | MW | 1 |
| DARDQTOT | Interval | MW | 1 |
| DARDPR | Interval | $ | 1 |
| DARDAMT_<Q> | Interval | $ | 1 |
| DARDBILLAMT_<Q> | Scalar value | $ | 1/24 |

### Function: Calculate DARRAMT related outputs

The following section covers the calculation of the Day-Ahead Responsive Reserve Service Charge (DARRAMT)related values.

#### Introduction

The Responsive Reserve Service Charge is assessed to a QSE whose net Responsive Reserve obligation is in excess of its Responsive Reserve self-arranged quantity.  The QSE’s net obligation is the result of netting the QSE’s self-arranged amounts against its Responsive Reserve obligation.  The obligation is based upon the QSE’s Load Ratio Share.  ERCOT determines each QSE’s Ancillary Service obligation for DAM settlement based on Load ratio Share values from the most recent Initial settlement data for the same hour and day of the week as the Operating Day in question.  The QSE is charged for its net obligation at a dollar per MW price that is calculated using the total Responsive Reserve payment ($) to the market and the total of the excess Responsive Reserve obligation (MW) for the market.

Calculations will include: DARRAMT and DARRBILLAMT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DARRO_<Q> | Interval Data | MW | 1 | Yes |
| DARRCS_<Q> | Interval Data | MW | 1 | Yes |
| DARRCP_<Q> | Interval Data | MW | 1 | Yes |
| RRSQ_<Q>_<M> | Interval Data | MW | 1 | Yes |
| DARRAMT_<Q> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DARRONET_<Q> | Interval | MW | 1 |
| DARRQ_<Q> | Interval | MW | 1 |
| DARRQTOT | Interval | MW | 1 |
| DARRPR | Interval | $ | 1 |
| DARRAMT_<Q> | Interval | $ | 1 |
| DARRBILLAMT_<Q> | Scalar value | $ | 1/24 |

### Function: Calculate DANSAMT related outputs

The following section covers the calculation of the Day-Ahead Non-Spinning Service Charge (DANSAMT) related values.

#### Introduction

The Non-Spin Service Charge is assessed to a QSE whose net Non-Spin obligation is in excess of its Non-Spin self-arranged quantity.  The QSE’s net obligation is the result of netting the QSE’s self-arranged amounts against its Non-Spin obligation.  The obligation is based upon the QSE’s Load Ratio Share.  ERCOT determines each QSE’s Ancillary Service obligation for DAM settlement based on Load ratio Share values from the most recent Initial settlement data for the same hour and day of the week as the Operating Day in question.  The QSE is charged for its net obligation at a dollar per MW price that is calculated using the total Non-Spin payment ($) to the market and the total of the excess Non-Spin obligation (MW) for the market.

Calculations will include: DANSAMT and DANSBILLAMT

#### Inputs

| Variable | Data type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| DANSO_<Q> | Interval Data | MW | 1 | Yes |
| DANSCS_<Q> | Interval Data | MW | 1 | Yes |
| DANSCP_<Q> | Interval Data | MW | 1 | Yes |
| NSSQ_<Q>_<M> | Interval Data | MW | 1 | Yes |
| DANSAMT_<Q> (from prior settlement run) | Interval Data | $ | 1 | No |

#### Processing

#### Outputs

| Variable | Data type | UOM | IPH |
| --- | --- | --- | --- |
| DANSONET_<Q> | Interval | MW | 1 |
| DANSQ_<Q> | Interval | MW | 1 |
| DANSQTOT | Interval | MW | 1 |
| DANSPR | Interval | $ | 1 |
| DANSAMT_<Q> | Interval | $ | 1 |
| DANSBILLAMT_<Q> | Scalar value | $ | 1/24 |

# Supplementary Specifications

The Nodal Billing and Settlements System is used to settle the Real-time and Day-Ahead markets.  This system uses LODESTAR COTS application to implement its business logic.  The LODESTAR business logic code is authored, and developed, and debugged using the LODESTAR Billing Expert User Interface, a Win32 Application that can be installed on a Windows machine.

Business Users use an Application called the “Data Manager” to view and manipulate the Data.  The LODESTAR Batch Processing Engine is run in batch mode using the Perl Interpreter that is a part of the host system.  These jobs are scheduled using an Enterprise Job Scheduling Application (currently using “AppWorx”).  The User Interface for scheduling the batch jobs uses the default Job Scheduling Application UI (“AppWorx” GUI); a Java/Swing-based Rich client launched using the JWS launcher (Java Web Start) from within a browser.

## Performance Requirements

All processes within this document will be completed within the time constraints designated in the ERCOT Protocols.  More details on how long the Settlement processes take to execute will be provided in the Detailed Design phase.

## Legal and Regulatory requirements

All LODESTAR data must be stored in accordance with ERCOT Texas Nodal Protocols and ERCOT Corporate Standards for data retention.

## System and Communication Requirements

The Settlements and Billing system will require production servers for hosting the Settlements and Billing Application Servers and the “AppWorx” Scheduling Engine.

The Settlements and Billing Application Servers and Scheduling Engine must be able to communicate via TCP/IP over a local area network.

The Settlements and Billing Database needs to be accessible to ERCOT internal staff via the Data Manager and Billing Expert Rich Client User Interfaces and LODESTAR Energy Information Platform.

The Settlements and Billing System will require network access with an Enterprise Integration Layer which will interface with other Nodal systems including Registration, Dispute Management, Market Management System(MMS), Network Modeling and Management System(NMMS),  Credit Monitoring and Management (CMM) and CRR.

In addition, the Settlements and Billing system will require at least one testing environment that is configured similarly to the production environment for purposes of software testing (e.g. prior to upgrades).  Depending on the final implementation schedule, additional testing environments may be required.  There will need to be 1 testing environment for function testing and another one for Performance Testing.  The Performance Testing Environment will need the full Dataset for its performance test.

## System Security Requirements

A Risk Assessment will be completed prior to the completion of the detailed design.  Required Controls identified in that assessment will be documented as part of the detailed design.

The Settlements and Billing system will be accessed by ERCOT internal Settlements Staff.  In addition to ERCOT’s standard security clearance mechanism, access to the Settlements system should be restricted to individuals approved by the Settlements department.  A risk assessment will be completed prior to completion of the detailed design.  Required Controls identified in the assessment will be documented as part of the detailed design.

The types of users that can access the Settlements system are: Developers that use the Billing Expert User Interface and Business Users that use the Data Manager User Interface.  The Batch Process is run using the Enterprise Job Scheduling Application that is run automatically at a scheduled time.

The Settlements system will NOT be accessible by external groups such as Market Participants.  Some of the data captured and generated by the Settlements system will be stored in ERCOT’s data warehouse and may be made available to outside parties via the Market Information System (ERCOT IT Staff).

The Settlements system will be secured in accordance with ERCOT’s Security Standard.  This could include, but is not limited to, the following security features:

  - Access to the Settlements system is limited to approved application access

Security Testing will be performed during either FAT or SAT and all identified issues will be resolved prior to production.  This is an Internal Application without External User Access.

## Back up and Recovery Requirements

The same server configuration should be deployed both in the primary as well as in an offsite disaster recovery data center.  Data from the primary and disaster recovery systems must be synchronized in order to support continued operation in the recovery center in case of a disaster scenario.  In the event of a failover during processing, the system needs to be brought back up to complete the processing within the required time window. For the Zonal System, there is a specified time window (about 4 hours) during which the system needs to be brought back up.  The Nodal System will use similar metrics unless it is specified otherwise.

## Maintainability Requirements

The Settlements system must provide system administrators with mechanisms to monitor:

  - Availability and performance of the Settlements System

  - Progress of long-running offline processes in the Settlements Calculations engine

  - Application errors encountered during online or offline processing

The Settlements System shall recognize Daylight Savings Time:

- Spring, Standard Time to Daylight Savings Time Operating Day - Intervals Ending 0215, 0230, 0245, and 0300 will be skipped, resulting in 92, 15-minute intervals for the day.

- Spring, Standard Time to Daylight Savings Time Operating Day - Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for intervals 0115, 0130, 0145, and 0200, resulting in 100, 15-minute intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for Hour Ending 0200, resulting in 25 hourly intervals for the day.

## Usability Requirements

The Settlements system shall comply with ERCOT Texas Nodal standards for usability requirements.  For all User Interfaces, there will be an Usability Evaluation conducted by the Usability Group.

## Transactional Usage *

| Description | Number/Duration |
| --- | --- |
| Minimum number of users | 0 |
| Maximum number of users | A maximum of about 15-20 users hitting the Database during Business hours |
| Peak Usage time and Duration | The Business Day timings of the Settlements and Billing Department (estimated to be from 7 am to – 4:30 (batch processing starts at 4:30 and is not concurrent) |
| Non-peak Usage | 0 users - No transactional activity |
| Complexity level of the transactions | Estimated to be medium for most activities, heavy for some workflows |
| Average number of reads per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Average number of writes per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Desired I/O Throughput | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Growth

| Description | Response |
| --- | --- |
| Change in number of users | There is no estimated change in the number of users using the application. |
| Change in amount of data | Details on numbers will only be determined during the Detailed Design phase and the Itest Phase. But the trend for the majority of the data growth can be estimated on a daily basis based on certain formulae: For e.g. for some bill determinants, it could be based on: NumQSEs * NumResources * NumCuts for a Resource (submitted Daily) * NumIntervals * # of cuts submitted daily This is a hypothetical example. These will be detailed during the Detailed Design phase, and an overall assessment made for the whole product. |
| Increase in I/O load over time | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Information Lifecycle Management

| Data retention | Term |
| --- | --- |
| Settlements and billing | Extracts archived over a period that will be determined during detailed design phase |
| EDW | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Settlements and Billing Batch Processes Usage *

- There is very little User Transactional activity during the batch process runs.  There are additional batch reporting processes that are run at the end of the Batch Settlements process.

- Batch processes include running Data Extraction from source systems, Data Aggregation Processes, Settlements Processes and Reporting.

- * Batch processes are estimated to run at a designated time (currently this is fixed around 4:30pm and finishes close to midnight). It is expected that this run window will be similar for the Nodal Settlements Batch Processes.  Further details will be determined at the Detailed Design phase.

- * Data Extraction is I/O bound, Data Aggregation and Settlements activities are going to be computationally intensive and are definitely CPU-bound.

* Estimated based on knowledge available at this time

## Availability and Fail-over

- It is expected that there will be monitoring in place to track the progress of the Settlements Batch process, and checks to signal errors if any.

- If there are errors in the batch process activity, there will pre-defined measures in place to due course of action.  These measures might include restarting the batch process activity.

- Scheduled outages are still to be determined for both frequency and duration. Since LODESTAR is executed as a batch process, it is not a 7x24 application.  It is a batch process executed on schedule.  Business requirements state that the data must be backed up on a daily basis and recoverable within 24 hours.

## Disaster Recovery

- This is not a 7x24 application.  Business Requirements state that the data must be backed up on a daily basis and recoverable within the time stipulated necessary for running the application.

- Still to be determined is how much data loss is acceptable in the event of a disaster.

## Provisioning Requirements

Using the guide in Section 9 of the Platform Architectural Standards, the most intense activity occurs during the usage of the calculation engine.  This activity is definitely computationally intensive with medium to heavy I/O usage (based on retrieval of data from the database and caching).

Hence, the class of servers that this application would use is estimated to be Class 1.  At this point, 32-bit CPUs are deemed to be sufficient because the LODESTAR Application does not specifically use 64-bit CPUs.

Please see the next section for a Deployment Diagram of the Application Environment.

| Function | Physical manifestation | Requirements | Comments |
| --- | --- | --- | --- |
| Storage for Base LODESTAR system | SAN Storage | 4-5 TB for LODESTAR DB 200 GB for AppWorx Master | Includes several years worth of Interval Data |
| Oracle Instance | Oracle instance running in an AIX LPAR | LPAR Specification: OS = AIX Memory = 16 GB of memory N-way = 2 CPUs | Will be used for all schemas |
| 6 LODESTAR Core Application Servers | OS and Server running in a VMWare VM | OS=Windows 2003 SP2 Server CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 3 Disk Partitions of sizes 30, 30, 25 - 6 servers used in production to handle Aggregation, parallelizing calculations and offloading some reporting batch activities |
| AppWorx Scheduling Engine Master and Reporting Server | OS and Server running in a VMWare VM | OS=RedHat Linux V3 CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 1 Local Disk Partition of size 100 GB -The Master that maintains the AppWorx jobs scheduled for batch processing activity |

### Application Environment

# Appendix A.  Subsystem mapping to Nodal SoSA

| SoSA Use Case & System Operation | Satisfied? (Y/N/?) | Subsystem | Subsystem Operation | Document Reference |
| --- | --- | --- | --- | --- |
| UC e.g. n.nn CRR Auction [One system level operation may map to several subsystem operations, each should be listed. When all of the system operations combine to satisfy the operation, mark satisfied = y] |  |  |  |  |
| C.UC6.OP1 - Generate Day Ahead Statements, Invoices, and Late Fees | N |  |  |  |

# Appendix  B.  Traceability to Requirements

| Document | Covered Requirements |
| --- | --- |
| TN.COMS.63C01.DAMENERGY.REQUIREMENTS.A.doc dated 7/25/2006 | FR1 through FR 57 plus additional proposed requirement changes |
| TN.COMS.63C01.DAMAS.REQUIREMENTS.A.doc dated 7/26/2006 | Requirements Specification for Day-Ahead Market Ancillary Service Settlements |
| TN.COMS.63C01.DAMAKEWHOLE.REQUIREMENTS.A.doc dated 8/23/2006 | Requirements Specification for Day-Ahead Market Make-Whole Settlement |