Conceptual System Design

Texas Nodal Commercial Systems

Data Aggregation

Version 0.92

18-Jan-07

[Reliant: This document doesn’t seem to incorporate comments on the business requirements document—for the LSEG for example.  Also, we recommend that this document be reviewed through COPS Settlements and Data Aggregation working group to ensure that the calculations meet the intent of the protocols. Also, this document uses definitions (CM Zone, and PGC for example) that don’t exist in nodal. Additionally, this document needs to be more clear on the use of term generation. Protocol terms should be used. The general term is Resource and there are sub-categories, such as Generation Resource and Load Resource.  This document should use language that conforms to the nodal protocols so that all parties understand what will occur under nodal. Thanks.]

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 12/06/2006 | 0.01 | First draft | James Yu |
| 12/10/2006 | 0.02 | Updated draft | Gary Wariner |
| 12/12/2006 | 0.03 | Updated draft | Gary Wariner |
| 12/14/2006 | 0.04 | Updated draft | Gary Wariner |
| 12/18/2006 | 0.91 | Changed version to 0.91 for IDA Review and modified section 4 to reflect the Supplementary Specifications | Sanjay Mijar |
| 12/22/2006 | 0.91 | Responded to comments with updates to document | Gary Wariner |
| 12/22/2006 | 0.92 | Modified Supplementary Specifications | Sanjay Mijar |

Document Approvals

| Date | Approved By | Approval Documented In (select) |
| --- | --- | --- |
|  | <Name> <Role> | ___ Approval email on file ___ Signature |

[Approval should be included here for the Approver for each signoff cycle of the work product.  Refer to the Program work product approval process for details.]

Table of Contents

1.	Introduction	4

1.1.	Purpose	4

1.2.	Scope	4

1.3.	Definitions, Acronyms, and Abbreviations	4

1.4.	References	5

1.5.	Document Overview	5

2.	Overview	5

2.1.	Design Goals	5

2.2.	Design Approach	5

2.2.1.	System functional capabilities	5

2.2.2.	Black Box View	6

2.3.	Assumptions	6

3.	Functional Specification	8

3.1.	ERCOT Total Adjusted Metered Load (RTAMLTOT)	8

3.1.1.	Introduction	8

3.1.2.	Inputs & Sources	8

3.1.3.	Processing	8

3.1.4.	Outputs & Targets	8

3.2.	Real-Time Adjusted Metered Load per Settlement Point per QSE (RTAML)	8

3.2.1.	Introduction	8

3.2.2.	Inputs & Sources	8

3.2.3.	Processing	9

3.2.4.	Outputs & Targets	9

3.3.	QSE Load Ratio Share for a 15-Minute Settlement Interval (LRS)	10

3.3.1.	Introduction	10

3.3.2.	Inputs & Sources	10

3.3.3.	Processing	10

3.3.4.	Outputs & Targets	11

3.4.	QSE Load Ratio Share for an Operating Hour (HLRS)	12

3.4.1.	Introduction	12

3.4.2.	Inputs & Sources	12

3.4.3.	Processing	12

3.4.4.	Outputs & Targets	12

3.5.	Monthly Load Ratio Share per QSE (MLRS)	13

3.5.1.	Introduction	13

3.5.2.	Inputs & Sources	13

3.5.3.	Processing	13

3.5.4.	Outputs & Targets	13

3.6.	Monthly Load Ratio Share Zonal per QSE (MLRSZ)	14

3.6.1.	Introduction	14

3.6.2.	Inputs & Sources	14

3.6.3.	Processing	15

3.6.4.	Outputs & Targets	15

3.7.	Metered Energy at Bus (MEB)	16

3.7.1.	Introduction	16

3.7.2.	Inputs & Sources	16

3.7.3.	Processing	16

3.7.4.	Outputs & Targets	16

3.8.	Net Meter Real-Time Energy Total (NMRTETOT)	17

3.8.1.	Introduction	17

3.8.2.	Inputs & Sources	17

3.8.3.	Processing	17

3.8.4.	Outputs & Targets	17

3.9.	Real-Time Metered Generation per QSE per Settlement Point per Resource (RTMG)	18

3.9.1.	Introduction	18

3.9.2.	Inputs & Sources	18

3.9.3.	Processing	18

3.9.4.	Outputs & Targets	18

3.10.	Block Load Transfer Resource per QSE per Settlement Point per BLT point (BLTR)	19

3.10.1.	Introduction	19

3.10.2.	Inputs & Sources	19

3.10.3.	Processing	19

3.10.4.	Outputs & Targets	19

3.11.	Generation Resource Capacity Factor Calculation (GRCF)	20

3.11.1.	Introduction	20

3.11.2.	Inputs & Sources	20

3.11.3.	Processing	21

3.11.4.	Outputs & Targets	22

4.	Supplementary Specifications	22

4.1.	Performance Requirements	22

4.2.	Legal and Regulatory requirements	22

4.3.	System and Communication Requirements	22

4.4.	System Security Requirements	23

4.5.	Back up and Recovery Requirements	23

4.6.	Maintainability Requirements	23

4.7.	Usability Requirements	24

4.8.	Transactional Usage *	24

4.9.	Growth	24

4.10.	Information Lifecycle Management	24

4.11.	Settlements and Billing Batch Processes Usage *	25

4.12.	Availability and Fail-over	25

4.13.	Disaster Recovery	25

4.14.	Provisioning Requirements	25

4.14.1.	Application Environment	27

5.	Appendix A: Subsystem Mapping to Nodal SoSA	28

C.UC7.OP1 - Generate Real Time Statements and Invoices	28

C.UC4.OP1 – CRR Auction Revenue Distribution Invoices	28

C.UC4.OP1 – CRR Balancing Account Invoices	28

6.	Appendix B: Traceability to Requirements	28

# Introduction

The Data Aggregation Conceptual System Design (CSD) document is the starting point to bridge requirements to detailed design and, eventually, system development. While the actual design of the Aggregation System, including Data Aggregation, may be different than the details in this document, the processes described begin to address the requirements from a technical perspective. This document outlines 11 functional specification areas within the Data Aggregation process, providing a process flow of the calculation and details of the necessary input and output data.

## Purpose

The purpose of this document is to identify what IT understands as the expected requirements.  This document should be used as a validation tool that the requirements were understood correctly and accurately.  In addition, this document will provide a high level understanding of how IT will address the requirements related to the Data Aggregation Process.

## Scope

The scope of this document refers to the Commercial Services project, within the Texas Nodal Program.  This document addresses the requirements related to the Data Aggregation.  The complete list of the requirement documents covered in this CSD can be found in the Reference section of this document.

## Definitions, Acronyms, and Abbreviations

Block Load Transfer (BLT) —A transfer system that isolates a group of Loads from the Control Area in which they normally are served and then connects them to an adjacent Control Area. Such transfer systems involve either transferring Loads normally in ERCOT to a Non-ERCOT Control Area or transferring Loads normally in Non-ERCOT Control Areas to the ERCOT Control Area.

DC Tie Load/DC Tie Export—A Load used to represent the withdrawal of power from the ERCOT System to a DC Tie.

Oklaunion Exemption—The export schedules from the Public Service Company of Oklahoma, the Oklahoma Municipal Power Authority, and the AEP Texas North Company for their share of the Oklaunion Resource over the North DC Tie are not treated as Load connected at transmission voltage, are not subject to any of the fees described in Section 4.4.4, DC Tie Schedules, and are limited to the actual net output of the Oklaunion Resource.

Distribution Losses—The difference between the energy delivered to the Distribution System and the energy consumed by Customers connected to the Distribution System.

Load Ratio Share—The ratio of an Entity’s Adjusted Metered Load to total ERCOT Adjusted Metered Load for an interval.

LODESTAR—In this document LODESTAR refers to the LODESTAR Billing Expert application which will be utilized to configure charge types and execute Settlements for the Texas Nodal project.

Qualified Scheduling Entity (QSE)—A Market Participant that is qualified by ERCOT in accordance with Section 16, Registration and Qualification of Market Participants, of the ERCOT Protocols for communication with ERCOT for Resource Entities and Load Serving Entities and for settling payments and charges with ERCOT.

Resource—A term used to refer to both a Generation Resource and a Load Resource.

Settlement Interval—The time period for which markets are settled.

Settlement Point—A Resource Node, Load Zone, or Hub.

Transmission Losses—Difference between energy put into the ERCOT Transmission Grid and energy taken out of the ERCOT Transmission Grid.

Unaccounted for Energy (UFE) —The difference between total metered Load for each Settlement Interval, adjusted for applicable Distribution Losses and Transmission Losses, and total ERCOT System Net Generation.

## References

| Artifact | Definition |
| --- | --- |
| TN.COMS.63C01.DATA.AGG.REQUIREMENTS.A.doc | Data Aggregation Process for Settlements, v 1.0 |

## Document Overview

This document includes the following sections: Overview, reviews the goals of the CSD as it applies to Data Aggregation; Functional Specifications, defining the technical aspects of the individual calculations (requirements) for the Data Aggregation Process; System Dependencies & Design Constraints, the assumptions, system dependencies or constraints in terms of other systems, hardware, and software relating to the Data Aggregation CSD; Supplementary Specifications, the implementation concepts for the supplementary requirements such as system security, performance, and maintainability.

# Overview

## Design Goals

The design goal is to provide a simple solution that enables efficient processing of the Data Aggregation Process.  In an effort to achieve this goal, IT development will attempt to employ the following design approaches where ever possible.

- Calculation drivers

- Parallel processing to allow for horizontal and vertical scaling

- Management of effective and appropriate IO operations

In addition, the solution must be flexible enough to handle change to both scope and demand for the Data Aggregation Process.

## Design Approach

Development will use the LODESTAR application in conjunction with customized code and data to fulfill and comply with the requirements as specified.  The LODESTAR environment is specifically designed to perform useful and efficient handling of time series (interval) data.

### System functional capabilities

The Data Aggregation System must efficiently and effectively handle time series and scalar calculations.

### Black Box View

Development will create Rates and Riders, using LODESTAR Rules Language to perform the calculations specified by the requirements. Additionally, the data flow, included, will provide a graphical representation of the requirements as specified.  The instructions, detailed in the Functional Specification of this document, will include the retrieval of the relevant records from the LODESTAR database, the applicable calculation processes, and the storing of specified outputs into the LODESTAR database.

## Assumptions

A1) Appropriate interfaces between external systems (e.g. MMS, Siebel, Paper Free, etc.) and the LODESTAR system have been created and successfully executed to populate the LODESTAR database with the required input records for the calculations specified in the requirements for this settlement. (This is further defined in TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc)

A2) Appropriate interfaces between LODESTAR and external systems have been created to pull specified settlements data, and will execute at the appropriate time.

A3) The LODESTAR System will not directly interact with any external system, during the LODESTAR calculation process for these requirements.

A4) Availability of input, intermediate and output bill determinant data cuts to the extract processes will be controlled by an internal business process and will be defined specific to each bill determinant. (This is further defined in TN.COMS.63C01.INTERFACE.REQUIREMENTS.A.doc)

A5) The process will save all Intermediate bill determinant data cuts, as defined by the requirements document, to the LODESTAR database.

A6) For purposes of this Conceptual System Design (CSD) data referred to as either an “Intermediate Bill Determinant” or an “Output Bill Determinant” in the business requirements will be referred to as an output.

A7) No inputs, outputs or intermediate results will be rounded unless specifically declared in this CSD.

A8) Unless otherwise indicated, intervals on driver cuts that contain a zero value will result in a zero in the corresponding interval in the outputs.

A9) This Conceptual System Design will not cover every requirement for Data Aggregation. Specific requirements, such as requirements that define public and private Bill Determinants, cannot be addressed through this document.

A10) During the detailed design process, IT may modify the process flow logic documented here, if it does not materially change the original requirements and if it provides a more efficient process flow. [Reliant: will this document be updated to reflect the changes?]

A11) This document will not describe the calculation process for any input bill determinant that was assumed by the requirements to be calculated in a source system or in the interface.

A12) The charge type calculations are documented using the proposed recorder format for the bill determinants.  The following list defines the nomenclature used for the recorders (not all of these bill determinant recorder elements may apply to the charge types within this document):

<Q> = QSE

<CO> = CRR Owner

<R> = Resource

<SP> = Settlement Point

<SRSP> = Source Settlement Point

<SKSP> = Sink Settlement Point

<ST> = Start Type

<F> = Flowgate

<E> = Directional Network Element

<C> = Constraint Identifier

<M> = Market

<RUC> = RUC Process

<REP> = Retail Electric Provider

<PI> = Profile ID

<LC> = Loss Code

<UFE> = UFE Zone

<CM> = Congestion Management Zone [Reliant: this does not exist in nodal]

<TDSP> = Transmission Distribution Service Provider

<PGC> = Power Generation Company [Reliant: this does not exist in the Protocols]

<SUFE> = UFE Analysis Zone / Sub-UFE Zone

<GSC> = Generator Site Code [Reliant: this does not exist in the Protocols. Will this map to the NMMS model? If not, where does this code come from?]

<GUC> = Generator Unit Code Reliant: this does not exist in the Protocols. Will this map to the NMMS model? If not, where does this code come from and how will it be mapped to each Resource Settlement Point?]

<BLTP> = Block Load Transfer Point

<NC> = NOIE Code

# [Reliant: please define UOM (unit of measure?) and IPH (interval per hour?) before they are used in the tables below.]

# Functional Specification

## ERCOT Total Adjusted Metered Load (RTAMLTOT)

The following section introduces the ERCOT Total Adjusted Metered Load (RTAMLTOT).

### Introduction

The ERCOT Total Adjusted Metered Load (RTAMLTOT) will need to be calculated for each settlement interval.  The ERCOT Total Adjusted Metered Load (RTAMLTOT) will be used in both hourly and 15-minute load ratio share calculations.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RTAML_<Q>_<SP> | Interval Data | MWh | 4 | Yes |

### Processing

Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?]

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RTAMLTOT | Interval Data | MWh | 4 |

## Real-Time Adjusted Metered Load per Settlement Point per QSE (RTAML)

The following section introduces the calculation of the Real-Time Adjusted Metered Load per Settlement Point per QSE (RTAML)

### Introduction

The Real-Time Adjusted Metered Load (RTAML) will be calculated for each settlement interval.  Real-Time Adjusted Metered Load (AML) includes retail load usage data that has been adjusted for Unaccounted for Energy (UFE), Transmission Losses, Distribution Losses, and DC Tie exports (except for the Oklaunion Exemption)(PR 2.1).

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| LSEGUFE_<REP>_<Q>_<PI>_<LC>_<UFE>_<CM>_<TDSP> | Interval Data | MWh | 4 | Yes |

### Processing

EMBED Visio.Drawing.11  [Reliant: Note that Nodal does not have CM Zones. It has Load Zones.]

### Outputs & Targets

[Reliant: Note that the nodal definition of Settlement Point is:  a Resource Node, Load Zone or Hub.  The value below, RTAML<Q><SP> appears to be the QSE’s Real-Time Adjusted Metered Load at a Settlement Point.  What exactly does the <SP> stand for in the value below? ]

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RTAML_<Q>_<SP> | Interval Data | MWh | 4 |

## QSE Load Ratio Share for a 15-Minute Settlement Interval (LRS)

The following section introduces the calculation of the QSE Load Ratio Share for a 15-Minute Settlement Interval (LRS).

### Introduction

A Load Ratio Share (LRS) will be calculated for each QSE for each Settlement Interval.

### Inputs & Sources [Reliant: What exactly does the <SP> stand for in the value below?]

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RTAML_<Q>_<SP> | Interval Data | MWh | 4 | Yes |
| RTAMLTOT | Interval Data | MWh | 4 | Yes |

### Processing

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| LRS_<Q> | Interval Data | Misc | 4 |

## QSE Load Ratio Share for an Operating Hour (HLRS)

The following section introduces the calculation of the QSE Load Ratio Share for an Operating Hour (HLRS)

### Introduction

A Hourly Load Ratio Share (HLRS) will be calculated for each QSE for each Operating Hour.

### Inputs & Sources [Reliant: What exactly does the <SP> stand for in the value below?]

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RTAML_<Q>_<SP> | Interval Data | MWh | 4 | Yes |
| RTAMLTOT | Interval Data | MWh | 4 | Yes |

### Processing

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| HLRS_<Q> | Interval Data | Misc | 1 |

## Monthly Load Ratio Share per QSE (MLRS)

The following section introduces the calculation of the Monthly Load Ratio Share per QSE (MLRS)

### Introduction

The Monthly Load Ratio Share per QSE (MLRS) is calculated based on using the calendar month’s 15-minute peak load Settlement Interval.  This calculation will be performed for only initial and final settlements.  The Monthly Load Ratio Share (MLRS) is used in the CRR settlement process.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MONPEAK | Scalar | Date & Time | n/a | No |
| LRS_<Q> | Interval Data | Misc | 4 | No |

Note: Variables listed with an IPH of n/a means that the data will be stored as a single value per Month.

### Processing

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| MLRS_<Q> | Scalar | Misc | n/a |

Note: Variables listed with an IPH of n/a means that the data will be stored as a single value per Month.

## Monthly Load Ratio Share Zonal per QSE (MLRSZ)

The following section introduces the calculation of the Monthly Load Ratio Share Zonal per QSE (MLRSZ).

### Introduction

The Monthly Load Ratio Share Zonal per QSE per CMZ [Reliant: note that CM zones don’t exist in nodal, but Load Zones do exist in nodal.] (MLRSZ) is calculated based on using the calendar month’s 15-minute peak load Settlement Interval.  This calculation will be performed for only initial and final settlements.  The Monthly Load Ratio Share Zonal (MLRSZ) is used in the CRR auction process.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| MONPEAK | Scalar | Date & Time | n/a | No |
| RTAML_<Q>_<SP>m,i | Interval Data | MWh | 4 | No |
| RTAMLTOT | Interval Data | MWh | 4 | No |

### Processing

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| MLRSZ_<Q>_<SP> | Scalar | Misc | n/a |

## Metered Energy at Bus (MEB)

The following section introduces the calculation of the Metered Energy at Bus (MEB).

### Introduction

A calculation is performed for each settlement interval for each meter associated with a Generation Site [Reliant: does this mean Generation Resource? Does it include Load Resources?] in order to determine if power is being injected or withdrawn at the metering point.  A draft NPRR that was created at the 8/21/06 TPTF meeting from TXU was also used in this section.  Currently this NPRR has not been assigned a number.  The billing determinant named MEB replaces the MEEPS bill determinant mentioned in the draft NPRR.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| RID_<GSC>_<B> | Interval Data | MWh | 4 | No |

The driver for this set of calculation is not based on existence of data.  The calculations will be performed for all active Generation Sites.

### Processing

Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?]

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| MEB_<GSC>_<B> | Interval Data | MWh | 4 |

## Net Meter Real-Time Energy Total (NMRTETOT)

The following section introduces the calculation of the Net Meter Real-Time Energy Total (NMRTETOT).  [Reliant: does this work for Load Resources? If it is only for Generation Resources it should be clear.]

### Introduction [Reliant: use of ‘generation site’ needs to be changed to conform to protocols in all instances where it is used in this document.]

A calculation is performed for each settlement interval for every Generation Site in order to determine whether the Generation Site is injecting power to the grid or withdrawing power from the grid.  The total injection measured from each meter is summed to arrive at the total gross injection to the grid on an interval by interval basis.  The total withdrawal measured from each meter is summed to arrive at the total gross withdrawal from the grid on an interval by interval basis.  The total gross injection is reduced by the total gross withdrawal to arrive at the Net Meter Real-Time Energy Total.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| SM | Interval Data | MWh | 4 | No |

The driver for this set of calculation is not based on existence of data.  The calculations will be performed for all active Generation Sites.

### Processing

Error! Objects cannot be created from editing field codes.  [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?]

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| NMRTETOT_<GSC> | Interval Data | MWh | 4 |

## Real-Time Metered Generation per QSE per Settlement Point per Resource (RTMG)

The following section introduces the calculation of the Real-Time Metered Generation per QSE per Settlement Point per Resource (RTMG).

### Introduction

The Real-Time Metered Generation (RTMG) will be calculated for each generating unit for each settlement interval.  Real-Time Metered Generation (RTMG) includes net generation from all registered generation units.  Real-Time Metered Generation (RTMG) does not include DC Tie imports or Block Load Transfer Resources (BLTR).

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| GSITETOT_<Q>_<GSC>_<NC>_< >_<UFE>_ <CM>_<TDSP>_<SUFE>_<GUC>_<P> | Interval Data | MWh | 4 | Yes |

[Reliant: What is “P”? Does this calculation work for Load Resources? Where does GUC come from?  PGC is not a defined term in the protocols. Is this the same as a Resource Entity?]

### Processing

Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?]

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| RTMG_<Q>_<R>_<P> | Interval Data | MWh | 4 |

## [Reliant: is the “R” a Resource? What is “P”?]

## Block Load Transfer Resource per QSE per Settlement Point per BLT point (BLTR)

The following section introduces the calculation of the Block Load Transfer Resource per QSE per Settlement Point per BLT point (BLTR).

### Introduction

Block Load Transfer Resource (BLTR) will be calculated for each settlement interval.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| GSITETOT_<Q>_<GSC>_<NC>_<PGC>_<UFE>_ <CM>_<TDSP>_<SUFE>_<GUC>_<P> | Interval Data | MWh | 4 | Yes |

### Processing

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| BLTR_<Q>_<SP>_<BLTP> | Interval Data | MWh | 4 |

## Generation Resource Capacity Factor Calculation (GRCF)

The following section introduces the calculation of the Generation Resource Capacity Factor Calculation (GRCF).

### Introduction

The previous 12 months’ capacity factor must be updated by ERCOT by the 20th day of each month using the most recent data for use in the next month. ERCOT shall post to the MIS Secure Area the capacity factor for each Resource before the start of the effective month.

### Inputs & Sources

| Variable | Data Type | UOM | IPH | Driver |
| --- | --- | --- | --- | --- |
| GSITETOT_<Q>_<GSC>_<NC>_<PGC>_<UFE>_ <CM>_<TDSP>_<SUFE>_<GUC>_<P> | Interval Data | MWh | 4 | No |
| SEASMW | Scalar | MW | n/a | No |

Note: The variables with n/a for the IPH means they are a constant value for a given time frame that is not limited to 15 minute, hourly, or daily time sets.

The driver for this set of calculation is not based on existence of data.  The calculations will be performed for all active Generation Sites.

### Processing

Note that 2 errors were added in the CSD that were not found in the Requirements to better communicate issues.

### Outputs & Targets

| Variable | Data Type | UOM | IPH |
| --- | --- | --- | --- |
| GRCF_<R> | Scalar | Misc | n/a |
| MOCMULT | Scalar | Misc | n/a |

Note: Variables listed with an IPH of n/a means that the data will be stored as a single value per Month.

# Supplementary Specifications

The Nodal Billing and Settlements System is used to settle the Real-time and Day-Ahead markets.  This system uses LODESTAR COTS application to implement its business logic.  The LODESTAR business logic code is authored, and developed, and debugged using the LODESTAR Billing Expert User Interface, a Win32 Application that can be installed on a Windows machine.

Business Users use an Application called the “Data Manager” to view and manipulate the Data.  The LODESTAR Batch Processing Engine is run in batch mode using the Perl Interpreter that is a part of the host system.  These jobs are scheduled using an Enterprise Job Scheduling Application (currently using “AppWorx”).  The User Interface for scheduling the batch jobs uses the default Job Scheduling Application UI (“AppWorx” GUI); a Java/Swing-based Rich client launched using the JWS launcher (Java Web Start) from within a browser.

## Performance Requirements

All processes within this document will be completed within the time constraints designated in the ERCOT Protocols.  More details on how long the Settlement processes take to execute will be provided in the Detailed Design phase.

## Legal and Regulatory requirements

All LODESTAR data must be stored in accordance with ERCOT Texas Nodal Protocols and ERCOT Corporate Standards for data retention.

## System and Communication Requirements

The Settlements and Billing system will require production servers for hosting the Settlements and Billing Application Servers and the “AppWorx” Scheduling Engine.

The Settlements and Billing Application Servers and Scheduling Engine must be able to communicate via TCP/IP over a local area network.

The Settlements and Billing Database needs to be accessible to ERCOT internal staff via the Data Manager and Billing Expert Rich Client User Interfaces and LODESTAR Energy Information Platform.

The Settlements and Billing System will require network access with an Enterprise Integration Layer which will interface with other Nodal systems including Registration, Dispute Management, Market Management System(MMS), Network Modeling and Management System(NMMS),  Credit Monitoring and Management (CMM) and CRR.

In addition, the Settlements and Billing system will require at least one testing environment that is configured similarly to the production environment for purposes of software testing (e.g. prior to upgrades).  Depending on the final implementation schedule, additional testing environments may be required.  There will need to be 1 testing environment for function testing and another one for Performance Testing.  The Performance Testing Environment will need the full Dataset for its performance test.

## System Security Requirements

A Risk Assessment will be completed prior to the completion of the detailed design.  Required Controls identified in that assessment will be documented as part of the detailed design.

The Settlements and Billing system will be accessed by ERCOT internal Settlements Staff.  In addition to ERCOT’s standard security clearance mechanism, access to the Settlements system should be restricted to individuals approved by the Settlements department.  A risk assessment will be completed prior to completion of the detailed design.  Required Controls identified in the assessment will be documented as part of the detailed design.

The types of users that can access the Settlements system are: Developers that use the Billing Expert User Interface and Business Users that use the Data Manager User Interface.  The Batch Process is run using the Enterprise Job Scheduling Application that is run automatically at a scheduled time.

The Settlements system will NOT be accessible by external groups such as Market Participants.  Some of the data captured and generated by the Settlements system will be stored in ERCOT’s data warehouse and may be made available to outside parties via the Market Information System (ERCOT IT Staff) [Reliant: what does the inclusion of “ERCOT IT Staff” here mean?].

The Settlements system will be secured in accordance with ERCOT’s Security Standard.  This could include, but is not limited to, the following security features:

  - Access to the Settlements system is limited to approved application access

Security Testing will be performed during either FAT or SAT and all identified issues will be resolved prior to production.  This is an Internal Application without External User Access.

## Back up and Recovery Requirements

The same server configuration should be deployed both in the primary as well as in an offsite disaster recovery data center.  Data from the primary and disaster recovery systems must be synchronized in order to support continued operation in the recovery center in case of a disaster scenario.  In the event of a failover during processing, the system needs to be brought back up to complete the processing within the required time window. For the Zonal System, there is a specified time window (about 4 hours) during which the system needs to be brought back up.  The Nodal System will use similar metrics unless it is specified otherwise. [Reliant: who will determine if this time requirement changes? When will this be finalized?]

## Maintainability Requirements

The Settlements system must provide system administrators with mechanisms to monitor:

  - Availability and performance of the Settlements System

  - Progress of long-running offline processes in the Settlements Calculations engine

  - Application errors encountered during online or offline processing

The Settlements System shall recognize Daylight Savings Time:

- Spring, Standard Time to Daylight Savings Time Operating Day - Intervals Ending 0215, 0230, 0245, and 0300 will be skipped, resulting in 92, 15-minute intervals for the day.

- Spring, Standard Time to Daylight Savings Time Operating Day - Hour Ending 0300 will be skipped, resulting in 23 hourly intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for intervals 0115, 0130, 0145, and 0200, resulting in 100, 15-minute intervals for the day.

- Fall Daylight Savings Time to Standard Time, Operating Day - There will be two sets of data for Hour Ending 0200, resulting in 25 hourly intervals for the day.

## Usability Requirements

The Settlements system shall comply with ERCOT Texas Nodal standards for usability requirements.  For all User Interfaces, there will be a Usability Evaluation conducted by the Usability Group. [Reliant: Who is part of the ‘usability group’? Does this include market participants or only ERCOT users or is it system dependent?]

## Transactional Usage *

| Description | Number/Duration |
| --- | --- |
| Minimum number of users | 0 |
| Maximum number of users | A maximum of about 15-20 users hitting the Database during Business hours |
| Peak Usage time and Duration | The Business Day timings of the Settlements and Billing Department (estimated to be from 7 am to – 4:30 (batch processing starts at 4:30 and is not concurrent) |
| Non-peak Usage | 0 users - No transactional activity |
| Complexity level of the transactions | Estimated to be medium for most activities, heavy for some workflows |
| Average number of reads per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Average number of writes per transaction | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |
| Desired I/O Throughput | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Growth

| Description | Response |
| --- | --- |
| Change in number of users | There is no estimated change in the number of users using the application. |
| Change in amount of data | Details on numbers will only be determined during the Detailed Design phase and the Itest Phase. But the trend for the majority of the data growth can be estimated on a daily basis based on certain formulae: For e.g. for some bill determinants, it could be based on: NumQSEs * NumResources * NumCuts for a Resource (submitted Daily) * NumIntervals * # of cuts submitted daily This is a hypothetical example. These will be detailed during the Detailed Design phase, and an overall assessment made for the whole product. |
| Increase in I/O load over time | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Information Lifecycle Management

| Data retention | Term |
| --- | --- |
| Settlements and billing | Extracts archived over a period that will be determined during detailed design phase |
| EDW | Estimates will be made during detailed design based on Zonal transactions. But better figures will be known only during the ITEST phase. |

## Settlements and Billing Batch Processes Usage *

- There is very little User Transactional activity during the batch process runs.  There are additional batch reporting processes that are run at the end of the Batch Settlements process.

- Batch processes include running Data Extraction from source systems, Data Aggregation Processes, Settlements Processes and Reporting.

- * Batch processes are estimated to run at a designated time (currently this is fixed around 4:30pm and finishes close to midnight). It is expected that this run window will be similar for the Nodal Settlements Batch Processes.  Further details will be determined at the Detailed Design phase.

- * Data Extraction is I/O bound, Data Aggregation and Settlements activities are going to be computationally intensive and are definitely CPU-bound.

* Estimated based on knowledge available at this time

## Availability and Fail-over

- It is expected that there will be monitoring in place to track the progress of the Settlements Batch process, and checks to signal errors if any.

- If there are errors in the batch process activity, there will pre-defined measures in place to due course of action.  These measures might include restarting the batch process activity.

- Scheduled outages are still to be determined for both frequency and duration. Since LODESTAR is executed as a batch process, it is not a 7x24 application.  It is a batch process executed on schedule.  Business requirements state that the data must be backed up on a daily basis and recoverable within 24 hours.

## Disaster Recovery

- This is not a 7x24 application.  Business Requirements state that the data must be backed up on a daily basis and recoverable within the time stipulated necessary for running the application.

- Still to be determined is how much data loss is acceptable in the event of a disaster.

## Provisioning Requirements

Using the guide in Section 9 of the Platform Architectural Standards, the most intense activity occurs during the usage of the calculation engine.  This activity is definitely computationally intensive with medium to heavy I/O usage (based on retrieval of data from the database and caching).

Hence, the class of servers that this application would use is estimated to be Class 1.  At this point, 32-bit CPUs are deemed to be sufficient because the LODESTAR Application does not specifically use 64-bit CPUs.

Please see the next section for a Deployment Diagram of the Application Environment.

| Function | Physical manifestation | Requirements | Comments |
| --- | --- | --- | --- |
| Storage for Base LODESTAR system | SAN Storage | 4-5 TB for LODESTAR DB 200 GB for AppWorx Master | Includes several years worth of Interval Data |
| Oracle Instance | Oracle instance running in an AIX LPAR | LPAR Specification: OS = AIX Memory = 16 GB of memory N-way = 2 CPUs | Will be used for all schemas |
| 6 LODESTAR Core Application Servers | OS and Server running in a VMWare VM | OS=Windows 2003 SP2 Server CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 3 Disk Partitions of sizes 30, 30, 25 - 6 servers used in production to handle Aggregation, parallelizing calculations and offloading some reporting batch activities |
| AppWorx Scheduling Engine Master and Reporting Server | OS and Server running in a VMWare VM | OS=RedHat Linux V3 CPU = Server Class 1 model 32 bits, 2-4GB of RAM | 1 Local Disk Partition of size 100 GB -The Master that maintains the AppWorx jobs scheduled for batch processing activity |

### Application Environment

# Appendix A: Subsystem Mapping to Nodal SoSA

| SoSA Use Case & System Operation | Satisfied? (Y/N/?) | Subsystem | Subsystem Operation | Document Reference |
| --- | --- | --- | --- | --- |
| UC e.g. n.nn CRR Auction [One system level operation may map to several subsystem operations, each should be listed. When all of the system operations combine to satisfy the operation, mark satisfied = y] |  |  |  |  |
| C.UC6.OP1 - Generate Day Ahead Statements, Invoices, and Late Fees | N |  |  |  |
| C.UC7.OP1 - Generate Real Time Statements and Invoices | N |  |  |  |
| C.UC4.OP1 – CRR Auction Revenue Distribution Invoices | N |  |  |  |
| C.UC4.OP1 – CRR Balancing Account Invoices | N |  |  |  |

# Appendix B: Traceability to Requirements

This document covers the requirements for Data Aggregation that is covered in the following separate document:

TN.COM.63C01.DATA.AGG.REQUIREMENTS.A (version 1.0)

All of the calculations in these two documents are covered by this CSD.