Date:  	January 25, 2006

To:  	TAC Representatives

From:	Kevin Gresham, PRS Chair

Re:  	Consideration of Protocol Revision Requests

The Protocol Revision Subcommittee (PRS) met and discussed several Protocol Revision Requests (PRRs) and nodal PRRs (NPRRs) but has no revisions to present for TAC for consideration this month.

Status of Pending PRRs (Information Purposes Only):

Review of Impact Analysis (and CBA as Appropriate) at February 2007 PRS Meeting

- PRR697, Posting Requirement Changes.  This PRR incorporates changes resulting from P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability of Texas Power Region and new P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under P.U.C. Project No. 31972, Rulemaking Concerning Resource Adequacy and Market Power in the Electric Reliability Council of Texas Power Region.  PRR697 was posted on 10/20/06.  On 11/16/06, PRS unanimously voted to recommend approval of PRR697 as revised by comments from CenterPoint Energy and PRS.  The Independent Power Marker (IPM) segment was not present for the vote.  On 12/14/06, PRS tabled PRR697 until its January 2007 meeting.  On 1/22/07, PRS again tabled PRR697.

- PRR701, Enabling of Stranded Capacity During Alerts - URGENT.  This Protocol Revision Request will provide ERCOT with a tool that will enable incremental online capacity upon ERCOT issuing an Alert due to a capacity short supply situation and allow QSEs to represent their previously stranded capacity as available and capable of being loaded to their full real-time capability during an Alert due to a capacity short supply situation.  PRR701 was posted on 11/20/06.  On 11/22/06, PRS failed to grant Urgent status through email vote.  On 12/14/06, PRS voted to reconsider Urgent status, granted Urgent status and tabled PRR701 until its January meeting.  There were two votes in opposition (Consumer and the IPM Market Segments) to the motion for reconsideration, four votes in opposition (IPM, Consumer, Investor Owned Utility (IOU), and Independent Retail Electric Provider (IREP) Market Segments) to granting Urgent status, and the vote to table was opposed by one vote from the Consumer Market Segment.   All Market Segments were present for the votes.   On 1/22/07, PRS voted to recommend approval of PRR701 and determined that PRR701 will reside at PRS until Impact Analysis review is complete.  There were six opposing votes from the IREP (2), the Consumers (3), and the IOU Market Segments.  All Market Segments were present for the vote.

- NPRR035, Nodal Protocol Clarifications Required For Net Metering Provisions. This NPRR incorporates the existing net metering provisions of the zonal market into the nodal market and clarifies that Generation Resource’s must provide net generation output for use by the ERCOT systems.  This NPRR was posted on 11/6/06.  The submitter requested deferral until the December meeting to allow for TPTF input.  On 12/14/06, PRS tabled NPRR035 until its January 2007 meeting.  On 1/22/07, PRS again tabled NPRR035.

- NPRR036, Market Operations Test Environment (MOTE) in the Nodal Market.  This NPRR provides a tool to validate the integrity of the ERCOT Network Operations model and perform studies that facilitate better coordination of network operations between the Transmission Service Provider (TSP) and ERCOT.  This NPRR was posted on 11/09/06.  On 11/16/06, PRS voted to refer to TPTF for review.  On 12/14/06, PRS tabled NPRR036 until its January 2007 meeting.  On 1/22/07, PRS again tabled NPRR036.

PRRs and NPRRs Deferred or Tabled

- PRR696, MAPE Publication.  This PRR would amend current Protocols to include the measure of forecast error (i.e., ERCOT’s Mean Absolute Percent Error, or MAPE); would isolate the forecast for the Day Ahead market at 1600 hours and at midnight; would require ERCOT to post and maintain an up-to-date historical series for the monthly average MAPE data; and would require ERCOT to segregate the weather forecast error from the overall load forecast error.  PRR696 was posted on 10/17/06.  On 11/16/06, PRS reviewed PRR696, and deferred it to allow time for ERCOT Staff to work with interested parties and refine the PRR.  On 12/14/06, PRS tabled PRR696 until after the January Forecasting Forum.  There was one abstention from the Consumer Market Segment; all Market Segments were present for the vote.

- NPRR020, ERCOT Nodal Implementation Surcharge.  This PRR documents how ERCOT shall calculate the Nodal Implementation Surcharge (NIS) to comply with the Final Order issued in PUCT Docket No. 32686, Application of the Electric Reliability Council of Texas for Approval of a Nodal Market Implementation Surcharge and Request for Interim Relief, to fund implementation of the nodal market redesign.  NPRR020 was posted on 8/28/06.  On 9/21/06, PRS tabled NPRR020 until the PUCT issues an order on the final NIS.

- NPRR026, Nodal Implementation Surcharge Verifiable Costs.  This NPRR adds the Nodal Implementation Surcharge (NIS) as a verifiable cost for resources called on for reliability purposes (Reliability Unit Commitment [RUC] and RMR).  NPRR026 was posted on 9/14/06.  On 9/21/06, PRS tabled NPRR020 until the Public Utility Commission issues an order on the final NIS.

- NPRR037, Conforming Section 13 to Nodal Format and Changing Frequency of Transmission Loss Base Case Calculations.  This NPRR provides changes to the frequency of transmission loss base cases calculations and conforms Protocol Section 13, Transmission and Distribution Losses, to the Nodal Protocol format.  Submitter has requested deferral until implementation of PRR565, Calculation of Losses for Settlement.

PRRs and NPRRs Pending Input from Other Subcommittees

- PRR549, Regulation Control During Abnormal Frequency Events.  ERCOT posted this PRR on 10/8/04.  At its November 2004 meeting, PRS remanded the PRR to ROS.

On 1/22/07, PRS voted unanimously to grant urgent status to four PRRs (PRRs 702, 703, 704, and 705 described below) addressing Emergency Interruptible Load Service (EILS).  There was one opposing vote from the Municipal Market Segment and one abstention from the IREP Market segment.  All Market Segments were present for the vote.  PRS then voted to table the EILS PRRs until its February meeting and request a report responding to specific questions by ERCOT Staff, WMS and ROS.

- PRR702, Emergency Interruptible Load Service (EILS) – URGENT.  This PRR modifies Protocols to allow for the use of an EILS when an Emergency Electric Curtailment Plan (EECP) is declared and all available Generation and Loads acting as Resources (LaaR) have been deployed.  This PRR was posted on 12/19/06.  The submitter requested Urgent status, but on 1/5/07, PRS did not grant Urgent status through email vote.

- PRR703, Emergency Interruptible Load Service (EILS) – URGENT.  This PRR institutes an EIL) as a load interruption emergency backstop for use only during Emergency Electric Curtailment Plan (EECP) Step 3.  This EILS would be a merit order of Loads that have voluntarily offered to interrupt at an offer price and would be dispatched to interrupt in the EECP step just prior to the Independent System Operator’s (ISO) dispatch order to Transmission and Distribution Service Provider/Distribution Service Providers (TDSP/DSPs) to shed firm Load in order to preserve the system’s frequency.  In the event that EILS is dispatched, the market clearing price of the last Load dispatched would set the Market Clearing Price for Energy (MCPE) for the remainder of the EECP episode for both loads and generation resources. PRR703 was posted on 12/28/06.  The submitter requested Urgent status, but on 1/5/07, PRS did not grant Urgent status through email vote.

- PRR704, Emergency Interruptible Load Service (EILS) – URGENT.  This PRR institutes an EILS as a Load interruption emergency backstop during Emergency Electric Curtailment Plan (EECP) Step 3. EILS would provide ERCOT with a pool of Loads that have voluntarily offered to interrupt at an offer price and would be dispatched to interrupt in the EECP step just prior to the Independent System Operator’s (ISO) dispatch order to Transmission and Distribution Service Provider/Distribution Service Providers (TDSP/DSPs) to shed firm Load in order to preserve the system’s frequency.  The Loads participating in EILS would be determined on a monthly basis through a competitive bidding process undertaken in advance of the commencement of each one-month participation term.  Compensation would be paid on a per-MW basis and determined using the same competitive bidding mechanism as is currently used for the provisioning of Responsive Reserve Service.  Qualification requirements for Load Resources to participate in the EILS market are limited to filing an application with ERCOT and meeting the metering and deployment control testing requirements.  PRR704 was posted on 1/9/07.  The submitter requested Urgent status, but on 1/11/07, PRS did not grant Urgent status through email vote.

- PRR705, Emergency Interruptible Load Service (EILS) Interim Option – URGENT.  This PRR would modify the ERCOT Protocols to allow for the use of an EILS when an EECP is declared and all available Generation and Loads acting as Resources (LaaRs) have been deployed.  PRR705 was posted on 1/10/07.  The submitter requested Urgent status, but on 1/12/07, PRS did not grant Urgent status through email vote.

New PRRs for Consideration at the February 2007 PRS Meeting:

- PRR706, Provisional Qualification for Ancillary Services.  This PRR provides for a provisional qualification time period for the provision of Ancillary Services (AS) and discontinue the practice of “borrowing” units for AS qualification.  PRR706 was posted on 1/10/07 and is on a normal timeline.

- PRR707, Prioritization and Timing of Transactions Based Upon PRR672 Collaborative Analysis and Retry Process for 814_20s.  This PRR documents the prioritization of transactions at ERCOT; revises transaction timings for Off-Cycle Switches and Off-Cycle Drops to AREP; and adds language for New ESI ID Creation that explains a retry process for 814_20s.