- Summary of Protocol Revisions

- Effective:  February 1, 2007

- Section 6:

- PRR647 – Gross and Net MW/Mvar Data Reporting

This PRR adds a requirement for a Qualified Scheduling Entity (QSE) representing a Resource to supply both gross and net MW and Mvar data to ERCOT for use in the Operational Model.

Revised Subsection: 6.5.1.1

- PRR686 – Black Start Testing Requirements

This PRR specifies the requirements for testing the Black Start Resource and which tests are allowed to be run simultaneously.

Revised Subsection: 6.10.3.6

- Section 9:

- Protocol References Updated

Revised Subsection: 9.4.5

- Section 11:

- PRR283 - ERCOT Read Meter Data

This PRR provides Market Participants (MPs) Data for ERCOT Populated ESI IDS via a data extract instead of 867_03 EDI transactions and adds the requirement to provide MP ERCOT Polled Settlement Meter (EPS) Recorder Resource IDs (RIDs) level data via a data extract.

Revised Section: 11.1.11 [language unboxed due to June 15, 2006 implementation]

- PRR459 - EPS Meter Data Transmittal

This PRR provides the following:

- ERCOT is identified as the Meter Reading Entity (MRE), where applicable.

- ERCOT utilizes the data for all settlement calculations and reports.

- ESI ID interval data will be available to the Transmission and/or Distribution Service Provider (TDSP) and Load Serving Entity (LSE) via an extract.

- Specific deadlines for ERCOT to provide EPS data to TDSPs.

Revised Section: 11.1.11 [language unboxed due to June 15, 2006 implementation]

- Section 15:

- PRR693 - Update Transactions for Texas SET 3.0 Implementation and 	Timing for Processing Priority/Standard Move- In Transactions

This PRR revises the transaction timings to reflect the language approved by the ERCOT Board with PRR672, Retail Market Timing Necessary for PUCT Project 29637 for the TX SET 3.0 implementation as it relates to priority move-in transactions and clarified requirements for standard move-ins.  This PRR also renames the TX SET transactions for 814_11, 814_14 and 814_15 due to new functionality introduced by TX SET with the long term solution for Mass Transition, revises language as it relates to transaction functionality and brings all processes for each transaction current with TX SET version 3.0 implementation, and reformats and corrects terminology throughout Sections 15, 19 and 24.

Revised Section: 15 [July 1, 2007 implementation]

- Section 16:

- PRR679 - Revision to NLRI Formula and Other Credit Requirements

This PRR changes the formula for Net Load Imbalance Liability and Net Resource Imbalance Liability (NLRI) to better match with the Nodal formula and requires/allows ERCOT to withhold payment from Entities that have exceeded their Estimated Aggregate Liability (EAL) or NLRI.  This PRR also addresses requests by the Retail Market Subcommittee (RMS) and TX SET Working Group to add requirements that QSEs (that are Load Serving Entities (LSEs)) and are in payment default to provide ESI ID information on their Customers.

Revised Subsections: 16.2.7.4, 16.2.8, 16.2.9, 16.2.9.1, 16.2.9.1.1, 16.2.9.1.2, 16.2.9.1.3, 16.2.9.1.4, 16.8.1.8

- Section 19:

- PRR693 - Update Transactions for Texas SET 3.0 Implementation and 	Timing for Processing Priority/Standard Move- In Transactions

See Section 15 above.

Revised Section: 19 [July 1, 2007 implementation]

- Section 24:

- PRR693 - Update Transactions for Texas SET 3.0 Implementation and 	Timing for Processing Priority/Standard Move- In Transactions

See Section 15 above.

Revised Section: 24 [July 1, 2007 implementation]