- ERCOT Nodal Protocols

- November 1, 2006

- (Effective Upon Texas Nodal Market Implementation)

- ERCOT Nodal Protocols

- Table of Contents

- November 1, 2006

- (Effective Upon Texas Nodal Market Implementation)

1	Overview	1-1

1.1	Summary of the ERCOT Protocols Document	1-1

1.2	Functions of ERCOT	1-3

1.3	Confidentiality	1-4

1.3.1	Restrictions on Protected Information	1-4

1.3.1.1	Items Considered Protected Information	1-4

1.3.1.2	Items Not Considered Protected Information	1-6

1.3.2	Procedures for Protected Information	1-7

1.3.3	Expiration of Confidentiality	1-7

1.3.4	Protecting Disclosures to the PUCT and Other Governmental Authorities	1-9

1.3.5	Notice Before Permitted Disclosure	1-9

1.3.6	Exceptions	1-9

1.3.7	Specific Performance	1-11

1.3.8	Commission Declassification	1-11

1.3.9	Expansion of Protected Information Status	1-11

1.4	Operational Audit	1-12

1.4.1	Materials Subject to Audit	1-12

1.4.2	ERCOT Audit Committee	1-12

1.4.3	Operations Audit	1-12

1.4.3.1	External Audit	1-12

1.4.3.1.1	Material Issues	1-13

1.4.4	Audit Results	1-13

1.4.5	Availability of Records	1-14

1.4.6	Confidentiality of Information	1-14

1.5	ERCOT Fees and Charges	1-14

1.6	Open Access to the ERCOT Transmission Grid	1-14

1.6.1	Overview	1-14

1.6.2	Eligibility for Transmission Service	1-15

1.6.3	Nature of Transmission Service	1-15

1.6.4.	Payment for Transmission Access Service	1-15

1.6.5	Interconnection of New Generation	1-15

1.7	Rules of Construction	1-15

1.8	Effective Date	1-18

2	DEFINITIONS AND ACRONYMS	2-1

2.1	DEFINITIONS	2-1

Adjusted Metered Load (AML)	2-1

Adjustment Period	2-1

Advisory	2-1

Affiliate		2-1

Agreement	2-2

Alert		2-2

All-Inclusive Generation Resource (see Resource)	2-2

All-Inclusive Resource (see Resource)	2-2

Alternative Dispute Resolution (ADR)	2-2

Ancillary Service	2-2

Ancillary Service Capacity Monitor	2-2

Ancillary Service Obligation	2-3

Ancillary Service Offer	2-3

Ancillary Service Schedule	2-3

Ancillary Service Plan	2-3

Ancillary Service Supply Responsibility	2-3

Ancillary Service Trade	2-3

Area Control Error (ACE)	2-3

Authorized Representative	2-3

Automatic Voltage Regulator	2-4

Availability Plan	2-4

Bank Business Day (see Business Day)	2-4

Bankrupt	2-4

Base Point	2-4

Black Start Resource	2-4

Black Start Service	2-5

Block Load Transfer (BLT)	2-5

Bus Load Forecast	2-5

Business Day	2-5

Bank Business Day	2-5

Business Hours	2-6

Capacity Trade	2-6

Central Prevailing Time (CPT)	2-6

Combined-Cycle Configuration	2-6

Comision Federal de Electricidad (CFE)	2-6

Common Information Model (CIM)	2-6

Competitive Constraint	2-6

Competitive Retailer (CR)	2-7

Congestion Revenue Right (CRR)	2-7

Flowgate Right (FGR)	2-7

Point-to-Point (PTP) Obligation	2-7

Point-to-Point (PTP) Option	2-7

Continuous Service Agreement (CSA)	2-8

Controllable Load Resource Desired Load	2-8

Controllable Load Resource (see Resource)	2-8

Control Area	2-8

Control Area Operator (CAO)	2-8

Cost Allocation Zone	2-8

CR of Record	2-8

Critical Energy Infrastructure Information (CEII)	2-8

CRR Account Holder	2-9

CRR Auction	2-9

CRR Network Model	2-9

CRR Owner	2-9

Current Operating Plan (COP)	2-9

COP and Trades Snapshot	2-9

Customer	2-9

Customer Choice	2-9

Customer Registration Database	2-10

DAM-Committed Interval	2-10

DAM Energy Bid	2-10

Data Aggregation	2-10

Data Aggregation System (DAS)	2-10

Data Archive	2-10

Data Warehouse	2-11

Day-Ahead	2-11

Day-Ahead Market (DAM)	2-11

Day-Ahead Operations	2-11

Day-Ahead Reliability Unit Commitment (DRUC)	2-11

DC Tie Load	2-11

DC Tie Resource	2-11

DC Tie Schedule	2-11

Delivery Plan	2-11

Demand		2-12

Direct Current Tie (DC Tie)	2-12

Direct Load Control (DLC)	2-12

Dispatch		2-12

Dispatch Instruction	2-12

Distribution Loss Factor (DLF)	2-12

Distribution Losses	2-12

Distribution Service Provider (DSP)	2-12

Distribution System	2-13

DSR Loads	2-13

DUNS Number	2-13

Dynamic Rating	2-13

Dynamic Rating Processor	2-13

Dynamically Scheduled Resource (DSR)	2-13

Electric Cooperative (EC)	2-13

Electric Reliability Council of Texas, Inc. (ERCOT)	2-14

Electric Service Identifier (ESI ID)	2-14

Electrical Bus	2-14

Eligible Transmission Service Customer	2-14

Emergency Base Point	2-14

Emergency Condition	2-14

Emergency Electric Curtailment Plan (EECP)	2-15

Emergency Ramp Rate	2-15

Emergency Rating (see Ratings)	2-15

Energy Imbalance Service	2-15

Energy Offer Curve	2-15

Energy Trade	2-15

Entity		2-15

ERCOT Board	2-16

ERCOT CEO	2-16

ERCOT Member	2-16

ERCOT Operator	2-16

ERCOT-Polled Settlement (EPS) Meter	2-16

ERCOT Region	2-16

ERCOT System	2-16

ERCOT System Demand	2-16

ERCOT Transmission Grid	2-16

15-Minute Rating (see Ratings)	2-17

Financing Persons	2-17

Flowgate Right (FGR) (see Congestion Revenue Right (CRR))	2-17

Force Majeure Event	2-17

Forced Outage (see Outage)	2-17

Fuel Index Price (FIP)	2-17

Fuel Oil Price (FOP)	2-18

Generation Entity	2-18

Generation Resource (see Resource)	2-18

Good Utility Practice	2-18

Governmental Authority	2-18

High Ancillary Service Limit (HASL)	2-19

High Emergency Limit (HEL)	2-19

High Sustained Limit (HSL for a Generation Resource)	2-19

High Sustained Limit (HSL for a Load Resource)	2-19

Hourly Reliability Unit Commitment (HRUC)	2-19

Hub		2-19

Hub Bus		2-19

Independent Organization	2-20

Intermittent Renewable Resource (IRR)	2-20

Interval Data Recorder (IDR)	2-20

Invoice		2-20

Level I Maintenance Outage (see Outage)	2-20

Level II Maintenance Outage (see Outage)	2-20

Level III Maintenance Outage (see Outage)	2-20

Load		2-20

Load Frequency Control (LFC)	2-21

Load Profile	2-21

Load Profile Type	2-21

Load Profiling	2-21

Load Ratio Share	2-21

Load Resource (see Resource)	2-21

Load Serving Entity	2-21

Load Zone	2-21

Locational Marginal Price (LMP)	2-22

Low Ancillary Service Limit (LASL)	2-22

Low Emergency Limit (LEL)	2-22

Low Power Consumption (LPC for a Load Resource)	2-22

Low Sustained Limit (LSL for a Load Resource)	2-22

Low Sustained Limit (LSL for a Generation Resource)	2-22

Maintenance Outage (see Outage)	2-22

Make-Whole Payment	2-22

Make-Whole Charge	2-23

Market Clearing Price for Capacity (MCPC)	2-23

Market Information System (MIS)	2-23

MIS Public Area	2-23

MIS Secure Area	2-23

MIS Certified Area	2-23

Market Participant	2-23

Mass Drop	2-23

Master QSE	2-23

Maximum Power Consumption (MPC for a Load Resource)	2-24

Messaging System	2-24

Meter Data Acquisition System (MDAS)	2-24

Meter Reading Entity (MRE)	2-24

Minimum-Energy Offer	2-24

Minimum Reservation Price	2-24

Mitigated Offer Caps	2-24

Mitigated Offer Floor	2-24

Mothballed Generation Resource (see Resource)	2-25

Municipally Owned Utility (MOU)	2-25

Net Dependable Capability	2-25

Net Generation	2-25

Network Operations Model	2-25

Network Security Analysis	2-25

Non-Competitive Constraint	2-25

Non-Opt-In Entity (NOIE)	2-25

Non-Opt-In Entity (NOIE) Load Zone	2-26

Non-Spinning Reserve (Non-Spin)	2-26

Normal Ramp Rate	2-26

Normal Rating (see Ratings)	2-26

Off-Line		2-26

Off-Peak Hours	2-26

Oklaunion Exemption	2-27

On-Line		2-27

On-Peak Hours	2-27

Operating Day	2-27

Operating Guides	2-27

Operating Hour	2-27

Operating Period	2-27

Opportunity Outage (see Outage)	2-27

Outage		2-27

Forced Outage	2-28

Maintenance Outage	2-28

Opportunity Outage	2-28

Planned Outage	2-28

Simple Transmission Outage	2-28

Outage Scheduler	2-29

Output Schedule	2-29

Planned Outage (see Outage)	2-29

Power System Stabilizer	2-29

Point-to-Point (PTP) Obligation (see Congestion Revenue Right (CRR))	2-29

Point-to-Point (PTP) Option (see Congestion Revenue Right (CRR))	2-29

Premise		2-29

Prior Agreement	2-29

Program Administrator	2-29

Protected Information	2-30

Provider of Last Resort (POLR)	2-30

QSE Clawback Interval	2-30

QSE-Committed Interval	2-30

Qualified Scheduling Entity (QSE)	2-30

Qualifying Facility (QF)	2-30

Ratings		2-31

Emergency Rating	2-31

15-Minute Rating	2-31

Normal Rating	2-31

Reactive Power	2-31

Real-Time	2-31

REC Program	2-31

Regulation Down Service (Reg-Down)	2-31

Regulation Service	2-32

Regulation Up Service (Reg-Up)	2-32

Reliability Must-Run (RMR) Service	2-32

Reliability Must-Run (RMR) Unit	2-32

Reliability Unit Commitment (RUC)	2-32

Remedial Action Plan (RAP)	2-32

Renewable Production Potential (RPP)	2-33

Resource	2-33

All-Inclusive Generation Resource	2-33

All-Inclusive Resource	2-33

Controllable Load Resource	2-33

Generation Resource	2-33

Mothballed Generation Resource	2-33

Switchable Generation Resource	2-33

Wind Power Generation Resource (WGR)	2-34

Load Resource	2-34

Non-Modeled Generator	2-34

Resource Entity	2-34

Resource ID (RID)	2-34

Resource Node	2-34

Resource Parameter	2-34

Resource Status	2-35

Responsive Reserve	2-35

Retail Business Day (see Business Day)	2-35

Retail Electric Provider (REP)	2-35

Revenue Quality Meter	2-35

RUC-Committed Hour	2-35

RUC-Committed Interval	2-35

RUC Study Period	2-36

Scheduled Power Consumption Snapshot	2-36

Season		2-36

Security-Constrained Economic Dispatch (SCED)	2-36

Self-Arranged Ancillary Service Quantity	2-36

Self-Schedule	2-36

Service Delivery Point	2-37

Settlement	2-37

Settlement Calendar	2-37

Settlement Interval	2-37

Settlement Meter	2-37

Settlement Point	2-37

Settlement Point Price	2-37

Settlement Quality Meter Data	2-37

Shadow Price	2-38

Shift Factor	2-38

Short-Term Wind Power Forecast	2-38

Simple Transmission Outage (see Outage)	2-38

Special Protection Systems (SPS)	2-38

Split Generation Resource	2-38

Startup Cost	2-38

Startup Offer	2-38

State Estimator (SE)	2-39

System Operator	2-39

TDSP Metered Entity	2-39

Technical Advisory Committee (TAC)	2-39

Texas Nodal Market Implementation Date	2-39

Texas SET	2-39

Three-Part Supply Offer	2-39

Transmission Access Service	2-40

Transmission and/or Distribution Service Provider (TDSP)	2-40

Transmission Element	2-40

Transmission Facilities	2-40

Transmission Loss Factors	2-40

Transmission Losses	2-40

Transmission Service	2-40

Transmission Service Provider (TSP)	2-41

Unaccounted for Energy (UFE)	2-41

Unit Reactive Limit	2-41

Updated Network Model	2-41

Usage Profile (see Load Profile)	2-41

USD		2-41

Verbal Dispatch Instruction (VDI)	2-41

Voltage Profile	2-41

Voltage Support Service	2-42

Weather Zone	2-42

Wholesale Customer	2-42

Wholesale Electric Market Monitor (WEMM)	2-42

2.2	ACRONYMS AND ABBREVIATIONS	2-42

3	MANAGEMENT ACTIVITIES FOR THE ERCOT SYSTEM	3-1

3.1	Outage Coordination	3-1

3.1.1	Role of ERCOT	3-1

3.1.2	Planned Outage or Maintenance Outage Data Reporting	3-2

3.1.3	Rolling 12-Month Outage Planning and Update	3-2

3.1.3.1	Transmission Facilities	3-2

3.1.3.2	Resources	3-3

3.1.4	Communications Regarding Resource and Transmission Facilities Outages	3-3

3.1.4.1	Single Point of Contact	3-3

3.1.4.2	Method of Communication	3-4

3.1.4.3	Reporting for Planned Outages and Maintenance Outages of Resource and Transmission Facilities	3-4

3.1.4.4	Communicating Rejection of Proposed Resource Outages	3-4

3.1.4.5	Management of Resource or Transmission Forced Outages or Maintenance Outages	3-5

3.1.4.6	Notice of Forced Outage or Unavoidable Extension of Planned or Maintenance Outage Due to Unforeseen Events	3-6

3.1.4.7	Outage Coordination of Forecasted Emergency Conditions	3-6

3.1.4.8	Deratings	3-6

3.1.5	Transmission System Outages	3-6

3.1.5.1	ERCOT Evaluation of Planned Outage and Maintenance Outage of Transmission Facilities	3-6

3.1.5.2	Receipt of TSP Requests by ERCOT	3-7

3.1.5.3	Timelines for Response by ERCOT for TSP Requests	3-7

3.1.5.4	Delay	3-8

3.1.5.5	Opportunity Outage of Transmission Facilities	3-8

3.1.5.6	Rejection Notice	3-8

3.1.5.7	Withdrawal of Approval and Rescheduling of Approved Planned Outages and Maintenance Outages of Transmission Facilities	3-9

3.1.5.8	Priority of Approved Planned Outages	3-9

3.1.5.9	Information for Inclusion in Transmission Facilities Outage Requests	3-9

3.1.5.10	Additional Information Requests	3-10

3.1.5.11	Evaluation of Transmission Facilities Planned Outage or Maintenance Outage Requests	3-10

3.1.5.12	Submittal Timeline for Transmission Facility Outage Requests	3-11

3.1.5.13	Transmission Report	3-11

3.1.6	Outages of Resources Other than Reliability Resources	3-12

3.1.6.1	Receipt of Resource Requests by ERCOT	3-12

3.1.6.2	Resources Outage Plan	3-12

3.1.6.3	Additional Information Requests	3-13

3.1.6.4	Approval of Changes to a Resource Outage Plan	3-13

3.1.6.5	Evaluation of Proposed Short-Noticed Resource Outage	3-14

3.1.6.6	Timelines for Response by ERCOT for Resource Outages	3-14

3.1.6.7	Delay	3-14

3.1.6.8	Opportunity Outage	3-15

3.1.6.9	Outage Returning Early	3-15

3.1.6.10	Resource Coming On-Line	3-16

3.1.7	Reliability Resource Outages	3-16

3.1.7.1	Timelines for Response by ERCOT on Reliability Resource Outages	3-16

3.1.7.2	Changes to an Approved Reliability Resource Outage Plan	3-17

3.2 	Analysis of Long-Term Resource Adequacy	3-17

3.2.1	Calculation of Aggregate Generating Capacity	3-17

3.2.2	Long-Term Demand Forecasts	3-17

3.2.3	System Adequacy Report	3-18

3.3	Management of Changes to ERCOT Transmission Grid	3-18

3.3.1	ERCOT Approval of New or Relocated Facilities	3-18

3.3.2	Types of Work Requiring ERCOT Approval	3-18

3.3.2.1	Information to Be Provided to ERCOT	3-19

3.3.2.2	Record of Approved Work	3-20

3.4	Load Zones	3-20

3.4.1	Load Zone Types	3-20

3.4.2	Load Zone Modifications	3-20

3.4.3	NOIE Load Zones	3-21

3.4.4	DC Tie Load Zones	3-21

3.4.5	Additional Load Buses	3-22

3.5	Hubs	3-22

3.5.1	Process for Defining Hubs	3-22

3.5.2	Hub Definitions	3-23

3.5.2.1	North 345 kV Hub (North 345)	3-23

3.5.2.2	South 345 kV Hub (South 345)	3-27

3.5.2.3	Houston 345 kV Hub (Houston 345)	3-30

3.5.2.4	West 345 kV Hub (West 345)	3-33

3.5.2.5	ERCOT Hub Average 345 kV Hub (ERCOT 345)	3-35

3.5.2.6	ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus)	3-37

3.5.3	ERCOT Responsibilities for Managing Hubs	3-40

3.5.3.1	Posting of Hub Buses and Electrical Buses included in Hubs	3-40

3.5.3.2	Calculation of Hub Prices	3-40

3.6	Load Participation	3-40

3.7	Resource Parameters	3-40

3.7.1	Resource Parameter Criteria	3-41

3.7.1.1	Generation Resource Parameters	3-41

3.7.1.2	Load Resource Parameters	3-42

3.7.2	Resource Parameter Validation	3-43

3.8	Special Considerations for Split Generation Meters	3-43

3.9	Current Operating Plan (COP)	3-44

3.9.1	Current Operating Plan (COP) Criteria	3-45

3.9.2	Current Operating Plan Validation	3-47

3.10	Network Operations Modeling and Telemetry	3-48

3.10.1	Time Line for Network Operations Model Change Requests	3-50

3.10.2	Annual Planning Model	3-51

3.10.3	CRR Network Model	3-52

3.10.4	ERCOT Responsibilities	3-53

3.10.5	TSP Responsibilities	3-55

3.10.6	Resource Entity Responsibilities	3-55

3.10.7	ERCOT System Modeling Requirements	3-55

3.10.7.1	Modeling of Transmission Elements and Parameters	3-56

3.10.7.1.1	Transmission Lines	3-56

3.10.7.1.2	Transmission Buses	3-57

3.10.7.1.3	Transmission Breakers and Switches	3-57

3.10.7.1.4	Transmission and Generation Resource Step-Up Transformers	3-58

3.10.7.1.5	Reactors, Capacitors, and other Reactive Controlled Sources	3-59

3.10.7.2	Modeling of Resources and Transmission Loads	3-60

3.10.7.3	Definition of Special Protection Systems and Remedial Action Plans	3-61

3.10.7.4	Telemetry Criteria	3-62

3.10.7.4.1	Continuous Telemetry of the Status of Breakers and Switches	3-63

3.10.7.4.2	Continuous Telemetry of the Real-Time Measurements of Bus Load, Voltages, Tap Position, and Flows	3-64

3.10.8	Dynamic Ratings	3-65

3.10.8.1	Dynamic Ratings Delivered via ICCP	3-66

3.10.8.2	Dynamic Ratings Delivered via Static Table and Telemetered Temperature	3-67

3.10.8.3	Dynamic Rating Network Operations Model Change Requests	3-67

3.10.8.4	ERCOT Responsibilities Related to Dynamic Ratings	3-67

3.10.8.5	Transmission Service Provider Responsibilities Related to Dynamic Ratings	3-68

3.10.9	State Estimator Performance Standard	3-68

3.10.9.1	Considerations for Performance Standards	3-69

3.10.9.2	Telemetry and State Estimator Performance Monitoring	3-70

3.11	Transmission Planning	3-70

3.11.1	Overview	3-70

3.11.2	Planning Criteria	3-71

3.11.3	Regional Planning Groups	3-71

3.11.4	Transmission Planning Responsibilities	3-72

3.12	Load Forecasting	3-73

3.12.1	Mid-Term Load Forecast	3-73

3.12.2	Long-Term Load Forecast	3-73

3.13	Renewable Production Potential Forecasts	3-74

3.14	Contracts for Reliability Resources	3-74

3.14.1	Reliability Must Run	3-75

3.14.1.1	Notification of Suspension of Operations	3-76

3.14.1.2	ERCOT Evaluation	3-77

3.14.1.3	ERCOT Report to Board on Signed RMR Agreements	3-78

3.14.1.4	Exit Strategy from an RMR Agreement	3-79

3.14.1.5	Potential Alternatives to RMR Agreements	3-79

3.14.1.6	Transmission System Upgrades Associated with an RMR and/or MRA Exit Strategy	3-80

3.14.1.7	RMR or MRA Contract Termination	3-80

3.14.1.8	RMR and/or MRA Contract Extension	3-81

3.14.1.9	Mothballed Generation Resource Time to Service Updates	3-82

3.14.1.10	Eligible Costs	3-82

3.14.1.11	Budgeting Eligible Costs	3-84

3.14.1.12	Reporting Actual Eligible Cost	3-85

3.14.1.13	Incentive Factor	3-85

3.14.1.14	Major Equipment Modifications	3-86

3.14.1.15	Budgeting Fuel Costs	3-86

3.14.1.16	Reporting Actual Eligible Costs	3-86

3.14.2	Black Start	3-87

3.15	Voltage Support	3-87

3.15.1	ERCOT Responsibilities Related to Voltage Support	3-89

3.15.2	TSP and DSP Responsibilities Related to Voltage Support	3-90

3.15.3	QSE Responsibilities Related to Voltage Support	3-91

3.16	Standards for Determining Ancillary Service Quantities	3-92

3.17	Ancillary Service Capacity Products	3-93

3.17.1	Regulation Service	3-93

3.17.2	Responsive Reserve Service	3-93

3.17.3	Non-Spinning Reserve Service	3-94

3.18	Resource Limits in Providing Ancillary Service	3-94

3.19	Constraint Competitiveness Tests	3-95

3.19.1	Annual Competitiveness Test	3-96

3.19.2	Monthly Competitiveness Test	3-99

3.19.3	Daily Competitiveness Test	3-100

4	Day-Ahead Operations	4-1

4.1	Introduction	4-1

4.1.1	Day-Ahead Timeline Summary	4-1

4.1.2	Day-Ahead Process and Timing Deviations	4-2

4.2	ERCOT Activities in the Day-Ahead	4-2

4.2.1	Ancillary Service Plan and Ancillary Service Obligation	4-2

4.2.1.1	Ancillary Service Plan	4-2

4.2.1.2	Ancillary Service Obligation Assignment and Notice	4-3

4.2.2	Wind-Powered Generation Resource Production Potential	4-3

4.2.3	Posting Forecasted ERCOT System Conditions	4-4

4.2.4	ERCOT Notice of Validation Rules for the Day-Ahead	4-5

4.3	QSE Activities and Responsibilities in the Day-Ahead	4-5

4.4	Inputs into DAM and Other Trades	4-5

4.4.1	Capacity Trades	4-5

4.4.1.1	Capacity Trade Criteria	4-6

4.4.1.2	Capacity Trade Validation	4-6

4.4.2	Energy Trades	4-7

4.4.2.1	Energy Trade Criteria	4-7

4.4.2.2	Energy Trade Validation	4-7

4.4.3	Self-Schedules	4-8

4.4.3.1	Self-Schedule Criteria	4-8

4.4.3.2	Self-Schedule Validation	4-9

4.4.4	DC Tie Schedules	4-9

4.4.4.1	DC Tie Schedule Criteria	4-10

4.4.4.2	DC Tie Schedule Validation	4-11

4.4.4.3	Oklaunion Exemption	4-11

4.4.5	CRR Offers	4-12

4.4.5.1	CRR Offer Criteria	4-12

4.4.5.2	CRR Offer Validation	4-13

4.4.6	PTP Obligation Bids	4-13

4.4.6.1	PTP Obligation Bid Criteria	4-13

4.4.6.2	PTP Obligation Bid Validation	4-14

4.4.7	Ancillary Service Supplied and Traded	4-14

4.4.7.1	Self-Arranged Ancillary Service Quantities	4-14

4.4.7.2	Ancillary Service Offers	4-15

4.4.7.2.1	Ancillary Service Offer Criteria	4-16

4.4.7.2.2	Ancillary Service Offer Validation	4-17

4.4.7.3	Ancillary Service Trades	4-18

4.4.7.3.1	Ancillary Service Trade Criteria	4-18

4.4.7.3.2	Ancillary Service Trade Validation	4-18

4.4.7.4	Ancillary Service Supply Responsibility	4-19

4.4.8	RMR Offers	4-20

4.4.9	Energy Offers and Bids	4-20

4.4.9.1	Three-Part Supply Offers	4-20

4.4.9.2	Startup Offer and Minimum-Energy Offer	4-21

4.4.9.2.1	Startup Offer and Minimum-Energy Offer Criteria	4-21

4.4.9.2.2	Startup Offer and Minimum-Energy Offer Validation	4-22

4.4.9.2.3	Startup Offer and Minimum-Energy Offer Generic Caps	4-22

4.4.9.2.4	Verifiable Startup Offer and Minimum-Energy Offer Caps	4-24

4.4.9.3	Energy Offer Curve	4-24

4.4.9.3.1	Energy Offer Curve Criteria	4-25

4.4.9.3.2	Energy Offer Curve Validation	4-25

4.4.9.3.3	Energy Offer Curve Caps for Make-Whole Calculation Purposes	4-26

4.4.9.4	Mitigated Offer Cap and Mitigated Offer Floor	4-26

4.4.9.4.1	Mitigated Offer Cap	4-26

4.4.9.4.2	Mitigated Offer Floor	4-28

4.4.9.5	DAM Energy-Only Offer Curves	4-28

4.4.9.5.1	DAM Energy-Only Offer Curve Criteria	4-28

4.4.9.5.2	DAM Energy-Only Offer Validation	4-29

4.4.9.6	DAM Energy Bids	4-29

4.4.9.6.1	DAM Energy Bid Criteria	4-30

4.4.9.6.2	DAM Energy Bid Validation	4-30

4.4.10	Credit Requirement for DAM Bids and Offers	4-31

4.5	DAM Execution and Results	4-31

4.5.1	DAM Clearing Process	4-31

4.5.2	Ancillary Service Insufficiency	4-34

4.5.3	Communicating DAM Results	4-35

4.6	DAM Settlement	4-37

4.6.1	Day-Ahead Settlement Point Prices	4-37

4.6.1.1	Day-Ahead Settlement Point Prices for Resource Nodes	4-37

4.6.1.2	Day-Ahead Settlement Point Prices for Load Zones	4-37

4.6.1.3	Day-Ahead Settlement Point Prices for Hubs	4-37

4.6.2	Day-Ahead Energy and Make-Whole Settlement	4-37

4.6.2.1	Day-Ahead Energy Payment	4-37

4.6.2.2	Day-Ahead Energy Charge	4-38

4.6.2.3	Day-Ahead Make-Whole Settlements	4-39

4.6.2.3.1	Day-Ahead Make-Whole Payment	4-40

4.6.2.3.2	Day-Ahead Make-Whole Charge	4-43

4.6.3	Settlement for PTP Obligations Bought in DAM	4-44

4.6.4	Settlement of Ancillary Services Procured in the DAM	4-45

4.6.4.1	Payments for Ancillary Services Procured in the DAM	4-46

4.6.4.1.1	Regulation Up Service Payment	4-46

4.6.4.1.2	Regulation Down Service Payment	4-46

4.6.4.1.3	Responsive Reserve Service Payment	4-47

4.6.4.1.4	Non-Spinning Reserve Service Payment	4-47

4.6.4.2	Charges for Ancillary Services Procurement in the DAM	4-48

4.6.4.2.1	Regulation Up Service Charge	4-48

4.6.4.2.2	Regulation Down Service Charge	4-49

4.6.4.2.3	Responsive Reserve Service Charge	4-50

4.6.4.2.4	Non-Spinning Reserve Service Charge	4-51

4.6.5	Calculation of “Average Incremental Energy Cost” (AIEC)	4-52

5	Transmission Security Analysis and Reliability Unit Commitment (RUC)	5-1

5.1	Introduction	5-1

5.2	Reliability Unit Commitment Timeline Summary	5-2

5.3	ERCOT Security Sequence Responsibilities	5-3

5.4	QSE Security Sequence Responsibilities	5-4

5.5	Security Sequence, Including RUC	5-4

5.5.1	Security Sequence	5-4

5.5.2	Reliability Unit Commitment (RUC) Process	5-6

5.5.3	Communication of RUC Commitments and Decommitments	5-9

5.6	RUC Cost Eligibility	5-9

5.6.1	Verifiable Costs	5-9

5.6.1.1	Verifiable Startup Costs	5-11

5.6.1.2	Verifiable Minimum-Energy Costs	5-11

5.6.2	RUC Startup Cost Eligibility	5-11

5.6.3	Forced Outage of a RUC-Committed Resource	5-12

5.7	Settlement for RUC Process	5-13

5.7.1	RUC Make-Whole Payment	5-13

5.7.1.1	RUC Guarantee	5-14

5.7.1.2	RUC Minimum-Energy Revenue	5-16

5.7.1.3	Revenue Less Cost Above LSL During RUC-Committed Hours	5-16

5.7.1.4	Revenue Less Cost During QSE Clawback Intervals	5-17

5.7.2	RUC Clawback Charge	5-19

5.7.3	Payment When ERCOT Decommits a QSE -Committed Resource	5-21

5.7.4	RUC Make-Whole Charges	5-23

5.7.4.1	RUC Capacity-Short Charge	5-23

5.7.4.1.1	Capacity Shortfall Ratio Share	5-24

5.7.4.1.2	RUC Capacity Credit	5-27

5.7.4.2	RUC Make-Whole Uplift Charge	5-28

5.7.5	RUC Clawback Payment	5-29

5.7.6	RUC Decommitment Charge	5-29

6	Adjustment Period and Real-Time Operations	6-1

6.1	Introduction	6-1

6.2	Market Timeline Summary	6-2

6.3	Adjustment Period and Real-Time Operations Timeline	6-3

6.3.1 	Activities for the Adjustment Period	6-4

6.3.2	Activities for Real-Time Operations	6-5

6.3.3	Real-Time Timeline Deviations	6-6

6.3.4	ERCOT Notification of Validation Rules for Real-Time	6-7

6.4	Adjustment Period	6-7

6.4.1	Capacity Trade, Energy Trade, Self-Schedule, and Ancillary Service Trades	6-7

6.4.2	Output Schedules	6-7

6.4.2.1	Output Schedules for Resources Other than Dynamically Scheduled Resources	6-8

6.4.2.2	Output Schedules for Dynamically Scheduled Resources	6-8

6.4.2.3	Output Schedule Criteria	6-9

6.4.2.4	Output Schedule Validation	6-10

6.4.2.5	DSR Load	6-10

6.4.3	Energy Offer Curve	6-11

6.4.4	Incremental and Decremental Energy Offer Curves	6-11

6.4.5	Resource Status	6-11

6.4.6	QSE-Requested Decommitment of Resources	6-12

6.4.6.1	QSE Request to Decommit Resources in the Operating Period	6-12

6.4.6.2	QSE Request to Decommit Resources in the Adjustment Period	6-12

6.4.7	Notification of Forced Outage of a Resource	6-13

6.4.8	Ancillary Services Capacity During the Adjustment Period and in Real-Time	6-13

6.4.8.1	Evaluation and Maintenance of Ancillary Service Capacity Sufficiency	6-13

6.4.8.1.1	ERCOT Increases to the Ancillary Services Plan	6-14

6.4.8.1.2	Replacement of Undeliverable Ancillary Service Due to Transmission Constraints	6-14

6.4.8.1.3	Replacement of Ancillary Service Due to Failure to Provide	6-15

6.4.8.2	Supplemental Ancillary Services Market	6-16

6.4.8.2.1	Resubmitting Offers for Ancillary Services in the Adjustment Period	6-17

6.4.8.2.2	SASM Clearing Process	6-18

6.4.8.2.3	Communication of SASM Results	6-19

6.5	Real-Time Energy Operations	6-19

6.5.1	ERCOT Activities	6-19

6.5.1.1	ERCOT Control Area Authority	6-19

6.5.1.2	Centralized Dispatch	6-20

6.5.2	Operating Standards	6-20

6.5.3	Equipment Operating Ratings and Limits	6-21

6.5.4	Inadvertent Energy Account	6-21

6.5.5	QSE Activities	6-21

6.5.5.1	Changes in Resource Status	6-22

6.5.5.2	Operational Data Requirements	6-22

6.5.6	TSP and DSP Responsibilities	6-25

6.5.7	Energy Dispatch Methodology	6-25

6.5.7.1	Real-Time Sequence	6-25

6.5.7.1.1	SCADA Telemetry	6-26

6.5.7.1.2	Network Topology Builder	6-26

6.5.7.1.3	Bus Load Forecast	6-26

6.5.7.1.4	State Estimator	6-27

6.5.7.1.5	Topology Consistency Analyzer	6-27

6.5.7.1.6	Breakers/Switch Status Alarm Processor and Forced Outage Detection Processor	6-27

6.5.7.1.7	Real-Time Weather and Dynamic Rating Processor	6-27

6.5.7.1.8	Overload Alarm Processor	6-28

6.5.7.1.9	Contingency List and Contingency Screening	6-28

6.5.7.1.10	Network Security Analysis Processor and Security Violation Alarm	6-28

6.5.7.1.11	Transmission Constraint Management	6-29

6.5.7.1.12	Resource Limits	6-30

6.5.7.1.13	Data Inputs and Outputs for the Real-Time Sequence and SCED	6-31

6.5.7.2	Resource Limit Calculator	6-33

6.5.7.3	Security Constrained Economic Dispatch	6-36

6.5.7.4	Base Points	6-40

6.5.7.5	Ancillary Services Capacity Monitor	6-40

6.5.7.6 	Load Frequency Control	6-41

6.5.7.6.1	LFC Process Description	6-41

6.5.7.6.2	LFC Deployment	6-43

6.5.7.7	Voltage Support Service	6-47

6.5.7.8	Dispatch Procedures	6-48

6.5.7.9	Compliance with Dispatch Instructions	6-49

6.5.8	Verbal Dispatch Instructions	6-50

6.5.9	Emergency Operations	6-51

6.5.9.1	Emergency and Short Supply Operation	6-51

6.5.9.2	Failure of the SCED Process	6-52

6.5.9.3	Communication under Emergency Conditions	6-53

6.5.9.3.1	Operating Condition Notice	6-53

6.5.9.3.2	Advisory	6-54

6.5.9.3.3	Alert	6-55

6.5.9.3.4	Emergency Notice	6-56

6.5.9.4	Emergency Electric Curtailment Plan	6-57

6.5.9.4.1	EECP Steps	6-58

6.5.9.4.2	Restoration of Market Operations	6-60

6.5.9.5	Block Load Transfers between ERCOT and Non-ERCOT Control Areas	6-60

6.5.9.5.1	Registration and Posting of BLT Points	6-62

6.5.9.5.2	Scheduling and Operation of BLTs	6-62

6.5.9.6	Black Start	6-63

6.6	Settlement Calculations for the Real-Time Energy Operations	6-63

6.6.1	Real-Time Settlement Point Prices	6-63

6.6.1.1	Real-Time Settlement Point Price for a Resource Node	6-63

6.6.1.2	Real-Time Settlement Point Price for a Load Zone	6-64

6.6.1.3	Real-Time Settlement Point Price for a Hub	6-65

6.6.2	Load Ratio Share	6-65

6.6.2.1	ERCOT Total Adjusted Metered Load	6-65

6.6.2.2	QSE Load Ratio Share for a 15-Minute Settlement Interval	6-65

6.6.2.3	QSE Load Ratio Share for an Operating Hour	6-66

6.6.3	Real-Time Energy Charges and Payments	6-66

6.6.3.1	Real-Time Energy Imbalance Payment or Charge at a Resource Node	6-66

6.6.3.2	Real-Time Energy Imbalance Payment or Charge at a Load Zone	6-68

6.6.3.3	Real-Time Energy Imbalance Payment or Charge at a Hub	6-70

6.6.3.4	Real-Time Energy Payment for DC Tie Import	6-71

6.6.3.5	Real-Time Payment for a Block Load Transfer Point	6-72

6.6.3.6	Real-Time Energy Charge for DC Tie Export Represented by the QSE Under the Oklaunion Exemption	6-73

6.6.4	Real-Time Congestion Payment or Charge for Self-Schedules	6-75

6.6.5	Generation Resource Base-Point Deviation Charge	6-76

6.6.5.1	General Generation Resource Base-Point Deviation Charge	6-76

6.6.5.1.1	Base Point Deviation Charge for Over Generation	6-77

6.6.5.1.2	Base Point Deviation Charge for Under Generation	6-78

6.6.5.2	IRR Generation Resource Base-Point Deviation Charge	6-79

6.6.5.3	Generators Exempt from Deviation Charges	6-80

6.6.5.4	Base Point Deviation Payment	6-80

6.6.6	Reliability Must-Run Settlement	6-81

6.6.6.1	RMR Standby Payment	6-81

6.6.6.2	RMR Payment for Energy	6-84

6.6.6.3	RMR Adjustment Charge	6-86

6.6.6.4	RMR Charge for Unexcused Misconduct	6-87

6.6.6.5	RMR Service Charge	6-88

6.6.7	Voltage Support Settlement	6-90

6.6.7.1	Voltage Support Service Payments	6-90

6.6.7.2	Voltage Support Charge	6-93

6.6.8	Black Start Capacity	6-93

6.6.8.1	Black Start Capacity Payment	6-93

6.6.8.2	Black Start Capacity Charge	6-95

6.6.9	Emergency Operations Settlement	6-95

6.6.9.1	Payment for Emergency Power Increase directed by ERCOT	6-95

6.6.9.2	Charge for Emergency Power Increases	6-97

6.6.10	Real-Time Revenue Neutrality Allocation	6-98

6.7	Real-Time Settlement Calculations for the Ancillary Services	6-102

6.7.1	Payments for Ancillary Service Capacity Sold in a Supplemental Ancillary Service Market	6-102

6.7.2	Charges for Ancillary Service Capacity Replaced Due to Failure to Provide	6-104

6.7.3	Adjustments to Cost Allocations for Ancillary Services Procurement	6-106

7	Congestion Revenue Rights	7-1

7.1	Function of Congestion Revenue Rights	7-1

7.2	Characteristics of Congestion Revenue Rights	7-2

7.2.1	CRR Naming Convention	7-2

7.3	Types of Congestion Revenue Rights to Be Auctioned	7-2

7.3.1	Flowgates	7-3

7.3.1.1	Process for Defining Flowgates	7-3

7.3.1.2	Defined Flowgates	7-4

7.4	Allocation of Preassigned Congestion Revenue Rights	7-4

7.4.1	PCRR Allocation Eligibility	7-4

7.4.2	PCRR Allocation Terms and Conditions	7-4

7.5	CRR Auctions	7-8

7.5.1	Nature and Timing	7-8

7.5.2	CRR Auction Offers and Bids	7-10

7.5.2.1	CRR Auction Offer Criteria	7-10

7.5.2.2	CRR Auction Offer Validation	7-11

7.5.2.3	CRR Auction Bid Criteria	7-11

7.5.2.4	CRR Auction Bid Validation	7-12

7.5.3	ERCOT Responsibilities	7-12

7.5.3.1	Data Transparency	7-13

7.5.3.2	Auction Notices	7-14

7.5.4	CRR Account Holder Responsibilities	7-15

7.5.5	Auction Clearing Methodology	7-15

7.5.5.1	Creditworthiness	7-15

7.5.5.2	Disclosure of CRR Ownership	7-15

7.5.5.3	Auction Process	7-15

7.5.5.4	Simultaneous Feasibility Test	7-17

7.5.6	CRR Auction Settlements	7-18

7.5.6.1	Payment of an Awarded CRR Auction Offer	7-18

7.5.6.2	Charge of an Awarded CRR Auction Bid	7-19

7.5.6.3	Charge of PCRRs Pertaining to a CRR Auction	7-21

7.5.6.4	CRR Auction Revenues	7-22

7.5.7	Method for Distributing CRR Auction Revenues	7-26

7.6	CRR Balancing Account	7-27

7.7	Congestion Management in McCamey Area	7-28

7.7.1	Time Frame of Applicability for McCamey Area Flowgates	7-28

7.7.2	Determination of McCamey Area and the McCamey Flowgate(s)	7-28

7.7.3	Allocation of McCamey Flowgate Rights (MCFRIs)	7-29

7.7.3.1	Accommodation of New or Recommissioned WGRs	7-29

7.7.3.2	New or Recommissioned Unit Startup and Testing	7-30

7.7.3.3	New or Recommissioned Unit Commercial Operation	7-30

7.8	Bilateral Trades and ERCOT CRR Registration System	7-30

7.9	CRR Settlements	7-31

7.9.1	Day-Ahead CRR Payments and Charges	7-31

7.9.1.1	Payments and Charges for PTP Obligations Settled in DAM	7-31

7.9.1.2	Payments for PTP Options Settled in DAM	7-34

7.9.1.3	Minimum and Maximum Resource Prices	7-36

7.9.1.4	Payments for FGRs Settled in DAM	7-38

7.9.1.5	Payments and Charges for PTP Obligations with Refund Settled in DAM	7-41

7.9.1.6	Payments for PTP Options with Refund Settled in DAM	7-44

7.9.2	Real-Time CRR Payments and Charges	7-48

7.9.2.1	Payments and Charges for PTP Obligations Settled in Real-Time	7-48

7.9.2.2	Payments for PTP Options Settled in Real-Time	7-49

7.9.2.3	Payments for NOIE PTP Options with Refund Settled in Real-Time	7-52

7.9.3	CRR Balancing Account	7-55

7.9.3.1	DAM Congestion Rent	7-55

7.9.3.2	Credit to CRR Balancing Account	7-57

7.9.3.3	Shortfall Charges to CRR Owners	7-59

7.9.3.4	Monthly Refunds to Short-Paid CRR Owners	7-61

7.9.3.5	CRR Balancing Account Closure	7-62

8	Performance Monitoring and Compliance	8-1

8.1	QSE/Resource Performance Monitoring and Compliance	8-1

8.1.1	Generating Resource Governor Response Deployment Compliance Monitoring Criteria for Frequency Disturbances	8-3

8.1.2	QSE Ancillary Service Performance Standards	8-3

8.1.2.1	Ancillary Service Qualification and Testing	8-3

8.1.2.2	General Capacity Testing Requirements	8-4

8.1.2.2.1	Ancillary Service Technical Requirements and Qualification Criteria and Test Methods	8-6

8.1.2.2.2	Regulation Service	8-7

8.1.2.2.3	Responsive Reserve Service	8-8

8.1.2.2.4	Non-Spinning Reserve	8-9

8.1.2.2.5	Reactive Supply from Generation Resources providing Voltage Support Service (VSS)	8-11

8.1.2.2.6	System Black Start Capability	8-11

8.1.2.3	QSE Ancillary Service Capacity Compliance Monitoring Criteria	8-14

8.1.2.3.1	Regulation Service Capacity Monitoring Criteria	8-15

8.1.2.3.2	Responsive Reserve Service Capacity Monitoring Criteria	8-15

8.1.2.3.3	Non-Spinning Reserve Capacity Monitoring Criteria	8-15

8.1.2.4	QSE Ancillary Service Energy Deployment Compliance Monitoring Criteria	8-16

8.1.2.4.1	Regulation Service Energy Deployment Criteria	8-16

8.1.2.4.2	Responsive Reserve Service Energy Deployment Criteria	8-18

8.1.2.4.3	Non-Spinning Reserve Energy Deployed under Dispatch Instruction Criteria	8-20

8.1.2.4.4	Combinations of Reliability Service Energy Deployment Criteria	8-20

8.2	ERCOT Performance Monitoring and Compliance	8-21

8.3	TSP Performance Monitoring and Compliance	8-24

8.4	Non-Compliance	8-24

8.5	Frequency Response Requirements and Monitoring	8-25

8.5.1	Generation Resource and QSE Participation	8-25

8.5.1.1	Governor in Service	8-25

8.5.1.2	Reporting	8-25

8.5.2	Primary Frequency Control Measurements	8-25

8.5.2.1	ERCOT Required Primary Frequency Control Response	8-26

8.5.2.2	ERCOT Data Collection	8-27

9	SETTLEMENT AND BILLING	9-1

9.1	General	9-1

9.1.1	Settlement and Billing Process Overview	9-1

9.1.2	Settlement Calendar	9-1

9.1.3	Settlement Statement Access	9-2

9.1.4	Settlement Statement and Invoice Timing	9-2

9.1.5	Settlement Payment Convention	9-2

9.2	Settlement Statements for the Day-Ahead Market	9-2

9.2.1	Settlement Statement Process for the DAM	9-2

9.2.2	 Settlement Statements for the DAM	9-2

9.2.3	DAM Settlement Charge Types	9-3

9.2.4	DAM Statement	9-4

9.2.5	DAM Resettlement Statement	9-4

9.2.6	Notice of Resettlement for the DAM	9-5

9.2.7	Confirmation of Statement for the DAM	9-5

9.2.8	Validation of the Settlement Statement for the DAM	9-5

9.2.9	Suspension of Issuing Settlement Statements for the DAM	9-6

9.3	Settlement Invoices for the DAM	9-6

9.4	Payment Process for the DAM	9-7

9.4.1	Invoice Recipient Payment to ERCOT for the DAM	9-7

9.4.2	ERCOT Payment to Invoice Recipients for the DAM	9-7

9.4.3	Partial Payments by Invoice Recipients for the DAM	9-8

9.4.4	Enforcing the Security of a Short-Paying Invoice Recipient	9-9

9.4.5	Late Fees and Late Fee Invoices for the DAM	9-9

9.5	 Settlement Statements for Real-Time Market	9-11

9.5.1	Settlement Statement Process for the Real-Time Market	9-11

9.5.2	Settlement Statements for the RTM	9-11

9.5.3	Real-Time Market Settlement Charge Types	9-12

9.5.4	RTM Initial Statement	9-15

9.5.5	RTM Final Statement	9-15

9.5.6	RTM Resettlement Statement	9-15

9.5.7	Notice of Resettlement for the Real-Time Market	9-16

9.5.8	RTM True-Up Statement	9-16

9.5.9	Notice of True-Up Settlement Timeline Changes for the Real-Time Market	9-17

9.5.10	Confirmation for the Real-Time Market	9-17

9.5.11	Validation of the True-Up Statement for the Real-Time Market	9-17

9.5.12	Suspension of Issuing Settlement Statements for the Real-Time Market	9-18

9.6	Settlement Invoices for the Real-Time Market	9-18

9.7	Payment Process for the RTM	9-19

9.7.1	Invoice Recipient Payment to ERCOT for the RTM	9-19

9.7.2	ERCOT Payment to Invoice Recipients for the Real-Time Market	9-19

9.7.3	Partial Payments by Invoice Recipients for the RTM	9-20

9.7.4	Enforcing the Security of a Short-Paying Invoice Recipient	9-21

9.7.5	Late Fees and Late Fee Invoices for the RTM	9-22

9.8	CRR Auction Award Invoices	9-23

9.9	Payment Process for CRR Auction Award Invoices	9-24

9.9.1	Invoice Recipient Payment to ERCOT for the CRR Auction	9-24

9.9.2	ERCOT Payment to Invoice Recipients for the CRR Auction	9-25

9.9.3	Enforcing the Security of a Short-Paying CRR Auction Award Invoice Recipient	9-25

9.10	CRR Auction Revenue Distribution Invoices	9-25

9.11	Payment Process for CRR Auction Revenue Distribution	9-27

9.11.1	Invoice Recipient Payment to ERCOT for CRR Auction Revenue Distribution	9-27

9.11.2	ERCOT Payment to Invoice Recipients for CRR Auction Revenue Distribution	9-27

9.11.3	Partial Payments by Invoice Recipients for CRR Auction Revenue Distribution	9-27

9.11.4	Enforcing the Security of a Short-Paying CARD Invoice Recipient	9-28

9.12	CRR Balancing Account Invoices	9-28

9.13	Payment Process for the CRR Balancing Account	9-29

9.14	Settlement and Billing Dispute Process	9-30

9.14.1	Data Review, Validation, Confirmation, and Dispute of Settlement Statements	9-30

9.14.2	Notice of Dispute	9-30

9.14.3	Contents of Notice	9-31

9.14.4	 ERCOT Processing of Disputes	9-32

9.14.4.1	Open	9-32

9.14.4.2	Denied	9-32

9.14.4.3	Granted	9-33

9.14.4.4	Granted with Exceptions	9-33

9.14.4.5	Closed	9-34

9.14.5	Disputes for Operations Decisions	9-34

9.14.6	Reporting Capability for Disputes	9-34

9.15	Settlement Charges	9-35

9.15.1	Charge Type Matrix	9-35

9.16	Administrative Fees	9-35

9.16.1	ERCOT System Administration Charge	9-35

9.16.2	Texas Non-ERCOT Load Serving Entity Fee	9-36

9.16.3	Application Fee	9-36

9.16.4	Private Wide Area Network Fees	9-36

9.17	Transmission Billing Determinant Calculation	9-36

9.17.1	Billing Determinant Data Elements	9-37

9.17.2	Direct Current Tie Schedule Information	9-37

9.18	Profile Development Cost Recovery Fee for Non-ERCOT Sponsored Load Profile Segment	9-38

12	Market Information System	12-1

12.1	Overview	12-1

12.2	ERCOT Responsibilities	12-1

12.3	MIS Administrative and Design Requirements	12-1

12.4 	ERCOT Internet Website	12-2

16	REGISTRATION AND QUALIFICATION OF MARKET PARTICIPANTS	16-1

16.1	Qualification, Registration, and Execution of Agreements	16-1

16.2	Registration and Qualification of Qualified Scheduling Entities	16-1

16.2.1	Criteria for Qualification as a Qualified Scheduling Entity	16-1

16.2.2	QSE Application Process	16-3

16.2.2.1	Notice of Receipt of Qualified Scheduling Entity Application	16-4

16.2.2.2	Incomplete Applications	16-4

16.2.2.3	ERCOT Approval or Rejection of Qualified Scheduling Entity Application	16-4

16.2.3	Remaining Steps for Qualified Scheduling Entity Registration	16-5

16.2.3.1	Qualified Scheduling Entity Service Filing	16-5

16.2.3.2	Process to Gain Approval to Follow DSR Load	16-6

16.2.3.3	Maintaining and Updating QSE Information	16-6

16.2.3.4	Qualified Scheduling Entity Service Termination	16-6

16.2.4	Posting of Qualified Scheduling Entity List	16-7

16.2.5	Default Qualified Scheduling Entity	16-7

16.2.5.1	Designation as the Default Qualified Scheduling Entity	16-7

16.2.5.2	Assignment to the Default Qualified Scheduling Entity	16-7

16.2.5.3	Market Participation by Default Qualified Scheduling Entity	16-8

16.2.6	Emergency Qualified Scheduling Entity	16-8

16.2.6.1	Designation as an Emergency Qualified Scheduling Entity or Virtual Qualified Scheduling Entity	16-8

16.2.6.2	Market Participation by an Emergency Qualified Scheduling Entity or a Virtual Qualified Scheduling Entity	16-9

16.2.6.3	Requirement to Obtain New Qualified Scheduling Entity or Qualified Scheduling Entity Qualification	16-9

16.2.7	Acceleration	16-9

16.3	Registration of Load Serving Entities	16-10

16.3.1	Technical and Managerial Requirements for LSE Applicants	16-10

16.3.1.1	Designation of a Qualified Scheduling Entity	16-10

16.3.2	Registration Process for Load Serving Entities	16-11

16.3.2.1	Notice of Receipt of Load Serving Entity Application	16-11

16.3.2.2	Incomplete Load Serving Entity Applications	16-11

16.3.2.3	ERCOT Approval or Rejection of Load Serving Entity Application	16-11

16.3.3 	Changing QSE Designation	16-12

16.3.4.	Maintaining and Updating LSE Information	16-12

16.3.5	Load Serving Entities Outside of ERCOT	16-13

16.4	Registration of ERCOT and Non-ERCOT Transmission and Distribution Service Providers	16-13

16.5	Registration of a Resource Entity	16-13

16.5.1	Technical and Managerial Requirements for Resource Entity Applicants	16-14

16.5.1.1	Designation of a Qualified Scheduling Entity	16-14

16.5.1.2	Waiver for Federal Hydroelectric Facilities	16-14

16.5.1.3	Waiver for Block Load Transfer Resources	16-15

16.5.2	Registration Process for a Resource Entity	16-15

16.5.2.1	Notice of Receipt of Resource Entity Application	16-15

16.5.2.2	Incomplete Resource Entity Applications	16-15

16.5.3	Changing QSE Designation	16-16

16.5.4	Maintaining and Updating Resource Entity Information	16-17

16.6	Registration of Municipally Owned Utilities and Electric Cooperatives in the ERCOT Region	16-17

16.7	Registration of Renewable Energy Credit Account Holders	16-17

16.8	Registration and Qualification of Congestion Revenue Rights Account Holders	16-18

16.8.1	Criteria for Qualification as a CRR Account Holder	16-18

16.8.2	CRR Account Holder Application Process	16-19

16.8.2.1	Notice of Receipt of CRR Account Holder Application	16-19

16.8.2.2	Incomplete Applications	16-19

16.8.2.3	ERCOT Approval or Rejection of CRR Account Holder Application	16-20

16.8.3	Remaining Steps for CRR Account Holder Registration	16-20

16.8.3.1	Maintaining and Updating CRR Account Holder Information	16-21

16.9	Resources Providing Reliability Must-Run Service	16-21

16.10	Resources Providing Black Start Service	16-21

16.11	Financial Security for Counter-Parties	16-21

16.11.1	ERCOT Creditworthiness Requirements for Counter-Parties	16-21

16.11.2	Requirements for Setting a Counter-Party’s Unsecured Credit Limit	16-22

16.11.3	Alternative Means of Satisfying ERCOT Creditworthiness Requirements	16-23

16.11.4	 Determination and Monitoring of Counter-Party Credit Exposure	16-23

16.11.4.1	Determination of Total Potential Exposure for a Counter-Party	16-23

16.11.4.2	Determination of Counter-Party Initial Estimated Liability	16-24

16.11.4.3	Determination of Counter-Party Estimated Aggregate Liability	16-26

16.11.4.4	Determination of Counter-Party Aggregate Incremental Liability	16-27

16.11.4.5	Credit Requirements for DAM Participation	16-28

16.11.4.6	Determination of the Counter-Party Future Credit Exposure	16-29

16.11.4.7	Credit Requirements for CRR Auction Participation	16-33

16.11.5	Monitoring of a Counter-Party’s Creditworthiness and Credit Exposure by ERCOT	16-33

16.11.6	Payment Breach and Late Payments by Counter-Parties	16-36

16.11.6.1	ERCOT’s Remedies	16-37

16.11.6.1.1	No Payments by ERCOT to Counter-Parties	16-37

16.11.6.1.2	ERCOT May Draw On, Hold or Distribute Funds	16-37

16.11.6.1.3	Aggregate Amount Owed by Breaching Counter-Party Immediately Due	16-37

16.11.6.1.4	Repossession of CRRs by ERCOT	16-37

16.11.6.1.5	Revocation of a Counter-Party’s Rights and Termination of Agreements	16-38

16.11.6.2	ERCOT’s Remedies for Late Payments by a Counter-Party	16-38

16.11.6.2.1	First Late Payment in Any Rolling 12-Month Period	16-38

16.11.6.2.2	Second Late Payment in Any Rolling 12-Month Period	16-39

16.11.6.2.3	Third Late Payment in Any Rolling 12-Month Period	16-39

16.11.6.2.4	Fourth and All Subsequent Late Payments in Any Rolling 12-Month Period	16-39

16.11.6.2.5	Level I Enforcement	16-40

16.11.6.2.6	Level II Enforcement	16-40

16.11.6.2.7	Level III Enforcement	16-40

16.11.6.3	Late Payment Fee	16-41

16.11.7	Release of Counter-Party’s Financial Security Requirement	16-41

16.11.8	Acceleration	16-41

16.12	User Security Administrator and Digital Certificates	16-41

16.12.1	USA Responsibilities and Qualifications for Digital Certificate Holders	16-42

16.12.2	Requirements for Use of Digital Certificates	16-44

16.12.3	Market Participant Audits of User Security Administrators and Digital Certificates	16-44

17	Market Monitoring and Data Collection	17-1

17.1	Overview	17-1

17.2	Objectives and Scope of Market Monitoring Data Collection	17-1

17.3	Market Data Collection and Use	17-1

17.3.1	Information System Data Collection and Retention	17-1

17.3.2	Data Categories and Handling Procedures	17-2

17.3.3	Accuracy of Data Collection	17-2

17.3.4	PUCT Staff and WEMM Review of Data Collection	17-2

17.3.5	Data Retention	17-2

17.4	Provision of Data to Individual Market Participants	17-3

17.5	Reports to PUCT Staff, WEMM, and the FERC	17-3

17.6	Changes to Facilitate Market Operation	17-3

22	Attachment F: Standard Form Reliability Must-Run Agreement	22F-1

22	Attachment HMP: Standard Form Market participant Agreement	22HMP-1