## RTM
| Document Name: | TN.COMS.63C01.DATA.AGG.CSD.A.doc
# | Issuing Entity | Name | Page Number | Description | Accepted / Rejected / Response | Reviewer | Reason
9 | Reliant | mw | 1 | Title Page [Reliant: This document doesn’t seem to incorporate comments on the business requirements document—for the LSEG for example. Also, we recommend that this document be reviewed through COPS Settlements and Data Aggregation working group to ensure that the calculations meet the intent of the protocols. Also, this document uses definitions (CM Zone, and PGC for example) that don’t exist in nodal. Additionally, this document needs to be more clear on the use of term generation. Protocol terms should be used. The general term is Resource and there are sub-categories, such as Generation Resource and Load Resource. This document should use language that conforms to the nodal protocols so that all parties understand what will occur under nodal. Thanks.] | Response | G. Wariner C.Opheim | can examples be provided as to what comments were not incorporated based on comments to the business requirements document? agree that COPS should review calculations agree that terms are used which aren't in nodal protocols (CM Zone, PGC). This was covered during the requirements review which described that new nodal data agg billing determinants would be created by using the existing zonal data agg billing determinants. agree that this document should be more clear on the term generation (should use Generation Resource)
10 | Reliant | mw | 8 | 2.3/A10 ed was added to detail | Rejected | G. Wariner | This will be a detail design process
11 | Reliant | mw | 8 | 2.3/A10 [Reliant: will this document be updated to reflect the changes?] | Response | G. Wariner | No. As stated, if the change does not change the original requirements, we will only document the change in the detail design
12 | Reliant | mw | 9 | 2.3/A10 <CM> = Congestion Management Zone [Reliant: this does not exist in nodal] | Response | G. Wariner | Per Requirements, Nodal changes for Data Aggregation will be built on the existing Zonal data infrastructure. Input data needed to calculate Nodal defined data sets contains this characteristic. This is only documenting existing data that will be used as input data for the new calculations.
13 | Reliant | mw | 9 | 2.3/A10 <PGC> = Power Generation Company [Reliant: this does not exist in the Protocols] | Response | G. Wariner | Per Requirements, Nodal changes for Data Aggregation will be built on the existing Zonal data infrastructure. Input data needed to calculate Nodal defined data sets contains this characteristic. This is only documenting existing data that will be used as input data for the new calculations.
14 | Reliant | mw | 9 | 2.3/A10 <GSC> = Generator Site Code [Reliant: this does not exist in the Protocols. Will this map to the NMMS model? If not, where does this code come from?] | Response | G. Wariner C. Opheim | Per Requirements, Nodal changes for Data Aggregation will be built on the existing Zonal data infrastructure. Input data needed to calculate Nodal defined data sets contains this characteristic. This is only documenting existing data that will be used as input data for the new calculations. Also, GSC will map to the NMMS model.
15 | Reliant | mw | 9 | 2.3/A10 <GUC> = Generator Unit Code Reliant: this does not exist in the Protocols. Will this map to the NMMS model? If not, where does this code come from and how will it be mapped to each Resource Settlement Point?] | Response | G. Wariner C. Opheim | Per Requirements, Nodal changes for Data Aggregation will be built on the existing Zonal data infrastructure. Input data needed to calculate Nodal defined data sets contains this characteristic. This is only documenting existing data that will be used as input data for the new calculations. Also, GUC will map to the NMMS model.
16 | Reliant | mw | 9 | 2.3/A10 <NC> = NOIE Code | Accepted | G. Wariner
17 | Reliant | mw | 9 | 2.3/A10 [Reliant: please define UOM (unit of measure?) and IPH (interval per hour?) before they are used in the tables below.] | Accepted | G. Wariner | Added to section 1.3
18 | Reliant | mw | 10 | 3.1.3 Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?] | Response | G. Wariner | We fixed the diagram
19 | Reliant | mw | 11 | 3.2.3 [Reliant: Note that Nodal does not have CM Zones. It has Load Zones.] | Response | G. Wariner | The input data used to calculate RTAML will include CMZONE references because we will not change the way LSEGUFE is calculated.
20 | Reliant | mw | 11 | 3.2.4 [Reliant: Note that the nodal definition of Settlement Point is: a Resource Node, Load Zone or Hub. The value below, RTAML<Q><SP> appears to be the QSE’s Real-Time Adjusted Metered Load at a Settlement Point. What exactly does the <SP> stand for in the value below? ] | Response | G. Wariner | <SP> stands for the Settlement Point representing the Load Zone.
21 | Reliant | mw | 12 | 3.3.2 [Reliant: What exactly does the <SP> stand for in the value below?] | Response | G. Wariner | <SP> stands for the Settlement Point representing the Load Zone.
22 | Reliant | mw | 14 | 3.4.2. [Reliant: What exactly does the <SP> stand for in the value below?] | Response | G. Wariner | <SP> stands for the Settlement Point representing the Load Zone.
23 | Reliant | mw | 16 | 3.6.1 The Monthly Load Ratio Share Zonal per QSE per CMZ [Reliant: note that CM zones don’t exist in nodal, but Load Zones do exist in nodal.] | Response | G. Wariner | Updated document to show Load Zone instead of CMZ
24 | Reliant | mw | 18 | 3.7.1 A calculation is performed for each settlement interval for each meter associated with a Generation Site [Reliant: does this mean Generation Resource? Does it include Load Resources?] | Response | C. Opheim | A Generation Site means a location where one or more Generation Resources are located. Generation Resource output is determined via a netting of all meters installed at a generation site. This does not include Load Resources.
25 | Reliant | mw | 18 | 3.7.3 Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?] | Response | G. Wariner | Fixed diagram
26 | Reliant | mw | 20 | 3.8 The following section introduces the calculation of the Net Meter Real-Time Energy Total (NMRTETOT). [Reliant: does this work for Load Resources? If it is only for Generation Resources it should be clear.] | Response | G. Wariner | This does not work for Load Resources. Net metering should only occur with generation resources.
27 | Reliant | mw | 20 | 3.8.1 Introduction [Reliant: use of ‘generation site’ needs to be changed to conform to protocols in all instances where it is used in this document.] | Rejected | G. Wariner | Per requirements, ERCOT will be using the generation site code to manage net metering arrangements.
28 | Reliant | mw | 20 | 3.8.3 Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?] | Response | G. Wariner | Fixed diagram
29 | Reliant | mw | 21 | 3.9.2 GSITETOT_<Q>_<GSC>_<NC>_< >_<UFE>_ <CM>_<TDSP>_<SUFE>_<GUC>_<P> (Reliant deleted PGC from cut name) | Rejected | G. Wariner | Per Requirements, PGC is part of the data cut GSITETOT.
30 | Reliant | mw | 21 | 3.9.2 [Reliant: What is “P”? Does this calculation work for Load Resources? Where does GUC come from? PGC is not a defined term in the protocols. Is this the same as a Resource Entity?] | Response | G. Wariner | P stands for Resource Node. We will not calculate RTMP for Load Resources. A single GSITETOT cut is created for each generating unit with the unit being designated by the <GUC> attribute. The <GUC> attribute of the GSITETOT cut is the same as the Generation Resource <R> attribute in the RTMG cut
31 | Reliant | mw | 21 | 3.9.3 Error! Objects cannot be created from editing field codes. [Reliant: what does this mean? It sounds like the data point is both a field code and a variable. How can something be both a field code and a variable?] | Response | G. Wariner | Fixed diagram
32 | Reliant | mw | 21 | 3.9.4 [Reliant: is the “R” a Resource? What is “P”?] | Response | G. Wariner | R represents the Resource and P represents the resource node -- (change to settlement point)
33 | Reliant | mw | 22 | 3.10.2 GSITETOT_<Q>_<GSC>_<NC>_<PGC>_<UFE>_ <CM>_<TDSP>_<SUFE>_<GUC>_<P> (Reliant highlighted PGC and P) I would assume that they don't understand what these are. | Response | G. Wariner | Regarding PGC Per Requirements, Nodal changes for Data Aggregation will be built on the existing Zonal data infrastructure. Input data needed to calculate Nodal defined data sets contains this characteristic. Regarding P Resources will be mapped to a Resource Node and GSITETOT will be updated to contained the Resource Node.
34 | Reliant | mw | 26 | 4.4 The Settlements system will NOT be accessible by external groups such as Market Participants. Some of the data captured and generated by the Settlements system will be stored in ERCOT’s data warehouse and may be made available to outside parties via the Market Information System (ERCOT IT Staff) [Reliant: what does the inclusion of “ERCOT IT Staff” here mean?]. | Response | G. Wariner | Replaced text with the following: Data Extracts from the Enterprise Information System will be available to outside parties via the Market Information System (MIS).
35 | Reliant | mw | 26 | 4.5 The Nodal System will use similar metrics unless it is specified otherwise. [Reliant: who will determine if this time requirement changes? When will this be finalized?] | Response | G. Wariner | Added the following text to clarify: The Settlements Business and IT groups will make the relevant decisions during the Integration Test phase.
36 | Reliant | mw | 27 | 4.7 The Settlements system shall comply with ERCOT Texas Nodal standards for usability requirements. For all User Interfaces, there will be a Usability Evaluation conducted by the Usability Group. [Reliant: Who is part of the ‘usability group’? Does this include market participants or only ERCOT users or is it system dependent?] | Response | G. Wariner | Replaced last sentence with the following text: There is a Usability Group within ERCOT that is responsible for reviewing all User Interfaces for Nodal Projects. If necessary, this group will conduct an Usability Evaluation for the Settlements System.
37
38
39
40
41
42