## Slide 1: PDCWG Report to ROS February 15, 2007
Bob Green
PDCWG Chair
Garland Power & Light

## Slide 2: ERCOT Control Performance January 2007
Control performance in January was better than last December.
On the 15 minute interval graph improvement can be seen around the evening peak and 2200 hour.
There were good daily scores between January 15th and January 25th.
RMS1 data improved as well

## Slide 8: PDCWG Goals and Planned Tasks for 2007
Review QSE performance during Disturbances (M)
Submit CT Governor test procedure OGRR (Q1)
Update QSE Response graphs (Q3)
Submit Nodal control performance NPRR (Q2)
Document QSE Nodal AGC Guidelines (Q1)
Illustrate LAAR impact on Nodal operations (Q1)
Review Nodal RRS and NSRS Compliance Criteria (Q3)
Bi-annual ERCOT Bias recommendations (Q2, Q4)
Complete ROS assignments (As Required)