## Slide 1: Update on GATF Activities
Retail Operations Subcommittee
February 15, 2007
Malcolm Smith
GATF Chair

## Slide 2: Task Force Meeting Summary
The Generation Adequacy Task Force has met six times in 2006 and 2007:
  May 25th
  July 14th
  September 18th
  November 17th
  January 12th
  January 26th

## Slide 3: CDR Methodology Components
Load Forecast
Demand Response
DC Ties
“Switchable” Capacity
Wind Capacity
“Mothballed” Capacity
Retired Capacity
Private Network Capacity
New Generating Capacity

## Slide 4: GATF Recommendations
Load Forecast – No Change
Demand Response - No Change
DC Ties - No Change
“Switchable” Capacity - No Change
Wind Capacity – Increase from 2.6% to 8.7%
“Mothballed” Capacity - No Change
Retired Capacity - No Change
Private Network Capacity – No Change
New Generating Capacity - No Change, But…

## Slide 5: Recommendations - Detail
Wind Capacity
  Best estimate determined to be capacity equivalence from the LOLP study.
  ERCOT intends to run LOLP study biannually (which is a pending topic at GATF).
New Generating Capacity
  No change, but
  Will change “below the line” format to list new generation that is in the interconnection queue at ERCOT and/or generation that has an air permit but not a signed Interconnect Agreement.
  Project developers are being asked to communicate air permit status to ERCOT.

## Slide 6: Format Changes to CDR
Recommend several format changes to summary:
Delete reserve margin percentages for “high” , “low”, and “publicly announced”
Add line item for “uncommitted” (?) capacity (including remaining “mothballed” capacity and wind at X% capacity value)

## Slide 7: Next Steps
Because changes are so slight, GATF is formulating a written addendum to last year’s report as its Final Report.
GATF planning to submit Final Report to TAC in March.

## Slide 9
Questions?