## Slide 1: Analysis of Reserve Discount Factor
Presented to ROS 02/15/2007

## Slide 6: Conclusion
Recommend using 4% Reserve Discount Factor November – March
  Low probability of Temperatures having a diverse impact on unit limits
  History has indicated the need for a discount to be applied to Reserves
Recommend using 7% April – October
  Units may not be able to perform as well as tested capability due to higher temperatures
  History has indicated the need for a discount to be applied to Reserves