| PRR Number | 708 | PRR Title | Data Provided by ERCOT to TDSPs |
| --- | --- | --- | --- |
| Date |  | 02/21/07 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bill Bojorquez on behalf of ERCOT |  |
| E-mail Address |  | bbojorquez@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 West Lake Drive Taylor, Texas 76574 |  |
| Phone Number |  | 512-248-3036 |  |
| Fax Number |  |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Current systems developed by ERCOT to allow entities to verify meter data supplied to ERCOT will be in place for this purpose. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | All Areas | None |
|  | 2 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | All Areas | More cost effective transmission plans which lead to lower TCOS. |
|  | 2 |  |  |
| Additional Qualitative Information | 1 | Allows TDSPs timely access to interval load and generation data necessary to improve planning and operating activities related to their transmission and distribution systems. |  |
|  | 2 |  |  |
| Other | 1 | None |  |
| Comments | 2 |  |  |

Comments

ERCOT proposes the changes below to offer more explicit criteria in evaluating the TDSPs’ requests for Load and generation data that they do not own.

Revised Proposed Protocol Language

12.4.4.1.2	ERCOT Responsibilities

ERCOT is required to provide the following power operation data to TDSPs, in accordance with confidentiality as defined in Section 1.3, Confidentiality, of these Protocols:

(1)	Relevant information for the purpose of providing reliability as determined by ERCOT, including but not limited to:

(a)	Status of any breakers and switches in ERCOT's Real Time data base;

(b)	State estimator solutions;

(c)	Transmission line flows and voltages;

(d)	Transformer information;

(e)	QSE Resource data;

(f)	Voltage schedules at major transmission busses;

(2)	Interval meter data for Load and generation.  This data shall include meter data measured at points of injection and points of delivery which will measurably impact the TDSP’s planning and operations (e.g., determination of TDSP’s system Load or power flows).

ERCOT will give notice to the Entities supplying the above list of data to ERCOT upon the initial provision of such data to the TDSP.