## Slide 1: EILS Discussion
February WMS

## Slide 2: Charge to WMS from PRS
The benefit.
The cost based on the EILS PRRs.
Changes in Market since April 17, 2006

## Slide 3: EILS Benefit
EILS is to be used as the last step before firm load shed
Firm load shed historically has occurred at a rate of 1 event every 15 years
Assume that the firm load shed prevented would be 1000MW (the maximum size of the EILS program)
Assume that the value of lost load is $6,000/MWh (slightly under the DOE value calculated for the Northeast blackout)
Assume that an event lasts approximate 4 hours
Assume that EILS can be used in ALL firm load shed events
Assume that the performance of EILS is quick enough to prevent ERCOT from requiring firm load shed as well

## Slide 4: Calculation
The value provided by EILS is the avoided cost of the outage prevented:
Value = Risk of outage * cost of outage
= (1 event/15 yr) * ($6000/MWh * 1000MW * 4 hr)
= $1.6M/yr

## Slide 5: Additional Benefit
May help avoid the ERCOT SHEDS FIRM LOAD headline**
This is a real objective of the program. How do we put a value on it?
** ROS does not seem to think it will help. [ROS motion]
ROS does not believe that EILS program as it has been defined in PRR705
is an effective reliability tool, and suggests that other tools that are
more effective, or revisions to PRR705 that would make it effective, can
be developed with further study as has been tasked for ROS to do.

## Slide 6: Cost of the EILS PRRs To ERCOT
702: Assuming complexities removed, potentially $50K-$100K; otherwise, will require capital project for settlement changes.
703: Assuming complexities removed, potentially $50K-$100K; otherwise, will require capital project for operational changes.
704: Assuming complexities removed, potentially $50K-$100K; otherwise, will require capital project for settlement changes.
705: $50K-$100K under O&M budgets of affected departments.

## Slide 7: Cost of the EILS PRRs To Consumers
Comments filed on PRR 702 include a discussion of a $43.8 M Cap
PRR 705 has a $20M Cap

## Slide 8: Changes in Market since April 17, 2006
Forecasting Model refinements
Terminating Modified Competitive Solution Method
Terminating CSC congestion constraint on BES MCPE
Revised EECP and Alert process and procedures
Raised offer cap