## Slide 1
WMS Update: Demand Side Working Group February 21, 2007
Mary Anne Brelinsky Eagle Energy Partners

## Slide 2: Demand Side Working Group Meeting Agenda

## Slide 3: LaaR Qualified to Supply Ancillary Services

## Slide 4: LaaR Participation in RRS in 2006

## Slide 5: LaaR Performance on December 22nd

## Slide 6: PRR to Improve LaaR Performance
LaaR deployments that took place on 4/17/06 and 10/3/06 did not perform as expected
DSWG and ERCOT drafted a PRR that:
  Tightens requirements on initial qualification
  Initiates periodic testing requirements
  Provides for more clearly defined conditions that would disqualify a LaaR for under/non-performance
PRR was supported by DSWG on February 9th
DSWG would like WMS support prior to submission to PRS

## Slide 7: LaaR Update on Participation in RPRS

## Slide 8: LaaR Update on Participation as a Controllable Load
Status Summary:
Initiated pilot project in October of 2006
Pilot limited to 10 MWs and only one Load Resource
Pilot successfully concluded in early January 2007
At January PUCT Open Meeting the PUCT directed ERCOT to open service up to all participants
ERCOT estimates up to 150 MWs of load to participate
Targeting early March for ERCOT-wide release

## Slide 9: Update on Emergency Interruptible Load Response
PUC Rulemaking:

## Slide 10: EILR Operation Issues
ERCOT operation implications include:
  Procure a minimum subscription of 500 MWs required with a limit of 1,000 MWs procured per period
  Deploy EILR thru VDI hotline call to QSEs
  Deploy EILR as a single block after all market-based resources have been deployed
QSEs responsible for:
  Knowing EILS Resources committed at all times
  Issuing dispatch instructions to the loads
EIL Loads must:
  Shed full commitment of MWs within 10 minutes of VDI
  Stay at committed level throughout deployment
  Return to service commitment within 10 hours of end of event
EILS deployment will allow faster recovery of the system