## Slide 1: CSC Utilization Report Q1-4 - 2006
WMS
21 February, 2007
revised

## Slide 2: Outline
Zonal congestion – costs and quantity
Active and binding intervals
Actual CSC flows vs limits
Costs of over constraining
Summary
  South-Houston had the highest costs with most of these costs occurring during November & December.
  Overall costs in 2006 were lower than 2005.

## Slide 3: CSC Congestion Charges collected from QSEs
$Million | E_N | N_H | S_H | S_N | W_N | N_W | TOTAL
2006 total | 7.5 | 8.4 | 31.4 | 1.5 | 0.2 | 3.0 | 52.0
2005 total | 0 | 25.7 | 39.2 | 8.9 | ~0 | 5.3 | 79.0

## Slide 4: Number of Intervals Constraints were Binding
 | E_N | N_H | S_H | S_N | W_N | N_W
2006 total | 198 | 504 | 2192 | 588 | 47 | 361
2005 total | 0 | 884 | 1516 | 1135 | 11 | 328

## Slide 5: Summary of Zonal Congestion Occurrences - Intervals
 | N_H |  | S_H |  | S_N |  | E_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 10 | 10 | 16 | 11 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 18 | 13 | 131 | 89 | 0 | 0 | 13 | 8 | 0 | 0
Mar | 7 | 6 | 8 | 5 | 0 | 0 | 18 | 16 | 0 | 0 | 2 | 2
Apr | 131 | 106 | 236 | 186 | 5 | 0 | 173 | 164 | 14 | 2 | 7 | 2
May | 100 | 68 | 175 | 130 | 42 | 33 | 2 | 2 | 34 | 21 | 0 | 0
Jun | 27 | 17 | 254 | 173 | 85 | 56 | 0 | 0 | 151 | 128 | 12 | 9
Jul | 26 | 16 | 157 | 72 | 325 | 232 | 0 | 0 | 61 | 43 | 9 | 9
Aug | 27 | 18 | 129 | 78 | 213 | 129 | 0 | 0 | 187 | 147 | 11 | 8
Sep | 195 | 162 | 82 | 71 | 33 | 21 | 1 | 1 | 12 | 12 | 18 | 14
Oct | 164 | 111 | 199 | 147 | 20 | 12 | 13 | 13 | 0 | 0 | 6 | 2
Nov | 0 | 0 | 1113 | 901 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
Dec | 0 | 0 | 483 | 406 | 8 | 5 | 0 | 0 | 0 | 0 | 0 | 0
2006 total | 677 | 504 | 2864 | 2192 | 878 | 588 | 205 | 198 | 472 | 361 | 66 | 47
2005 total | 1239 | 884 | 2127 | 1516 | 1578 | 1135 | 0 | 0 | 569 | 328 | 22 | 11

## Slide 6: Summary of Zonal Congestion Occurrences - Days
 | N_H |  | S_H |  | S_N |  | E_N |  | N_W |  | W_N | 
 | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding | Active | Binding
Jan | 0 | 0 | 1 | 1 | 4 | 2 | 0 | 0 | 0 | 0 | 0 | 0
Feb | 0 | 0 | 2 | 2 | 6 | 5 | 0 | 0 | 1 | 1 | 0 | 0
Mar | 1 | 1 | 3 | 1 | 0 | 0 | 2 | 2 | 0 | 0 | 1 | 1
Apr | 10 | 8 | 22 | 19 | 3 | 0 | 7 | 7 | 5 | 2 | 3 | 1
May | 9 | 8 | 12 | 12 | 4 | 4 | 1 | 1 | 7 | 6 | 0 | 0
Jun | 6 | 6 | 21 | 21 | 11 | 8 | 0 | 0 | 12 | 12 | 2 | 2
Jul | 2 | 2 | 14 | 14 | 16 | 16 | 0 | 0 | 6 | 6 | 2 | 2
Aug | 3 | 3 | 16 | 13 | 18 | 14 | 0 | 0 | 15 | 14 | 3 | 3
Sep | 10 | 10 | 7 | 7 | 2 | 2 | 1 | 1 | 3 | 3 | 2 | 2
Oct | 11 | 10 | 10 | 9 | 3 | 3 | 3 | 3 | 0 | 0 | 3 | 2
Nov | 0 | 0 | 23 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
Dec | 0 | 0 | 13 | 13 | 2 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2006 total | 52 | 48 | 144 | 135 | 69 | 55 | 14 | 14 | 49 | 44 | 17 | 14
2005 total | 51 | 49 | 111 | 108 | 101 | 93 | 0 | 0 | 50 | 46 | 3 | 3

## Slide 7: CSC Limits vs Actual Flows: N_H Jan – Dec 2006

## Slide 8: CSC Limits vs Actual Flows: S_N Jan – Dec 2006

## Slide 9: CSC Limits vs Actual Flows: S_H Jan – Dec 2006

## Slide 10: CSC Limits vs Actual Flows: N_W Jan – Dec 2006

## Slide 11: CSC Limits vs Actual Flows: E_N Jan – Dec 2006

## Slide 12: Duration Curves: N_H

## Slide 13: Duration Curves: S_N

## Slide 14: Duration Curves: S_H

## Slide 15: Duration Curves: N_W

## Slide 16: Unused CSC capacity: Jan – Dec 2006

## Slide 17: Unused CSC capacity: Jan – Dec 2006

## Slide 18: Costs of Over-constraining vs. Under-constraining
Taking all binding intervals where the actual CSC flow is less than 100% of CSC limit.
Multiply the difference between the actual flow and 100% of the limit, times the Shadow Price.
Taking intervals where the actual flow is greater than the CSC limit.
Multiply the difference between the flow and the limit, times the average Shadow Price.

## Slide 19: Costs of Over-constraining vs. Under-constraining 2005
Taking all binding intervals where the actual CSC flow is less than 100% of CSC limit.
Multiply the difference between the actual flow and 100% of the limit, times the Shadow Price.
Taking intervals where the actual flow is greater than the CSC limit.
Multiply the difference between the flow and the limit, times the average Shadow Price.

## Slide 20: Average difference between limits & flows