## Slide 1
Report on Existing and Potential Electric System Constraints and Needs Technical Advisory Group Austin Control Center February 1, 2007
Kenneth A. Donohoo, P.E.
Manager
Transmission Services
System Planning
kdonohoo@ercot.com

## Slide 2: Requirements
Public Utility Regulatory Act (PURA) Section 39.155 (b)
Public Utility Commission Substantive Rule 25.361 (c) (15)
North American Electric Reliability Corporation (NERC) Standards
  TPL-001-0 System Performance Under Normal Conditions
  TPL-002-0 System Performance Following Loss of a Single BES Element
  TPL-003-0 System Performance Following Loss of Two or More BES Elements
  TPL-004-0 System Performance Following Extreme BES Events
  TPL-005-0 Regional and Interregional Self-Assessment Reliability Reports
  TPL-006-0 Assessment Data from Regional Reliability Organizations

## Slide 3: Report
Identifies and analyzes existing and potential constraints that pose reliability concerns or increase costs to consumers
Part of our efforts to plan a reliable and efficient transmission system
Communicates data and processes
Information provided
  Load
  Generation
  Congestion
  Improvement costs
  Completed improvements 2005 to 2006
  Planned improvements 2006 to 2010
  Projected Constraints 2007 to 2011
  ERCOT’s Role
  Planning Considerations

## Slide 4: Major Completed Improvements
Since 2005, ERCOT Transmission Service Providers (TSPs) have completed numerous improvement projects totaling over 1,800 circuit miles of transmission and 22,000 MVA of autotransformer capacity, with an estimated capital cost of over $1.3 billion.

## Slide 5: Major Planned Improvements
The projects identified in this report to serve the electric system through 2011 are estimated to cost approximately $3.1 billion over the next 5 years and are expected to improve or add 3,295 circuit miles of transmission lines and 17,900 MVA of autotransformer capacity to the ERCOT system.

## Slide 6: Improvement Project Cost
Comparing Improvement Costs to Congestion Costs
Direct comparison of improvements costs and congestion costs is possible only when factoring in the time frame. Improvement costs are spread over many years while congestion costs are paid for on an annual basis. It is imprecise to directly compare them side by side.

## Slide 7: Congestion Cost
Intrazonal congestion costs have also decreased from over $400 million in 2003 to about $250 million in 2005 and less than $150 million from January to August 2006. Most of this decrease can be attributed to improvements in the transmission system and operational improvements.
Zonal congestion costs have decreased from over $140 million in 2001 to less than $80 million in 2005 and less than $40 million for January to August 2006. This decrease can be attributed to the implementation of direct assignment of zonal costs to market participants scheduling energy over the constraints and ongoing improvements to the transmission system.

## Slide 8: Communication and Links
Media Contact
Dottie Roark 512-225-7024, cell 512-413-3379
Internet Links
  ERCOT Home Page
  http://www.ercot.com
  Information Requests. For general communications and queries, the public can submit a request for information at:
  http://www.ercot.com/about/contact/inforequest.cfm
  Generation Interconnection or Change Request Procedure
  http://www.ercot.com/gridinfo/generation/index.html
  Operations and System Planning Data Area
  http://oldercot.ercot.com/tmaps/login.cfm
    Users must register for access to this area.
    Major data folders of interest in this area
      Power System Planning Charter and Processes
      Capacity, Demand, and Reserves Reports (information on generation capacity, projected demand and reserve margins)
      Demand and Energy Reports (D&E) Monthly Actuals (historical data about load and energy)
      Generation Project Interconnection Information (data on generation interconnection projects)
      Maps of ERCOT Transmission System (in many formats including AutoCad and PowerPoint)
      Regional Planning Group NORTH
      Regional Planning Group SOUTH
      Regional Planning Group WEST
      Steady-State Base Case Info and Old Data
      Steady-State Power Flow Base Cases
      System Protection Short-Circuit Data
      Transmission Project and Information Tracking (TPIT) (detailed data about transmission projects)