| PRR Number | 697 | PRR Title | Posting Requirement Changes |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision |  | 1.3.1.1, Items Considered Protected Information 1.3.1.2, Items Not Considered Protected Information 1.3.3, Expiration of Confidentiality 8.7.1, Calculation of Aggregate Generating Capacity(deleted) 8.7.2, 8.7.2 System Adequacy Report(deleted) 12.3.5, Analysis of Resource Adequacy (new) 12.4.2, Ancillary Service -Related Information 12.4.4.2.3.2, Public ERCOT Posting 12.4.4.2.3.3, Public Posting of Standard QSE-Specific Market Reports |  |  |
| Proposed Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | Critical priority with ranking of 9.5 |  |  |
| Revision Description |  | This PRR incorporates changes resulting from P.U.C. Subst. R. 25.502, Pricing Safeguards in Markets Operated by the Electric Reliability of Texas Power Region and new P.U.C. Subst. R. 25.505, Resource Adequacy in the Electric Reliability of Texas Power Region, adopted under P.U.C. Project No. 31972, Rulemaking Concerning Resource Adequacy and Market Power in the Electric Reliability Council of Texas Power Region. |  |  |
| Overall Market Benefit |  | Compliance with PUCT Order in Project No. 31972, Rulemaking Concerning Resource Adequacy and Market Power in the Electric Reliability Council of Texas Power Region |  |  |
| Overall Market Impact |  | None |  |  |
| Consumer Impact |  | None |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? (indicate Yes or No, and if Yes, include a summary of impact) |  | TBD |  |  |
| Procedural History |  | - PRR697 and the accompanying Impact Analysis (IA) were posted on 10/20/06. - On 11/1/06, CenterPoint Energy (CPE) posted comments. - On 11/16/06, PRS considered this PRR. - On 1/11/07, ERCOT Staff posted comments. - On 2/15/07, ERCOT Staff posted comments. - On 2/16/07, ERCOT Staff posted an updated IA. - On 2/19/07, CPE posted comments. - On 2/20/07, ERCOT posted the Cost Benefit Analysis (CBA). - On 2/20/07, Reliant Energy posted comments. - On 2/22/07, PRS considered PRR697. |  |  |
| PRS Recommendation |  | On 11/16/2006, PRS voted to recommend approval of PRR697 as revised by CenterPoint comments and PRS. The motion passed unanimously with all Market Segments present. On 2/22/07, PRS voted to recommend approval of PRR697 as amended by ERCOT’s second set of comments and by Reliant Energy’s comments. The motion passed with one abstention from the Independent Power Marketers (IPM) Market Segment. All Market Segments were present for the vote. Then PRS voted to assign PRR697 a critical status with a ranking of 9.5. The motion passed with one abstention from the IPM Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | CenterPoint explained that the proposed revisions related to adding data regarding the import capacity of individual Zones. ERCOT Staff explained the difference between a “notice” and an “indication” of deficiency, and PRS made a revision based on that clarification. On 2/22/07, CenterPoint explained that it is willing to withdraw its comments based on ERCOT’s second set of comments dated February 15, 2007. |  |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | - None |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | None |  |
| Additional Qualitative Information | 1 | Compliance with PUCT Order in Project No. 31972, Rulemaking Concerning Resource Adequacy and Market Power in the Electric Reliability Council of Texas Power Region |  |
| Other | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Matt Mereness |
| Company | ERCOT |
| Segment | n/a |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| CenterPoint 110106 | Offered revisions to the reporting requirements. |
| ERCOT Staff 011107 | Raised concerns regarding the PRR as considered by PRS. |
| ERCOT Staff 021507 | Noted that the PRR as considered by PRS will have staffing impacts and offered alternative language. |
| CenterPoint 021907 | Offered to withdraw the proposed language of 110106. |
| Reliant Energy 022007 | Offered revisions to clarify when certain data becomes public. |

Proposed Protocol Language Revision

1.3.1.1	Items Considered Protected Information

“Protected Information” is information containing or revealing:

(1)	Schedule Control Error, as calculated by ERCOT, identified to a specific QSE, with the exception of Real Time SCE data that may be viewable on-site at ERCOT Facilities.  The Protected Information status of this information shall expire seven (7) days after the applicable Operating Day.

(2)	Bids or pricing information identifiable to a specific QSE, except as provided in 1.3.3(2)(b).  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day..

(3)	Status of Resources including but not limited to outages or limitations or scheduled or metered Resource data.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day.

(4)	Resource Plans.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day.

(5)	Energy and Ancillary Service Schedules identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day.

(6)	ERCOT Dispatch Instructions identifiable to a specific QSE, except for OOMC and OOME deployments as provided in Section 6.5.10, Out of Merit Capacity and Out of Merit Energy Services, paragraphs (10), (11) and (12) and RPRS deployments for Local Congestion as provided in Section 6.5.6, Replacement Reserve Service, paragraph (11).  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day.

(7)	Raw and Adjusted Metered Load data (Demand and energy) identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day..

(8)	Settlement Statements identifiable to a specific QSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than one-hundred-and-eighty (180) days after the applicable Operating Day..

(9)	Aggregated raw and Adjusted Metered Load data (Demand and energy), and number of ESI-IDs identifiable to a specific LSE.  The Protected Information status of this information shall expire if and when posted on the MIS pursuant to Section 12, Market Information System, but no later than three-hundred-and-sixty-five (365) days after the applicable Operating Day..

(10)	Information related to generation interconnection requests, to the extent such information is not otherwise publicly available.

(11)	Resource specific costs, design and engineering data, with the exception of data provided pursuant to Section 1.3.1.2, Items Not Considered Protected Information.

(12)	TCR ownership, credit limits or bidding information identifiable to a specific TCR Account Holder.  The Protected Information status of this information shall expire as follows:

(a)	The Protected Information status of the identities of initial Auction Purchasers shall expire at the end of the auction; and

(b)	The Protected Information status of all other TCR information identified above in this subsection (12) shall expire six (6) months after the year in which the TCR was effective.

(13)	Renewable Energy Credit account balances.  At the end of the REC Settlement period, balances, this information shall cease to be Protected Information three (3) years after the Settlement period.

(14)	Credit Limits identifiable to a specific QSE.

(15)	Any information not submitted to or collected by ERCOT pursuant to requirements of the Protocols or Operating Guides that is designated as Protected Information in writing by Disclosing Party at the time the information is provided to Receiving Party except for information provided to ERCOT in support of an RMR application according to Protocols Section 6.5.9, Reliability Must-Run Service.

(16)	Any Proprietary Customer Information unless the Customer has authorized the release for public disclosure of such information in a manner approved by the PUCT.

(17)	Any software, products of software or other vendor information that ERCOT is required to keep confidential under its agreements.

(18)	QSE and TDSP backup plans collected by ERCOT in compliance with the Protocols or Operating Guides.

(19)	DC Tie information provided to TDSPs pursuant to Section 9.8.2, DC Tie Schedule Information.

(20)	Any Texas SET transaction submitted by an LSE to ERCOT or received by an LSE from ERCOT.  This paragraph  shall not apply to ERCOT in regard to its compliance with P.U.C. Substantive Rules relating to performance measure reporting, these Protocols, or any TAC approved reporting requirements.

(21)	Mothballed Generation Resource updates and supporting documentation submitted pursuant to Section 6.5.9.3, Mothballed Generation Resource Time to Service Updates.

(22)	The unavailability of Switchable Resources to the ERCOT System and supporting documentation submitted pursuant to Section 16.5.3(5), Requirements for Reporting and for Changing the Terms of a Resource Registration, except for reporting the aggregate capacity of Switchable Resources for Reserve Margin calculations.

(23)	Information provided by Entities under Section 10.3.2.4, Reporting of Net Generation Capacity.

(24)	Alternative fuel reserve capability and firm gas availability information submitted pursuant to Sections 5.6.3, Operating Condition Notice, 5.6.4, Advisory, and 5.6.5, Alert; and as defined by the Operating Guides.

1.3.1.2	Items Not Considered Protected Information

Notwithstanding the foregoing, the following items shall not be considered Protected Information, even if so designated:

(1)	Data comprising Load flow cases.  Such data may include estimated peak and off-peak Demand of any Load;

(2)	RMR Agreements, applicable portions of studies, reports and data, excluding information that is otherwise considered as Protected Information according to Section 1.3.1.1, used in ERCOT’s assessment of whether an RMR Unit satisfies ERCOT’s criteria for operational necessity to support ERCOT System reliability, and status of RMR Units and RMR Synchronous Condenser Units;

(3)	Information provided to ERCOT in support of an “Application for Reliability Must Run (RMR) Status” according to Section 6.5.9, Reliability Must-Run Service;

(4)	Black Start Agreement terms; and

(5)	Any other information specifically designated in the Protocols or in P.U.C. Substantive Rules as information to be posted to all Market Participants or to the public.

[…]

-----------------------------------

1.3.3	Expiration of Confidentiality

(1)	If P.U.C. Substantive Rules or other Sections of the ERCOT Protocols require public posting (or posting to all Market Participants) of information identified as Protected Information in Section 1.3.1.1, the Protected Information status of such information shall expire at the time such information is required to be postedu

(2)	Upon the expiration of the Protected Information status of any market data specified in Section 1.3.1.1  whic does not have specific posting requirements, such be available in accordance with Section 12, Market Information System.

-------------------------------------

--------------------------------------

12.3.5	Analysis of Resource Adequacy

12.3.5.1	Calculation of Aggregate Generating Capacity

ERCOT shall use Planned Outages submitted by Resource Entities pursuant to Section 8.1, Planned Outages and Maintenance Outages of Transmission and Resource Facilities, to calculate the aggregate capacity from Resources projected to be available in each Congestion Zone.  On a rolling twelve (12) month basis, ERCOT shall calculate the aggregate weekly Resource capacity by Congestion Zone projected to be available during the peak Load hours of each week of the following twelve (12) months.

12.3.5.2	System Adequacy Report

On a rolling twelve (12) month basis, ERCOT shall analyze system adequacy for the ERCOT System and each Congestion Zone, comparing the minimum aggregated weekly peak Resource capacity to the weekly peak forecast Demand for the next twelve (12) months.

ERCOT shall report projected peak Resource capacity deficiencies to Market Participants.  ERCOT shall update this report monthly using the latest Resource Planned Outages.  ERCOT shall post the report on the MIS.  The information published in the report shall include an indication of deficiency, if any, projected to occur in each Congestion Zone during each week of the rolling twelve (12) month period.

12.4.2	Ancillary Service -Related Information

ERCOT shall post on the MIS its Ancillary Services requirements as set forth in Section 4, Scheduling.

As set forth in Section 4, Scheduling, ERCOT shall post as specified in these Protocols, Day-Ahead Ancillary Services scheduling process hourly summaries, including:

(1)	Amount of capacity procured and the MCPCs for each Ancillary Service,

(2)	Notices of system insufficiencies,

(3)	The quantities and prices of Ancillary Services acquired under conditions of system insufficiency (OOMC), and

(4)	The quantities and prices of RMR Services.

12.4.4.2.3.2	Public ERCOT Posting

ERCOT is required to provide market operation data to the public including but not limited to:

(1)	Ancillary Service Plan;

(2)	Notification of intent to procure RPRS;

(3)	Notification of intent to procure additional Ancillary Services;

(4)	CSC Limits and forecasted Congestion;

(5)	Aggregated retail Load by Congestion Zone;

(6)	System loss information;

(7)	UFE data;

(8)	Commercial and operational Congestion notification to market;

(9)	ERCOT Load forecast, by Load area, Congestion Zone, and system;

(10)	Errors to Market Participants and system logs, without violating Subsection 1.3.1, Restrictions on Protected Information;

(11)	Forecasted and Actual Load Profiles;

(12)	ESI ID and related information from registration for validation and information posting;

(13)	Within two days after the applicable Operating Day, but no earlier than the applicable Operating Day, aggregated data for each Settlement Interval (if applicable) and Congestion Zone (if applicable), for the following:

(a) 	Quantities and prices of hourly bids for Balancing Energy and each type of capacity Ancillary Service, in the form of supply curves.

(b) 	Self-arranged Ancillary Services, for each type of service, by hour.

(c)	Self-arranged Energy Schedules.

(d) 	Actual Resource output.

(e) 	Final metered dynamic Load and Resource output.  This data may be aggregated for the entire ERCOT Region if necessary to ensure that individual QSE information remains protected.

(f) 	Scheduled Load and actual Load.

12.4.4.2.3.3	Public Posting of Entity-Specific Market Reports

(1)	Seven (7) days after the applicable Operating Day, ERCOT shall publicly post on its MIS the Schedule Control Error, as calculated by ERCOT and integrated over each Settlement Interval, for each QSE for each Settlement Interval of the applicable Operating Day.

PRR697, Posting Requirement Changes: Effective upon removal of the emergency stay of P.U.C. Subst. R. 25.505(f)(3) ordered by the Third Court of Appeals.  This subsection will be removed if the stay becomes permanent.

(2)	Thirty (30) days after the applicable Operating Day, ERCOT shall post the quantities and prices, in the form of supply curves, for Balancing Energy and for each type of capacity Ancillary Service, for each hour and Congestion Zone (if applicable).

PRR697, Posting Requirement Changes: Effective upon system implementation.

(3)	Forty-eight (48) hours after the applicable Operating Day, ERCOT shall post the bid price and the name of the QSE submitting the bid for the highest-priced bid selected or dispatched by ERCOT for Balancing Energy and each capacity Ancillary Service, for each hour and Congestion Zone (if applicable).

(4)	One-hundred-and-eighty (180) days after the applicable Operating Day, ERCOT shall post:

(a)	Bid Prices and quantities by Congestion Zone, where applicable, and by Operating hour for each QSE for all Ancillary Services, including Regulation Up, Regulation Down, Responsive Reserve, Non-Spinning Reserve, Replacement Reserve and Balancing Energy Services;

(b)	Energy Resource and Obligation Schedules for each QSE, by Congestion Zone and by Settlement Interval;

(c)	Ancillary Service Schedules, including self-arranged AS, for each QSE;

(d)	Actual Metered Resource values for each QSE by Congestion Zone and by Resource;

(e)	Complete Resource Plan data for each QSE.

PRR697, Posting Requirement Changes: Effective upon removal of the emergency stay of P.U.C. Subst. R. 25.505(f)(3) ordered by the Third Court of Appeals but not prior to Operating Day March 1, 2007. This section will be removed if the stay becomes permanent. Replace 12.4.4.2.3.3(4) with the following:

(4)	Ninety (90) days after the applicable Operating Day, ERCOT shall post the following by Settlement Interval and Congestion Zone (if applicable): (a) final Energy Schedules for each QSE, (b) final Ancillary Services Schedules for each QSE, (c) Resource Plans for each Resource represented by a QSE, (d) actual output from each Resource, (e) all Dispatch Instructions from ERCOT for Balancing Energy and Ancillary Services and (f) final metered Load and Resource output for QSEs that dynamically schedule their Resources. The information posted shall include the names of the Resources in the portfolio that were committed, the names of the Entities submitting the information, and the names of the Entities controlling each Resource in the portfolio.  ERCOT shall determine the Entity in control of each Resource in accordance with P.U.C. Subst. R. 25.502(e), Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

PRR697, Posting Requirement Changes: Effective upon removal of the emergency stay of P.U.C. Subst. R. 25.505(f)(3) ordered by the Third Court of Appeals but not prior to Operating Day March 1, 2008. This section will be removed if the stay becomes permanent. Replace 12.4.4.2.3.3(4) with the following:

(4) 	Sixty (60) days after the applicable Operating Day, ERCOT shall post the following by Settlement Interval and Congestion Zone (if applicable): (a) final Energy Schedules for each QSE, (b) final Ancillary Services Schedules for each QSE, (c) Resource Plans for each Resource represented by a QSE, (d) actual output from each Resource, (e) all Dispatch Instructions from ERCOT for Balancing Energy and Ancillary Services and (f) final metered Load and Resource output for QSEs that dynamically schedule their Resources. The information posted shall include the names of the Resources in the portfolio that were committed, the names of the Entities submitting the information, and the names of the Entities controlling each Resource in the portfolio.  ERCOT shall determine the Entity in control of each Resource in accordance with P.U.C. Subst. R. 25.502(e), Pricing Safeguards in Markets Operated by the Electric Reliability Council of Texas.

(5)	One-hundred-and-eighty (180) days after the applicable Operating Day, ERCOT shall post Adjusted Metered Load for each QSE, by Congestion Zone and by Settlement Interval.

(6)	To the extent that the data initially posted pursuant to the requirements of this subsection are subject to change in subsequent ERCOT settlement operations, ERCOT shall provide for incremental posting of each subsequent settlement operation as it affects the items required to be posted in this subsection within seven (7) days of the completion of any subsequent settlement operation.  Data related to the initial posting and all subsequent settlement operations shall remain accessible for a period of at least twenty-four (24) months following the applicable Operating Day. Notwithstanding the foregoing, ERCOT is not required to update the data.