Metric Definitions and their Associated Verification Approaches

| Metric # | Short Metric Name | Business Manager | Metric Definition | Verification Approach |
| --- | --- | --- | --- | --- |
| D7 | Nodal SAS 70 Preparedness | Betty Day | ERCOT shall prepare for the transition from current to nodal SAS 70 requirements by identifying those control objectives which must be changed or modified. | The Readiness Advisor will review documentation that the current to nodal SAS 70 transition SAS 70 control objectives have been updated to nodal operations. |
| D8 | Develop Nodal Operating Guides | Colleen Frosch | ERCOT shall develop Nodal Operating Guides to direct qualified scheduling entities and transmission service providers in the daily operation of the Texas Nodal Market. | The Readiness Advisor will receive documentation that the creation of Nodal Operating Guides has occurred. |
| EMS7 | Run 7 Day Stability Test | Kent Saathoff | ERCOT will control the electric system in a reliable, stable manner during a week long system stability test during EDS-4 Market Trials meeting NERC Standards and ERCOT protocols. | The Readiness Advisor will review documentation that verifies ERCOT operated its system in accordance with NERC Standards and ERCOT protocols for a period of 168 hours during EDS-4 Market Trials |
| C1 | Contingency Plan for W/D RUC/LMP Failure | Joel Mickey | ERCOT shall develop a Contingency Plan for RUC Failure | The Readiness Advisor will review documentation that verifies the existence of a contingency plan document for RUC failure |
| C2 | Contingency Plan for HRUC / LMP Failure | Joel Mickey | ERCOT shall develop a Contingency Plan for SCUC/LMP Failure | The Readiness Advisor will review documentation that verifies the existence of a contingency plan document for SCUC/LMP failure |
| C4 | Contingency Plan for SCED Failure | Joel Mickey | ERCOT shall develop a Contingency Plan for SCED Failure | The Readiness Advisor will review documentation that verifies the existence of a contingency plan document for SCED failure |
| D6 | Price Protection Mechanisms | Joel Mickey | ERCOT and the Market participants shall develop protection mechanisms to be implemented for a limited period after market opening, such as ensuring against price excursions that may occur as a result of computer system or market design limitations. | The Readiness Advisor will review documentation that verifies that the development of protection mechanisms by ERCOT and MPs has occurred to ensure against price excursions upon market opening. |
| IMM2 | Market Monitor Data Access | Joel Mickey | ERCOT shall provide data to the Market Monitor | The Readiness Advisor will receive notification from the Market Monitor that they can successfully receive data from the ERCOT required for Market Monitoring Activities |
| MMS1 | Develop W/D/H RUC Test Plan | Joel Mickey | ERCOT shall develop a RUC Functionality Plan | The Readiness Advisor will review documentation from EDS Market Trials that verifies the documenting of the reliability unit commitment process |
| MMS11 | Verify MP Offer Inputs | Joel Mickey | ERCOT will verify QSE can enter individual offer curves. QSE submitted data shall be validated and stored in the operational database upon receipt. The QSE shall be informed of the results of validation. The communication mechanism during data submission is synchronous, that is the QSE submits the data and waits for the response from the MMS System. QSEs have the ability to revise and/or cancel Trading Data as many times as necessary within the appropriate submission window. | The Readiness Advisor will review documentation that verifies that market participants can offer inputs to the market. This will be accomplished by the witness of screen captures to document the capture of resource offer curves from QSEs. |
| MMS12 | Verify SCED Functions | Joel Mickey | ERCOT will perform a SCED Site Acceptance Test | The Readiness Advisor will review documentation that verifies correct operation of SCED functions. This will occur through the witness screen captures and other documents to verify the correct operation of security constrained economic dispatch |
| MMS13 | Verify Basepoint Generation | Joel Mickey | ERCOT will calculate resource basepoints and generate LMPs | The Readiness Advisor will review documentation that verifies generation basepoint generation. This will occur through the witness screen captures and other documentation that verifies the generation of generation basepoints during market trials |
| MMS14 | Verify LMP Reasonableness | Joel Mickey | ERCOT will verify that the system generated locational marginal price output of the Security Constrained Economic Dispatch (SCED) module is a reasonable number. | The Readiness Advisor will verify that the results of the SCED generated LMP is both accurate in a testing environment and comprehensive during market trials, thus ensuring the reasonableness criteria has been met. |
| MMS16 | QSE submit RT Offer Curves | Joel Mickey | Validate that QSE’s can successfully submit resource offer curves into the ERCOT Nodal Systems (captured in 5.4.4 (2)) | The Readiness Advisor will review documentation that verifies that QSEs can submit RT Offer Curves. This will occur by the witness of screen captures to document the capture of resource offer curves from QSEs |
| MMS2 | Verify RUC Functionality | Joel Mickey | ERCOT will provide a detailed RUC Test Plan | The Readiness Advisor will review an approved RUC Test Plan issued prior to RUC Market Trials |
| MMS4 | Verify DAM Test Plan | Joel Mickey | ERCOT will provide detailed DAM test plan. The DAM test plan is designed based on the DAM Technical Requirements as well as the DAM detailed design documents. The test plan should have a test scheme for each requirement in the DAM Technical Requirements | The Readiness Advisor will review documentation that a test plan exists for Day Ahead Market Trials, and the test plan has a test scheme for each requirement in the DAM Technical Requirements |
| MMS5 | QSE submits DA Bids & Offers | Joel Mickey | Validate that QSE’s can successfully submit Day Ahead Offers into the ERCOT Nodal Systems. For most QSE input data (Three-Part Supply Offers, CRR Offers, AS Offers), validations shall be in two phases (first validation and second validation). It is possible that not all validation can be performed at the time of receipt of the DAM data. The first validation shall be performed according to the appropriate validation requirement at the time of receipt to the extent possible. For example, QSE name, price curve formats, expiration date and facilities/participant are validated at the time of receipt of the DAM data. Subsequently, the data shall undergo a second validation according to CR1 and the appropriate additional validation requirement on every scheduling day for D+1 for credit checks, facilities/participant access rights, validity and other pertinent validations necessary before the DAM market closes. This shall occur at the validation time (nominally at 7:00 am on the scheduling day). Success or failure messages shall be sent to QSE after phase 2 validation has completed. | The Readiness Advisor will review documentation that verifies that QSEs submit DA offers by witnessing screen captures and other pertinent documentation that validates that QSE’s can successfully submit Day Ahead Offers into the ERCOT Nodal Systems. The Readiness Advisor will also review validation requirement and testing documentation that conducts validation checks on MP Offer Inputs. |
| MMS6 | Verify DA Market Convergence | Joel Mickey | ERCOT will converge the market using both physical and virtual bids and offers. The DA Market is considered converged if the DAM run has finished normally and the DAM operator has verified and approved the results. | The Readiness Advisor will review documentation that verifies the convergence of the Day Ahead Market using both physical and virtual bids and offers during market trials. The Readiness Advisor will also review the DAM Operations Procedure which defines how DAM results should be verified and approved. |
| MMS7 | Verify DAM Ancillary Services | Joel Mickey | ERCOT will use DAM to procure ancillary services that are not self-arranged by QSEs. Verifications of DAM Ancillary Services include: Verification of AS Self-Arrangements, Verification of AS Offers, Verification of AS Offers after AS Insufficiency Alert, Verification of DAM AS Awards, Verification of COP updates based on AS Awards and AS Self-Arrangements, Verification of request to open SASM, Verification of resubmitted/new AS Offers for SASM, Verification of SASM AS Awards. | The Readiness Advisor will review all the documentation that are related to Ancillary Services: Verification of AS Self-Arrangements, Verification of AS Offers, Verification of AS Offers after AS Insufficiency Alert, Verification of DAM AS Awards, Verification of COP updates based on AS Awards and AS Self-Arrangements, Verification of request to open SASM, Verification of resubmitted/new AS Offers for SASM, Verification of SASM AS Awards. |
| MMS8 | Operate DA Market for 7 Days | Joel Mickey | DAM trial operation testing shall operate the DA Market for 7 consecutive days. On detection of any significant error of DAM, ERCOT and the Vendor will correct the problem and re-start the DAM trial operations test, until DAM operates properly for seven consecutive days. ERCOT shall provide QSEs with test DAM settlement statements for the seven consecutive Operating Days. The test DAM settlement statements will use calculated LMPs and MCPCs from the DAM and to the extent possible, show the effect of real time operations simulation from TXMACS. QSEs shall review the test settlement statements for errors and provide feedback to ERCOT for resolution. | The Readiness Advisor will review the documentation that verifies that the DA Market operated successfully for 168 consecutive hours, or the documentation that verifies that, on detection of any significant error of DAM, ERCOT and the Vendor will correct the problem and re-start the DAM trial operations test, until DAM operates properly for seven consecutive days. |
| MMS9 | Operate market with RUC | Joel Mickey | Operate RUC in parallel with DAM | The Readiness Advisor will review documentation that verifies that the RUC Process runs successfully in parallel with the DA Market |
| MP5 | MP AP & RTM Transactions | Joel Mickey | MP AP & RTM Transactions | The Readiness Advisor will review documentation that verifies that market participants may make real time bids for ancillary services |
| MP6 | MP DAM Transactions | Joel Mickey | MP DAM Transactions | The Readiness Advisor will review documentation that verifies that the market participants can and have successfully sent test DA Bids through the portal |