## Sheet1
Replacement for Pseudo Resouce
WORKSHEET
Date; | Mar 6,07
OBJECTIVE: Design a replacement for present Pseudo Resource that meets the original objective - dampen the immediate effects of short term price spikes
- As we discussed at TPTF on Feb 23, we would offer that the objective be further stated as to dampen the immediate effect of price spikes during extraordinary
situations, e.g. dampen the "$3000 sale of 4x8 plywood during hurricanes"
Idea No 1A-
1. Revamp the existing Pseudo Resource with a Start Price of "Peaker Make Whole Cap" for Energy Offers (15 x FIP) to Price of (20 x FIP) --
-and extending from 100 to 200 MW
2. Ramp rate of a "fast" rate- say 5 MW/Minute. - so that Pseudo will not slide all the way to 200 MW before any lower priced gen can get in..
3. Pseudo Resource is suspended during periods when Low Cap is in effect (per Scarcity Pricing Mechanism).
3. Some issues
1. Should a 12 month sunset be placed on Pseudo?
[5 empty] | Nat Gas | $/MWh | MW
[5 empty] | 7.5 | 112.5 | 0
[5 empty] | 7.5 | 150 | 200
Idea No 1B-
The idea was to not have the HASL adjusted for resources providing RRS when the PR is deployed,
but to simply have a virtual resource for ERCOT that would be “deployed,” but not dispatch instruction sent out.
In this case, if the energy was required in real-time, then it would be made up through reserves anyway, but it would be mechanically more simple to implement.
Idea No 1 -
1. Revamp the existing Pseudo Resource by keeping the price flat at 30% Hi Cap ($900/MWh after Nodal GoLive), and extending from 100 MW to 200 MW..
2. Pseudo Resource is suspended during periods when Low Cap is in effect (per Scarcity Pricing Mechanism).
3. Some issues
1. Should a ramp rate be applied to Pseudo to let other Resources in - before Pseudo slides all the way to 200 MW?
[6 empty] | $/MWh | MW
[6 empty] | 900 | 0
[6 empty] | 900 | 200
Idea No 2 |  | Leonard- please flesh this out some more
1. Price would increment up from Start Price to Hi Cap, In the example below, the start price is Settlement Price of $200/MWh
2. Pseudo Resource is suspended during periods when Low Cap is in effect (per Scarcity Pricing Mechanism).
3. Price would increment up from Start Price to Hi Cap, The Pseudo Resource can utilize the entire 2300 MW of Responsive.
4. Some issues:
1. Can Responsive be replaced quickly enough?
2, What should Start Price be??
3. Should a ramp rate be installed for Ps Resource to let other Resources in, before Pseudo slides all the way to 2300 MW?
[6 empty] | $/MWh | MW
[6 empty] | 200 | 0
[6 empty] | 3000 | 2300
2300
MW
Idea #3-
1. Design and Implement Real Time Co-optimization so that it is ready at Nodal GoLive
-- Provides the mechanism for more units (previously committed to Responsive Reserve) to provide Energy
2. Issues;
1. Why was RT Co-optimization postponed to 2nd Phase of Nodal (and what is 2nd Phase)?
- Can we design it and implement it before Nodal Go Live?