Annual Emission Reduction Results from the

ERCOT Analysis of Transmission Alternatives for

Competitive Renewable Energy Zones in Texas

Table 1:  Modeling Results for Transmission Solutions for Coastal Texas (Zone 24)

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Level 1 | 800 | 0.193 | 0.421 | 0.975 |
|  | 1,000 | 0.305 | 0.547 | 1.288 |
|  | 1,200 | 0.427 | 0.669 | 1.605 |
|  | 1,400 | 0.542 | 0.761 | 1.89 |
| Level 2 | 1,800 | 0.839 | 1.019 | 2.534 |
|  | 2,000 | 0.981 | 1.109 | 2.811 |
|  | 2,200 | 1.182 | 1.124 | 3.106 |
| Level 3 | 2,600 | 1.605 | 1.287 | 3.809 |
|  | 2,800 | 1.855 | 1.368 | 4.106 |
|  | 3,000 | 2.102 | 1.411 | 4.375 |
|  | 3,200 | 2.288 | 1.469 | 4.634 |

Table 2:  Modeling Results for Transmission Solutions for Central Western Texas

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Red Creek to Hill Country | 1,800 | 2.256 | 1.141 | 3.336 |
|  | 2,000 | 2.506 | 1.225 | 3.637 |
|  | 2,200 | 2.651 | 1.3 | 3.871 |
| Paint Creek to Fort Worth | 1,400 | 2.265 | 0.59 | 2.513 |
|  | 1,800 | 2.707 | 0.675 | 3.061 |
|  | 2,000 | 2.912 | 0.74 | 3.328 |
| Bluff Creek to Bosque | 1,000 | 1.427 | 0.7 | 2.166 |
|  | 1,400 | 1.982 | 0.832 | 2.666 |
|  | 1,600 | 2.174 | 0.878 | 2.915 |

Table 3:  Modeling Results for Transmission Solutions for McCamey Area (Zones 5 and 6)

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Level 1 | 1,250 | 1.518 | 0.82 | 2.193 |
|  | 1,500 | 1.856 | 0.903 | 2.519 |
|  | 1,750 | 2.102 | 0.972 | 2.836 |
| Level 2 | 3,600 | 5.015 | 2.741 | 6.944 |
|  | 3,800 | 5.313 | 2.851 | 7.27 |
|  | 4,000 | 5.637 | 2.967 | 7.561 |

Table 4:  Modeling Results for Transmission Solutions for Culberson County (Zone 7)

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Level 1 | 1,200 | 1.438 | 0.755 | 2.377 |
|  | 1,400 | 1.628 | 0.829 | 2.611 |
|  | 1,600 | 1.769 | 0.892 | 2.787 |

Table 5:  Modeling Results for Transmission Solutions for the Panhandle Region (Zones 2 and 4)

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Level 1 | 600 | 0.731 | 0.23 | 1.03 |
|  | 800 | 0.896 | 0.292 | 1.317 |
| Level 2 | 1,600 | 2.63 | 0.781 | 3.016 |
|  | 1,800 | 2.893 | 0.89 | 3.363 |
|  | 2,000 | 3.204 | 0.998 | 3.645 |
| Level 3 | 2,000 | 2.878 | 1.111 | 3.767 |
|  | 2,400 | 3.698 | 1.383 | 4.757 |
|  | 2,800 | 4.463 | 1.578 | 5.652 |
| Level 4 | 4,400 | 7.571 | 3.244 | 9.196 |
|  | 4,600 | 7.971 | 3.377 | 9.605 |
|  | 4,800 | 8.435 | 3.516 | 10.065 |

Table 6:  Modeling Results for Transmission Solutions for Combination Scenarios

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Red Creek and Bluff Creek Options – Wind from Zones 10 and 14 | 2,800 | 3.672 | 1.934 | 5.211 |
|  | 3,000 | 3.871 | 2.025 | 5.462 |
|  | 3,200 | 4.096 | 2.136 | 5.747 |
| Red Creek and Paint Creek Options – Wind from Zones 10 and 14 | 2,000 | 2.79 | 1.212 | 3.794 |
|  | 2,800 | 4.033 | 1.571 | 4.921 |
|  | 3,000 | 4.272 | 1.645 | 5.189 |
| Paint Creek and Bluff Creek Options – Wind from Zones 10 and 14 | 2,000 | 2.987 | 1.112 | 3.753 |
|  | 2,600 | 3.748 | 1.313 | 4.521 |
|  | 3,000 | 4.368 | 1.466 | 5.125 |

Table 7:  Modeling Results for Transmission Solutions for Combination Scenarios

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Red Creek and Bluff Creek Options – Wind from Zones 5, 10, and 14 | 3,000 | 4.243 | 2.018 | 5.628 |
|  | 3,250 | 4.752 | 2.192 | 6.085 |
|  | 3,500 | 5.04 | 2.263 | 6.395 |
| Red Creek and Paint Creek Options – Wind from Zones 5, 10, and 14 | 2,500 | 3.766 | 1.447 | 4.613 |
|  | 2,750 | 4.154 | 1.518 | 4.983 |
|  | 3,000 | 4.543 | 1.601 | 5.353 |
| Paint Creek and Bluff Creek Options – Wind from Zones 5, 10, and 14 | 1,950 | 2.956 | 1.137 | 3.668 |
|  | 2,000 | 3.003 | 1.122 | 3.703 |
|  | 2,750 | 3.98 | 1.358 | 4.712 |

Table 8:  Modeling Results for Transmission Solutions for Combination Scenarios

| Transmission Option | New CREZ Installed Wind Capacity (MW) | Annual SO2 Emissions Reductions (K Tons) | Annual NOX Emissions Reductions (K Tons) | Annual CO2 Emissions Reductions (M Tons) |
| --- | --- | --- | --- | --- |
| Red Creek, Bluff Creek and Paint Creek Options – Wind from Zones 10 and 14 | 3,600 | 5.51 | 2.437 | 6.719 |
|  | 3,800 | 5.814 | 2.514 | 7.053 |
|  | 4,000 | 6.052 | 2.611 | 7.305 |
| Red Creek, Bluff Creek and Paint Creek Options – Wind from Zones 5, 10, and 14 | 3,750 | 5.802 | 2.486 | 6.961 |
|  | 4,000 | 6.275 | 2.613 | 7.411 |
|  | 4,200 | 6.657 | 2.738 | 7.727 |
| Red Creek, Bluff Creek and Coastal Level 2 Options – Wind from Zones 5, 10, 14, and 24 | 5,000 | 6.289 | 3.515 | 9.113 |
|  | 5,250 | 6.701 | 3.659 | 9.5 |
|  | 5,500 | 7.113 | 3.792 | 9.858 |