Attestation to Qualification of Ancillary Services

for Resources transitioning from

Zonal to Nodal ERCOT Market Operations

As the Authorized Representative (or Market Participant Accountable Executive) representing company __________________________, I certify that the provision of Ancillary Services from the list of Resources below will comply with Nodal Protocols and Operating Guide requirements and meet the requirements stated within this document.  Based on this self-certification process, I request that the Resource(s) below be qualified to provide Ancillary Services in the Nodal Market based on the information provide below.

Our company commits that the Resources listed in this document will participate in Early Delivery Systems (EDS)-1 and EDS-2 activities for communications testing, and in EDS-3 and EDS-4 for Load Frequency Control testing.  ERCOT will monitor Resource performance during EDS-3 and EDS-4.  It is acknowledged that the Resource(s) can be disqualified during the EDS Market Trials if ERCOT deems the performance of the Resource(s) to not meet requirements of the Nodal Protocols and Operating Guides, and such performance issues cannot be resolved to ERCOT’s satisfaction.

Resources not participating in the current zonal market and in the subsequent EDS Market Trials during the transition to nodal will be required to proceed through Resource qualification activities as defined in Nodal Protocols section 8.1.2.1, Ancillary Service Qualification and Testing.

On behalf of our company, I attest to the following information in requesting self-certification of the Resources presented below for ERCOT consideration:

- All Ancillary Services being requested for each Resource have been offered and successfully deployed in the current zonal market.

- All Ancillary Services being requested for this Resource are capable of meeting the Nodal Protocol and Operating Guide requirements.

- For Responsive and Regulation Services, the Generation Resource has an installed Automatic Generation Control (AGC) system that is in service as required by ERCOT Operating Guides.

- For Responsive Reserve Services, the Generation Resource has a Governor installed and in service.

- For Load Resources, the Resource of interest has individually demonstrated and been qualified for operation in the current zonal market for the requested Ancillary Service.

Signed:   _________________________________		Date: _________________

Resources requested for Self-Certification and qualification:	       Indicate (Y)es or (N)o

| Resource Name | Resource Type (Gen/Load) | Reg-Up | Reg-Down | Responsive Reserve | Non-Spin |
| --- | --- | --- | --- | --- | --- |