## Slide 1: ERCOT Service Availability Metrics
February 2007

## Slide 2: 2007 Net Service Availability

## Slide 3: February Net Service Availability

## Slide 4: Retail Transaction Processing Availability Summary

## Slide 5: February Transaction Processing Issues
Siebel Workflow locked (2/2)
  Issue: Inbound transaction processing was interrupted following Siebel batch
  Root cause: Siebel workflow locked due to incomplete data entering Siebel due to slow database processing
  Resolution: Database maintenance performed during maintenance window to increase database performance
  Market notices sent: 2/2
PaperFree SAN connectivity issue (2/7)
  Issue: Connectivity between PaperFree and SAN
  Root cause: System information was sent to SAN vendor for complete analysis. ERCOT is waiting for the return of this information
  Resolution: Data drive was re-established and processing reinstated
  Market notices sent: 2/8 (issue occurred after business hours on 2/7)
TIBCO database index issue (2/23)
  Issue: Table space issue with the a database
  Root cause: RBP stabilization issue
  Resolution: Additional storage was allocated to the database
  Market notice sent: 2/23