## Slide 1: Texas Nodal Ancillary Service Qualification Self-Certification approach ROS Discussion March 16, 2007

## Slide 2: History of Issue
Issue to be considered:
In zonal protocols, each QSE providing A/S must be qualified
In nodal protocols, each Resource providing A/S must be qualified
At issue, does ERCOT need to schedule, test, and qualify each individual Resource prior to nodal implementation?
Stakeholder process history:
During review of the Nodal Qualification Approach document at TPTF on 1/24/07, there was a consensus that ERCOT should explore the concept of allowing QSEs currently providing A/S in zonal to seek self-certification for their Resources in Nodal.
ERCOT Operations agreed to consider this option
ERCOT has discussed this issue at TPTF (1/24/07), QSE Managers Work Group (2/14/07), and today ROS (3/16/07)

## Slide 3: A/S Self-Certification Issue
Response from ERCOT:
ERCOT Operations is in favor of a process to allow self-certification for Resources currently providing the same Ancillary Services in the zonal market.
  Benefit- Recognition that this alleviates costly and time-consuming process of qualifying Resources that already provide A/S
  Risk- Defers some project risk into EDS3&4 by not conducting individual A/S tests earlier in the implementation plan
  During EDS3&4 ERCOT will monitor Resource performance to identify any problematic Resources, and ERCOT has the right to suspend or revoke qualification.

## Slide 4: A/S Self Certification Issue
ERCOT has drafted Self-Certification Attestation:
Under review by ERCOT Legal
Summary:
  Attestation to be signed by Market Participant stating that:
    Resource has offered and successfully deployed A/S in the current market.
    Resource is capable of meeting the Nodal Protocols & Operating Guides
    For RRS and Reg Services, the Generation Resource has an installed AGC system that is in service as required by ERCOT Operating Guides.
    For RRS, the Generation Resource has a Governor installed and in service.
    For Load Resources, the Resource of interest has individually demonstrated and been qualified for operation in the current zonal market for the requested Ancillary Service (PRR714 may create annual testing requirement).
  MP commits to participate in EDS1-4 for the Resources
  ERCOT will monitor performance of Resources during EDS3&4
  ERCOT can disqualify individual Resources if performance issues cannot be resolved in EDS3&4

## Slide 5: Registration Approach
For Resources not self-certified:
Resources not participating in the current zonal market and/or in the subsequent EDS Market Trials during the transition to nodal will be required to proceed through Resource qualification activities as defined in Nodal Protocols section 8.1.2.1, Ancillary Service Qualification and Testing.
Market Feedback:
Received favorable feedback from TPTF and QSE Managers.
Requested from ROS today on this issue:
Any objections to this option of self-certification?
If there is not a rejection of this concept by ROS, ERCOT will continue to develop Qualification planning and guides adopting this concept.