OWG Report to ROS

3/15/ 2007

The OWG met February 26, 2007. The following OGRRs are pending at the OGRTF:

- OGRR165 – Update Unit Telemetry Requirement:  This revision proposes to add a requirement for QSEs to submit real-time AGC status and Ramp Rate for all units in their portfolio. ERCOT submits this OGRR to address Recommendation No. 14 of Potomac Economics’ recommendations to improve ERCOT’s wholesale market design.  This OGRR has been tabled per ROS directive.

- The OGRTF has reviewed Section 1, 2, most of 3, 4, 5, 6 and 9 (which will be an appendix of sorts). Section 3 is currently being worked on with comments being requested by SPWG on Section 7. The following is an updated schedule for the completion of the Nodal Operating Guides:

  - March 19, 20, 22 Sections 3, 7, 8 will be worked on and any remaining issues from the previous meeting. The NDSWG and TPTF will assist the OGRTF in the Section 8 language.

  - April 16, 17, 19 the OGRTF will probably meet to finalize the first pass through of the Nodal Operating Guides prior to the OWG getting their two week review of the Guides. This meeting will be set after the March meeting.

  - During the last weeks of April or the first two (2) weeks of May 2007, the OGRTF will forward the entire Nodal Operating Guides to the OWG for their initial review and comments.

  - After receiving the OWG comments, the OGRTF will review those comments for incorporation into the draft Nodal Operating Guides.

  - Upon completion of the OWG comment review the OGRTF will post the entire Nodal Operating Guides for its 21 day comment period.

  - In June the OGRTF will meet to review and coordinate all comments received.

  - The first meeting of the OWG after the June OGRTF meeting days will be for final review and recommendation to the ROS

  - The first meeting day after the recommendation by OWG, the Nodal Protocols will be presented to ROS for further action.

The Black Start Task Force met on March 9, 2007 to discuss the 2008 Black Start RFP. All Black Start Training Seminars will be completed by the end of this date, March 15th. The task force discussed the forced outage of the Dansby Black Start unit. It had been bid and is part of the 2007 ERCOT Black Start plan. However, due to multiple problems with the unit, it will not be available till at least early April. As to date it has not been test per Protocols and Operating Guides and it has not signed a Black Start contract for 2007. ERCOT has every intention of allowing this unit to test and participate as an awarded black start contracted unit with it stand by price prorated for the reminder of the year. The 85% availability rule will commence on the date it is contracted. The task force discussed the existing SAR “Revisions to System Restoration and Black Start Standards – Project 2006-003 which include:

EOP-005 — System Restoration Plans

EOP-006 — Reliability Coordination - System Restoration

EOP-007 — Establish, Maintain, and Document a Regional Blackstart

Capability Plan

EOP-009 — Documentation of Blackstart Generating Unit Test Results

The task force discussed the possibility that NERC will require that the ERCOT Operators, Market Participant TOs and QSE operators will have to be trained on a simulator for system restoration. The task force is looking into a simulator called the BRICK (Bulk Reliability In a Compact Kit). It used the existing EPRI simulator that is currently generic and inserts the Regional system. The operators then can train using the exact system components of ERCOT. The BRICK was in a previous OWG report in 2006. ERCOT had gone to a regional training session in the north east to see it in action.

ERCOT Compliance’s Robert Potts reported that when a black start unit tests to qualify for the annual contract, that the unit must have ALL documents associated with the test, including the data and or descriptions written by the ERCOT witnesses.

The task force asked that I revisit the issue of the black start study with the ROS. During the October ROS meeting I reported on the findings of the feasibility of doing a study. The following is excerpted from the ROS meeting minutes of October 2006:

“Mr. Thormahlen reported on the Black Start Feasibility Study and ROS discussed the costs of Black Start Service to the market (estimated to be between $6.3 and $7.5 million) and the cost of a study to investigate whether the proposed methodology will be effective (approximately $0.2 million). Mr. Helyer, Mr. Grasso, and Mr. Henry stated that this study was needed. Mr. Wheeler moved to waive the seven-day notice to vote on the Black Start Feasibility Study; Mr. Thormahlen seconded the motion. The motion carried by unanimous voice vote. All Market Segments were represented.

Mr. Armke moved to endorse the Black Start Feasibility Study and recommend approval to TAC; Mr. Rankin seconded the motion. The motion carried by voice vote with one abstention (Electric Cooperative Market Segment). All Market Segments were represented.”

As far as I can tell, there has been no further directive from ROS.

The OTF met on March 14th, 2007. The purpose of the meeting was to move forward on the assignment of possible expansion of the SSRG scope. It had been brought up at the OWG that this was originally set up due to the 911 event for terrorist activities. There are now other events such as cyber security, NIMS – Presidential Directive 8 - First Responder and other possibilities that may be relevant to the SSRG scope. In addition, it was discussed at the OWG that the contact list is not very well kept up to date. If Jason Sweeney, chairman of OTF, is on the phone or at the ROS, please convey your meeting discussions.

At the February 25th, 2007  OWG meeting, there was some discussions pertaining to use of NSRS, OOMC, and one specific SPS when ARRS is below 2500 and not at EECP. ERCOT Operations discussed the January 20th and February 8th EECP events. In addition, Colleen Frosch explained that the EECP event lasted 30 minutes on Saturday, February 24th but that ARRS came back up above 2300 MWs in 3 minutes. There was a short discussion on who will actually do the media appeal. Kent Grammer reported, after questioned by several members of the OWG, that Media Appeal is communicated by the Director of Media Distribution and provided state wide to the appropriate media outlets.  The PUCT is also advised by ERCOT. ERCOT will notify the TOs and QSEs via a Hot Line call that media appeal is being initiated.

The meeting was short in anticipation of the rehearsal of the Annual Operator Training Seminar. The seminar is of excellent quality and CEHs are being awarded for the first time this year for those already NERC Certified.

- The next OWG meeting is scheduled for March 21st, 2007.