| NPRR Number | 048 | NPRR Title | Revised Wording of Opportunity Outages for Transmission Facilities |
| --- | --- | --- | --- |
| Date |  | 03/14/07 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sai Moorty on behalf of ERCOT Staff |  |
| E-mail Address |  | smoorty@ercot.com |  |
| Company |  | ERCOT |  |
| Company Address |  | 2705 W. Lake Dr., Taylor, TX 76574 |  |
| Phone Number |  | 512-248-6631 |  |
| Fax Number |  | 512-248-6560 |  |

Comments

On February 5, 2007, TPTF discussed a draft NPRR to modify the definition of “Outage”.  TPTF reviewed the draft NPRR, agreed with the revision, and requested that it instead be combined with a later NPRR revising Section 3.1.6.8, Opportunity Outage.  These comments seek to make that requested modification in this NPRR as reflected in the proposed revisions to the definition of “Outage” in Section 2.1, Definitions.

Revised Proposed Nodal Protocol Language

- 2.1	DEFINITIONS

Outage

The condition of a facility or that part of a facility that has been removed from service to perform maintenance, construction, or repair on the facility.

Opportunity Outage

An Outage that may be accepted by ERCOT when a specific Resource is Off-Line due to an Outage.

3.1.6.8	Opportunity Outage

(1)	Opportunity Outages for Resources are a special category of Planned Outages that may be approved by ERCOT when a specific Resource has been forced Off-Line due to a Forced Outage and the Resource has been previously accepted for a Planned Outage during the next eight days.

(2)	When a Forced Outage occurs on a Resource that has an accepted or approved Outage scheduled within the following eight days, the Resource may remain Off-Line and start the accepted or approved Outage earlier than scheduled.  The QSE must give as much notice as practicable to ERCOT.

(3)	Opportunity Outages of Transmission Facilities may be approved by ERCOT when a specific Resource is Off-Line due to a Forced, Planned or Maintenance Outage. A TSP may request an Opportunity Outage at any time.

(4)	When an Outage occurs on a Resource that has an approved Transmission Facilities Opportunity Outage request on file, the TSP may start the approved Outage as soon as practical after receiving authorization to proceed by ERCOT.  ERCOT must give as much notice as practicable to the TSP.