Section 7 Comments

7.1.4 (2)  date is now October 31

7.2.2 (2)  Operating Guides should be “Nodal Operating Guides”

7.2.3 (4)  “345 kV” should be “138 kV and 345 kV”

Reporting period should be May 1 of  previous year to April 30 of present year

7.2.5.1.5 (2)(e)  “Check that settings on the relays physically agree with the relay settings.”

7.2.5.1.6 (2) should be “ERCOT System”

7.2.5.1.6 (2)(j) should be “System Protection Working Group”

        - (6)  SCADA needs no () explanation

7.2.5.2.6 (4) Do not use PLC abbreviation in this part.  It is often used a programmable logic controller rather than power line carrier.

7.2.5.3.4 (2) (f) Change to “Over or Under frequency”

7.2.5.3.5 and 7.2.5.3.6   Why is the “L” in load shedding capitalized?