Metric Definitions and their Associated Verification Approaches

Legend: Black is reviewed and approved by TPTF

Black with highlight color is TPTF reviewed and requires Business Manager involvement.

Bold with no highlight color is a new entry ready for TPTF review

Black with highlight color is ready for MSG Approval, but received after original distribution

Black with highlight color is ready for MSG Approval

Empty cells represent metric definitions and verification approaches not yet approved by ERCOT Directors

| Metric # | Short Metric Name | Business Manager | Metric Definition | Verification Approach |
| --- | --- | --- | --- | --- |
| C1 | Contingency Plan for W/D/H RUC Failure | Joel Mickey | ERCOT shall develop and test a Contingency Plan for RUC Failure | The Readiness Advisor will review documentation that verifies the existence and test of a contingency plan document for RUC failure |
| C2 | Contingency Plan for DAM / LMP Failure | Joel Mickey | ERCOT shall develop and test a Contingency Plan for DAM/LMP Failure | The Readiness Advisor will review documentation that verifies the existence of a contingency plan document for DAM/LMP failure |
| C3 | Contingency Plan for ICCP Failure | Richard Howard |  |  |
| C4 | Contingency Plan for SCED/LMP Failure | Joel Mickey | ERCOT shall develop and test a Contingency Plan for SCED/LMP Failure | The Readiness Advisor will review documentation that verifies the existence and test of a contingency plan document for SCED/LMP failure |
| C5 | Develop Plan for Settlement Failure | Bill Barnes |  |  |
| C6 | Develop Plan for SE Failure | Vijayan Poyya |  |  |
| C7 | Contingency Plan for a Backup Facility | Colleen Frosch, Richard Howard | ERCOT shall develop and test a Contingency Plan for a Backup Facility | The Readiness Advisor will review documentation that verifies the existence and test of a contingency plan document for a backup control facility |
| C8 | Contingency Plan for Portal /API Failure | Richard Howard |  |  |
| CMM1 | Verify Credit Calculations | Srini Sundhararajan |  |  |
| CO1 | Settle Market for 7 Days | Bill Barnes | ERCOT will issue to QSEs and CRR Owners test DAM settlement statements, test RTM settlement statements, test DAM settlement invoice(s)*, and test RTM settlement invoice(s)** for consecutive 7 Operating Days consistent with the 168-Hour Test. In the event that the 168-Hour Test requires a restart, ERCOT will provide each QSE the test settlement statements for the completed 168-Hour Test. [* ** test settlement invoices are not required by the Transition Plan] It is expected that Metric MP12 (MP Validation of Nodal Data Extracts) will be evaluated in conjunction with Metric CO1. | The Readiness Advisor will review documentation and data that verifies that the settlement calculations were executed according to ERCOT Nodal Protocols. The RA will also confirm settlement calculation output was formatted properly on settlement statements and invoice(s). The RA will confirm settlement statements and invoices were posted for public access for each eligible QSE and/or CRR Owner for the seven day period of the market trial. |
| CO2 | Resolve Disputes of 168 Hour Test | Patrick Coon | ERCOT shall provide dispute resolution service for all QSEs submitting a dispute consistent with stated protocol for the 168 Hour Test. The dispute resolution metric is dependent upon Market Participants ability to receive statements, data extracts for shadow settlement, and submit disputes via the Market Participant Portal. | The Readiness Advisor will review documentation that disputes occurring during the time of the 168 Hour test have been addressed in accordance with the protocols and ERCOT processes. |
| CO3 | Verify DAM Settlement Statement | Bill Barnes | ERCOT will issue test DAM settlement statements to QSEs and CRR Account Holders. | The Readiness Advisor will review documentation and data that verifies that the DAM settlement calculations were executed according to ERCOT Nodal Protocols. The RA will also confirm settlement calculation output was formatted properly on DAM settlement statements. DAM settlement statements will be posted for public access for each eligible QSE and/or CRR Owner. |
| CO4 | Zonal/Nodal Coordinated Settlement | Bill Barnes | ERCOT will be prepared to operate zonal and nodal settlements and billing simultaneously. | The Readiness Advisor will review ERCOT business process documentation, settlement validation processes and tools, organizational structure and staffing, equipment, and completed staff training to assure the ERCOT Settlements and Billing organization is prepared to operate zonal and nodal settlements and billing simultaneously. |
| CO5 | Verify RT Settlement Statements | Bill Barnes | ERCOT will issue test RT settlement statements to QSEs and CRR Account Holders. | The Readiness Advisor will review documentation and data that verifies that the RT settlement calculations were executed according to ERCOT Nodal Protocols. The RA will also confirm settlement calculation output was formatted properly on RT settlement statements. RT settlement statements will be posted for public access for each eligible QSE and/or CRR Account Holder. |
| CO6 | Verify Inbound Settlement Interfaces | Bill Barnes | Verify Inbound Settlement Interfaces | The Readiness Advisor will review documentation and data that verifies that the settlement interface transferred data from source systems (MMS, EMS, CRR) into the Settlements system. The Readiness Advisor will compare data elements transferred to the Settlements Interface Business Requirements to assure proper data transfer. |
| CO7 | Verify RT Invoices | Bill Barnes | ERCOT will issue test RT settlement invoices to QSEs and CRR Account Holders. | The Readiness Advisor will review documentation and data that verifies that the RT settlement calculations were executed according to ERCOT Nodal Protocols. The RA will also confirm settlement calculation output was formatted properly on RT settlement invoices. RT settlement invoices will be posted for public access for each eligible QSE and/or CRR Account Holder. |
| CO8 | Verify DAM Invoices | Bill Barnes | ERCOT will issue test DAM settlement invoices to QSEs and CRR Account Holders. | The Readiness Advisor will review documentation and data that verifies that the DAM settlement calculations were executed according to ERCOT Nodal Protocols. The RA will also confirm settlement calculation output was formatted properly on DAM settlement invoices. DAM settlement invoices will be posted for public access for each eligible QSE and/or CRR Account Holder. |
| CO9 | Verify CRR Auction Invoices | Bill Barnes | ERCOT will generate and verify CRR Auction Invoices for the trial CRR Auctions. | The Readiness Advisor will verify that the CRR Auction Invoices were generated for the CRR Account Holders accordingly to ERCOT Nodal Protocols. The Readiness Advisor will review documentation that the ERCOT has verified the CRR Auction Invoices consistent with the CRR Auction results and confirm CRR Auction results were formatted properly on CRR Auction Invoices. CRR Auction Invoices will be posted for public access for each eligible CRR Account Holder. |
| CO10 | Verify Financial Transfer & Processing | Cheryl Yager / Bill Barnes |  |  |
| CRR1 | Develop CRR Test Plan | Beth Garza |  |  |
| CRR2 | Develop TCR to CRR Transition Plan | Beth Garza |  |  |
| CRR3 | Execute & Settle Monthly CRR Market during Trials | Beth Garza |  |  |
| CRR4 | Implement TCR to CRR Transition Plan | Beth Garza |  |  |
| CRR5 | Execute & Settle Seasonal / Annual CRR Market during Trials | Beth Garza |  |  |
| D1 | Develop Stakeholder Basic Training | Ted Hailu | ERCOT Develops basic training on the ERCOT Nodal Market for interested parties – This corresponds to the development of the “ERCOT Nodal 101 – The Basics” course. | The Readiness Advisor will witness the posting of the ERCOT Nodal 101 training course and training materials to an ERCOT website |
| D2 | ERCOT Staff Completes EDS Training | Cagle Lowe |  |  |
| D3 | Develop MP Training | Ted Hailu | ERCOT completes the development of Market Participant training materials for the courses in the curriculum developed by the TPTF. This metric will also track if the training courses related to each EDS are completed. | The Readiness Advisor will witness the posting of the comprehensive training document(s) to an ERCOT website |
| D4 | Verify ERCOT Compliance Readiness | Larry Grimm |  |  |
| D5 | Validate EDW Operations Access and Accuracy | Richard Howard |  |  |
| D6 | Price Protection Mechanisms | Joel Mickey | ERCOT and the Market participants shall develop protection mechanisms to be implemented for a limited period after market opening, such as ensuring against price excursions that may occur as a result of computer system or market design limitations. | The Readiness Advisor will review documentation that verifies that the development of protection mechanisms developed by ERCOT and MPs has occurred to ensure against price excursions upon market opening. |
| D7 | Nodal SAS 70 Preparedness | Betty Day | ERCOT shall prepare for the transition from current to nodal SAS 70 requirements by identifying those control objectives which must be changed or modified. | The Readiness Advisor will review documentation that the current to nodal SAS 70 transition SAS 70 control objectives have been updated to nodal operations. |
| D8 | Develop Nodal Operating Guides | Colleen Frosch | ERCOT shall develop Nodal Operating Guides to direct Qualified Scheduling Entities and Transmission Service Providers in the daily operation of the Texas Nodal Market. | The Readiness Advisor will receive documentation that the creation of approved Nodal Operating Guides has occurred. |
| D9 | Validate EDW WEMM Access & Accuracy | Richard Howard |  |  |
| D10 | Develop ERCOT Staff Training Plan | Mike Herzog | ERCOT shall develop a comprehensive training plan to use in the education and training of selected ERCOT staff. This metric includes the development of training materials, media, locations, scheduling mechanism, testing criteria and reporting method | The Readiness Advisor will verify the existence and function of the LMS system by accessing the system as well as reviewing the data available through LMS reports. The IRT team will provide the Readiness Advisor a comprehensive training plan to be followed in the education and training of selected ERCOT staff. The Readiness Advisor will verify the availability of the training materials in the appropriate location. The location of the training material may vary, but will most likely be the LMS system or on one of the EROCT network share drives or on Share Point. |
| D11 | Develop Nodal Market Guides | Ted Hailu | ERCOT shall develop a revision to the current “ERCOT Market guide” document to incorporate changes due to the nodal market design. This guide is intended for a general audience. It is a high level overview of the ERCOT Market and highlights the roles and responsibilities of ERCOT and the various participants | The Readiness Advisor will witness the posting of the revised ERCOT Market Guide on the ERCOT Website |
| D12 | Verify New Construction Activities | Julie Thomas |  |  |
| D13 | TN Program Project Management | Kalyan Sumanam |  |  |
| D14 | ERCOT Staffed for TN Operations | Mike Herzog | ERCOT will ensure the appropriate staffing levels required to execute the nodal market. In addition, the roles and responsibilities have been appropriately defined for nodal personnel. | Each impacted Director or VP is responsible for conducting staffing analyses for their area as a part of the overall IRT project. Each department will develop their respective supporting documentation and readiness assessment. The Readiness Advisor will review the analysis results for each department and verify completion of sizing and alignment analysis. |
| D15 | Develop Business Procedures | Mike Herzog | The ERCOT staff develops user procedures for relevant business processes | The Readiness Advisor will review the completion records submitted by ERCOT as proof of business processes complete. |
| D16 | ERCOT Staff Completes Go-Live Training | Mike Herzog | ERCOT Staff Completes required training modules by area of expertise and job responsibilities | The Readiness Advisor will review the completion records submitted by ERCOT as proof of training completion. |
| D17 | ERCOT Staff Completes EDS-3 Training | Mike Herzog | ERCOT Staff Completes required training modules by area of expertise and job responsibilities | The Readiness Advisor will review the completion records submitted by ERCOT as proof of training completion. |
| D18 | ERCOT Staff Completes EDS-4 Training | Mike Herzog | ERCOT Staff Completes required training modules by area of expertise and job responsibilities | The Readiness Advisor will review the completion records submitted by ERCOT as proof of training completion. |
| D19 | Validate EDW Commercial Systems Access & Accuracy | Jackie Ashbaugh |  |  |
| D20 | Validate EDW Compliance Data Access | Mark Henry |  |  |
| D21 | MIS Compliance Test Plan | Adam Martinez | This metric will measure the completion and implementation of a compliance plan to verify the degree to which protocol requirements for MIS Public, Secure, and Certified areas are met at set milestones of the nodal market transition. These milestones will be documented in the compliance plan. | The Readiness Advisor will review documentation that verifies that ERCOT complies with the MIS Compliance Test Plan. |
| D22 | Staffing for Program Execution | ERCOT Directors | Develop staffing plan with timelines, FTE identification, measurement against the plan, etc. | The RA will review adherence to the plan |
| E1 | Nodal Readiness Declaration | Jerry Sullivan |  |  |
| E2 | Develop TN Market Launch Plan | Steve Grendel | ERCOT shall develop a Texas Nodal Market Launch Plan which describes all activities necessary to initiate the ERCOT Nodal market | The Readiness Advisor will review documentation that a TN Market Launch Plan has been created for beginning operation of the Texas Nodal Market |
| E3 | Execute TN Market Launch Plan | Steve Grendel | This metric entails the execution of the TN Market Launch Plan developed under Metric E2, Develop the TN Market Launch Plan. The completion of this metric occurs with the start of routine market operations on the specified launch date. | The Readiness Advisor will review documentation that the ERCOT has engaged in the operation of the nodal market. |
| EMS1 | Validate Transmission Constraint Management Functions | Vijayan Poyya |  |  |
| EMS2 | Validate Network Security Analysis | Chad Thompson |  |  |
| EMS3 | Verify Voltage Support Functionality | Anitha Sampath |  |  |
| EMS4 | Verify Operation of Dynamic Ratings Processor | Leo Villanueva |  |  |
| EMS5 | Verify Outage Scheduler Operation | Woody Rickerson | Verify for proper operation the functions of the Outage Scheduler: Provide market participants a tool to request ERCOT approval for transmission and resource outages Provide ERCOT with a tool to communicate outage approval or rejection information Provide a tool for ERCOT to collect and catalog outage requests. Provide a tool for ERCOT to measure protocol conformance of outage requests and actual work | The Readiness Advisor will review documentation that verifies that the function of the Outage Scheduler is operating within specifications during market trials |
| EMS6 | Verify Outage Evaluation System Functionality | Woody Rickerson | ERCOT will develop a TAC Approved Outage Minimization Plan for initial RT Operations for use in the Outage Evaluation System Verify ability to import correct set of outages for given time Verify ability to import correct NMMS data, including all dynamic ratings and forced outages, for given time Verify ability to import correct load data for given time Verify ability to import correct generation data for given time Verify ability to provide correct steady-state solutions Verify ability to import system dynamic limits Verify the use of bid curves in developing a market solution and cost estimates for for outages. Verify multi-hour use of tool for outage duration testing Verify outage sensitivity function for pre and post contingency violations. | The Readiness Advisor will review documentation that verifies that ERCOT developed a TAC Approved Outage Evaluation System |
| EMS7 | Run 168 Hour Stability Test | Kent Saathoff | ERCOT will control the electric system in a reliable, stable manner during a 168 Hour system stability test during EDS-4 Market Trials meeting NERC Standards and ERCOT protocols. [Reliant: ERCOT shall maintain and communicate a list of excursions, if any, to be presented to the market after the end of the 7 day test. To facilitate this, ERCOT shall develop a checklist of the documentation for the MRA to review.] (software test, and not a PSS stability) | The Readiness Advisor will review documentation that verifies ERCOT operated its system in accordance with NERC Standards and ERCOT protocols for a period of 168 contiguous hours (without violations) during EDS-4 Market Trials. |
| EMS8 | Regulation Communications Test | Richard Howard |  |  |
| EMS9 | QSE Frequency Run | Sandip Sharma |  |  |
| EMS10 | ERCOT+QSE Load/Freq/Reg Test | Sandip Sharma |  |  |
| EMS11 | Verify ACE Performance | Sandip Sharma |  |  |
| EMS12 | QSE Respond to Dispatch | Sandip Sharma |  |  |
| EMS13 | Verify Load Forecast Accuracy | Sandip Sharma |  |  |
| EMS14 | Conduct EECP Test | Colleen Frosch | ERCOT shall conduct a test of the Emergency Electric Curtailment Plan (EECP) | The Readiness Advisor will review documentation that verifies that ERCOT conducted a test of the Emergency Electric Curtailment Plan (EECP) |
| EMS15 | Validate Security Analysis Sequence | Chad Thompson |  |  |
| IMM1 | Market Monitor Systems Capability |  |  |  |
| IMM2 | Market Monitor Data Access | Joel Mickey | ERCOT shall provide data to the Market Monitor | The Readiness Advisor will receive notification from the Market Monitor that they can successfully receive data from ERCOT required for Market Monitoring Activities |
| IMM3 | Market Monitor Receives Software |  |  |  |
| IMM4 | Market Monitor SAT |  |  |  |
| MMS1 | Develop W/D/H RUC Test Plan | Joel Mickey | ERCOT shall develop a RUC Market Trials Test Plan | The Readiness Advisor will review documentation from EDS Market Trials that verifies the that the output of RUC is a plan that meets the expected unit conditions used as inputs to the RUC process. |
| MMS2 | Verify RUC Functionality | Joel Mickey | ERCOT will provide a detailed RUC Test Plan | The Readiness Advisor will review an approved RUC Test Plan issued prior to RUC Market Trials Review this with Joel; sequence of plan, execute and test interfaces)Reliant: in other metrics the MRA was reviewing the existence of plans. Here the MRA is reviewing the plan. What is the importance of this difference in activity?] |
| MMS3 | Verify MIS Functionality | Joel Mickey | Requisite MIS/MMS functionality will be confirmed to satisfactory degree before the functions are needed in EDS release and/or Market Trial as result of UAT. Key to this metric is the identification of requisite MIS/MMS functions for each programmed readiness activity, limited to MIS Secure Area and MIS Certified Area. | The Readiness Advisor will review documentation that the MIS Functions are operational and the ERCOT user acceptance testing met acceptable standards. |
| MMS4 | Verify DAM Test Plan | Joel Mickey | ERCOT will provide detailed DAM test plan. The DAM test plan is designed based on the DAM Technical Requirements as well as the DAM detailed design documents. The test plan should have a test scheme for each requirement in the DAM Technical Requirements | The Readiness Advisor will review documentation that a test plan exists for Day Ahead Market Trials, and the test plan has a test scheme for each requirement in the DAM Technical Requirements |
| MMS5 | QSE submits DA Bids & Offers | Joel Mickey | Validate that QSE’s can successfully submit Day Ahead Offers into the ERCOT Nodal Systems. For most QSE input data (Three-Part Supply Offers, CRR Offers, AS Offers), validations shall be in two phases (first validation and second validation). It is possible that not all validation can be performed at the time of receipt of the DAM data. The first validation shall be performed according to the appropriate validation requirement at the time of receipt to the extent possible. For example, QSE name, price curve formats, expiration date and facilities/participant are validated at the time of receipt of the DAM data. Subsequently, the data shall undergo a second validation according to CR1 and the appropriate additional validation requirement on every scheduling day for D+1 for credit checks, facilities/participant access rights, validity [Reliant: what is ‘validity’] and other pertinent validations necessary before the DAM market closes. [Reliant: where are validations documented?] This shall occur at the validation time (nominally at 7:00 am on the scheduling day). Success or failure messages shall be sent to QSE after phase 2 validation has completed.(where are the bid validations and what are the tests, if any?) | The Readiness Advisor will review documentation that verifies that QSEs submit DA offers by witnessing screen captures and other pertinent documentation that validates that QSE’s can successfully submit Day Ahead Offers into the ERCOT Nodal Systems.send comments to Joel [Reliant: this also needs to include the fact that ERCOT is developing a ‘staging’ function wherein bids that ‘live in the system’ become effective upon a stated date and time. This requirement also must verify this functionality.] The Readiness Advisor will also review validation requirement and testing documentation that confirms validation checks on MP Offer Inputs. [Reliant: Need to confirm validation by ensuring that offers and bids that do not meet criteria are rejected. Specific details should be set forth for these checks (in which documentation would these criteria be found?). also, without data from QSEs how would the MRA determine that failure messages sent to QSEs actually arrive and are in the correct format? Additionally, there should be credit validations throughout the DAM window and these need to be verified as well.] [Reliant: recommend breaking this topic up into more manageable subsets of requirements.] |
| MMS6 | Verify DA Market Clears | Joel Mickey | ERCOT will clear the market using both physical and virtual bids and offers. The DA Market is considered cleared if the DAM run has finished normally and the DAM operator has verified and approved the results.send comment to Joel [Reliant: this is not what market convergence means. Market convergence generally refers to the fact that, over time, the prices in the DAM and RT will become close if system conditions are relatively similar across the two periods. If ERCOT is trying to force market convergence (note the “converge the market” statement above), it would need to start with a set of DAM conditions, and iterate through several days of ‘artificial’ DAM & RT and use virtual bids (increasing the number and use where required) so that the results of the DAM and RT converge. This is not what is described above. If the goal is to test whether the DAM solves on the basis of inputs from the NMMS, QSEs and ERCOT (RMR resources), this should be stated. The validation condition would be the set of outputs from the DAM that are mathematically consistent with the inputs and model assumptions. Also, where are ERCOT RMR offers into the MMS being tested and verified?] | The Readiness Advisor will review documentation that verifies the clearing of the Day Ahead Market using both physical and virtual bids and offers during market trials. The Readiness Advisor will also review the DAM Operations Procedure which defines how DAM results should be verified and approved. |
| MMS7 | Verify DAM Ancillary Services | Joel Mickey | ERCOT will use DAM to procure ancillary services that are not self-arranged by QSEs. Verifications of DAM Ancillary Services include: Verification of AS Self-Arrangements, Verification of AS Offers, Verification of AS Offers after AS Insufficiency Alert, | The Readiness Advisor will review all the documentation that are related to Ancillary Services: Verification of AS Self-Arrangements, Verification of AS Offers, Verification of AS Offers after AS Insufficiency Alert, |
| MMS8 | Operate DA Market for 7 Days | Joel Mickey | DAM trial operation testing shall operate the DA Market for 7 consecutive days. On detection of any significant error of DAM, ERCOT and the Vendor will correct the problem and re-start the DAM trial operations test, until DAM operates properly for seven consecutive days. ERCOT shall provide QSEs with test DAM settlement statements for the seven consecutive Operating Days. The test DAM settlement statements will use calculated LMPs and MCPCs from the DAM and to the extent possible, show the effect of real time operations simulation from TXMACS. QSEs shall review the test settlement statements for errors and provide feedback to ERCOT for resolution. | The Readiness Advisor will review the documentation that verifies that the DA Market operated successfully for 7 Days, or the documentation that verifies that, on detection of any significant error of DAM, ERCOT and the Vendor will correct the problem and re-start the DAM trial operations test, until DAM operates properly for seven consecutive days. |
| MMS9 | Operate market with RUC | Joel Mickey | Operate RUC in parallel with DAM per the Transition Plan 5.4.7(1) | The Readiness Advisor will review documentation that verifies that the RUC Process runs successfully in parallel with the DA Market |
| MMS10 | Verify Supplemental Ancillary Services | Colleen Frosch | ERCOT shall test Supplemental Ancillary Services Market Functionality and Procedures | The Readiness Advisor will review supplemental ancillary documentation and market trials to verify that functionality prior to nodal market launch |
| MMS11 | Verify MP Offer Inputs | Joel Mickey | ERCOT will verify QSE can enter individual offer curves. QSE submitted data shall be validated and stored in the operational database upon receipt. The QSE shall be informed of the results of validation. The communication mechanism during data submission is nearly synchronous. QSEs submit the data and wait for the response from the MMS System. QSEs have the ability to revise and/or cancel Trading Data as many times as necessary within the appropriate submission window. | The Readiness Advisor will review documentation that verifies that market participants can offer inputs to the market. This will be accomplished by the witness of screen captures to document the capture of resource offer curves from QSEsTo be defined as an exit criteria for an EDS – communicate to ERCOT EDS Team, table this item for now. (recommend that ERCOT & QSEs jointly agree to a method and results). Comment to be included in the metric definition document. [Reliant: this verification does not capture the requirements. Expand to include demonstrated functionality that QSEs can replace, revise, and cancel trading data, including offers to ERCOT markets, repeatedly during the submission window. Verification also includes documentation that data are properly validated by ERCOT and properly represented in the database at the end of the submission window and that QSEs receive corresponding validations for data submissions (and errors). This also presumes that all communications are working. Communication can be assumed to be in place correctly if the other metrics are achieved (Also, communication as a stand-alone functionality is tested before this metric is evaluated.)] |
| MMS12 | Verify SCED Functions | Joel Mickey | ERCOT will perform a SCED Site Acceptance Test | The Readiness Advisor will review documentation that verifies correct operation of SCED functions. This will occur through the witness screen captures and other documents to verify the correct operation of security constrained economic dispatch |
| MMS13 | Verify Basepoint Generation | Joel Mickey | ERCOT will calculate resource basepoints and generate LMPs | The Readiness Advisor will review documentation that verifies generation of basepoints . This will occur through the witness screen captures and other documentation that verifies the generation of generation basepoints during market trials |
| MMS14 | Verify LMP Reasonableness | Joel Mickey | ERCOT will verify that the system generated locational marginal price output of the Security Constrained Economic Dispatch (SCED) module is a reasonable number in a test environment. | The Readiness Advisor will verify that the SCED generated LMP is accurate in a test environment and during market trials, |
| MMS15 |  |  |  |  |
| MMS16 | QSE submit RT Offer Curves | Joel Mickey | Validate that QSE’s can successfully submit resource offer curves into the ERCOT Nodal Systems (captured in 5.4.4 (2)) | The Readiness Advisor will review documentation that verifies that QSEs can submit RT Offer Curves. This will occur by the witness of screen captures to document the capture of resource offer curves from QSEs |
| MMS17 | Generate LMPs for 6 months | New Metric |  |  |
| MMS18 | Verify SASM | New Metric for Joel Mickey from MMS7 | Verification of request to open SASM, Verification of resubmitted/new AS Offers for SASM, Verification of SASM AS Awards. | The Readiness Advisor will review all the documentation that Verification of request to open SASM, Verification of resubmitted/new AS Offers for SASM, Verification of SASM AS Awards. |
| MMS19 | Test Time Transitions | David Forfia |  |  |
| MMS20 | Post RT Information | Richard Howard |  |  |
| MP1 | Telemetry Point Validation | Richard Howard |  |  |
| MP2 | Telemetry Value Validation | Richard Howard |  |  |
| MP3 | Telemetry Functionality | Richard Howard |  |  |
| MP4 | MP Use of MIS | Patrick Coon | This metric is contingent on the completion of MMS3 “Verify MIS Functionality”. This metric will involve reporting Market Participant hits to the MIS Nodal Market Operations Testing Environment (Nodal MOTE) of specified functions as part of the QSE qualification activities, limited to MIS Secure Area and MIS Certified Area. | The Readiness Advisor will review documentation that verifies that the market participants can send and receive information through the portal during market trials. |
| MP5 | MP AP & RTM Transactions | Joel Mickey | MP AP & RTM Transactions(Need clarification, does it overlap SCED?) [Reliant: what are these acronyms? If they include Adjustment Period and Real Time Market---then more than ancillary service offers should be tested. (Please note that the use of bid changes in the nodal protocols and services offered into ERCOT markets are called “offers” in the nodal protocols. Terminology needs to be consistent so that we all understand exactly what is being tested and verified.) If the intent is to only capture bids, the question then turns to “why only bids?”] | The Readiness Advisor will review documentation that verifies that market participants may make real time bids for ancillary services [Reliant: this is insufficient. Please see comments at left.] |
| MP6 | MP DAM Transactions | Joel Mickey | MP DAM Transactions recommendation: (ERCOT and MPs jointly agree to methodology for this metric with TAC approval | The Readiness Advisor will review documentation that verifies that the market participants can and have successfully sent test DA Bids through the portal [Reliant: if this is solely a portal test, the metric definition should so state. Moreover, the other requirements for DAM above should specifically state that it is an API test (if it is) and that it excludes the portal (if it does). Otherwise, why would this test be portal only?] |
| MP7 | 'Gather and Submit Meter Data | Don Tucker |  |  |
| MP8 | MP Registration Activities | Patrick Coon | Registration tasks by Market Participants will be required before participating in specified EDS releases. ERCOT requires all Market Participants to complete prescribed forms, execute applicable standard agreements as required. Registration is considered complete when the market participant Accountable Executive and Authorized Representative are notified by ERCOT via email. | The Readiness Advisor will review documentation that verifies that market participation registration has occurred. |
| MP9 | MP EDS-4 Trials Participation | Trip Doggett | This metric will be considered complete when a sufficient number of market participants in number and representative generation and load actively participate in and complete the exit criteria of the EDS-4 Market Trial. The main objective of EDS-4 include operation of the Day Ahead Market (bids & offers), execution of the base points and voltage schedules, reliability unit commitment, execution of ancillary and supplemental ancillary Services and the viewing and validation of settlements through the MIS verification. | The Readiness Advisor will review documentation that verifies that EDS-4 results show that the market participant roles in meeting the EDS-4 exit criteria exhibit adequate market participant participation in number and representative generation and load to deem a level of readiness adequate to run a nodal market. |
| MP10 | MP Completes Training (EDS-3) | Ted Hailu | Market Participant students designated by their accountable executives have attended and completed the courses required for nodal market readiness as per the TPTF training readiness document. This metric will track how we are meeting the target number of attendees before EDS-3. | The Readiness Advisor will review the report from ERCOT’s Learning Management System (LMS) and verify that Market Participants have completed the required readiness training curriculum |
| MP11 | QSE/CRR Account Agreements Signed | Andy Gallo |  |  |
| MP12 | MP Validation of nodal data extracts | Jackie Ashbaugh |  |  |
| MP13 | Verify QSE Performance Monitoring Test Plan | Sandip Sharma |  |  |
| MP14 | Verify TSP Performance Monitoring Test Plan | Richard Howard |  |  |
| MP15 | MP Qualification Activities | Patrick Coon | This metric is reserved for QSEs and CRR Account Holders and consists of completing specified qualification requirements to include demonstration of capability to perform specific market and operational functions as prerequisite to EDS release and/or Market Trial, demonstration of creditworthiness as required, and other details as specified by program plan in preparation for applicable release and/or market trial. | The Readiness Advisor will review documentation that verifies that market participants are qualified to engage in market activities. |
| MP16 | MP Redundant Telemetry Communications | Vijayan Poyya |  |  |
| MP17 | MP EDS-1 Trials Participation | Trip Doggett | This metric will be considered complete when Transmission Service Providers and Qualified Scheduling Entities actively participate in and complete the exit criteria of the EDS-1 Market Trial in both numbers of participants and their representative generation and load. The main objective of EDS-1 includes telemetry | The Readiness Advisor will review documentation that verifies that EDS-1 results show that the market participant roles in meeting the EDS-1 exit criteria exhibit adequate market participant participation in number and representative generation and load to deem a level of readiness adequate to run a nodal market. |
| MP18 | MP EDS-2 Trials Participation | Trip Doggett | This metric will be considered complete when Transmission Service Providers and Qualified Scheduling Entities actively participate in and complete the exit criteria of the EDS-2 Market Trial in both numbers of participants and their representative generation and load. The main objective of EDS-2 includes dynamic ratings verification. | The Readiness Advisor will review documentation that verifies that EDS-2 results show that the market participant roles in meeting the EDS-2 exit criteria exhibit adequate market participant participation in number and representative generation and load to deem a level of readiness adequate to run a nodal market. |
| MP19 | MP EDS-3 Trials Participation | Trip Doggett | This metric will be considered complete when Qualified Scheduling Entities actively participate in and complete the exit criteria of the EDS-3 Market Trial in both numbers of participants and their representative generation and load. The main objective of EDS-3 includes resource registration, QSE qualification, load frequency Control testing, offer curve submittal through the MIS, base point response, real time settlement and trial execution of the CRR market verification. | The Readiness Advisor will review documentation that verifies that EDS-3 results show that the market participant roles in meeting the EDS-3 exit criteria exhibit adequate market participant participation in number and representative generation and load to deem a level of readiness adequate to run a nodal market. |
| MP20 | MP Completes Training (EDS-4) | Ted Hailu | Market Participant students designated by their accountable executives have attended and completed the courses required for nodal market readiness as per the TPTF training readiness document. This metric will track how we are meeting the target number of attendees before the market go-live date. | The Readiness Advisor will review the report from ERCOT’s Learning Management System (LMS) and verify that Market Participants have completed the required readiness training curriculum |
| MP21 | MP response to Base Points | New Metric | Include telemetry, meter data? |  |
| N1 | Telemetry Point Validation | Vijayan Poyya |  |  |
| N2 | Telemetry Value Validation | Vijayan Poyya |  |  |
| N3 | Telemetry Functionality | Vijayan Poyya |  |  |
| N4 | Verify Constraint Accuracy | Leo Villanueva |  |  |
| N5 | Validate SE Performance/Availability | Vijayan Poyya |  |  |
| N6 | Validate SE Accuracy | Vijayan Poyya |  |  |
| N7 | Generate Models & Update All Appropriate DBs | Curtis Crew | ERCOT shall attain the ability to generate network models pursuant to requirements in Nodal Protocols 3.10. | The Readiness Advisor will review documentation indicating ERCOT can generate network models and update EMS/MMS/Other System Databases for timely information to operate the ERCOT System |