| Texas Nodal Readiness Advisor Metric Framework & Metric Comments |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NBR | Issuing Entity (Name) | Metric | Description | Response Type | Reason / Comment |
| 20 | Meter Data Management (Don Tucker) | MP7 | In discussion of the metric to define the Meter Data Management for Market participants it was determined that this function will not change as transition from zonal to nodal occurs. Therefore this should not be considered a metric issue and the metric removed from the Metric Map. | Pending | Readiness Advisor concurs. Pending TPTF approval. TPTF disagrees; Readiness Advisor has the action to re-visit this item with Don Tucker and Ken Ragsdale. Per Don Tucker “While we do have some work in regards to setting EPS meters up in the network model and providing an association to generation based on typical system configurations, it has nothing to do with gathering and submitting meter data. The process for gathering and submitting meter data stays the same for both the EPS Meters and the TDSP meters. MRA will contact TPTF to understand concerns more precisely in order to conduct a next meeting with D Tucker. Email sent to F Trefny on 2/26 addressing this issue. MRA is following up based on the response from F Trefny’s email to see if this issue may be covered in an existing MP registration metric. MRA is setting a meeting with F Trefny and D Tucker to discuss and finalize this item |
| 40 | ERCOT Julie Thomas | D12 | Discuss - “Verify New Facilities Construction” is, as stated, neither a metric nor a criterion; nor is it, to my knowledge, a prerequisite for Market Launch. Some additional background as to who proposed a facilities-based metric and what that individual had in mind would be helpful. | Pending | Further discuss required. MRA has the action to follow up on this item to determine which facilities can adversely affect readiness. Control Room – Market Trials will be conducted in the Market Trials area. For Zonal and Nodal simultaneous operations ~ both will share each of the existing ERCOT control rooms providing redundancy to both. Initiated contact with Business Metric Owner for resolution |
| 41 | Metric Sub Group 02/21/2007 | MMS14 | Should we have an audit function for LMP or a shadow system? MPs need to know exactly how the vendor and ERCOT plan to prove the accuracy of LMP | Accepted | Further discuss required. MRA has the action to follow with the Nodal team to understand existing plans for this test. MRA has posed this question to the Nodal team and will follow up accordingly. A White paper is in progress by John Hall addressing this issue. The RA expects that this issue will be addressed in detail in the metric “MMS14 – Verify LMP Reasonableness” |
| 42 | Metric Sub Group 02/21/2007 | MMS5 | Does MMS5 include stress and exception testing? There should be a test of exception cases, in particular, matches between counter parties as well as stress testing for high volumes. Exception testing and stress testing (especially high volume transactions) should be part of all metrics involving test execution. | Accepted | Further discuss required. Current plans for stress and exception testing should be included in associated metrics. MRA has the action to follow with the Nodal team to understand existing plans for stress and exception testing procedures. MRA has confirmed with Nodal personnel that stress testing and exception testing will occur during the “Load & Performance” test. Will be detailed in “How Judgment Will be Met”. |
| 43 | Metric Sub Group 02/21/2007 | MMS9 | Does MMS9 include both HRUC & DRUC? Market participants would like to see HRUC and DRUC operating at the same time as well as multiple RUC scenarios. If this is not included in this metric, another metric should be created to address it. | Accepted | Further discuss required. Current plans. Current plans for HRUC & DRUC parallel testing process should be included in associated metrics. MRA has the action to follow with the Nodal team to understand existing plans for HRUC & DRUC simultaneous testing procedures. MRA has confirmed with Nodal personnel that simultaneous operation of RUC and multiple RUC scenarios are planned for the End-to-End test. Will be detailed in “How Judgment Will be Met”. |
| 44 | Metric Sub Group 02/21/2007 |  | Is there a metric for the Price Correction Process? The Price Correction Process should have more transparency and perhaps a metric to verify it is ready for market launch. | Pending | Further discuss required S. Moorty and B Whittle have responded that this item is in early stages ~ investigating different processes practiced by other ISO ~ process is being developed. RA recommends a new metric for the Price Correction Process. MRA recommends a new Metric “MMS15 – Price Correction Process” |
| 45 | Metric Sub Group 02/21/2007 | Multi | Should contingency plans be exercised prior to signoff? Where feasible, contingency plans should be tested. Black Start should not be tested, but many others should, like software failovers and backup facilities | Accepted | Further discuss required. MRA has informed all Metric Owners of contingency test metrics of this concern. Metrics are being updated to reflect this requirement where feasible. Metrics have been updated. |
| 46 | TPTF Meeting | E2 | Recommend that metric “E2 – Develop TN Transition Plan” to “E2 – Develop TN Market Launch Plan” | Accepted | Readiness Advisor concurs. Pending TPTF approval. Metric Map updated |
| 47 | TPTF Meeting | E3 | Recommend that metric “E2 – Execute TN Transition Plan” to “E2 – Execute TN Market Launch Plan” | Accepted | Readiness Advisor concurs. Pending TPTF approval. Metric Map updated. |
| 48 | TPTF Meeting March 8, 07 | MP21 | Recommend new metric “MP21 – MP Response to Base Points” be created to compliment metric “MMS13 – Verify Base Point Generation” | Accepted | Readiness Advisor concurs pending TPTF approval. Metric Map update to include this change. |
| 49 | TPTF Meeting March 8, 07 | MMS17 | Recommended new metric “MMS17 – Generate LMPS for 6 Months” | Accepted | Readiness Advisor concurs pending TPTF approval. Metric Map update to include this change. |
| 50 | TPTF Meeting March 8, 07 | D22 | Recommended new metric “D22 – Staffing for Program Execution” | Accepted | Readiness Advisor concurs pending TPTF approval. Metric Map update to include this change. |
| 51 | TPTF Meeting March 8, 07 | MP7 | Recommended to a new metric to cover SASM separately from metric “MMS7 – Verify DAM Ancillary Services” | Pending | Upon further review, Readiness Advisor determined that metric “MMS10 – Verify Supplemental Ancillary Services” addresses this area. |
| 52 | TPTF Meeting March 8, 07 | Multi | TPTF reviewed and approved IMM2, D6, D7, C1, C4, MMS8, MMS4, MMS12, MMS16 | Accepted | Notice to Vote |
| 53 | TPTF Meeting March 8, 07 | Multi | Changes were recommended for metrics C2, MMS1, MMS2, MMS5, MMS6, EMS7, MMS7, MMS9, MMS11, MMS13, MMS14, MMS18, MP5, MP6, D8 Per Definition and Verification Report review | Accepted | TPTF recommended changes were accepted by Business Manager and therefore considered as TPTF Accepted |
| 54 | TPTF Meeting March 8, 07 |  | TPTF recommended a new report for metric review that includes all metrics with a means of identifying the current status for each metric | Accepted | Version #1 of the new report format was distributed and posted on Friday, March 9th for MSG preview and review |
| 55 | TPTF Meeting March 8, 07 |  | It was considered whether or not to send TPTF approved Metrics forward for TAC approval incrementally instead as final deliverable | Pending | Discuss and decide at the March 22-23 TPTF meeting |
| 56 | M Mereness | MP11 | Recommended that metric “MP11 – QSE/QRR Account Agreements Signed” be changed to “MP11 – Standard Form MP Agreements Signed” | Accepted | Readiness Advisor concurs pending TPTF approval. Metric Map update to include this change. |
| 57 | TPTF Meeting March 8, 07 T Doggett |  | Recommended that during the next TPTF meeting (that follows an MSG meeting), it be determined if the MSG meeting provides value or is redundant to the TPTF session | Pending | Discuss and decide at the March 22-23 TPTF meeting |
| 58 | M Herzog |  | Metrics D2, D16, D17 & D18 address “ERCOT Staff Completes Training” for EDS1,2,3 & 4 respectively. Recommended that since it has been suggested that EDS-1 and EDS-2 are not applicable to this metric, that D2 (EDS-1) be deleted and D16 (EDS-2) be changed to indicate training completed for “Go Live” | Pending | Readiness Advisor concurs pending TPTF approval. Metric Map has not been updated to include this change. |
| 59 | TPTF Meeting March 8, 07 Reliant Comments | CO2 | “CO2 – Resolve Disputes of 168 Hour Test” Verification - If everything is *perfect* we won’t have disputes---so we need to make sure that some element of testing requires MPs to submit disputes through the portal—whether such disputes arise from the 168 hour settlement test or not.] | Pending | Metric Criteria to be addressed in the detail section of the Metric Definition Document Will be detailed in “How Judgment Will be Met” |
| 60 | TPTF Meeting March 8, 07 Reliant Comments | CO3 | “CO3 – Verify DAM Settlement Statement” Definition - How is this different from CO1? Is the metric earlier in the process? | Pending | CO1 is specifically for the 168 hour test. CO3 I for completeness to insure all billing types are tested. |
| 61 | TPTF Meeting March 8, 07 Reliant Comments | CO4 | “CO4 – Zonal / Nodal Coordinated Settlement” Definition - Seems like a matter of staffing and training for the nodal settlement staff. In general agree with metric and validation—although “tools” and “equipment” could use a bit more description. By the time we are ready with nodal, hopefully the Settlements team won’t be using many offline ‘tools’ for their work. Also, part of this should be determination that ERCOT will be able to handle disputes, etc looking ‘backward’ for 18 months. So, for example, would the new nodal portal be used to enter historical zonal disputes? We may not be able to answer this question now, but by “go live” we will all need to agree on the processes for managing ‘old’ zonal data/disputes for about 18-24 months. | Pending | Metric Criteria to be addressed in the detail section of the Metric Definition Document. The question regarding how zonal disputes are handled after transition to the nodal market will be pursued by the RA Will be detailed in “How Judgment Will be Met” |
| 62 | TPTF Meeting March 8, 07 Reliant Comments | CO6 | “CO6 – Verify Inbound Settlement Statements Verification - As part of this or other testing, we should verify that what MMS/EMS/CRR sent to settlement system is what was received by the settlement system (prior to any settlement system data transformation | Pending | This is the metric’s intent |
| 63 | TPTF Meeting March 8, 07 Reliant Comments | CO7 | “CO7 – Verify RT Invoices Definition - This should be linked with a parallel metric that requires QSEs and CRR Account Holders to retrieve the invoices. | Pending | It is the intent of metric “MP12 – MP Validation of Nodal Data Extracts” to handle this item. RA anticipates and will pursue that this item is identified specifically within MP12. |
| 64 | TPTF Meeting March 8, 07 Reliant Comments | CO8 | “CO8 – Verify DAM Invoices” Definition - This should be linked with a parallel metric that requires QSEs and CRR Account Holders to retrieve the invoices. | Pending | It is the intent of metric “MP12 – MP Validation of Nodal Data Extracts” to handle this item. RA anticipates and will pursue that this item is identified specifically within MP12. |
| 65 | TPTF Meeting March 8, 07 Reliant Comments | C09 | “C09 – Verify CRR Auction Invoices” Definition - This should be linked with a parallel metric that requires CRR Account Holders to retrieve the invoices. | Pending | It is the intent of metric “MP12 – MP Validation of Nodal Data Extracts” to handle this item. RA anticipates and will pursue that this item is identified specifically within MP12. |
| 66 | TPTF Meeting March 8, 07 Reliant Comments | D5 | “D4 – Verify ERCOT Compliance Readiness” Question - Is this verification of the Regional Entity (RE) readiness? We need more information on which organization the metric is assessing. | Pending | This metric confirms that the processes and systems are in place to address Section 8.2 Protocol Compliance |
| 67 | TPTF Meeting March 8, 07 Reliant Comments | D14 | “D14 – ERCOT Staffed for TN Operations Verification - Does ‘alignment analysis’ mean that staffing has occurred and that this is being verified. Will these additional staff be included in the training metric, D10?] | Pending | RA will pursue |
| 68 | TPTF Meeting March 8, 07 Reliant Comments | D22 | “D22 – Staffing for Program Execution” Question – How does this differ from D14? | Pending | Staffing for execution is pre-launch staffing and D14 addresses post-launch staffing. |
| 69 | TPTF Meeting March 8, 07 Reliant Comments | EMS6 | “EMS6 – Verify Outage Evaluation System Functionality” Verification - This verification does not verify the items listed at left | Pending | RA will review Metric definition with Business Metric Owner |
| 70 | TPTF Meeting March 8, 07 Reliant Comments | EMS7 | “EMS7 – Run 168 Hour Stability Test Definition - ERCOT shall maintain and communicate a list of excursions, if any, to be presented to the market after the end of the 7 day test. To facilitate this, ERCOT shall develop a checklist of the documentation for the MRA to review.] (software test, and not a PSS stability Verification – Change definition as follows: The Readiness Advisor will review documentation that verifies ERCOT operated its system in accordance with NERC Standards and ERCOT protocols for a period of 168 contiguous hours (without violations) during EDS-4 Market Trials | Pending | Per request RA concurs that we change the Metric Description to: "ERCOT will run the nodal software for a period of 168 consecutive hours providing its intended functions" and the Verification Approach to "The Readiness Advisor will review documentation that verifies that ERCOT did run the nodal software for 168 continuous hours providing its intended functions." |
| 71 | TPTF Meeting March 8, 07 Reliant Comments | IMM1 | “IMM1 – Market Monitor Systems Capability” Question - Will the IMM verify its systems as part of market trials? | Pending | RA will pursue |
| 72 | TPTF Meeting March 8, 07 Reliant Comments | IMM3 | “IMM3 – Market Monitor Receives Software” Question - Is this ‘software drop’ part of the project timeline? Where in the timeline does the project need to coordinate testing with the IMM? | Pending | RA will pursue |
| 73 | TPTF Meeting March 8, 07 Reliant Comments | IMM4 | “IMM4 – Market Monitor SAT” Question - Is this if Market Monitor software only? Or will it require interface with ERCOT systems to validate acceptance? If it requires ERCOT systems, it should be linked with a like metric on the ERCOT side, | Pending | This metric is dependent on metric “D9 – Validate EDW / WEMM / access and accuracy” which is linked via the Metric Map to metric “IMM2 – Market Monitor data Access”. |
| 74 | TPTF Meeting March 8, 07 Reliant Comments | MMS1 | “MMS1 – Develop W/D/H RUC Test Plan Changes to definition and Verification – see Verification Report | Pending | RA will pursue |
| 75 | TPTF Meeting March 8, 07 Reliant Comments | MMS2 | “MMS2 – Verify RUC Functionality” Verification - Review this with Joel; sequence of plan, execute and test interfaces; in other metrics the MRA was reviewing the existence of plans. Here the MRA is reviewing the plan. What is the importance of this difference in activity? | Pending | RA will pursue |
| 76 | TPTF Meeting March 8, 07 Reliant Comments | MMS3 | “MMS3 – Verify MIS Functionality Question - does this actually mean a test of posting files to an MIS ‘sandbox’ or does it only mean that MMS produces the files for posting? | Pending | RA will pursue |
| 77 | TPTF Meeting March 8, 07 Reliant Comments | MMS5 | “MMS5 – QSE Submits DA Bids & Offers Verification - this also needs to include the fact that ERCOT is developing a ‘staging’ function wherein bids that ‘live in the system’ become effective upon a stated date and time. This requirement also must verify this functionality Verification - Need to confirm validation by ensuring that offers and bids that do not meet criteria are rejected. Specific details should be set forth for these checks (in which documentation would these criteria be found?). also, without data from QSEs how would the MRA determine that failure messages sent to QSEs actually arrive and are in the correct format? Additionally, there should be credit validations throughout the DAM window and these need to be verified as well.] [Reliant: recommend breaking this topic up into more manageable subsets of requirements | Pending | RA will pursue |
| 78 | TPTF Meeting March 8, 07 Reliant Comments | MMS6 | Recommend to change metric short names from “MMS6 – Verify DA market Convergence” “MMS6 – Verify DA market Clears” Definition - this is not what market convergence means. Market convergence generally refers to the fact that, over time, the prices in the DAM and RT will become close if system conditions are relatively similar across the two periods. If ERCOT is trying to force market convergence (note the “converge the market” statement above), it would need to start with a set of DAM conditions, and iterate through several days of ‘artificial’ DAM & RT and use virtual bids (increasing the number and use where required) so that the results of the DAM and RT converge. This is not what is described above. If the goal is to test whether the DAM solves on the basis of inputs from the NMMS, QSEs and ERCOT (RMR resources), this should be stated. The validation condition would be the set of outputs from the DAM that are mathematically consistent with the inputs and model assumptions. Also, where are ERCOT RMR offers into the MMS being tested and verified? | Pending | RA concurs. Metric Map has not been modified. RA will pursue with Business Metric Owner |
| 79 | TPTF Meeting March 8, 07 Reliant Comments | MMS7 | “MMS7 – Verify DAM Ancillary Services” Definition and Verifications – Delete – Verification of DAM AS Awards, Verification of COP, updates based on ASAwards and AS Self Arrangements | Pending | RA will pursue |
| 80 | TPTF Meeting March 8, 07 Reliant Comments | MMS9 | Recommend metric name change from “MMS9 – Operate RUC in parallel with DAM to “MMS9 - Operate RUC in parallel with DAM per the Transition Plan 5.4.7(1) | Pending | Initiated contact with Business Metric Owner for resolution |
| 81 | TPTF Meeting March 8, 07 Reliant Comments | MMS10 | “MMS10 – Verify Supplemental Ancillary Services” Question - seems the same as MMS 18—Verify SASM. Are these duplicative? | Pending | Affirmative. RA will pursue |
| 82 | TPTF Meeting March 8, 07 Reliant Comments | MMS11 | “MMS11 – Verify MP Offer Inputs” Definition – Changes per Verification Report Verification - To be defined as an exit criteria for an EDS – communicate to ERCOT EDS Team, table this item for now. (recommend that ERCOT & QSEs jointly agree to a method and results). Comment to be included in the metric definition document. [Reliant: this verification does not capture the requirements. Expand to include demonstrated functionality that QSEs can replace, revise, and cancel trading data, including offers to ERCOT markets, repeatedly during the submission window. Verification also includes documentation that data are properly validated by ERCOT and properly represented in the database at the end of the submission window and that QSEs receive corresponding validations for data submissions (and errors). This also presumes that all communications are working. Communication can be assumed to be in place correctly if the other metrics are achieved (Also, communication as a stand-alone functionality is tested before this metric is evaluated | Pending | Initiated contact with Business Metric Owner for resolution |
| 83 | TPTF Meeting March 8, 07 Reliant Comments | MMS14 | “MMS14 – Verify LMP Reasonableness” Definition – See Verification Report Verification – See Verification Report | Pending | Initiated contact with Business Metric Owner for resolution |
| 84 | TPTF Meeting March 8, 07 Reliant Comments | MMS16 | “MMS16 – QSE Submit RT Offer Curves” Verification - : there should be validation that what was sent is what was received and stored for use in MMS. | Pending | Initiated contact with Business Metric Owner for resolution |
| 85 | TPTF Meeting March 8, 07 Reliant Comments | MP4 | “MP4 – MP Use of MIS” Verification - Is this limited to the portal? Or is an API test envisioned as well (API test might be partially encompassed in MMS 16). | Pending | Will be detailed in “How Judgment Will be Met” |
| 86 | TPTF Meeting March 8, 07 Reliant Comments | MP5 | “MP5 – MP AP & RTM Transactions” Definition - What are these acronyms? If they include Adjustment Period and Real Time Market---then more than ancillary service offers should be tested. (Please note that the use of bid changes in the nodal protocols and services offered into ERCOT markets are called “offers” in the nodal protocols. Terminology needs to be consistent so that we all understand exactly what is being tested and verified.) If the intent is to only capture bids, the question then turns to “why only bids? Verification - This is insufficient. Please see comments at left | Pending | Definition of acronyms is correct. RA will pursue |
| 87 | TPTF Meeting March 8, 07 Reliant Comments | MP6 | “MP6 – MP DAM Transaction” Definition - MP DAM Transactions recommendation: (ERCOT and MPs jointly agree to methodology for this metric with TAC approval Verification - If this is solely a portal test, the metric definition should so state. Moreover, the other requirements for DAM above should specifically state that it is an API test (if it is) and that it excludes the portal (if it does). Otherwise, why would this test be portal only? | Pending | This is not solely a Portal test. Metric recommendation will be forwarded to Business Metric Owner. |
| 88 | TPTF Meeting March 8, 07 Reliant Comments | MP8 | “MP8 – MP Registration Activities” Verification - does this include asset registration in the new registration system? If not, asset registration in the new system should be added as a metric under the entity responsible for entering the information into the system. If the entity is ERCOT, then another metric is required for MP provision of data to ERCOT for entry. | Pending | RA will pursue |
| 89 | Tisa Weston | MP11 | Recommends modifying metric “MP11 – QSE/CRR Accounts Agreement Signed” to “MP11 – QSE/CRR Accounts Agreement Executed”. Also recommended is to move this metric from market Participant (MP) to Ercot Internal (D): - From past experience in getting MPs to execute Standard Form Agreements, I think a better category is ‘ERCOT – Internal.’ - I agree with, “ERCOT shall have each Market Participant sign a standard form agreement prior to participation in the Texas Nodal Market,” however would change ‘sign’ to ‘execute.’ - I agree with, “The Readiness Advisor will review documentation that all Market Participants planning to engage in the Texas Nodal Market have signed a standard form agreement,” however would change ‘signed’ to ‘executed.’ | Pending | RA will pursue |
| 90 | IRT Project | Multi | Recommend EDS changes for the following metrics: EMS5 1 to 4 MMS20 1 to 2 MP1 1 to 2 MP3 1 to 2 N1 1 to 2 N3 1 to 2 N4 1 to 2 EMS1 2 to 3 EMS3 2 to 4 CO5 3 to 4 EMS6 3 to 4 MP4 3 to 4 MP5 3 to 4 CRR1 4 to 3 CRR3 4 to 3 CRR5 4 to 3 | Pending | Modifications made to Metric Map |
| 91 | R Howard | C9 | Recommends new metric “C9 - Contingency Plan for Site Unavailability” | Pending |  |
| 92 | R Howard | C10 | Recommends new metric “C10 - Verify Single Point of Failure Recovery EMS/MMS/NMMS/CRR” | Pending |  |
| 93 |  | MP7 | Recommended change metric name “MP7 – MDMA Process” to MP7 – SPP to Base Point Mapping Established” |  |  |