## Sheet1
Station | Company | QSE/TSP | Points | Quality Code Not Changed - Telemetered | Quality Code Not Changed - Non-telemetered | ERCOT Issues
DANSBY | BTU | Both | 37 | 0 | 0 | 7
TERSO | Reliant | QSE | 11 | 0 | 0 | 0
JAX SE | TXU | TSP | 21 | 0 | 0 | 0
Green Bayou | CPE | TSP | 149 | 6 | 32 | 12
O'Brien | CPE | TSP | 78 | 0 | 18 | 0
Channel View | Reliant | QSE | 31 | 0 | 0 | 4
Jewet | TXU | TSP | 102 | 0 | 0 | 1
Gideon | LCRA | TSP | 79 | 0 | 47 | 0
Lostpine | LCRA | TSP | 16 | 0 | 10 | 0
Brand_c | Garland | TSP | 24 | 0 | 12 | 0
Olinger | Garland | Both | 72 | 0 | 28 | 0
Gideon | LCRA | QSE | 27 | 25 | 0 | 2
Lostpine | LCRA | QSE | 21 | 18 | 0 | 3
Woodrow | Denton | TSP | 14 | 0 | 0 | 4
Teasly | Denton | TSP | 10 | 0 | 0 | 0
Total |  |  | 692 | 49 | 147 | 33
Type of Failure |  |  | Total Count | Systemic Count
Missing ICCP points |  |  | 1 | 1
Mis-mapped ICCP points |  |  | 25 | 25
Quality Code not changed - Telemetered |  |  | 49 | 3
Quality Code not changed - Non-Telemetered |  |  | 147 | 6
Network Model Issues (Equipment needs to be removed from model) |  |  | 3 | 3
Polarity reversed |  |  | 4 | 4
Total |  |  | 229 | 42
Error % |  |  |  | 6.069%