| PRR Number | 706 | PRR Title | Provisional Qualification for Ancillary Services |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Recommended Action |  | Approval |
| Protocol Section(s) Requiring Revision |  | 6.10.3, Ancillary Services Qualification Criteria and Portfolio Test Methods |  |  |
| Proposed Effective Date |  | June 1, 2007 |  |  |
| Priority and Rank Assigned |  | N/A. |  |  |
| Revision Description |  | This Protocol Revision Request (PRR) provides for a provisional qualification time period for the provision of Ancillary Services (AS) and discontinues the practice of “borrowing” units for AS qualification. |  |  |
| Overall Market Benefit |  | This PRR will enable ERCOT to apply Section 6.10.3 to the very same units that will provide the AS thus resulting in better knowledge of Market Participant capabilities and improved system operations and reliability. |  |  |
| Overall Market Impact |  | Not known. |  |  |
| Consumer Impact |  | Not known. |  |  |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? |  | Yes. ERCOT credit staff and the CWG have reviewed PRR706 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 01/10/07, PRR706 was posted. - On 02/22/07, the PRS considered this PRR. - On 02/28/07, ERCOT posted the Impact Analysis (IA) - On 03/22/07, the PRS considered the Recommendation Report and IA. |  |  |
| PRS Recommendation |  | On 02/22/07, the PRS unanimously voted to recommend approval of PRR706 as submitted. All Market Segments were present for the vote. On 03/22/07, the PRS reviewed the IA and unanimously voted to forward PRR706 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS discussion |  | On 02/22/07, Market Participants discussed that in lieu of allowing for the borrowing of units, ERCOT would provide a provisional qualification of AS and noted that this PRR is supported by ERCOT Staff. Market Participants also ascertained that this will not affect compliance with the Schedule Control Error scores. On 03/22/07, there was no discussion. |  |  |

| ERCOT/Market Segment Impacts and Benefits |  |  |  |
| --- | --- | --- | --- |
| Assumptions | 1 | None |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Increased reliability |  |
|  | 2 | Better ERCOT knowledge of participant capabilities |  |
| Additional Qualitative Information | 1 | None |  |
| Other | 1 |  |  |

| Original Sponsor |  |
| --- | --- |
| Name | Gary D. Miller (on behalf of QSE Managers Working Group) |
| Company | gmiller@btutilities.com |
| Segment | Bryan Texas Utilities |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

6.10.3	Ancillary Services Qualification Criteria and Portfolio Test Methods

Only QSEs that have been qualified and tested may be used to provide Ancillary Services.  ERCOT shall develop and operate its qualification and testing program to meet the following requirements for each Ancillary Service.

A QSE shall be qualified and tested to provide Service prior to initial operation and every five years thereafter.

ERCOT may grant a “Provisional Qualification,” for a period not to exceed forty-five (45) days, to QSE’s that are required to be, but have not yet been tested.  For all Ancillary Service testing, QSE’s must utilize Resources that are to be used by the QSE to provide the Ancillary Services to be tested.  Notwithstanding the failure of a QSE with Provisional Qualification to meet the applicable Ancillary Service criteria, such QSE may provide such Ancillary Service to the extent permitted by the terms of the Provisional Qualification.

A QSE may request a test for re-qualification at any time, but no later than the expiration of its current Ancillary Service qualification, and no more frequently than once every twelve (12) months.  At the time of a request by a QSE for re-qualification, ERCOT may approve the re-qualification based on the AS performance metrics using the following criteria:

(1)	For Balancing Energy and RGS, the QSE’s SCE Monitoring Criteria performance scores in Section 6.10.5.3, SCE Monitoring Criteria, were passing for five (5) out of the previous six (6) months.

(2)	For RRS, the RRS criteria in Section 6.10.5.4, Responsive Reserve Service Deployment Performance Monitoring Criteria, were passing for five (5) out of the previous six (6) performance intervals.

(3)	For NSRS, the NSRS monitoring criteria in Section 6.10.5.5, Non-Spinning Reserve Service Deployment Performance Monitoring Criteria, were passing for five (5) out of the previous six (6) deployment measurements without retest.

If the QSE passes the criteria, the QSE will be exempt from re-qualification testing for five (5) years from the date of the exemption request.  ERCOT shall provide monthly performance updates to the QSE for the above criteria.

ERCOT is authorized to call up to two unannounced, unscheduled qualification tests after presenting to the QSE supporting information of an indication that a Resource may not be able to meet its stated Net Dependable Capability during any calendar year.

QSEs may qualify by using either Generation Resource(s) or Load(s) Acting as a Resource (LaaR(s)).  If a QSE qualifies by using only a LaaR then the QSE may only provide Ancillary Services using LaaRs and will not be qualified to provide Ancillary Services using Generation Resources.  However, if a QSE successfully completes the qualification using Generation Resource(s), that QSE will be qualified to provide Ancillary Services from both Generation Resources and LaaRs.

ERCOT may grant a “Provisional Qualification,” for a period not to exceed ninety (90) days, to a QSE that has performed an Ancillary Service qualification test (or tests) in good faith but failed to qualify due to problems that, in the sole discretion of ERCOT, are determined to be non-critical for the purpose of providing one or more Ancillary Services.  Notwithstanding the failure of a QSE with Provisional Qualification to meet the applicable Ancillary Service criteria, such QSE may provide such Ancillary Service to the extent permitted by the terms of the Provisional Qualification.