| NPRR Number | 053 | NPRR Title | Creation of a New Trading Hub at Venus Station |
| --- | --- | --- | --- |
| Timeline | Normal | Action | Remanded to TPTF. |
| Protocol Section(s) Requiring Revision | 3.5.2.7, Venus 345 kV Hub (Venus 345) (New). |
| Proposed Effective Date | TBD. |
| Priority and Rank Assigned | TBD. |
| Revision Description | This NPRR creates a new trading hub at Venus Switching Station. |
| Overall Market Benefit | This NPRR creates the ability to schedule at the Venus Switching Station. |
| Overall Market Impact | None. |
| Consumer Impact | Unknown. |
| Credit Impacts: Has the Credit Workgroup reviewed the PRR? If so, are there credit impacts? | Yes. ERCOT credit staff and the Credit Work Group (CWG) have reviewed this NPRR and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |
| Procedural History | NPRR053 was posted on 3/12/07. On 3/22/07, PRS considered this NPRR. |
| PRS Action | On 3/22/07, PRS unanimously voted to remand NPRR053 to the Transition Plan Task Force (TPTF) for review. All Market Segments were present for the vote. |
| Summary of PRS discussion | There was no discussion on 3/22/07. |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 | Hub creation is a fairly simple process in the settlement systems |
| --- | --- | --- |
|  | Impact Area | Monetary Impact |
| Market Cost | 1 | None |  |
|  | Impact Area | Monetary Impact |
| Market Benefit | 1 | Ability to schedule transactions at VS |  |
| Additional Qualitative Information | 1 |  |
| Other | 1 |  |

| Original Sponsor |
| --- |
| Name | Clayton Greer |
| Company | Constellation Energy Commodities Group |
| Segment | Independent Power Marketer |

| Comments Received |
| --- |
| Comment Author | Comment Description |
| None |  |

Proposed Protocol Language Revision

3.5.2.7	Venus 345 kV Hub (Venus 345)

(1)	The Venus 345 kV Hub is composed of the following Hub Buses:

|  | ERCOT Operations | Steady State Working Group- Bus Number and Name are provided for reference purposes only |  |
| --- | --- | --- | --- |
| No. | Station Mnemonic | kV | Bus Number | Name | kV | Hub |
| 1 | VENSW | 345 | 1907 | VENUS N | 345 | VENUS |
| 2 | VENSW | 345 | 1906 | VENUS S | 345 | VENUS |

(2)	The Venus 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)	The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows:

DASPP Venus345	=	(HUBDF hb, Venus345 * DAHBP hb, Venus345)

Where:

DAHBP hb, Venus345	=	(HBDF b, hb, Venus345 * DALMP b, hb, Venus345)

HUBDF hb, Venus345	=	1 / HB Venus345

HBDF b, hb, Venus345	=	1 / B hb, Venus345

The above variables are defined as follows:

| Variable | Unit | Definition |
| --- | --- | --- |
| DASPP Venus345 | $/MWh | Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour. |
| DAHBP hb, Venus345 | $/MWh | Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour. |
| DALMP b, hb, Venus345 | $/MWh | Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour. |
| HUBDF hb, Venus345 | none | Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb. |
| HBDF b, hb, Venus345 | none | Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| b | none | An Electrical Bus that is a component of a Hub Bus. |
| B hb, Venus345 | none | The number of Electrical Buses in Hub Bus hb. |
| hb | none | A Hub Bus that is a component of the Hub. |
| HB Venus345 | none | The number of Hub Buses in the Hub. |

(4)	The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP Venus345	=	(HUBDF hb, Venus345 * ((RTHBP hb, Venus345, y * TLMP y) / (TLMP y)))

Where:

RTHBP hb, Venus345, y	=	(HBDF b, hb, Venus345 * RTLMP b, hb, Venus345, y)

HUBDF hb, Venus345	=	1 / HB Venus345

HBDF b, hb, Venus345	=	1 / B hb, Venus345

The above variables are defined as follows:

| Variable | Unit | Description |
| --- | --- | --- |
| RTSPP Venus345 | $/MWh | Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval. |
| RTHBP hb, Venus345, y | $/MWh | Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y. |
| RTLMP b, hb, Venus345, y | $/MWh | Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y. |
| TLMP y | Second | Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval |
| HUBDF hb, Venus345 | None | Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb. |
| HBDF b, hb, Venus345 | None | Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb. |
| y | None | A SCED interval in the 15-minute Settlement Interval. The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval. |
| b | None | An Electrical Bus that is a component of a Hub Bus. |
| B hb, Venus345 | None | The number of Electrical Buses in Hub Bus hb. |
| hb | None | A Hub Bus that is a component of the Hub. |
| HB Venus345 | None | The number of Hub Buses in the Hub. |