## Qualification
| Document Name: | Response_to_Comments_Registration_Approach_v0.44
| Issuing Entity | Name | Page Number | Description | Accepted / Rejected | Reviewer | Reason
1 | Garland Power & Light | Ronnie Hoeinghaus | p.1 | If we understood correctly, in the last presentation to TPTF, the form that is on the web is not correct - When will the correct form be available for registration? | Accepted | M.Mereness | Goal is to correct protocols at TPTF with this document as a draft NPRR. Updated protocol form would be available by June 2006.
2 | Garland Power & Light | Ronnie Hoeinghaus | p.1 | For CRR Registration, what will be the financial requirements as far as credit is concerned? | Accepted | M.Mereness | For a new Entity entering the ERCOT market as a QSE and/or CRR Account Holder, there is the need to establish creditworthiness. For an Entity serving as a current QSE and is registering as a CRR Acount Holder, the same line of credit is maintained. If more credit is desired to cover incremental financial activities such as participation in a CRR Auction, the Entity would proceed through normal finance processes to increase that line of credit.
3 | Garland Power & Light | Ronnie Hoeinghaus | p.8 | On page 8, the chart shows that the QSE provides Incremental Resource Data - What is Incremental Resource Data? | Accepted | M.Mereness | Examples added to section.
4 | Garland Power & Light | Ronnie Hoeinghaus | p.1 | Concerning QSE's having the option to self certify for ancillary services, does this apply to LaaR's also? | Accepted | M.Mereness | Yes, the current plan is to allow self-certification of Load resources. Unlike Generation Resources, Load Resources are individually tested and qualified in the zonal market. The current plan under discussion is to test communications of instruction with QSEs representing Load Resources, but not require tripping of Load in EDS testing.
5 | TXU | Bob Spangler | p.3 | To avoid confusion and repetition in document, recommend in Section 1.2, 1st paragraph, insert "The minimum registration steps that must be accomplished by LSEs, QSEs, Renewable Energy Credit Holders, Resource Entities, Transmission Service Providers and Distribution Service Providers, and Congestion Revenue Rights Account Holders are described in Section 2 of this document.", and strike paragraphs 2&3 | Accepted | M.Mereness | Document modified accordingly.
6 | TXU | Bob Spangler | p.4 | Section 1.2, Paragraph 5, recommendations for improved wording. | Accepted | M.Mereness | Document modified accordingly.
7 | TXU | Bob Spangler | p.4 | Section 1.2, Paragraph 7, improve wording and strengthen need for timely Registration as part of readiness. | Accepted | M.Mereness | Document modified accordingly.
8 | TXU | Bob Spangler | p.4 | TXU Comment: It may be appropriate to describe the periods during which the existing zonal standard agreements and documentation are in effect and the periods during which the new SFA and registration documentation will be effective} | Open Issue | M.Mereness | ERCOT Legal open item
9 | TXU | Bob Spangler | p.5 | Recommended changes to paragraph describing Counterparty | Accepted | M.Mereness | Document modified accordingly.
10 | TXU | Bob Spangler | p.6 | Section 2.3- remove extra sentence | Accepted | M.Mereness | Document modified accordingly.
11 | TXU | Bob Spangler | p.7 | Section 2.4- multiple language clarifications | Accepted | M.Mereness | Document modified accordingly.
12 | Reliant | Marguerite Wagner | p.3 | Section 1.1, paragraph 1, language clarifications | Accepted | M.Mereness | Document modified accordingly.
13 | Reliant | Marguerite Wagner | p.3 | Section 1.2 Reliant: what is the definition of a legal entity? Is it the entity that signs the SFA? This should be defined (in the protocols would be the best place---ERCOT should propose a definition in comments to the NPRR for credit/registration that recently past TPTF). | Accepted | M.Mereness | Requirement changed from "legal entity" to Entity as defined in protocols. Purpose of using legal entity was to highlight the the singularity of the entity from a financial and legal standpoint, but this is also properly define as Entity. This also represents the Entity that would sign the SFA.
14 | Reliant | Marguerite Wagner | p.3 | Can a single legal entity have multiple QSEs, LSEs, or REs under it? | Accepted | M.Mereness | A single entity can consist of multiple QSEs, LSEs, and REs; and represent other QSEs, LSEs and REs. The key is that an Entity that serves as a QSE or CRR Account-Holder must roll up those credit requirements under the single Entity.
15 | Reliant | Marguerite Wagner | p.3 | Section 1.2, paragraph4- Multiple SFA language clarifications. | Accepted | M.Mereness | Document modified accordingly.
16 | Reliant | Marguerite Wagner | p.4 | Presumably most REs are represented by a QSE, but are there any known current exceptions? | Accepted | M.Mereness | No exceptions- all REs are represented by a QSE.
17 | Reliant | Marguerite Wagner | p.4 | Recent activity indicates that the ERCOT Regional Entity has access to ERCOT registration information. Will this access continue under nodal? Which systems will touch the Registration System and how will secure access by ERCOT Staff, the IMM, etc. be enforced? Who can change information in the Registration System? What provisions have been put in place to ensure an audit trail? Further, if ERCOT Client Services can change information, each such change should be provided to the Market Participant. We recommend that ERCOT develop business processes that ensure confidentiality as well as confirmation of information update including processes to support an audit trail.] | Accepted | M.Mereness | - ERO is accessing the Siebel Registration system to enter necessary contact information, but cannot change other data. This will continue in nodal. - Systems touching/interfacing with the Registration system include, but are not limited to, NMMS, EMS, MMS, and Lodestar. - Security for changing Registration data is controlled by limited user roles in Siebel and is periodically audited. - ERCOT utilizes audit trail functionality within Siebel to store changes to records. - ERCOT maintains paper trail of change requests, and only reports back to Market Participants as required by protocols.
18 | Reliant | Marguerite Wagner | p.4 | Reliant: what does ‘manage the relationship’ mean? Does this mean Client Services, Legal, and MMS access? These access points should be clearly set forth.] | Accepted | M.Mereness | Clarified as "maintains records and details of its business relationship with the Entity"
19 | Reliant | Marguerite Wagner | p.4 | Reliant: have there ever been other financial transactions with TSPs, REs, REC Account Holders? What about the miscellaneous fees that ERCOT collects-WAN fees, and Screening Study fees; how will these relationships be managed? If they are ongoing, provisions should be made to register such entities so that the financial systems will be consistent with the MP info. Are all entities that pay WAN fees entities that will execute SFAs? (Seem to recall that Planning stated they would no longer collect Screening Study fees-might want to cross check this with them.)] | Partial | M.Mereness | - There are miscellanous fees collected by individual groups, such as WAN fees, but not centrally billed. - All entities paying WAN fees have signed an SFA and are registered.
20 | Reliant | Marguerite Wagner | p.5 | Move "Any Entity participating…" to bottom of list. | Accepted | M.Mereness | Document modified accordingly.
21 | Reliant | Marguerite Wagner | p.6 | Section 2- recommend improving wording. | Accepted | M.Mereness | Document modified accordingly.
22 | Reliant | Marguerite Wagner | p.6 | Section 2.1 - improve language | Accepted | M.Mereness | Document modified accordingly.
23 | Reliant | Marguerite Wagner | p.6 | Reliant: this doc only addresses the MP side activities. What will ERCOT provide to Market Participants indicate that Registration is complete?] | Partial | M.Mereness | - During the Registration and Qualification process, ERCOT works closely with the MP. - It is noted there are protocol requirements for written confirmation upon receipt of QSE application, and rejection notice if not complete. - Successful registration and qualification activities conclude with distribution of production digital certificate. - There is no scope to introduce new reporting functionality or a Siebel eservice for the market to access their Registration data.
24 | Reliant | Marguerite Wagner | p.7 | Section 2.2- remove legal from sentence. | Accepted | M.Mereness | Document modified accordingly.
25 | Reliant | Marguerite Wagner | p.7 | Section 2.2, paragraph2- Reliant: it sounds like the QSEs, CRR Account holders, etc. are registered---not the Counter Party. The Counter Party signs the Standard Form Agreement. It may or may not be the case that the Counter Party is registered through the registration system. It would be the case if the Counter Party was a QSE but it wouldn’t be the case if the Counter Party was a parent company under which a QSE, and an RE were registered. If all Counter Parties are required to register, this should be stated. Otherwise, the sentence should end with “that signs the SFA with ERCOT” (not “under which it is registered”).] | Accepted | M.Mereness | Agree that clarified to simply state as "Couter-Party that signs the SFA with ERCOT".
26 | Reliant | Marguerite Wagner | p.7 | Section 2.2, Paragraph 3- [Reliant: is there a one to one relationship between a Counter Party and a DUNS number?] | Accepted | M.Mereness | Yes, there is 1-to-1 of Counter-Party-to-DUNS#
27 | Reliant | Marguerite Wagner | p.7 | Section 2.2, Paragraph 3- [Reliant: How will the update be accomplished? Is this a manual process? It should be stated that this is a manual process (if it is an IT interface that will interface with Market Participants, this should also be stated) and the timeframe for update effectiveness on the ERCOT side should be set forth. This information must be updated in a timely fashion and this has not always been the case in the past. A better idea would be to allow a time sensitive update to be staged---for example, to be entered ahead of time by entities with an effective date and time and upon which ERCOT systems would activate the new info. For example, think of changing RE information for 20 resources manually. If there was an electronic interface, this information could be staged and implemented quickly upon the effective time of the update. Moreover, every time that an update is conducted the entity should be notified that ERCOT has made an update. (Again a better way to do this would be to provide the ability for entities to update their own information and have it propagate through ERCOT systems once it is verified.] | Accepted | M.Mereness | Modified the document to reflect this as a manual process for ERCOT to relate and update the QSEs/CRR Account-Holders to the single Entity DUNS# in the Registration system. By pointing all child records (QSEs and CRR Account Holders) to a single DUNS# identifier for credit, the CMM system has an aggregation method for credit. The Market Services group will work with the MPs to ensure the proper assignment grouping of QSEs/CRR Account Holders is made.
28 | Reliant | Marguerite Wagner | p.7 | Section 2.2, Paragraph 3- Reliant: how many sub-QSEs can a QSE have? Are there any limits? With the new system we should think about how many sub-QSEs we should ‘make available’ to each QSE. Is there a limit on the number of QSEs a Counter Party could have? What about CRR accounts?] | Accepted | M.Mereness | - Protocol 16.2.1 (4) allows any number of sub-QSEs, but market requests for more than 4 subdivisions can be delayed if ERCOT experiences limitations in staff or system processing. - No limits stated in protocols regarding CRR Account Holders for a single Entity.
29 | Reliant | Marguerite Wagner | p.7 | Section 2.3- language improvement- remove "valid" | Accepted | M.Mereness | Document modified accordingly.
30 | Reliant | Marguerite Wagner | p.8 | Section 2.3 last paragraph- Reliant: isn’t it the other way around? Doesn’t an entity execute an SFA and then it would complete the relevant registration processes for the activities for which it intends to conduct in nodal?] | Accepted | M.Mereness | Clarified in diagram
31 | Reliant | Marguerite Wagner | p.8 | Section 2.4- [Reliant: where will the Resource Parameters be collected and maintained? How will “incremental Resource information” be collected? Will this be collected electronically through an interface?] | Accepted | M.Mereness | Resource Parameters are to be handled by MMS per TPTF direction. For purposesd of this document, Resource registration data will be relatively static data, and examples of the incremental data needed have been added to the document.
32 | Reliant | Marguerite Wagner | p.9 | Section 2.4, paragraph 3- [Reliant: Exactly what data will be electronic and what data will be passed to other systems? Will Market Participants provide any of these data electronically? Is there a separate document to describe where all of the Resource information will be captured? It should be referenced in this document because the registration system is not complete without Resource information.] | Partial | M.Mereness | - For purposes of this document, the data will be gathered manually in forms, and manually entered by ERCOT. - Data related to MMS such as Resource Parameters will be electronically submitted and updated using the MMS system.
33 | Reliant | Marguerite Wagner | p.9 | Section 2.4, pargraph 4- [Reliant: regarding diagram below, why would sub-QSE execute an SFA? Why would a QSE execute an SFA? It could be the “parent” or the QSE, but it need not be the QSE. Like the other diagram, it seems like the process is reversed. The entity signs the SFA and provides information to ERCOT on the functions it intends to conduct in nodal.] | Partial | M.Mereness | Updated, but still want to convey step of SFA.