Standard Interfaces Document

Texas Nodal <Project Name>

External Interfaces Specification

Version 0.90

DRAFT

28-Mar-07

Document Revisions

| Date | Version | Description | Author(s) |
| --- | --- | --- | --- |
| 12/19/2006 | 0.10 | First draft | Scott Neumann |
| 12/20/2006 | 0.11 | Revised security section | Nemat Sarnevesht |
| 12/21/2006 | 0.13 | Augmentation to descriptions of bidding interfaces. | Scott Neumann |
| 12/22/2006 | 0.14 | Added sections 2.4-2.10 to discuss other aspects of web services strategy. | Scott Neumann |
| 12/27/2006 | 0.15 | Miscellaneous corrections and clarifications. | Scott Neumann |
| 12/28/2006 | 0.16 | Miscellaneous changes to reflect internal review | Scott Neumann |
| 01/10/2007 | 0.17 | Miscellaneous changes to reflect internal review. Provided additional bid types. | Scott Neumann |
| 1/19/2007 | 0.18 | Changes to reflect additional interfaces | Scott Neumann |
| 1/22/2007 | 0.19 | Correction to XML example to reflect schema changes. | Scott Neumann |
| 2/9/2007 | 0.20 | Updates to reflect initial TPTF comments, addition of Bid IDs, addition of more interfaces and resolution of issues. | Scott Neumann |
| 2/16/2007 | 0.21 | Defined additional interfaces. Clarifications on data types. | Scott Neumann |
| 2/23/2007 | 0.22 | Defined additional interfaces. Changed transactionId to mrid. Added description of required elements for bidding. Revised model interfaces. | Scott Neumann |
| 2/27/2007 | 0.23 | Revisions to award structures. Defined additional interfaces. | Scott Neumann |
| 3/9/2007 | 0.24 | Changed mrid to mRID. Added text to section 2.3.4 to clarify use of transaction IDs. Corrected the BidSet figure in section 3.3. Added clarifications on the use of bid sets to section 3.3. | Scott Neumann |
| 3/16/2007 | 0.25 | Revised to reflect comments from market participants. Added tables to describe required fields for each bid. Changed tradeDate to tradingDate. Added curveStyle to BidPriceCurve to be used as an indicator of the type of curve. Added section on error handling. | Scott Neumann |
| 3/22/2007 | 0.26 | Added more interface definitions to section 4. Augmented description of CIM usage, particularily with respect to CIM curves and schedules. Eliminated functionally redundant interfaces from section 4. Modified interfaces in section 4 to leverage IrregularIntervalSchedules instead of RegularIntervalSchedules where appropriate. Added XML examples. | Scott Neumann |
| 3/23/2007 | 0.27 | Edits required for public release. | Scott Neumann |
| 3/26/2007 | 0.28 | Correction to notification list in section 5.3.1 | Scott Neumann |
| 3/27/2007 | 0.29 | Minor corrections to some examples. Corrected figure in section 5.3.6. | Scott Neumann |
| 3/28/2007 | 0.90 | Revisions to reflect decisions of TPTF API SubGroup meeting: - Redefined timestamps in section 2.3.2 - Removed units from curves and schedules - Miscellaneous corrections to XML examples - Added state diagram for bids to section 3.1 | Scott Neumann |

Document Approvals

| Date | Approved By | Approval Documented In (select) |
| --- | --- | --- |
|  | Michael Stanley Enterprise Architecture Manager | ___ Approval email on file ___ Signature |

Table of Contents

1.	Introduction	1

1.1.	Purpose	1

1.2.	Scope	1

1.3.	Definitions, Acronyms, and Abbreviations	1

1.4.	References	1

1.5.	Overview	1

1.6.	Program-level Standards	1

2.	Services Organization	1

2.1.	Common Message Structure	1

2.1.1.	Message Header Structure	1

2.1.2.	Request Message Structures	1

2.1.3.	Payload Structures	1

2.1.4.	Response Message Structures	1

2.2.	Common Security Implementation	1

2.2.1.	Secure the Transport layer	1

2.2.2.	Secure SOAP messages	1

2.3.	Modeling and Conventions	1

2.3.1.	Use of the IEC CIM	1

2.3.2.	Representation of Time	1

2.3.3.	Market Products	1

2.3.4.	Management and Use of Transaction IDs (mRIDs)	1

2.3.5.	Other Conventions	1

2.4.	Delivery Approach	1

2.5.	Technical Interoperability	1

2.6.	Service Level Agreements	1

2.7.	Auditing, Monitoring and Management	1

2.8.	Versioning	1

2.9.	Governance	1

2.10.	Web Service Configuration Standards	1

3.	Market Transaction Service	1

3.1.	Interfaces Provided	1

3.2.	Interfaces Required	1

3.3.	Message Specifications	1

3.3.1.	Three Part Offer	1

3.3.2.	Self Arranged Ancillary Services	1

3.3.3.	Incremental/Decremental Offers	1

3.3.4.	Ancillary Services Offer	1

3.3.5.	Ancillary Services Trade	1

3.3.6.	Capacity Trade	1

3.3.7.	Congestion Revenue Rights (CRR)	1

3.3.8.	Current Operating Plan (COP)	1

3.3.9.	DC Tie Schedule	1

3.3.10.	Energy Bid	1

3.3.11.	Energy Only Offer	1

3.3.12.	Energy Trade	1

3.3.13.	Output Schedule	1

3.3.14.	PTP Obligation	1

3.3.15.	Self Schedule	1

3.4.	Error Handling	1

3.5.	Usage and XML Examples	1

3.5.1.	Bid Set Submission	1

3.5.2.	Querying Bids, Offers, Trades and Schedules	1

3.5.3.	Updating Bids, Offers, Trades and Schedules	1

3.5.4.	Canceling Bids, Offers, Trades and Schedules	1

4.	Market Information	1

4.1.	Interfaces Provided	1

4.2.	Interfaces Required	1

4.3.	Message Specifications	1

4.3.1.	Get AwardSet	1

4.3.2.	Forecasted Load	1

4.3.3.	Real-Time System Load	1

4.3.4.	Market Totals	1

4.3.5.	Market LMPs and SPPs	1

4.3.6.	Market MCPCs	1

4.3.7.	Binding Constraints	1

4.3.8.	Active Contingencies in SCED	1

4.3.9.	Ancilary Service Schedule Obligations	1

4.3.10.	Dynamic Ratings	1

4.3.11.	Voltage Profiles	1

4.3.12.	Total Regulation	1

4.3.13.	Load Ratio Share	1

4.3.14.	Competitive Constraints	1

4.3.15.	Load Distribution Factors	1

4.3.16.	Shift Factors	1

4.3.17.	Customer Load Profile	1

4.3.18.	Aggregated Ancillary Service Offer Curves	1

4.3.19.	Ancillary Service System Plan	1

4.3.20.	Unit Availability	1

4.3.21.	Startup and Shutdown Instructions	1

4.3.22.	Total Ancillary Service Offers	1

4.3.23.	Total DAM Energy	1

4.3.24.	Derated CRRs	1

4.3.25.	Proxy Curves	1

4.3.26.	Mitigated Curves	1

5.	Notifications	1

5.1.	Interfaces Provided	1

5.2.	Interfaces Required	1

5.3.	Message Specifications	1

5.3.1.	Notices and Alerts	1

5.3.2.	Bid Set Acceptance	1

5.3.3.	Bid Set Errors	1

5.3.4.	Pending Trade	1

5.3.5.	Energy Offer Awards	1

5.3.6.	Energy Only Offer Awards	1

5.3.7.	Energy Bid Award	1

5.3.8.	Ancillary Service Awards	1

5.3.9.	CRR Awards	1

5.3.10.	PTP Obligation Awards	1

5.3.11.	Outage Notifications	1

6.	Acknowledgement of Alerts	1

6.1.	Interfaces Provided	1

6.2.	Interfaces Required	1

6.3.	Message Specifications	1

7.	Outage Scheduling Interfaces	1

7.1.	Interfaces Provided	1

7.2.	Message Specifications	1

7.2.1.	Outage Creation	1

7.2.2.	Outage Query	1

7.2.3.	Outage Cancellation	1

8.	Utility Interfaces	1

8.1.	Interfaces Provided	1

8.2.	Message Specifications	1

8.2.1.	Get mRID	1

8.2.2.	System Status	1

Appendix A: WS-Notifications	1

Appendix B: WSDL for Market Requests	1

Appendix C: XML Schemas for Message and Payload Definitions	1

Appendix E: Annotated SOAP Message	1

Appendix F: XSL Examples	1

Appendix G: Issues	1

# Introduction

This document describes the message structure machine to machine interfaces for Market Participant applications that need to interact with ERCOT Nodal Market systems. The intended audience of this document are developers that will be integrating Market Participant applications to the ERCOT Nodal systems through the use of the interfaces described within this specification.

Where sections 1 and 2 of this document apply to all interfaces, sections 3 and beyond describe specific groupings of interfaces. The appendices provide XML Schemas, WSDLs and additional examples.

The interfaces and related interactions described by this document define the externally-visible (black box view) perspective of the services provided by this project. It is the intent of this specification and interface architecture to shield Market Participants from the details of systems integration internal to ERCOT.

Information contained within this document is subject to change as the design of the interfaces and designs of supporting systems are finalized.

## Purpose

The interfaces described by this document are intended to be used by Market Participants for machine to machine integration. This document is intended to provide all the details of the message structures and technical interoperability standards required for the machine to machine interface.

## Scope

The scope of this document is to describe web services provided for integration by Market Participants from the perspective of external integration. This document has program level scope as related to web services that would be used by Market Participants for machine to machine interaction with nodal applications as detailed in an agreed list of interfaces to be managed by the Nodal project. The intent of this design is to leverage the integration layer (IL) to expose web services needed for external integration by Market Participants.

The following are specifically outside the scope of this document:

- The details of integration from the IL to specific applications (e.g. MMS, EMS) is outside the scope of this specification and will be described in subsequent design documents

- Inter-Control Center Communications Protocol (ICCP) communications

- Interactions with application User Interfaces (UI)

- Access of information through MIS

This document is not intended as a replacement for the web services provided by PR50024, which is used to access reports.

The specific list of interfaces to be included within the scope of this specification is currently in a draft under review.

## Definitions, Acronyms, and Abbreviations

| Term/Acronym | Definition |
| --- | --- |
| ADJ | Adjustment |
| AS | Ancillary Services, includes spinning reserve, non-spinning reserve, responsive reserve and regulation |
| award | An award identifies the acceptance of a bid or offer. |
| bid | The term bid in this document is used for bids, offers and trades |
| BidSet | A BidSet is a container for a collection of bids, offers, trades and schedules |
| CIM | Common Information Model, an IEC standard |
| CRR | Congestion Revenue Rights, a system implemented at ERCOT by Nexant that is responsible for CRR auctions |
| CSV | A file format that uses values separated by commas |
| DAM | Day Ahead Market |
| DRUC | Day-Ahead Reliability Unit Commitment |
| EMS | Energy Management System, a system implemented at ERCOT by Areva |
| FIP | Fuel Index Price |
| FOP | Fuel Oil Price |
| FTP | File Transfer Protocol |
| GUID | Globally Unique Identifier. GUIDs are usually implemented as random 128 bit numbers that are usually represented as a string of hexadecimal digits. |
| HASL | High ancillary services limit |
| HDL | High dispatch limit |
| HEL | High emergency limit |
| HRUC | Hour-Ahead Reliability Unit Commitment |
| HSL | High sustained limit |
| IEC | International Electrotechnical Commission |
| LASL | Low ancillary services limit |
| LDL | Low dispatch limit |
| LEL | Low emergency limit |
| LMP | Location marginal price |
| LSL | Low sustained limit |
| MCPC | Market clearing price for capacity |
| MIS | Market Information System, an umbrella for the various interfaces provided to Market Participants by ERCOT |
| MMS | Market Management System, a system implemented at ERCOT by ABB |
| MP | Market Participant |
| MW | Megawatt, a measure of power |
| MWh | Megawatt hour, a measure of energy |
| NOMCR | Network operating model change request |
| Non-Spin | Non-spinning reserve service |
| NSRS | Non-spinning reserve service |
| OASIS | Organization for the Advancement of Structured Information Systems |
| Operating Date | Synonymous with Trade Date |
| PMCR | Planning Model Change Request |
| POC | Proof Of Concept |
| QSE | Qualified Scheduling Entity |
| Reg-Down | Regulation down |
| Reg-Up | Regulation up |
| RRS | Responsive reserve service |
| RTM | Real-Time Market |
| SAMR | Special Action Model Request |
| sink | Sink settlement point |
| SOAP | Simple Object Access Protocol |
| SoSA | System of Systems Architecture |
| source | Within a bid or award this refers to the source settlement point. Within a message header, this refers to the ID of the market participant. |
| SP | Settlement Point |
| SPP | Settlement Point Price |
| TP | Transmission Provider |
| Trading Date | Synonymous with Operating Date |
| UTC | Universal Coordinated Time, an international standard |
| WS | Web Services. There are many web service standards that are commonly prefixed by ‘WS’. |
| WSDL | Web Services Definition Language |
| XML | eXtensible Markup Language |
| XSD | XML Schema, used to define the structure of XML documents |
| XSL | XML Stylesheet Language |
| Z | Zulu, an indicator for the use of GMT or UTC time |

## References

| Artifact | Definition |
| --- | --- |
| External Interfaces Conceptual Design | Conceptual design for external interfaces using web services |
| External Interfaces Security Design Specification | Detailed security design for external interfaces. This is a companion document to the External Interfaces Conceptual design. |
| OASIS WS-Notifications | OASIS Web Services Base Notification standard |
| OASIS WS-Security | OASIS Web Services Security |

## Overview

This document focuses on the external interface design and related interface definitions from all perspectives except for security, which is described in detail in a companion document. The interfaces are to be provided using web services, where a rationale is provided in subsequent sections. The web services defined by this document will support a wide variety of machine to machine information exchanges.

## Program-level Standards

In general, the design described by this document will leverage web services and related security standards as defined by the World-Wide Web Consortium (W3C) and OASIS. Program-level standards include those related to security. These are described in the companion security design document.

Another key program standard is the IEC Common Information Model (CIM), as defined by IEC 61970-301. This is used to define models used by ERCOT. It will also be leveraged by this design for the definition of messages used for interfaces. There is also a standard for message structures defined by IEC 61968-1.

The OASIS WS-BaseNotifications standard is used to define the mechanism for issuance of asynchronous notification messages to Market Participants. Given the application of WS-Notifications for Nodal, only a subset of the capabilities of WS-Notifications are required.

The definition of timestamps is specified by ISO-8601, with the exception that timestamps of 24:00:00 are not used for compatibility reasons. There are some implementations of timestamps within software products that do not correctly handle timestamps of 24:00:00.

# Services Organization

The services described by this document are defined using a combination of Web Services Definition Language (WSDL) and XML Schema. The WSDLs are organized as follows:

- One or more WSDLs defined by ERCOT, defining operations related to synchronous request/reply web service messages

- WSDL defined by OASIS for WS-Notifications to provide support for asynchronous messaging, using web services

In both of the above cases, one or more XML Schemas (XSD) are used to define the structure of message payloads.

Example WSDL and XSD are provided in the appendices. It is anticipated that these would be key design artifacts for developers.

## Common Message Structure

Unless otherwise specified, all messages use a common message envelope, where a predefined structure is used for requests and another structure is used for responses. This structure is based upon the IEC 61968-1 standard. Messages are constructed with several sections, including:

- Header: required for all messages, using a common structure for all service interfaces

- Request: optional, defining parameters needed to qualify request messages

- Reply: Used for response messages to indicate success, failure and error details

- Payload: optional, used to convey message information as a consequence of the ‘verb’ and ‘noun’ in the message Header. The payload structure provides options for payload compression.

### Message Header Structure

Common to both the request and response messages is a header structure. The header has several required fields that must be populated, these include:

- Verb, to identify a specific action to be taken. There are an enumerated set of valid verbs, where commonly used values include ‘get’, ‘create’, ‘update’, ‘cancel’, ‘close’ and ‘reply’.

- Noun: to identify the subject of the action and/or the type of the payload (e.g. BidSet, Notification) if a payload is provided.

- Source: identifying the source of the message, which should be the ID of the Market Participant or ERCOT (typically for reply messages)

- Revision: To indicate the revision of the message definition. This should be ‘1’ by default.

- Nonce: A unique number that would not be repeated by the Market Participant within the period of at least a day. This could be a sequence number, large random number or a GUID. This is defined by WS-Security. A combination of this number and the timestamp make the message unique for a given time period.

- Created: A timestamp to indicate when the message was created. This value and the Nonce are used to protect against replay attacks. This is defined by WS-Security.

The following diagram describes the header structure used for request and response messages.

There are several optional fields that may be populated. In the above diagram, the optional items are represented using dashed borders. If the MessageID is populated on a request, it will be returned on the reply. The Comment field is never used for any processing-related logic. The UserID may be used to indicate the person responsible for initiating a transaction, and will be logged as appropriate, but verification is the responsibility of the Source system.

### Request Message Structures

The following diagram describes the structure of a request message that would be used in conjunction with a WSDL operation.

The RequestMessage can also optionally contain a package with parameters relevant to the request, called Request. It is likely that different or variant Request packages may be defined to be used in conjunction with messages for a specific web service operation. In those cases, the corresponding WSDL and XSD would identify the optional parameters. The description of the interface (in subsequent sections of this document) would identify the usage of those parameters. The following is an example RequestType used in the definition of a Request package that defines some common parameters used for requests, however it is important to note that these are typically application specific. These parameters are most commonly used in conjunction with ‘get’ requests as qualifiers.

One key use of the RequestType is to avoid the placement of application specific request parameters in the header or within payload definitions. Also, where a set of requests that were supported by a specific web service operation had significantly different requirements for information in the RequestType, it could justify the use of RequestType variants, were each variant was used for the definition of messages for the specific web service operation.

### Payload Structures

There are some requests where a Payload must be provided, as would be the case for a message with a verb of ‘create’ or ‘update’. Payloads are typically XML documents that conform to a defined XML schema. However, there are exceptions to this rule. Some XML payloads may not have useful XML schemas, as in the case of RDF files or dynamic query results, as well as non-XML formats such as CSV and PDF. There may also be cases where a large payload must be compressed, in the event that it would become very large and otherwise consume significant network bandwidth.  In order to accommodate a variety of payload format options the following payload structure is used.

In the previous diagram, any type of XML document may be included, using the XML ‘any’ structure. While this provides options for loose-coupling, specific complex types defined by XML schemas (XSDs) can be used as well. The WSDL in the appendix provides an example of this case.

Payloads can also be supplied as XML encoded strings using the ‘Document’ tag, although this method is less preferred than used of the XML ‘any’.

There are also some cases where a zipped, base64 encoded string is necessary, and would be passed using the ‘Compressed’ tag. The Gnu Zip compression shall be used in order to provide compatibility within both Java and Microsoft .Net implementations. Specific examples of the usage of payload compression would be where:

- An XML payload, conforming to a recognized XML schema exceeds a predefined size (e.g. 1MB). This would be very common for large Market Participant sets of bids.

- A payload has a non-XML format, such as PDF, Excel spreadsheet, CSV file or binary image

- A payload is XML, but has no XML schema and exceeds a predefined size, as would be the case of a dynamic query that would return an XML result set

The format tag can be used to identify specific data formats, such as XML, RDF, PDF, DOC, CSV, etc. This is especially useful if the payload is compressed.

The above options provide an alternative to the use of SOAP attachments. SOAP attachments are more difficult to secure since the SOAP envelope signature signs the SOAP body but does not sign the attachment. This also requires that the payload is processed separately from the rest of the SOAP message (e.g. the message is parsed to extract the payload, and then the payload is parsed and processed). However, we believe this implementation approach is less complex than using SOAP attachments.

### Response Message Structures

The following diagram describes the structure of a response message that would be used in conjunction with a WSDL operation, as a response to the request message.

The ReplyCode would be set to OK to indicate that the request was successful, otherwise it would be set to ERROR, and one or more Error elements would be provided to describe the error(s). There may also be more specific error information provided within the payload, as in the case of bids within a BidSet container.

If the MessageID was set in the Header for the RequestMessage, the value will be returned in the Header of the ResponseMessage.

## Common Security Implementation

This section will provide an overview of security from the perspective of implementation requirements for Market Participants. Market Participants MUST take two basic steps in securing their Web Services Interaction with ERCOT:

- Secure the Transport layer

- Secure SOAP messages

### Secure the Transport layer

The transport layer is secured by deploying Secure Socket Layer (SSL) and Transport Layer Security (TLS) following these steps:

- Obtain client side certificate (these Certificates are issued by Verisign under the ERCOT brand).

- Implement mutual authentication (explained below).

- Ensure minimum SSL/TLS security settings

Note that TLS is an enhanced specification based on SSL. References to SSL refer to both SSL and TLS.

SSL is a standard mechanism for Web services that is available on virtually all application servers. This widely used, mature technology, which secures the communication channel between client and server, will satisfy all of ERCOT’s use cases for secure Web Service communications. Since it works at the transport layer, SSL covers all information passed in the channel as part of a message exchange between a client and a server, including attachments. Authentication is an important aspect of establishing an HTTPS connection.  Many platforms support the following authentication mechanisms for Web Services using HTTPS:

- The server authenticates itself to clients with SSL and makes its certificate available.

- The client uses basic authentication over an SSL channel.

- Mutual authentication with SSL, using the server certificate as well as the client certificate, so that both parties can authenticate to each other.

With Web Services, the interaction use case is usually machine to machine; that is, it is an interaction between two application components with no human involvement. Machine-to-machine interactions have a different trust model from typical website interactions. In a machine-to-machine interaction, trust must be established proactively, since there can be no real-time interaction with a user about whether to trust a certificate. Ordinarily, when a user interacts with a website via a browser and the browser does not have the certificate for the site, the user is prompted about whether to trust the certificate. The user can accept or reject the certificate at that moment. With Web Services, the individuals involved in the deployment of the Web Service interaction must distribute and exchange the server certificate, and the client certificate ( for mutual authentication), prior to the interaction occurrence.

The combination of the two settings—CONFIDENTIAL for transport guarantee and CLIENT-CERT for auth-method—enables mutual authentication. When set to these values, the containers for the client and the target service both provide digital certificates sufficient to authenticate each other. (These digital certificates contain client-specific identifying information.)

### Secure SOAP messages

Besides creating a secure communication channel between a client and a Web Service, ERCOT Web Service message exchanges require that security information be embedded within the SOAP message itself. This is often the case when a message needs to be processed by several intermediary nodes before it reaches the target service or when a message must be passed among several services to be processed.

Message-level security is very useful in XML document-centric applications, since different sections of the XML document may have different security requirements or be intended for different users.

SOAP messages’ signing is done through the following:

- Obtain application/system signing certificate.  (These certificates are issued by Verisign under the ERCOT brand).

- Sign all SOAP messages, using Web Services Security Standards and its X.509 Certificate Token Profile (see J2EE and .NET code snippets in Appendix D)

- Message headers MUST include a timestamp and a nonce

- Validate all SOAP messages have:

  - Signature

  - Certificates

  - Revocation status of certificates

  - Use of timestamp and nonce (to prevent replay attacks)

Appendix D provides examples for the generation of signatures. Appendix E provides an annotated example of a SOAP message.

## Modeling and Conventions

There are several conventions that are used for definitions, data items and information models.  Note that additional values and conventions will be defined as market requirements are finalized.

### Use of the IEC CIM

Where possible the IEC CIM should be leveraged. The ERCOT Nodal project and related systems use the CIM as a key standard. One example of this is for the submission and management of models through the NMMS system. Examples of leveraging the CIM for external web services include:

- The use of data structures defined by the IEC CIM where appropriate in payload definitions

- CIM naming conventions are used wherever possible, e.g. ClassName, propertyName

- The properties ‘startTime’ and ‘endTime’ are typically used to identify time intervals, as they are also used within many CIM classes. Instead of using combinations of start date, start hour and potentially an interval number (e.g. to represent 15 minute intervals), absolute times should be specified.

- The property ‘mRID’ is used to uniquely identify objects such as bids, offers, trades, awards and schedules

- A trade or operating date is always derived from the startTime of a bid, offer, trade or schedule.

Where interfaces have references to resources, QSEs, settlement points and electrical buses, the  ‘name’ property is used for the reference, as opposed to ‘mrid’. This is to maximize legibility and to provide for consistency with underlying market applications. Consequentially, simplified XML is used, where the use of the ‘name’ property is implied as opposed to explicit use of a <name> tag.

The following class diagram describes the structure of CIM Curves, IrregularIntervalSchedules and RegularIntervalSchedules. These classes are CIM building blocks, where there are many other classes in the CIM that inherit from these three basic types of curves and schedules (e.g. BidPriceCurve).

For use within ERCOT Nodal, customizations and specializations of CIM curves and schedules are defined. One example is that units (e.g. xUnit, y1Unit, value1Unit) are not used.

For Curves:

- A curveStyle can be specified to identify the type of curve (e.g. CURVE, FIXED, VARIABLE) for interpretation of the curve by an application:

- A commonly used curve is a BidPriceCurve, where the ‘xvalue’ is used for MW and the ‘yvalue’ is used for $/MWh. The interpretation of curveStyle is as follows:

  - FIXED: only one point is provided, where the intent is that the bid is for all or nothing (i.e. either ‘xvalue’ or 0)

  - VARIABLE: only one point is provided, but the intent is that any value in the range 0 to ‘Xvalue’ can be taken

  - CURVE: Up to 11 points (to define up to 10 segments) can be provided

- Curves are often used where values are NOT plotted against time (e.g. MW vs. $/MWh)

The following is an example of a BidPriceCurve, that is derived from a CIM Curve:

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<curveStyle>CURVE</curveStyle>

<CurveData>

<xvalue>60</xvalue>

<y1value>40.00</y1value>

</CurveData>

<CurveData>

<xvalue>80</xvalue>

<y1value>45.00</y1value>

</CurveData>

<CurveData>

<xvalue>90</xvalue>

<y1value>47.00</y1value>

</CurveData>

</BidPriceCurve>

For RegularIntervalSchedules:

- Used where values are to be plotted against time at regular intervals

- Each schedule has a startTime and endTime specified using ISO 8601, and a timeStep in seconds

- RegularTimePoints are separated in time by a common timeStep (i.e. time intervals are fixed)

- The sequenceNumber orders each point within the schedule

For IrregularIntervalSchedules:

- Used where values are to be plotted against time, but the time between points may vary

- Each schedule has a startTime and endTime specified using ISO 8601

- The time for each IrregularTimePoint is the integer number of seconds after the startTime (a datetime), identifying an offset from the startTime

The following is an example of the use of a CapacitySchedule, which is based upon a CIM IrregularIntervalSchedule:

<msg:CapacitySchedule>

<msg:startTime>2007-12-17T00:00:00-06:00</msg:startTime>

<msg:endTime>2007-12-17T10:00:00-06:00</msg:endTime>

<msg:IrregularTimePoint>

<msg:time>0</msg:time>

<msg:value1>120</msg:value1>

</msg:IrregularTimePoint>

<msg:IrregularTimePoint>

<msg:time>7200</msg:time>

<msg:value1>130</msg:value1>

</msg:IrregularTimePoint>

<msg:IrregularTimePoint>

<msg:time>28800</msg:time>

<msg:value1>115</msg:value1>

</msg:IrregularTimePoint>

</msg:CapacitySchedule>

For all curves and schedules, the specification of units is optional. In cases where either a RegularIntervalSchedule or an IrregularintervalSchedule can be used, the bias is towards use of an IrregularIntervalSchedule as it is simpler to use and does not require fixed time intervals.

### Representation of Time

The ISO 8601 standard is used to define the representations of time values that are conveyed through interfaces. This avoids issues related to time zones and daylight savings time changes.

- For timestamps in messages published by ERCOT would use Texas prevailing time, using the following format: 2007-03-27T14:00:00-05:00 (as time changes from CDT to CST, the -05:00 would change to -06:00)

- Timestamps in messages sent to ERCOT by market participants could use any ISO compliant timestamp

- For bidding interfaces, there will be additional time representations using a ‘market time’, where the hour and interval are identified.

It is extremely important to note that the use of ISO 8601 timestamps within message definitions for the external interfaces defined by this document in no way constrains other representations of time that may include:

- User interfaces, where local time or market hours may be used as desired

- Reports, where reports would be generated using an appropriate local time

- Internal integration, where an application may internally require some other time structure

In some cases it may be desirable to convert between a timestamp and a local time or a market hour. This can be readily accomplished using software functions, XSL and/or XPath expressions. Examples of time conversion using XSL are provided in Appendix F. Most development environments have a wide variety of APIs that can also be used for necessary time conversions.

Note: The schemas and examples provided in this document will be revised to describe the final handling of time once the scheme for handling market intervals by MMS is finalized.

### Market Products

The bidding interfaces described in this document use a number of different market products, as well as several types of schedules. The following table identifies each product or schedule type, along with the set of message fields (aside from the market participant ID of the submitting QSE and the operating date) that are used to distinctly identify a bid, trade, offer or schedule.

| Product or Schedule Type | resource | asType | sp | tradeId | bidId | crrId | source | sink | buyer | seller | expiration | NERC tag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ASOffer | X | X |  |  |  |  |  |  |  |  | opt |  |
| ASTrade |  | X |  | opt |  |  |  |  | X | X |  |  |
| CapacityTrade |  |  |  | opt |  |  |  |  | X | X |  |  |
| COP | X |  |  |  |  |  |  |  |  |  |  |  |
| CRR |  |  |  |  |  | X | X | X |  |  |  |  |
| DCTieSchedule |  |  | X |  |  |  |  |  | X | X |  | X |
| EnergyBid |  |  | X |  | X |  |  |  |  |  | opt |  |
| EnergyOnlyOffer |  |  | X |  | X |  |  |  |  |  | opt |  |
| EnergyTrade |  |  | X | opt |  |  |  |  | X | X |  |  |
| IncDecOffer | X |  |  |  |  |  |  |  |  |  | opt |  |
| OutputSchedule | X |  |  |  |  |  |  |  |  |  |  |  |
| PTPObligation |  |  |  |  | X |  | X | X |  |  |  |  |
| SelfArrangedAS |  | X |  |  |  |  |  |  |  |  |  |  |
| SelfSchedule |  |  |  |  |  |  | X | X |  |  |  |  |
| ThreePartOffer | X |  |  |  |  |  |  |  |  |  | opt |  |

The items marked with an ‘X’ are required key fields needed for submission. The use of ‘tradeId’s and ‘expiration’ times are optional. The operating date for each bid, trade, offer or schedule is derived from the startTime provided by the bid, offer, trade or schedule.

The XML schema provided to describe product types has all fields optional. This is because the schemas can be used for create, get and cancel operations. A bid, offer, trade or schedule can be referenced for a ‘get’ or ‘cancel’ request by specifying the transaction ID (mRID) of the desired bids, offers, trades or schedules (using the mRID that was returned by the reply to the submission request).

In each section related to market products, a table is provided that describes data requirements. Fields that are used as ‘keys’ to identify a bid are identified by ‘K’. Required fields are identified by ‘Y’, option fields are identified by ‘N’. There are some exception cases where identified key fields are identified as not being required (e.g. expiration), and are notated as ‘K, N’.

### Management and Use of Transaction IDs (mRIDs)

In order to uniquely identify a bid, offer or trade, a transaction ID is allocated by ERCOT. The name of the tag used for the transaction ID is ‘mRID’, as this conforms with the IEC CIM. This transaction ID is returned immediately in response to the submission of a bid set, where each bid, offer or trade within the bid set is given its own transaction ID. If a set of N valid unique bids are submitted using a bid set, there will be N transaction IDs supplied, each corresponding to the order of the bid on the input bid set. This transaction ID may be used for the following purposes:

- To query the status of a specific transaction

- To cancel a specific transaction

- To relate an award to a bid

A transaction ID is a string that takes the following form:

<QSE ID>.<date>.<key string>

Within this, the following substrings are defined:

- QSE ID: ID of the market participant

- Date in format YYYYMMDD

- Key string, a derived string that includes required key fields for each market product

Examples of transaction ID are as follows:

TXU.20081112.COP.UnitABC

REL.20081112.TPO.UnitXYZ.

When referring to a specific hour of a bid, the hour may be appended to the transaction ID, resulting in an ID of the following form:

<QSE ID>.<date>.<key string>.<hour>

Examples of transaction ID as would be used for hourly awards are as follows:

REL.20081112.TPO.UnitXYZ..1

REL.20081112.TPO.UnitXYZ..2

REL.20081112.TPO.UnitXYZ..3

REL.20081112.TPO.UnitXYZ..4

Within the definitions of bids, trades, offers and awards, the transaction ID is conveyed using the ‘mRID’ property. This is for consistency with the IEC CIM. The following table describes the initial scheme to be used for each product type.

| Product or Schedule Type | Key string composition |
| --- | --- |
| ASOffer | ASO.resource.asType.expiration |
| ASTrade | AST.asType.tradeId.buyer.seller |
| CapacityTrade | CT.tradeId.buyer.seller |
| COP | COP.resource |
| CRR | CRR.crrId.source.sink |
| DCTieSchedule | DCT.sp.buyer.seller.NERCtag |
| EnergyBid | EB.sp.bidId.expiration |
| EnergyOnlyOffer | EOO. sp.bidId.expiration |
| EnergyTrade | ET.sp.tradeId.buyer.seller |
| IncDecOffer | IDO.resource.expiration |
| OutputSchedule | OS.resource |
| PTPObligation | PTP.bidid.source.sink |
| SelfArrangedAS | SAA.asType |
| SelfSchedule | SS.source.sink |
| ThreePartOffer | TPO.resource.expiration |

An important consideration has to do with the use of the interfaces described in this document in conjunction with the submission of bids by a user using a web-based user interface. The web-based user interface for bidding has no notion of the transaction ID itself, just the individual values used to construct the key string.

Note: The structure of the transaction ID (mRID) is subject to change in the future.

### Other Conventions

The following are other conventions that must be followed by this specification:

- Within XML definitions, tags should be namespace qualified. For example, a tag of <tag> should be prefixed by a specific namespace reference, e.g. <ns:tag>. This will help to eliminate ambiguity. (Note that many examples in this document are not namespace qualified for brevity and to aid legibility)

- Units for power quantities are in megawatts (MW).

- Units for energy quantities are in megawatt-hours (MWh).

- Units for energy prices are in $/MWh.

- Valid market types include: DAM, DRUC, HRUC, SCED, SASM, CRR and ADJ. Note that these are not currently required by bidding interfaces

- Trading dates are specified using YYYY-MM-DD, which indicates the operating day

- Valid ancillary service types offered as products include: REGUP, REGDN, NSPIN,  RRS

- Settlement point names are the same as the name of the associated electrical bus

## Delivery Approach

In advance of a Nodal go live and in accordance with agreed schedule and dependencies, ERCOT will provide the following:

- Interface specifications for web services

- Design artifacts, including XML schemas and WSDLs

- Source code examples for web service clients

- A sand box environment for testing the interactions between the Maket Particpants and ERCOT. This environment will eventually be used for qualification of QSEs.

The interface specifications, artifacts and implementation of the sand box environment will be staged. An iterative implementation approach will be used, where feedback from each stage will be used to plan subsequent stages.

## Technical Interoperability

There are several strategies that are being employed in order to achieve technical interoperability. These include:

  - Use of open standards

  - API subgroup allows input from Market Participants on interoperability issues

  - The early deployment of a sandbox environment that enables ERCOT to work with the Market Participants to insure interoperability issues are addressed prior to market trials

  - Providing sample Java and .Net web service client code

  - Deployment of interfaces via the sandbox environment for early testing by Market Participants, so that feedback can be provided to ERCOT

Open standards are a key part of the strategy to achieve technical interoperability. Standards of particular interest include:

- W3C standards

- OASIS WS-* standards

- IEC Common Information Model and related standards (e.g. IEC 61968-1)

It is very important that the implementation of Web Service interfaces not be dependent upon any proprietary, third party products. Another key requirement is that implementation of web service clients must be possible using both Java and .Net development tools.

More details on technical interoperability will be provided as a consequence of existing web services provided by ERCOT, detailed design and experience with the Sand Box environment.

## Service Level Agreements

Different categories of Web Services will have different service level agreements (SLAs). The SLAs for some Web Services are directly impacted by the variability in the amount of data that can be transferred (e.g. large bid sets).

The response time periods specified for each interface covered by an SLA typically will vary to some degree, based upon factors such as network and system loading. Consequentially, each SLA will be stated in a manner such that each SLA will be honored Z% of the time.

The following are example SLA specifications for categories of Web Services. However, more specific SLAs will be identified for specific interfaces as required.

Web Services for DAM bidding:

- Must be over X% available for a given trading day

- Validation of bid sets will be processed within M1 minutes after the bid set is initially submitted or updated

- Bid set inquiries will be processed within S1 seconds, with an additional S2 seconds per bid

Web Services for RTM bidding:

- Must be over X% available for a given trading day

- Validation of bid sets will be processed within M1 minutes after the bid set is initially submitted or updated

- Bid set inquiries will be processed within S1 seconds, with an additional S2 seconds per bid

Web services for obtaining real-time market information and providing acknowledgments and confirmations:

  - Must be over X% available

  - Requests involving less than 10KB data should be processed within S3 seconds, unless otherwise specified for a specific interface

Web services for other than real time transactions and information requests:

  - Must be over Y% available

  - Requests involving less than 10KB data should be processed within S4 seconds, unless otherwise specified for a specific interface

Notification interfaces, where the SLA obligations are also on the Market Participant as well as ERCOT:

  - ERCOT will post notifications to a Market Participant within S5 seconds of the time of internal posting

  - Notification service interface provided by Market Participant should be minimally Y% available. Any ‘downtime’ or periods of inaccessibility will directly impact the timeliness of notifications (e.g. validation of bid sets, alerts, etc.) from ERCOT.

Note: These values and additional SLAs will be finalized once the vendor requirements are complete.

## Auditing, Monitoring and Management

ERCOT will perform auditing, monitoring and management for Web Services described by this specification using common services. Internal auditing by ERCOT will be used to track and insure that SLAs are met by ERCOT. All Web Service requests will be logged by ERCOT in order to permit calculations related to SLAs. The signatures supplied on SOAP messages will be recorded with transactions as a means of non-repudiation of each transaction.

It is important to recognize that ERCOT is not responsible for the monitoring and management of Market Participant software and network connectivity. Therefore ERCOT cannot guarantee that notification interfaces provided by Market Participants are accessible as needed for timely delivery of notifications.

## Versioning

It is important to recognize that new versions of interfaces may be provided over time, largely as a consequence of:

- Staging of initial implementation

- New requirements

- Upgrades to vendor products

Wherever possible, interfaces will be evolved through augmentation, where a newer version of an interface is compatible with a previous version of an interface. However, this will not always be possible. New versions of interfaces will be manifested by:

- Changes to WSDLs

- Changes to XML Schemas

- Changes to software implementations

New versions will be deployed within a Sand Box environment for a testing/trial period. WSDL and XML schemas namespaces will include a date reference. Messages will use the Header/Revision field to identify a specific revision - this will enable ERCOT to process multiple versions of an interface where appropriate.

A detailed versioning strategy will be developed and presented for approval to the API Subgroup and TPTF.

## Governance

The web service interfaces will be critical to the operations of both ERCOT and Market Participants. The Web Services will evolve for many reasons, especially as the needs of the market evolve. Governance policies and processes will need to be defined for the Web Service lifecycle that provide strict guidelines related to:

- Design

- Implementation

- Testing

- Deployment

- Management

A comprehensive governance strategy will need to be developed and implemented by ERCOT with input from the API Subgroup and TPTF.

## Web Service Configuration Standards

ERCOT will configure its web servers with specific parameters for use of Web Services by Market Participants (e.g. for security). Market Participants will also need to set up Web Services to handle notifications from ERCOT. ERCOT will define specific configuration details and parameters to be used by Market Participants.

Detailed web service configuration standards will be provided to the API Subgroup and TPTF and will be refined through detailed design and experience with the Nodal Sand Box environment.

# Market Transaction Service

The purpose of the MarketTransaction Service is to support interfaces required for market transactions. This section describes the use of web services by Market Participants as required for bidding processes that involve the submission, update and cancellation of bids, trades, offers and schedules for specific markets.

On a given trading day, each Market Participant provides a BidSet to ERCOT that will be used at the close of the market to determine awards and obligations and to provide schedules needed for market operations. Up until the close of the market, a Market Participant may create, update or cancel bids, trades, offers and schedules. When submitted, ERCOT will validate the submission, reporting errors to Market Participants using notification messages.

Note: The interfaces described in this section are subject to change pending final MMS design.

## Interfaces Provided

The interfaces provide the means to create (i.e. submit), get (i.e. query) and cancel (i.e. withdraw) bids on a given trading date. A single container class ‘BidSet’ is used to hold a set of bids within the Payload section of the message, where each of the bids or offers may be of a different type.

The following diagram shows an example message sequence, using the ‘verb’ and ‘noun’ convention. Where this section focuses on the requests made by Market Participant systems to the ERCOT Nodal Web Services, the sequence diagram also includes notification messages sent from ERCOT to Market Participant Notification services (as described in section 5).

The message sequence shown involves the following steps:

- Market participant sends a RequestMessage for ‘create BidSet’ with an initial BidSet to ERCOT for a specific market

- In response to step 1, ERCOT performs a simple syntax scan and typically sends a ResponseMessage with ReplyCode=OK. In the response payload, each bid will identify a ‘SUBMITTED’ status and an mRID value.

- ERCOT validates the bids within the BidSet. This could take several minutes.

- A notification message (using verb=updated) is sent to the notification interface provided by the Market Participant. The status of the bids within the BidSet will indicate whether the bid was ACCEPTED or had ERRORS. This message will not include the complete BidSet.

- In the event of ERRORS, the Market Participant may make a request to get the current bids within the BidSet using a RequestMessage with verb=get. The request may be for individual bids using the mRID values, or for the entire set of bids within the BidSet using the TradeDate.

- In response to step 5, any errors will be identified for each specific bid, as returned in a ResponseMessage using verb=reply.

- A Market Participant may choose to cancel one or more bids using a RequestMessage with verb=cancel. The mRID is used for cancellation of a bid. (See section 2.3.4)

- In response to step 7, a ResponseMessage is sent with verb=’reply’

- The Market Participant may resubmit some bids (e.g. to correct errors), to update bids (e.g. change prices) and/or submit new bids, using a RequestMessage with verb=update.

- In response to step 9, a ResponseMessage is sent with verb=’reply’.

- The newly submitted bids within the BidSet (i.e. the set of bids consequential to steps 7 and 9) is validated.

- As in step 4, a notification message is sent to the Market Participant to indicate whether or not the BidSet was validated and accepted. The notification message uses verb=updated.

- After the close of the market, awards and obligations are determined.

- Market participants are notified of specific awards and/or obligations. The notification message uses verb=’created’, noun=’AwardSet’.

The following diagram describes the potential state transitions of each bid within a BidSet:

## Interfaces Required

The following table describes the parameters used in the request message (RequestMessage) for market transactions, noting that each transaction has a request and a response message. The verbs create, update, get and cancel are respectively used to submit, update, query and cancel bid sets.

| Message Element | Value |
| --- | --- |
| Header/Verb | create/get/update/cancel |
| Header/Noun | BidSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Payload | BidSet (used for create, update and cancel request messages, and may optionally be used for get requests to identify specific bids of interest) |

The corresponding response messages (ResponseMessage) would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BidSet |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error message if the ReplyCode is ERROR |
| Payload | BidSet, where the status of each bid within the may be ACCEPTED, SUBMITTED or ERRORS. Specific errors may be identified for each bid. |

In the cases of payloads that would otherwise exceed 1 megabyte, the payloads should be zipped, base64 encoded and stored within the ‘Payload/Compressed’ tag.

For the purposes of BidSets, the verbs create and update can be used interchangeably.

## Message Specifications

The following structure describes a ‘BidSet’. A BidSet is the payload type used for the submission, query and cancellation of bids and offers, and serves as a container for the bids, offers, trades and scheduled that are submitted by a market participant for a given trading day. A BidSet identifies the trading date and Market Participant with a sequence of any number of bids, trades, offers and schedules. The following uniquely identifies a BidSet:

- Market Participant

- Trading date

The header of a BidSet is shown in the following diagram.

The submission (using ’create’ verb) of a BidSet by a Market Participant will have the effect of either creating new bids (or offers, schedules, trades, etc.) for a given trading date, or overwriting existing bids that were previously submitted for a given BidSet for a given trading day.

Additionally, bids, offers, trades and schedules may be submitted in partial batches, where more than one bid set is submitted for a given trading day. When this is done, new bids are aggregated with previously submitted bids and updates to previously submitted bids overwrite the previous bid. The following sequence describes the aggregation of bid sets:

- A first bid set is submitted by a market participant for a trading day, with bids 1, 2, 3, 4.

- A second bid set is submitted by the market participant for the day with bids 5, 6, 7, 8.

- The market participant ‘get’s the bid set for the day, the reply returns the details of bids 1-8.

- The market participant submits a cancel for bid 1.

- A third bid set is submitted by the market participant for the day, where there are updates to bids 5 and 7, as well as a new bid 9

- The market participant ‘get’s the bid set for the day, the reply returns the details of bids 2-9.

In order to cancel a bid, a BidSet must be sent using the ‘cancel’ verb, with the specific bids to be cancelled identified within the BidSet. Cancel can only be used to cancel specific bids, not a whole BidSet for a given market.

In order to query a BidSet, A BidSet is sent using the ‘get’ verb, where the desired bids for the specific BidSet are identified. There are then two options:

- If no bids are identified within the BidSet, all bids for the particular trading date will be returned in the BidSet in the response message.

- If specific bids are identified within the BidSet, only the details of the specified bids will be returned in the BidSet in the response message.

When a BidSet is returned by a ‘get’ request for a given trade date, the status value of each in the BidSet is populated. Values could include:

  - SUBMITTED (to indicate submission, but no further processing has been completed)

  - ACCEPTED (to indicate successful validation and acceptance of the bid)

  - ERRORS (to indicate that there are one or more errors for the bid)

Note: This section will be augmented in future versions of this specification.

The following sub sections describe the structure of specific bid, offer, trade and schedule types. Typically each bid or offer will have a set of properties that along with the type of bid, offer or schedule makes it unique (see section 2.3.3). Typically these would include:

- Bid, offer, schedule or trade type

- Resource

- Ancillary Service type

When submitting a bid (offer, schedule or trade) using create or update, all properties for the bid must be specified. When performing a get or cancel request, only those parameters that uniquely identify the bid must be specified. The following diagram shows information commonly maintained for each type of bid. The status for a given bid may be SUBMITTED, ACCEPTED, ERRORS or CANCELED. If the status is ERRORS, there may be one or more error stings identified.

The mRID is not supplied for the initial submission of a bid, but should be supplied for updates or cancellations to previously submitted bids. The marketType is currently optional and is reserved for future use.

### Three Part Offer

The following diagram defines the structure of a three part offer that could be included within a BidSet. This is one of the more complex structures as it involves startup costs, minimum generation costs and bid price curves. The BidPriceCurve is defined by CIM directly as a subclass of CurveSchedule.

The error tag is used to return one or more errors that may be the consequence of the failure of business or syntax validation rules for each type of bid or offer. The BidPriceCurve element is based upon a CIM curve. Within the BidPriceCurve, the values of ‘xvalue’ are used to identify the quantity in MW, and the values of ‘yvalue’ are used to define the price in $/MWh. The ‘curveStyle’ serves as the ‘indicator’, to identify whether the data is to be treated as FIXED, VARIABLE or a CURVE. The number of points in each BidPriceCurve is limited to 11. Where more than one BidPriceCurve is supplied for a bid, the start and end times must not overlap. The incExcFlag is to indicate whether the bid includes ancillary services or not. The reason code is typically used for adjustments. The structure of a BidPriceCurve is detailed in the following diagram:

The following diagrams describe the structures used for startup and minimum generation costs within the ThreePartOffer message. Note that if more than one StartupCost or MinimumGeneration is provided, there must not be overlapping start and end times.

On submission, the following items are required for a ThreePartOffer. Fields that are used as ‘keys’ to identify a bid (see section 2.3.3) are identified by ‘K’. Required fields are identified by ‘Y’, option fields are identified by ‘N’. There are some exception cases where identified key fields are identified as not being required (e.g. expiration), and are notated as ‘K, N’.

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| resource | K | string | Resource | Valid resource name |
| combinedCycle | N | string | Combined cycle to which resource is associated | NULL or Valid plant name if unit is part of a combined cycle |
| expiration | K, N | datetime | Time of offer expiration | Valid time before trade date |
| FipFop/fipPercent | Y | decimal | Fuel index price percent | >= 0, <= 100 |
| FipFop/fopPercent | Y | decimal | Fuel oil price percent | >= 0, <= 100 |
| StartupCost/startTime | N | datetime | Start time for startup costs | Valid hour boundary |
| StartupCost/endTime | N | datetime | End time for startup costs | Valid hour boundary |
| StartupCost/hot | N | decimal | Hot startup cost | >= 0 |
| StartupCost/intermediate | N | decimal | Intermediate startup cost | >= 0 |
| StartupCost/cold | N | decimal | Cold startup cost | >= 0 |
| MinimumGeneration/startTime | N | datetime | Start time for minimum generation costs | Valid hour boundary |
| MinimumGeneration/endTime | N | datetime | End time for generation costs | Valid hour boundary |
| MinimumGeneration/cost | N | decimal | Minimum generation cost | >= 0 |
| BidPriceCurve/startTime | N | datetime | Start time for curve | Valid hour boundary |
| BidPriceCurve/endTime | N | datetime | End time for curve | Valid hour boundary |
| BidPriceCurve/curveStyle | N | string | Used as an indicator to describe the type of ‘curve’ | FIXED, VARIABLE or CURVE |
| BidPriceCurve/CurveData/xvalue | N | float | Megawatts | Quantity in MW |
| BidPriceCurve/CurveData/yvalue | N | float | $/MWh | Price in $/MWh |
| BidPriceCurve/incExcFlag | N | string | Identifies whether ancillary services are included or excluded. | INC or EXC. Default should be INC. |
| BidPriceCurve/reason | N | string | Reason for adjustment |  |

There should minimally be a StartupCost, MinimumGeneration or BidpriceCurve specified for a Three Part Offer. The following is an XML example of a Three Part Offer:

<ThreePartOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<expirationTime>2007-12-31T04:00:00-06:00</expirationTime>

<resource>AcmeUnit1</resource>

<combinedCycle>AcmeCC</combinedCycle>

<FipFop>

<fipPercent>50</fipPercent>

<fopPercent>50</fopPercent>

</FipFop>

<StartupCost>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<hot>333.33</hot>

<intermediate>444.44</intermediate>

<cold>666.66</cold>

</StartupCost>

<MinimumGeneration>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<cost>1001.11</cost>

</MinimumGeneration>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<curveStyle>CURVE</curveStyle>

<CurveData>

<xvalue>60</xvalue>

<y1value>40.00</y1value>

</CurveData>

<CurveData>

<xvalue>80</xvalue>

<y1value>45.00</y1value>

</CurveData>

<CurveData>

<xvalue>90</xvalue>

<y1value>47.00</y1value>

</CurveData>

<incExcFlag>INC</incExcFlag>

</BidPriceCurve>

<BidPriceCurve>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>CURVE</curveStyle>

<CurveData>

<xvalue>60</xvalue>

<y1value>42.00</y1value>

</CurveData>

<CurveData>

<xvalue>80</xvalue>

<y1value>55.00</y1value>

</CurveData>

<CurveData>

<xvalue>90</xvalue>

<y1value>57.00</y1value>

</CurveData>

<incExcFlag>INC</incExcFlag>

</BidPriceCurve>

</ThreePartOffer>

### Self Arranged Ancillary Services

The following diagram describes the structure of a schedule for self arranged ancillary services.

Within the SelfArrangedAS is a CapacitySchedule. CapacitySchedules are defined using CIM IrregularIntervalSchedules, as shown in the following diagram. The values of ‘value1’ within the CapacitySchedule are used to identify megawatts.

On submission, the following items are required for a SelfArrangedAS:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| asType | K | string | Ancillary service type | Valid AS type code |
| CapacitySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| CapacitySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| CapacitySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| CapacitySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following XML is an example of a self arranged AS, showing the use of a CapacitySchedule:

<SelfArrangedAS xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<asType>NSPIN</asType>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>30</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>39</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>30</value1>

</IrregularTimePoint>

</CapacitySchedule>

</SelfArrangedAS>

### Incremental/Decremental Offers

The following diagram describes the structure of an incremental/decremental offer. This shows the details of the FipFop and BidPriceCurve structures that are contained within.

The BidPriceCurve structure is identical to the structure described previously in this document, although the curveStyle is not specified. On submission, the following items are required for an IncDecOffer:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| resource | K | string | Resource | Valid resource name |
| combinedCycle | N | string | Combined cycle to which resource is associated | Valid plant name if unit is part of a combined cycle |
| expiration | K, N | datetime | Offere expiration time | Valid time before trade date |
| FipFop/fipPercent | N | decimal | Fuel index price percent | >= 0, <= 100 |
| FipFop/fopPercent | N | decimal | Fuel oil price percent | >= 0, <= 100 |
| BidPriceCurve/startTime | Y | datetime | Start time for curve | Valid hour boundary |
| BidPriceCurve/endTime | Y | datetime | End time for curve | Valid hour boundary |
| BidPriceCurve/curveStyle | Y | string | Type of curve | CURVE |
| BidPriceCurve/CurveData/xvalue | Y | float | Megawatts | Quantity in MW |
| BidPriceCurve/CurveData/yvalue | Y | float | $/MWh | Price in $/MWh |

The following is an XML example for an IncDecOffer:

<IncDecOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<expirationTime>2007-12-31T23:00:00-06:00</expirationTime>

<resource>ACMEUnit2</resource>

<combinedCycle>ACMECC</combinedCycle>

<FipFop>

<fipPercent>20</fipPercent>

<fopPercent>70</fopPercent>

</FipFop>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<curveStyle>CURVE</curveStyle>

<CurveData>

<xvalue>20</xvalue>

<y1value>35.50</y1value>

</CurveData>

<CurveData>

<xvalue>40</xvalue>

<y1value>45.50</y1value>

</CurveData>

<CurveData>

<xvalue>60</xvalue>

<y1value>55.50</y1value>

</CurveData>

</BidPriceCurve>

<BidPriceCurve>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>CURVE</curveStyle>

<CurveData>

<xvalue>20</xvalue>

<y1value>37.50</y1value>

</CurveData>

<CurveData>

<xvalue>40</xvalue>

<y1value>47.50</y1value>

</CurveData>

<CurveData>

<xvalue>60</xvalue>

<y1value>57.50</y1value>

</CurveData>

</BidPriceCurve>

</IncDecOffer>

### Ancillary Services Offer

The following diagram describes the structure of an Ancillary Services Offer (ASOffer):

The BidPriceCurve structure is identical to the structure described previously in this document. On submission, the following items are required for an ASOffer:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| resource | K | string | Resource | Valid resource name |
| asType | K | string | Ancillary service type | Valid AS type code |
| expiration | K, N | datetime | Time of offer expiration | Valid time before trade date |
| BidPriceCurve/startTime | Y | datetime | Start time for curve | Valid hour boundary |
| BidPriceCurve/endTime | Y | datetime | End time for curve | Valid hour boundary |
| BidPriceCurve/curveStyle | Y | string | Used as an indicator to describe the type of ‘curve’ | FIXED or VARIABLE |
| BidPriceCurve/CurveData/xvalue | Y | float | Megawatts | Quantity in MW |
| BidPriceCurve/CurveData/yvalue | Y | float | $/MWh | Price in $/MWh |

The following is an XML example for an ASOffer:

<ASOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<expirationTime>2007-12-31T22:00:00-06:00</expirationTime>

<resource>AcmeUnit1</resource>

<asType>REGUP</asType>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>FIXED</curveStyle>

<CurveData>

<xvalue>60</xvalue>

<y1value>20.00</y1value>

</CurveData>

</BidPriceCurve>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>FIXED</curveStyle>

<CurveData>

<xvalue>80</xvalue>

<y1value>23.00</y1value>

</CurveData>

</BidPriceCurve>

</ASOffer>

### Ancillary Services Trade

The following diagram describes the structure of an Ancillary Services Trade (ASTrade).

The CapacitySchedule structure is identical to the structure described previously in this document. The submission of an ASTrade (or generally any trade) requires a matching trade to be submitted by the counterparty befor the close of the market. On submission, the following items are required for an ASTrade:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| asType | K | string | Ancillary service type | Valid AS type code |
| tradeId | K, N | string | Trade ID | Must be either not specified or be a unique for combination of buyer, seller and sp on trade date |
| buyer | K | string | Trade buyer | Valid QSE |
| seller | K | string | Trade seller | Valid QSE |
| expiration | K, N | datetime | Time of offer expiration | Valid time before trade date |
| CapacitySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| CapacitySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| CapacitySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| CapacitySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for an ASTrade:

<ASTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>Acme</buyer>

<seller>Cogswell</seller>

<tradeID>1</tradeID>

<asType>REGUP</asType>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>40</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>72000</time>

<value1>70</value1>

</IrregularTimePoint>

</CapacitySchedule>

</ASTrade>

### Capacity Trade

The following diagram describes the structure of a Capacity Trade:

The CapacitySchedule structure is identical to the structure described previously in this document. The submission of a trade requires a matching trade to be submitted by the counterparty. The following table describes the required fields:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| tradeId | K, N | string | Trade ID | Must be either not specified or be a unique for combination of buyer, seller and sp on trade date |
| buyer | K | string | Trade buyer | Valid QSE |
| seller | K | string | Trade seller | Valid QSE |
| CapacitySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| CapacitySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| CapacitySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| CapacitySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for a CapacityTrade:

<CapacityTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>ACME</buyer>

<seller>XYZ</seller>

<tradeID>3</tradeID>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>70</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>90</value1>

</IrregularTimePoint>

</CapacitySchedule>

</CapacityTrade>

### Congestion Revenue Rights (CRR)

The following diagram describes the structure of a Congestion Revenue Rights (CRR) offer:

The following structure is used for minimum reservation prices. Note than if more than on MinimumReservationPrice is provided, the start end end times must not overlap.

The following structure is used for the peak for NOIEs:

The CapacitySchedule structure is identical to the structure described previously in this document. On submission, the following table describes items are required for a CRR. In addition, the PeakLoadForecast must be specified for NOIEs.

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| crrId | K | string | CRR ID | ID of CRR account holder |
| source | K | string | Source settlement point | Valid settlement point name |
| sink | K | string | Sink settlement point | Valid settlement point name |
| CapacitySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| CapacitySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| CapacitySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| CapacitySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |
| MnimumReservationPrice/ startTime | Y | datetime |  |  |
| MnimumReservationPrice/ endTime | N | datetime |  |  |
| MnimumReservationPrice/ price | Y | decimal | Minimum price in $/MWh |  |
| NOIEPeakLoadForecast/startTime | If NOIE | datetime | Start time for peak load forecast | Valid hour boundary |
| NOIEPeakLoadForecast/endTime | N | dateTime | End time for peak load forecast | Valid hour boundary |
| NOIEPeakLoadForecast/ IrregularTimePoint/time | If NOIE | integer | Seconds from startTime | >= 0 |
| NOIEPeakLoadForecast/ IrregularTimePoint/value1 | If NOIE | float | Forecasted egawatts | >= 0 |

The following is an XML example for a CRR:

<CRR xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<crrId>345</crrId>

<source>SP3536</source>

<sink>SP3333</sink>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>40</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>50</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>60</value1>

</IrregularTimePoint>

</CapacitySchedule>

<MinimumReservationPrice>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<price>33.00</price>

</MinimumReservationPrice>

<NOIEPeakLoadForecast>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>1200</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>1500</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>1600</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>10800</time>

<value1>1700</value1>

</IrregularTimePoint>

</NOIEPeakLoadForecast>

</CRR>

### Current Operating Plan (COP)

The following diagram describes the structure of a Current Operating Plan (COP), where the COP provides a schedule for a resource:

The structures for Limits and ASCapacity are shown in the following diagrams. If more than one ResourceStatus, Limits or ASCapacity block is provided, start and end times must not overlap.

COP submissions are never cancelled, as a COP must be submitted. A resubmission of a COP overwrites the previous submission. On submission, the following items are required for a COP:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| resource | K | string | Resource | Valid resource name |
| ResourceStatus/startTime | Y | datetime | Start time for status | Valid hour boundary |
| ResourceStatus /endTime | Y | datetime | End time for status | Valid hour boundary |
| ResourceStatus /status | Y | string | status | Valid status code |
| Limits/startTime | Y | datetime | Start time for minimum generation costs | Valid hour boundary |
| Limits/endTime | Y | datetime | End time for generation costs | Valid hour boundary |
| Limits/maximumEconomicMW | Y | integer | Maximum economic MW, equivalent to sustained maximum MW | >=0 |
| Limits/minimumEconomicMW | Y | integer | Minimum economic MW, equivalent to sustained minimum MW | >=0 |
| Limits/maxEmergencyMW | Y | integer | Maximum emergency MW | >=0 |
| Limits/minEmergncyMW | Y | integer | Minimum emergency MW | >=0 |
| ASCapacity/startTime | Y | datetime | Start time for AS capacity schedule | Valid hour boundary |
| ASCapacity/endTime | Y | dateTime | End time for AS capacity schedule | Valid hour boundary |
| ASCapacity/regUp | Y | integer | Regulation up MW | >= 0 |
| ASCapacity/regDown | Y | integer | Regulation down MW | >= 0 |
| ASCapacity/rrs | Y | integer | Responsive reserve MW | >= 0 |
| ASCapacity/nonSpin | Y | integer | Non-spinning MW | >= 0 |

The following is an XML example for a COP:

<COP xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<resource>ACMEUnit2</resource>

<ResourceStatus>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06 :00</endTime>

<operatingMode>ON</operatingMode>

</ResourceStatus>

<ResourceStatus>

<startTime>2008-01-01T10:00:00-06 :00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<operatingMode>OFF</operatingMode>

</ResourceStatus>

<Limits>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<maximumEconomicMW>100</maximumEconomicMW>

<minimumEconomicMW>20</minimumEconomicMW>

<maxEmergencyMW>110</maxEmergencyMW>

<minEmergencyMW>10</minEmergencyMW>

</Limits>

<Limits>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<maximumEconomicMW>0</maximumEconomicMW>

<minimumEconomicMW>0</minimumEconomicMW>

<maxEmergencyMW>0</maxEmergencyMW>

<minEmergencyMW>0</minEmergencyMW>

</Limits>

<ASCapacity>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<regUp>20</regUp>

<regDown>20</regDown>

<rrs>40</rrs>

<nonSpin>80</nonSpin>

</ASCapacity>

<ASCapacity>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<regUp>0</regUp>

<regDown>0</regDown>

<rrs>0</rrs>

<nonSpin>0</nonSpin>

</ASCapacity>

</COP>

### DC Tie Schedule

The following diagram describes the structure of a DC Tie Schedule:

The following diagram describes the structure of the EnergySchedule and the NERCTags:

On submission, the following items are required for a DCTieSchedule:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| buyer | K | string | Trade buyer | Valid QSE |
| seller | K | string | Trade seller | Valid QSE |
| sp | K | string | Settlement point | Valid settlement point name |
| NERCTags/startTime | Y | datetime | Start time for tag | Valid time string |
| NERCTages/endTime | Y | datetime | End time for tag | Valid time string |
| NERCTags/tag | Y | string | NERC tag string | Valid NERC tag string |
| EnergySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| EnergySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| EnergySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| EnergySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for a DCTieSchedule:

<DCTieSchedule xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>ACME</buyer>

<seller>XYZ</seller>

<sp>DC56</sp>

<EnergySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>500</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>0</time>

<value1>400</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>0</time>

<value1>520</value1>

</IrregularTimePoint>

</EnergySchedule>

<NERCTags>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<tag>NERC Tag String</tag>

</NERCTags>

</DCTieSchedule>

### Energy Bid

The following diagram describes the structure of an Energy Bid:

The BidPriceCurve structure is identical to the structure described previously in this document. On submission, the following items are required for an EnergyBid:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| sp | K | string | Settlement point | Valid settlement point name |
| bidId | K | string | Bid ID | MP supplied bid ID |
| BidPriceCurve/startTime | Y | datetime | Start time for curve | Valid hour boundary |
| BidPriceCurve/endTime | Y | datetime | End time for curve | Valid hour boundary |
| BidPriceCurve/curveStyle | Y | string | Used as an indicator to describe the type of ‘curve’ | FIXED, VARIABLE or CURVE |
| BidPriceCurve/CurveData/xvalue | Y | float | Megawatts | Quantity in MW |
| BidPriceCurve/CurveData/yvalue | Y | float | Price in $/MWh | $/MWh |

The following is an XML example for an EnergyBid:

<EnergyBid xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<expirationTime>2007-12-31T23:00:00-06:00</expirationTime>

<sp>ACME4</sp>

<bidID>2</bidID>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<curveStyle>FIXED</curveStyle>

<CurveData>

<xvalue>40</xvalue>

<y1value>43.54</y1value>

</CurveData>

</BidPriceCurve>

<BidPriceCurve>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>FIXED</curveStyle>

<CurveData>

<xvalue>50</xvalue>

<y1value>63.54</y1value>

</CurveData>

</BidPriceCurve>

</EnergyBid>

### Energy Only Offer

The following diagram describes the structure of an EnergyOnlyOffer:

The BidPriceCurve structure is identical to the structure described previously in this document. On submission, the following items are required for an EnergyOnlyOffer:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| sp | K | string | Settlement point | Valid settlement point name |
| bidId | K | string | Bid ID | MP supplied bid ID |
| expiration | K, N | datetime | Time of offer expiration | Valid time before trade date |
| BidPriceCurve/startTime | Y | datetime | Start time for curve | Valid hour boundary |
| BidPriceCurve/endTime | Y | datetime | End time for curve | Valid hour boundary |
| BidPriceCurve/curveStyle | Y | string | Used as an indicator to describe the type of ‘curve’ | FIXED, VARIABLE or CURVE |
| BidPriceCurve/CurveData/xvalue | Y | float | Quantity in megawatts | MW |
| BidPriceCurve/CurveData/yvalue | Y | float | Price in $/MWh | $/MWh |

The following is an XML example for an EnergyOnlyOffer:

<EnergyOnlyOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<expirationTime>2007-12-31T22:00:00-06:00</expirationTime>

<sp>ACME3</sp>

<bidID>1</bidID>

<BidPriceCurve>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<curveStyle>VARIABLE</curveStyle>

<CurveData>

<xvalue>20</xvalue>

<y1value>43.00</y1value>

</CurveData>

</BidPriceCurve>

<BidPriceCurve>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<curveStyle>VARIABLE</curveStyle>

<CurveData>

<xvalue>20</xvalue>

<y1value>53.00</y1value>

</CurveData>

</BidPriceCurve>

</EnergyOnlyOffer>

### Energy Trade

The following diagram describes the structure of an Energy Trade:

Within an EnergyTrade is an EnergySchedule. EnergySchedules are defined using CIM IrregularTimeIntervals. This is shown in the following diagram:

In order for a trade to be accepted, both the buyer and seller must submit matching trades, as identified using the buyer, seller and tradeId tags. On submission, the following items are required for an EnergyTrade:

- startTime

- endTime

- buyer (QSE ID)

- seller (QSE ID)

- sp (settlement point name)

- EnergySchedule

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| sp | K | string | Settlement point | Valid settlement point name |
| tradeId | K, N | string | MP supplied trade ID | Must be either not specified or be a unique for combination of buyer, seller and sp on trade date |
| buyer | K | string | Trade buyer | Valid QSE |
| seller | K | string | Trade seller | Valid QSE |
| EnergySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| EnergySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| EnergySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| EnergySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for an EnergyTrade:

<EnergyTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>ACME</buyer>

<seller>Cogswell</seller>

<tradeID>4</tradeID>

<sp>ACME23</sp>

<EnergySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>200</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>220</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>260</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>10800</time>

<value1>100</value1>

</IrregularTimePoint>

</EnergySchedule>

</EnergyTrade>

### Output Schedule

The following diagram describes the structure of an Output Schedule:

The EnergySchedule structure is identical to the structure described previously in this document. On submission, the following items are required for an OutputSchedule:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| resource | K | string | Resource | Valid resource name |
| EnergySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| EnergySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| EnergySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| EnergySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for an OutputSchedule:

<EnergyTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>ACME</buyer>

<seller>Cogswell</seller>

<tradeID>4</tradeID>

<sp>ACME23</sp>

<EnergySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>200</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>220</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>260</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>10800</time>

<value1>100</value1>

</IrregularTimePoint>

</EnergySchedule>

</EnergyTrade>

### PTP Obligation

The following diagram describes the structure of a PTP Obligation bid:

The CapacitySchedule structure is identical to the structure described previously in this document. The following diagram describes the structure for maximum prices. If more than one MaximumPrice block is provided, start and end times must not overlap.

On submission, the following items are required for a PTPObligation:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| source | K | string | Source settlement point | Valid settlement point name |
| sink | K | string | Sink settlement point | Valid settlement point name |
| bidId | K | string | MP assigned bid ID |  |
| MaximumPrice/startTime | Y | datetime | Start time for minimum generation costs | Valid hour boundary |
| MaximumPrice/endTime | Y | datetime | End time for generation costs | Valid hour boundary |
| MaximumPrice/cost | Y | decimal | Minimum generation cost | >= 0 |
| CapacitySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| CapacitySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| CapacitySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| CapacitySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for a PTPObligation:

<PTPObligation xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<source>XYZ3</source>

<sink>ACME34</sink>

<bidId>1</bidId>

<CapacityShedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>30</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>35</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>40</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>10800</time>

<value1>20</value1>

</IrregularTimePoint>

</CapacityShedule>

<MaximumPrice>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T10:00:00-06:00</endTime>

<price>333.5</price>

</MaximumPrice>

<MaximumPrice>

<startTime>2008-01-01T10:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<price>373.5</price>

</MaximumPrice>

</PTPObligation>

### Self Schedule

The following diagram describes the structure of a Self Schedule:

On submission, the following items are required for a SelfSchedule:

| Element | Req? | Datatype | Description | Values |
| --- | --- | --- | --- | --- |
| startTime | K | datetime | Start time for bid | Valid start hour boundary for trade date |
| endTime | K | datetime | End time for bid | Valid end hour boundary for trade date |
| source | K | string | Source settlement point | Valid settlement point name |
| sink | K | string | Sink settlement point | Valid settlement point name |
| EnergySchedule/startTime | Y | datetime | Start time for capacity schedule | Valid hour boundary |
| EnergySchedule/endTime | N | dateTime | End time for capacity schedule | Valid hour boundary |
| EnergySchedule/ IrregularTimePoint/time | Y | integer | Seconds from startTime | >= 0 |
| EnergySchedule/ IrregularTimePoint/value1 | Y | float | Megawatts | >= 0 |

The following is an XML example for a SelfSchedule:

<SelfSchedule xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<source>SP456</source>

<sink>ACME23</sink>

<EnergySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>35</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>3600</time>

<value1>50</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>7200</time>

<value1>40</value1>

</IrregularTimePoint>

</EnergySchedule>

</SelfSchedule>

## Error Handling

The purpose of this section is to describe the handling of errors related to submissions, updates, queries and cancellations. This is especially important, as BidSets can be partially accepted, where some bids, offers, trades or schedules within a BidSet can be accepted, and others rejected.

| Condition | Action | Error Reported |
| --- | --- | --- |
| Bad parameters in message header | Request is rejected | ERROR: INVALID REQUEST |
| Invalid Source or UserId | Request is rejected | ERROR: NOT AUTHORIZED |
| Payload can not be interpretted | Request is rejected | ERROR: BAD PAYLOAD |
| Parameters within BidSet header are invalid, e.g. bad trading date | No bids or updates are accepted | ERROR: BAD BIDSET |
| Request for a get, cancel or update identifies an unknown transaction (i.e. bid, offer, trade, schedule) | The request is processed only for the known transactions. | WARNING: UNKNOWN ID: …… |
| Some transactions within a BidSet are rejected | Valid transactions are accepted as submitted, invalid transactions are rejected and marked with errors. | BidSet on reply identifies errors for those transactions that were rejected on a transaction by transaction basis. |

It is also important to note that the submission of a BidSet involves multiple steps:

- BidSet is syntax scanned, where only basic validity checks are performed. The reply identifies where basic validity checks failed. Transactions within the BidSet that pass basic validation checks are marked as ‘SUBMITTED’ and a transaction ID (mRID) value is returned.

- A more thorough validity check is performed asynchronously by the Market Management System (MMS)

- After acceptance or rejection by MMS, a notification is issued that identified whether the transaction was ‘ACCEPTED’ or had error.

## Usage and XML Examples

The purpose of this section is to provide usage details with XML examples for the submission (create), query (get), update and cancellation (cancel) of bids, offers, trades and schedules.

### Bid Set Submission

When submitting a set of bids, offers, trades and/or schedules, the following structures are used within the message:

| Message Element | Value |
| --- | --- |
| Header/Verb | create |
| Header/Noun | BidSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Payload | BidSet |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BidSet |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload | BidSet, returning transaction IDs (mRIDs) for individual bids, offers, trades or schedules and or error messages. |

The following is an example message for a request message for the submission of a BidSet by a Market Participant. The following example uses a SelfArrangedAS.

<msg:Message xsi:noNamespaceSchemaLocation="Message.xsd"

xmlns:wsse="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd"

xmlns:wsu="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd"

xmlns:msg="http://www.ercot.com/schema"

xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">

<msg:Header>

<msg:Verb>create</msg:Verb>

<msg:Noun>BidSet</msg:Noun>

<msg:ReplayDetection>

<wsse:Nonce wsu:Id="" EncodingType="">3264874657467444949</wsse:Nonce>

<wsu:Created wsu:Id="">2006-12-09 15:35:57Z</wsu:Created>

</msg:ReplayDetection>

<msg:Revision>001</msg:Revision>

<msg:Source>TXU</msg:Source>

<msg:UserID>Nemat</msg:UserID>

<msg:MessageID>231232466</msg:MessageID>

<msg:Comment>Example message</msg:Comment>

</msg:Header>

<msg:Payload>

<msg:BidSet>

<msg:tradingDate>2007-01-04</msg:tradingDate>

<msg:SelfArrangedAS>

<msg:startTime>2007-12-17T00:00:00-06:00</msg:startTime>

<msg:endTime>2007-12-18T00:00:00-06:00</msg:endTime>

<asType>NSPIN</asType>

<msg:CapacitySchedule>

<msg:startTime>2007-12-17T00:00:00-06:00</msg:startTime>

<msg:IrregularTimePoint>

<msg:time>0</msg:time>

<msg:value1>120</msg:value1>

</msg:IrregularTimePoint>

<msg:IrregularTimePoint>

<msg:time>7200</msg:time>

<msg:value1>130</msg:value1>

</msg:IrregularTimePoint>

<msg:IrregularTimePoint>

<msg:time>28800</msg:time>

<msg:value1>115</msg:value1>

</msg:IrregularTimePoint>

</msg:CapacitySchedule>

</msg:SelfArrangedAS>

… additional bids inserted here …

</msg:BidSet>

</msg:Payload>

</msg:Message>

The following is an example response message, where the bid submission request was successful:

<msg:ResponseMessage xsi:schemaLocation="http://www.ercot.com/schema Message.xsd"

xmlns:wsse="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd"

xmlns:wsu="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd"

xmlns:msg="http://www.ercot.com/schema" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">

<msg:Header>

<msg:Verb>reply</msg:Verb>

<msg:Noun>BidSet</msg:Noun>

<msg:ReplayDetection>

<wsse:Nonce wsu:Id="" EncodingType="">74646464</wsse:Nonce>

<wsu:Created wsu:Id="">2006-12-09T15:36:03-06:00</wsu:Created>

</msg:ReplayDetection>

<msg:Revision>001</msg:Revision>

<msg:Source>ERCOT</msg:Source>

<msg:UserID>MMS</msg:UserID>

<msg:MessageID>3535</msg:MessageID>

</msg:Header>

<msg:Reply>

<msg:ReplyCode>OK</msg:ReplyCode>

</msg:Reply>

<msg:Payload>

<msg:BidSet>

<msg:tradingDate>2007-01-04</msg:tradingDate>

<msg:SelfArrangedAS>

<msg:mRID>TXU.20070104.XXXXX</msg:mRID>

<msg:status>SUBMITTED</msg:status>

<msg:/SelfArrangedAS>

<msg:/BidSet>

<msg:/Payload>

</msg:ResponseMessage>

The following is an example response where a bid submission was unsuccessful, as a consequence of invalid parameters on the BidSet:

<msg:ResponseMessage xsi:schemaLocation="http://www.ercot.com/schema Message.xsd"

xmlns:wsse="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd"

xmlns:wsu="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd"

xmlns:msg="http://www.ercot.com/schema" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">

<msg:Header>

<msg:Verb>reply</msg:Verb>

<msg:Noun>BidSet</msg:Noun>

<msg:ReplayDetection>

<wsse:Nonce wsu:Id="" EncodingType="">74646464</wsse:Nonce>

<wsu:Created wsu:Id="">2006-12-09T15:36:03-06:00</wsu:Created>

</msg:ReplayDetection>

<msg:Revision>001</msg:Revision>

<msg:Source>ERCOT</msg:Source>

<msg:UserID>MMS</msg:UserID>

<msg:MessageID>3535</msg:MessageID>

</msg:Header>

<msg:Reply>

<msg:ReplyCode>ERROR</msg:ReplyCode>

<msg:Error>Bad trading date</msg:Error>

</msg:Reply>

</msg:ResponseMessage>

The following is an example response where a bid submission was unsuccessful, as a consequence of syntax failures within a specific bid within the BidSet. It is important to note that only the status and errors (if any exist) are returned for each bid.

<msg:ResponseMessage xsi:schemaLocation="http://www.ercot.com/schema Message.xsd"

xmlns:wsse="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd"

xmlns:wsu="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd"

xmlns:msg="http://www.ercot.com/schema" xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">

<msg:Header>

<msg:Verb>reply</msg:Verb>

<msg:Noun>BidSet</msg:Noun>

<msg:ReplayDetection>

<wsse:Nonce wsu:Id="" EncodingType="">74646464</wsse:Nonce>

<wsu:Created wsu:Id="">2006-12-09T15:36:03-06:00</wsu:Created>

</msg:ReplayDetection>

<msg:Revision>001</msg:Revision>

<msg:Source>ERCOT</msg:Source>

<msg:UserID>MMS</msg:UserID>

<msg:MessageID>3535</msg:MessageID>

</msg:Header>

<msg:Reply>

<msg:ReplyCode>ERROR</msg:ReplyCode>

<msg:Error>Bid syntax errors</msg:Error>

</msg:Reply>

<msg:Payload>

<msg:BidSet>

<msg:tradingDate>2007-01-04</msg:tradingDate>

<msg:XYZ>

<msg:status>ERROR</msg:status>

<msg:error>Unknown bid type XYZ</msg:error>

</msg:XYZ>

<msg:ThreePartOffer>

<msg:status>ERROR</msg:status>

<msg:error>Bad schema</msg:error>

</msg:ThreePartOffer>

<msg:COP>

<msg:mRID>TXU.20070104.YYYYYYYY</msg:mRID>

<msg:status>SUBMITTED</msg:status>

</msg:COP>

... sequence of bids with status and  errors (if any)  appears here ...

</msg:BidSet>

</msg:Payload>

</msg:ResponseMessage>

The more detailed validations errors would typically be available after a period of minutes, where a notification would be issued to identify that errors were found.

An important note is that the order of the bids, offers, trades and schedules within the reply BidSet is identical to the order that was provided in the BidSet for the submission. This is important so that the mRID in the response can be associated with the correct bid, offer, trade or schedule from the submission.

### Querying Bids, Offers, Trades and Schedules

A query request uses the ‘get’ verb on the message header is used to query specific bids, offers, trades and schedules. There are two options for querying a set of bids, offers, trades or schedules:

- The tranaction ID (mRID) for each bid, offer, trade or schedule of interest is identified using the message Request/ID parameter.

- Only the TradingDate is supplied, where all bids, offers, schedules and trades for that trading date will be returned.

In all cases the verb is ‘get’, the noun is ‘BidSet’ and the Request/tradingDate is specified.

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | BidSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | Optional: one or more mRID values |
| Request/TradingDate | Trading date of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BidSet |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload | BidSet, returning details for desired bids, offers, trades and schedules |

The following is an example response payload, where the requested trade was not validated:

<BidSet xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<tradingDate>2008-01-01</tradingDate>

<ASTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ERROR</status>

<error>Invalid AS Type</error>

<error>Invalid seller</error>

<error>Invalid capacity: -400</error>

<buyer>Acme</buyer>

<seller>CogsweLL</seller>

<tradeID>1</tradeID>

<asType>REGUP</asType>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>40</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>72000</time>

<value1>-400</value1>

</IrregularTimePoint>

</CapacitySchedule>

</ASTrade>

</BidSet>

### Updating Bids, Offers, Trades and Schedules

A request to update specific bids, offers, trades and schedules is identically the same as a submission request. If the bid, offer, schedule or trade was previously submitted it will be updated. If it did not previously exist, it will be created.

For the purpose of bidding, the ‘create’ and ‘update’ verbs are used interchangeably.

| Message Element | Value |
| --- | --- |
| Header/Verb | update |
| Header/Noun | BidSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Payload | BidSet |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BidSet |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload | BidSet, returning transaction IDs (mRIDs) for individual bids, offers, trades or schedules and or error messages. |

The following is an example request payload, where a previously submitted ASTrade will be updated. There may be more than one bid, offer, trade or schedule updated at a time. New submissions may also be mixed with updates.

<BidSet xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<tradingDate>2008-01-01</tradingDate>

<ASTrade xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<buyer>Acme</buyer>

<seller>Cogswell</seller>

<tradeID>1</tradeID>

<asType>REGUP</asType>

<CapacitySchedule>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-02T00:00:00-06:00</endTime>

<IrregularTimePoint>

<time>0</time>

<value1>40</value1>

</IrregularTimePoint>

<IrregularTimePoint>

<time>72000</time>

<value1>70</value1>

</IrregularTimePoint>

</CapacitySchedule>

</ASTrade>

</BidSet>

### Canceling Bids, Offers, Trades and Schedules

A cancellation request uses the ‘cancel’ verb on the message header in order to cancel one or more query specific bids, offers, trades and schedules. It is important to note that a COP submission can not be cancelled, as it is required and can otherwise only be updated.

| Message Element | Value |
| --- | --- |
| Header/Verb | cancel |
| Header/Noun | BidSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | Optional: one or more mRID values |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BidSet |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload/BidSet | BidSet identifying bids cancelled, identifying mRID and status=CANCELED |

Note: Some details of this interface are dependent upon finalization of the MMS design to determine if the cancel will be confirmed synchronously or asynchronously.

The following is an example BidSet that would be provided in the response message:

<BidSet xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<tradingDate>2008-01-01</tradingDate>

<ASOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>CANCELED</status>

</ASOffer>

<ASTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>CANCELED</status>

</ASTrade>

<CapacityTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>CANCELED</status>

</CapacityTrade>

<ThreePartOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>CANCELED</status>

</ThreePartOffer>

</BidSet>

# Market Information

This service is used to request specific types of market-related information. These are read-only interfaces, as opposed to transactional interfaces.

Note: The interfaces described in this section are subject to change based upon final EMS and/or MMS designs.

## Interfaces Provided

Specific interfaces using specific combinations of verbs and nouns (i.e. payload types) are defined to permit a market participant to programmatically access market information. The verb to be used for requests would in all cases be ‘get’. The noun would identify the type of information being requested. Each request could use a message ‘Request’ package to specify one or more parameters that would qualify the request.

The processing sequence is shown in the following sequence diagram.

## Interfaces Required

The messages for market information requests would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | Name of payload type |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/? | Optional: Other request parameters may be specified as needed |
| Payload | Message payload data with type defined by Noun |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | Defined payload type name |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload | Defined payload type |

In the cases of payloads that would otherwise exceed 1 megabyte, the payloads would be zipped, base64 encoded and stored within the ‘Payload/Compressed’ tag.

## Message Specifications

Specific payload definitions are not currently defined. These will be defined in future revisions.

### Get AwardSet

The Get AwardSet interface provides the means for a market participant to obtain awards. The following parameters are specified in the RequestMessage:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | AwardSet |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/TradingDate | Trading date |

An AwardSet is returned in the payload of the ResponseMessage using the following structure:

Within an AwardSet, there are a variety of different Award types. The following diagram describes the basic structure for each type of Award:

### Forecasted Load

The purpose of this interface is to provide the means to obtain forecasted load values from ERCOT. The input parameters to this request include:

- startTime

- endTime

- zone, which could be a weather zone of a load zone. If either ‘system’ or omitted, the system load forecast is returned.

The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | LoadForecast |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |
| Request/zone | Desired weather or load zone. Default is for system load. |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | LoadForecast |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/LoadForecast | Load forecast |

The following diagram describes the structure of a load forecast, which is based upon a CIM IrregularIntervalSchedule. The values of ‘value1’ indicate forecasted megawatts. This will be used to return the data for the specified zone (or system is zone was not specified).

### Real-Time System Load

The purpose of this interface is to provide the means to obtain real-time system load from ERCOT. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | SystemLoad |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Optional: Start time of interest |
| Request/endTime | Optional: End time of interest |

If no startTime is specified, the loads for the current day will be returned. The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | SystemLoad |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/SystemLoad | System loads for period of interest |

The structure of SystemLoad is described by the following diagram. This used a CIM RegularIntervalSchedule.

### Market Totals

The purpose of this interface is to provide a query for market totals. Market totals supported by this interface include:

- Total energy bought in DAM

- Total energy sold in DAM

- Total ancillary service offers received (for each type of ancillary service)

The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | MarketTotals |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/option | One of: - AncillaryServiceOffers - EnergyBoughtInDAM - EnergySoldInDAM |
| Request/asType | Ancillary services type (optional, used for option AncillaryServiceOffers) |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | MarketTotals |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/MarketTotals | Market totals of interest |

The Totals structure is based upon a CIM RegularIntervalSchedule, where the values of ‘value1’ are total megawatt values.

### Market LMPs and SPPs

The purpose of this interface is to provide a query for market LMPs and SPPs. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | LMPs (or SPPs) |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |
| Request/ID | Optional: bus name for LMP request or settlement point name for SPP request |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | LMPs (or SPPs) |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ | LMPs (or SPPs) |

The structure of an LMPs/SPPs payload are shown by the following diagrams, where each LMP/SPP has a PriceSchedule for a specified bus or SettlementPoint.

In both cases the data structure is based upon a CIM IrregularIntervalSchedule, where values of ‘value1’ are in $/MWh and values of ‘time’ are seconds from the startTime. The last point on the schedule is valid until the endTime.

### Market MCPCs

The purpose of this interface is to provide a query for MCPCs, for either the DAM or ADJ market.

The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | MCPCs |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/marketType | DAM or ADJ |
| Request/startTime | Start time |
| Request/endTime | End time |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | MCPCs |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/MCPCs | MCPCs |

The following diagram describes the structure of MCPCs:

Within each MCPCSchedule, an asType is specified and the values of ‘value1’ convey individual MCPC values.

### Binding Constraints

This section describes interfaces used to retrieve binding constraints. There are several options for retrieval of binding constraints:

- Binding constraints related to DRUC

- Binding constraints related to HRUC

- DAM/RTM shadow prices for binding constraints

The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | BindingConstraints |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/Option | DAM/RTM/DRUC/HRUC |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | BindingConstraints |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/BindingConstraints | BindingConstraints |

The following diagram describes the structures that are used for the retrieval of binding constraints and shadow prices:

The following elements are used to report binding constraints:

- Name of the constraint

- Value that exceeded limit

- Limit defined for constraint

- Maximum shadow price

- Delivery time

- Settlement point names (sp)

- Shift factors

- RUC type (DRUC, HRUC, DAM, RTM)

### Active Contingencies in SCED

This section describes interfaces used to retrieve active contingencies in SCED. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | SCEDViolatedConstraints |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/marketType | RTM or ADJ |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | SCEDViolatedConstraints |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/SCEDViolatedConstraints | SCEDViolatedConstraints |

The structure of SCED violated constraints are described by the following diagram:

The following elements are used to report violated constraints:

- Name of the constraint

- Value that exceeded limit

- Defined limit for constraint

- Timestamp of violation

- Settlement point names (sp)

- Shift factors

### Ancilary Service Schedule Obligations

The purpose of this interface is to provide ancillary service schedule obligations by service type for the requesting QSE. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | ASObligations |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ASType | Optional: AS type |
| Request/OperatingDate | OperatingDate |

If the AS type is not specified, all AS obligations will be returned. The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | ASObligations |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ASObligations | ASObligations |

The structure of the ASObligations payload is described by the following diagram, using a CIM RegularIntervalSchedule. The values of ‘value1’ would represent the MW obligation and the values of ‘value2’ would represent a positive or negative difference from COP.

### Dynamic Ratings

This section describes interfaces used to retrieve current thermal ratings for conducting equipment. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | DynamicRatings |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | DynamicRatings |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ DynamicRatings | DynamicRatings |

The payload structure is described by the following diagram:

The ‘equipment’ tag identifies the name of the transmission element. The types of ratings that are currently defined include:

- Normal (in MVA)

- 2-hour (in MVA)

- 15-min (in MVA)

### Voltage Profiles

This section describes interfaces used to retrieve voltage profiles for electrical buses. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | VoltageProfiles |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | VoltageProfiles |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/VoltageProfiles | VoltageProfiles |

The payload structure is described by the following diagram:

### Total Regulation

This section describes interfaces used to retrieve the daily total reg up and reg down for a given time period. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | TotalRegulation |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | TotalRegulation |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/TotalRegulation | Schedule of total regulation. Value1 = reg up MW, value2 = reg down MW. |

The payload structure is described by the following diagram, using a CIM IrregularIntervalSchedule.

The values of ‘value1’ are the regulation up in megawatts, and the values of ‘value2’ are the regulation down megawatts.

### Load Ratio Share

This section describes interfaces used to retrieve the load ratio share for each QSE. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | LoadRatioShares |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | LoadRatioShares |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/LoadRatioShares | LoadRatioShares |

The LoadRatioShares payload structure is described by the following diagram:

The values of ‘value1’ would be used to identify the proportion assigned to each QSE for each hour.

### Competitive Constraints

This section describes interfaces used to retrieve competitive constraints. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | CompetitiveConstraints |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | Optional: End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | CompetitiveConstraints |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ CompetitiveConstraints | List of competitive constraints |

The payload structure is described by the following diagram:

The following elements are used to report competitive constraints:

- Name of the constraint

- Limit: name of limit

- Value: value that exceeded limit

- Status of constraint

- Timestamp of constraint

- Flag: DAILY, MONTHLY or YEARLY

### Load Distribution Factors

This section describes interfaces used to retrieve load distribution factors. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | LoadDistributionFactors |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | ‘SYSTEM’ or ID of weather zone or load group for which the factors for ‘children’ are desired |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | LoadDistributionFactors |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ LoadDistributionFactors | LoadDistributionFactors |

The payload structure is described by the following diagram:

Each load distribution factor identifies:

- Name of the zone, group or load

- Level, to identify ZONE, LOADGROUP or LOAD

- Factor, as a proportion

### Shift Factors

This section describes interfaces used to retrieve real-time shift factors. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | ShiftFactors |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | ShiftFactors |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ShiftFactors | ShiftFactors |

The payload structure is described by the following diagram, where there is one shift factor for each resource and branch pair:

For each shift factor the following elements are provided:

- Name of resource

- Name of branch (equipment)

- Shift factor

### Customer Load Profile

This section describes interfaces used to retrieve the load profile for non-IDR metered customers. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | LoadProfile |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | ID of customer(s) |
| Request/startTime | Start time |
| Request/endTime | End time |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | LoadProfile |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK |
| Reply/Error | Error message, if error encountered |
| Payload/LoadProfile | LoadProfile |

The payload structure is described by the following diagram:

The values of ‘value1’ are used to convey the KWh consumption for each time interval.

TBD: The specific key needed to reference a customer load profile needs to be identified.

### Aggregated Ancillary Service Offer Curves

This section describes interfaces used to retrieve aggregated ancillary service offer curves. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | AggregatedASOfferCurves |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time |
| Request/endTime | End time |
| Request/asType | Optional: AS type (if not specified, all are returned) |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | AggregatedASOfferCurves |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ AggregatedASOfferCurves | AggregatedASOfferCurves |

The payload structure is described by the following diagrams, where there is one curve for each AS type per hour.

For each point on the AggregatedASOfferCurve, the xvalue identifies a megawatt level, the the y1value indicates a $/hour value.

### Ancillary Service System Plan

This section describes interfaces used to retrieve the ancillary service system plan. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | ASSystemPlan |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time |
| Request/endTime | End time |
| Request/asType | Optional: AS type (if not specified, all are returned) |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | ASSystemPlan |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ASSystemPlan | ASSystemPlan |

The payload structure is described by the following diagram:

The values of ‘value1’ identify the total scheduled MW capacity for the given AS type.

### Unit Availability

This section describes interfaces used to retrieve the availability for units. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | UnitAvailabilities |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time |
| Request/endTime | End time |
| Request/option | Optional: RMR or BlackStart, default is all |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | UnitAvailabilities |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ UnitAvailabilities | UnitAvailabilities |

The payload structure is described by the following diagram:

For each UnitAvailability element, the following are provided:

- Name of resource

- Contract type: RMR or BlackStart

- Start time

- End time (if known)

- Available (true/false)

- Available megawatts

### Startup and Shutdown Instructions

This section describes interfaces used to retrieve unit startup and shutdown instructions. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | StartupShutdownInstructions |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | StartupShutdownInstructions |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ StartupShutdownInstructions | StartupShutdownInstructions |

The payload structure is described by the following diagram:

For each startup or shutdown instruction, the following elements are provided:

- RUC type (DRUC, HRUC, DAM)

- Delivery date

- Resource name

- Cleared commit

- Cleared decommit

- Reason code for decommit

### Total Ancillary Service Offers

This section describes interfaces used to retrieve total ancillary services offers. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | TotalASOffers |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time of interest |
| Request/endTime | End time of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | TotalASOffers |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ TotalASOffers | TotalASOffers |

The payload structure is described by the following diagrams:

The values of ‘value1’ identify the total MW offers for the given AS type. There is no consideration given to linked offers.

### Total DAM Energy

This section describes interfaces used to retrieve the total amount of energy bought or sold in the Day Ahead Market. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | TotalEnergy |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Start time |
| Request/endTime | End time |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | TotalEnergy |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ TotalEnergy | IrregularIntervalSchedule, where value1=total energy bought and value2=total energy sold |

The payload structure is described by the following diagram:

The values of ‘value1’ indicate the total energy bought and the the values of ‘value2’ indicate the total energy sold.

### Derated CRRs

This section describes interfaces used to retrieve derated CRRs. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | DeratedCRRs |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/OperatingDate | Date of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | DeratedCRRs |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/DeratedCRRs | DeratedCRRs |

The payload structure is described by the following diagram:

### Proxy Curves

This section describes interfaces used to retrieve proxy curves. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | ProxyCurves |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/OperatingDate | Date of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | ProxyCurves |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/ProxyCurves | ProxyCurves |

The payload structure is described by the following diagram:

The detailed structure of the BidPriceCurve is described in section 3.3.1.

### Mitigated Curves

This section describes interfaces used to retrieve derated CRRs. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | MitigatedCurves |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/OperatingDate | Date of interest |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | MitigatedCurves |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/MitigatedCurves | MitigatedCurves |

The payload structure is described by the following diagram:

The detailed structure of the BidPriceCurve is described in section 3.3.1.

# Notifications

A key aspect of the design for external interfaces for Market Participants is the use of the OASIS WS-Notifications standard. Each Market Participant using the external interface would be required to provide an interface for the receipt of notification messages, compliant with the WS-Notifications standard.

## Interfaces Provided

The interfaces provided are described in the WS-Notifications specification. For the purposes of use by Market Participants, there are only two interfaces of interest:

- Notify

- Get Messages (currently it is proposed that this interface not be provided for reasons of performance, in order to avoid periodic polling)

These interfaces are used as a means to asynchronously provide information to Market Participants. Specific examples of this information include:

- Notices

- Alerts

- BidSet acceptance or error reporting

- Awards

- Obligations

The following sequence diagram describes the typical/potential set of information exchanges related to Notifications. The actual flows would be different based on the type of notification.

Note: This section may be augmented in future versions of this specification.

## Interfaces Required

The contents of the any structure would be wrapped using the ResponseMessage structure defined in section 2.1.4, as this would allow necessary security information to be passed in a uniform manner. The following table describes the contents of the header.

| Message Element | Value |
| --- | --- |
| Header/Verb | created/updated |
| Header/Noun | Type of payload |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | May be any number of error messages |
| Payload | Payload |

In the cases of payloads that would otherwise exceed 1 megabyte, the payloads would be zipped, base64 encoded and stored within the ‘Payload/Compressed’ tag.

## Message Specifications

The WS-Notifications specification identifies a single message structure for notification messages. The payload that is to be delivered by the notification message is represented by the ‘any’ element in the following message structure, loosely coupling the definition of the payload from the definition of the container message structure defined by WS-Notifications thereby allowing WS-Notifications to be used with any XML data structure.

It is important to note that the payloads for NotificationMessages are ALWAYS conveyed using the common message structure defined in section 2.1.

### Notices and Alerts

The specific payload for an Alert or Notice is described in the following diagram. This could be used for Notices and Alerts. Where there may be many different types of Notifications, the primary difference between a Notice and an Alert is that there is an expectation that an Alert would be acknowledged.

Specific types of notices and alerts are described by the following table:

| Type | Alert? | Description | Protocol Ref | Dest | Data |
| --- | --- | --- | --- | --- | --- |
| SCEDFailure | N | Notice of SCED failure | 6.5.9.2 | All QSEs | Time interval |
| NoCurve | N | Notice that an RTM energy curve or output schedule was not submitted for resource |  | QSE | Resource, time interval |
| NeedAdditionalAS | N | Notice of need for additional AS resources | 3.16 | All QSEs | Needed MW, AS type, time interval |
| Alert | Y | Generic alert | 6.5.9.C.C |  |  |
| Resettlement | N | Notice of resettlement for DAM/RTM | 9.2.6, 9.5.7 | All MPs | Trade Date |
| RTMTrueUp | N | Notice of True-Up settlement timeline changes for RTM | 9.5.9 | All MPs | Trade date, Time of true-up |

### Bid Set Acceptance

The purpose of this notification is to indicate the acceptance of a BidSet to a QSE. This is necessary as BidSets are validated some time after the initial submission.

A more detailed description of this process is described in section 3. The following is an example payload where all bids have been accepted.

<BidSet xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<tradingDate>2008-01-01</tradingDate>

<ASOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</ASOffer>

<ASTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</ASTrade>

<CapacityTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</CapacityTrade>

<COP>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</COP>

<CRR>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</CRR>

<DCTieSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</DCTieSchedule>

<EnergyBid>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyBid>

<EnergyOnlyOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyOnlyOffer>

<EnergyTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyTrade>

<IncDecOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</IncDecOffer>

<OutputSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</OutputSchedule>

<PTPObligation>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</PTPObligation>

<SelfArrangedAS>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</SelfArrangedAS>

<SelfSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</SelfSchedule>

<ThreePartOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</ThreePartOffer>

</BidSet>

### Bid Set Errors

The purpose of this message is to indicate that one or more bids in a BidSet had errors. Those bids in a BidSet without errors are otherwise accepted.

Examples of errors are described in section 3.4. The following is an XML example where some bids were not valid and therefore rejected.

<BidSet xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<tradingDate>2008-01-01</tradingDate>

<ASOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</ASOffer>

<ASTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ERROR</status>

<error>Invalid AS Type</error>

</ASTrade>

<CapacityTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ERROR</status>

<error>Error message as provided by MMS</error>

<error>Error message as provided by MMS</error>

</CapacityTrade>

<COP>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</COP>

<CRR>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</CRR>

<DCTieSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ERROR</status>

<error>Error message as provided by MMS</error>

<error>Error message as provided by MMS</error>

</DCTieSchedule>

<EnergyBid>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyBid>

<EnergyOnlyOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyOnlyOffer>

<EnergyTrade>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</EnergyTrade>

<IncDecOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</IncDecOffer>

<OutputSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</OutputSchedule>

<PTPObligation>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</PTPObligation>

<SelfArrangedAS>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</SelfArrangedAS>

<SelfSchedule>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</SelfSchedule>

<ThreePartOffer>

<mRID>ACME.2008-01-01.XXXXXXXX</mRID>

<status>ACCEPTED</status>

</ThreePartOffer>

</BidSet>

### Pending Trade

A notification is issued periodically to a QSE where they have been identified as the counter party in a trade, but have not yet entered a matching energy, capacity or ancillary services trade. If a matching trade is not entered by the close of the market, the trade is rejected.

The following structure is used for conveying unconfirmed trades:

The details of the structures for ASTrades, CapacityTrades and EnergyTrades are described in sections 3.3.5, 3.3.6 and 3.3.12, respectively. The following is an XML of an unconfirmed trades payload:

<?xml version="1.0" encoding="UTF-8"?>

<UnconfirmedTrades xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<ASTrade>

<mRID>ACME.2008-01-01.YYYYYYYY</mRID>

</ASTrade>

<CapacityTrade>

<mRID>ACME.2008-01-01.YYYYYYYY</mRID>

</CapacityTrade>

<EnergyTrade>

<mRID>ACME.2008-01-01.YYYYYYYY</mRID>

</EnergyTrade>

</UnconfirmedTrades>

### Energy Offer Awards

The purpose of this message is to identify Energy Offer Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID of the EnergyOffer is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<MP ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedEnergyOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String</mRID>

<marketType>DAM</marketType>

<resource>ACMEUnit1</resource>

<dispatchMWh>110</dispatchMWh>

<spp>22.78</spp>

<lmp>23.28</lmp>

</AwardedEnergyOffer>

### Energy Only Offer Awards

The purpose of this message is to identify Energy Offer Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID of the EnergyOnlyOffer is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<QSE ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedEnergyOnlyOffer xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String</mRID>

<marketType>DAM</marketType>

<sp>SP4</sp>

<awardedMWh>50</awardedMWh>

<spp>23.62</spp>

</AwardedEnergyOnlyOffer>

### Energy Bid Award

The purpose of this message is to identify Energy Bid Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID (mRID) of the EnergyBid is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<MP ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedEnergyBid xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String</mRID>

<marketType>DAM</marketType>

<sp>SP3</sp>

<awardedMWh>70</awardedMWh>

<spp>23.65</spp>

</AwardedEnergyBid>

### Ancillary Service Awards

The purpose of this message is to identify Ancillary Services Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID of the AS offer is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<MP ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedAS xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String.1</mRID>

<marketType>DAM</marketType>

<resource>ACMEUnit3</resource>

<asType>REGUP</asType>

<dispatchMW>100</dispatchMW>

<selfSchedMW>80</selfSchedMW>

<mcpc>13.55</mcpc>

</AwardedAS>

### CRR Awards

The purpose of this message is to identify CRR Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID of the CRR is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<MP ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedAS xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String.1</mRID>

<marketType>DAM</marketType>

<resource>ACMEUnit3</resource>

<asType>REGUP</asType>

<dispatchMW>100</dispatchMW>

<selfSchedMW>80</selfSchedMW>

<mcpc>13.55</mcpc>

</AwardedAS>

### PTP Obligation Awards

The purpose of this message is to identify PTP Obligation Awards to a QSE. The structure of this message is shown by the following diagram.

Where an award refers to an hourly value, the transaction ID of the PTPObligation is appended with the market hour to identify the specific hour of the award. This results in an mRID in the following form:

<MP ID>.<date>.<key string>.<hour>

The following is an XML example:

<AwardedPTPObligation xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms">

<qse>ACME</qse>

<startTime>2008-01-01T00:00:00-06:00</startTime>

<endTime>2008-01-01T07:00:00.0Z</endTime>

<tradingDate>2008-01-01</tradingDate>

<mRID>MRID-String</mRID>

<marketType>String</marketType>

<awardedMW>0</awardedMW>

<source>SP23</source>

<sink>SP4</sink>

<price>23.76</price>

<bidId>1</bidId>

</AwardedPTPObligation>

### Outage Notifications

The prupose of this notification is to notify market participants of created, updated or canceled outages. The following structure is used to convey outage notifications.

# Acknowledgement of Alerts

The purpose of this service is to provide the means for a Market Participant to acknowledge Alert messages. Alert messages are sent as notification messages, as described in section 5.

## Interfaces Provided

There is a single operation provided to acknowledge Alert messages.

## Interfaces Required

The messages to acknowledge alerts would use the following message fields, where the ‘close’ verb is used to signify acknowledgement of the Alert.:

| Message Element | Value |
| --- | --- |
| Header/Verb | close |
| Header/Noun | Alert |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | ID of notification |
| Payload | No payload required |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | Alert |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload | None |

## Message Specifications

There is no payload used for either request or response messages in conjunction with the acknowledgement of alerts. The ID of the Alert is specified in the Request package within the message.

# Outage Scheduling Interfaces

The purpose of this section is to describe interfaces related to the creation, query and cancellation of outages. These interfaces would be used by QSEs and TPs.

Note: The interfaces in this section may change as a consequence of the MMS design effort.

## Interfaces Provided

Interfaces are provided for the creation, query and cancellation of outages by QSEs and TPs. The interfaces use a basic request reply.

Outages can be submitted by TP for transmission elements, or by QSEs for resources.

There are also notifications to MPs when outages are created or updated.y.on elements, or by QSEs for resources. be returned.ustomers.t participant for a given tr

## Message Specifications

### Outage Creation

The request message for outage creation or update would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | create or update |
| Header/Noun | Outage |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Payload/Outage | Start time |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | Outage |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |

The structure of an Outage record is described by the following diagram:

### Outage Query

The request message for querying outages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | Outage |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/startTime | Optional: start time of interest |
| Request/endTime | Optional: end time of interest |
| Request/ID | Optional: mRID of outage of interest |

If startTime and endTime are not specified, only active outages will be returned.

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | OutageSchedule |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Payload/OutageSchedule | Outage schedule |

The structure of the OutageSchedule payload is described by the following diagram. This leverages the structure of an Outage defined previously.

### Outage Cancellation

The request message for outage creation would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | cancel |
| Header/Noun | Outage |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Request/ID | mRID of outage to be canceled |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | Outage |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK |
| Reply/Error | Error message, if error encountered |

# Utility Interfaces

The purpose of this section is to describe interfaces that provide utility services that are supplemental to the interfaces described in previous sections.

## Interfaces Provided

The interfaces provided include the following:

- The means to status check the ERCOT web services

- The means to generate an mRID from a set of key values

Additional utility interfaces may be defined in the future as needed.

## Message Specifications

### Get mRID

The purpose of this interface is to provide the means to obtain an mRID value that corresponds to a given set of key values for a market product.

The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | mRID |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |
| Payload/BidSet | A BidSet that provides the ‘key’ information required for a specific type of market product as needed to construct the desired mRID |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | mRID |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |
| Reply/ID | mRID string |

### System Status

The purpose of this interface is to provide the means to verify that a connection can be established with the ERCOT web services through a simple status check. The request message would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | get |
| Header/Noun | SystemStatus |
| Header/Source | Market participant ID |
| Header/UserID | Optional: ID of user |

The corresponding response messages would use the following message fields:

| Message Element | Value |
| --- | --- |
| Header/Verb | reply |
| Header/Noun | SystemStatus |
| Header/Source | ERCOT |
| Reply/ReplyCode | Reply code, success=OK, error=ERROR |
| Reply/Error | Error message, if error encountered |

# Appendix A: WS-Notifications

The OASIS WS-Notifications specification can be obtained from http://www.oasis-open.org. The key portions of WS-Notifications that are relevant to this specification are provided here for convenience. The following is the subset of the XML Schema for WS-Notifications that is relevant to this design.

<?xml version="1.0" encoding="UTF-8"?>

<!--

OASIS takes no position regarding the validity or scope of any intellectual property or other rights that might be claimed to pertain to the implementation or use of the technology described in this document or the extent to which any license under such rights might or might not be available; neither does it represent that it has made any effort to identify any such rights. Information on OASIS's procedures with respect to rights in OASIS specifications can be found at the OASIS website. Copies of claims of rights made available for publication and any assurances of licenses to be made available, or the result of an attempt made to obtain a general license or permission for the use of such proprietary rights by implementors or users of this specification, can be obtained from the OASIS Executive Director.

OASIS invites any interested party to bring to its attention any copyrights, patents or patent applications, or other proprietary rights which may cover technology that may be required to implement this specification. Please address the information to the OASIS Executive Director.

Copyright (C) OASIS Open (2004-2006). All Rights Reserved.

This document and translations of it may be copied and furnished to others, and derivative works that comment on or otherwise explain it or assist in its implementation may be prepared, copied, published and distributed, in whole or in part, without restriction of any kind, provided that the above copyright notice and this paragraph are included on all such copies and derivative works. However, this document itself may not be modified in any way, such as by removing the copyright notice or references to OASIS, except as needed for the purpose of developing OASIS specifications, in which case the procedures for copyrights defined in the OASIS Intellectual Property Rights document must be followed, or as required to translate it into languages other than English.

The limited permissions granted above are perpetual and will not be revoked by OASIS or its successors or assigns.

This document and the information contained herein is provided on an "AS IS" basis and OASIS DISCLAIMS ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO ANY WARRANTY THAT THE USE OF THE INFORMATION HEREIN WILL NOT INFRINGE ANY RIGHTS OR ANY IMPLIED WARRANTIES OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE.

-->

<xsd:schema

targetNamespace="http://docs.oasis-open.org/wsn/b-2"

xmlns:wsnt="http://docs.oasis-open.org/wsn/b-2"

xmlns:wsa="http://www.w3.org/2005/08/addressing"

xmlns:wsrf-bf="http://docs.oasis-open.org/wsrf/bf-2"

xmlns:wstop="http://docs.oasis-open.org/wsn/t-1"

xmlns:xsd="http://www.w3.org/2001/XMLSchema"

elementFormDefault="qualified"  attributeFormDefault="unqualified">

<!-- ======================== Imports  ============================ -->

<xsd:import namespace="http://www.w3.org/2005/08/addressing"

schemaLocation="http://www.w3.org/2005/08/addressing/ws-addr.xsd"

/>

<xsd:import namespace="http://docs.oasis-open.org/wsrf/bf-2"

schemaLocation="http://docs.oasis-open.org/wsrf/bf-2.xsd"

/>

<xsd:import namespace="http://docs.oasis-open.org/wsn/t-1"

schemaLocation="http://docs.oasis-open.org/wsn/t-1.xsd"

/>

<!-- ================= Notification Metadata  ===================== -->

<xsd:element name="SubscriptionReference"

type="wsa:EndpointReferenceType" />

<xsd:element name="Topic"

type="wsnt:TopicExpressionType" />

<xsd:element name="ProducerReference"

type="wsa:EndpointReferenceType" />

<!-- ================== Message Helper Types  ===================== -->

<xsd:complexType name="NotificationMessageHolderType" >

<xsd:sequence>

<xsd:element ref="wsnt:SubscriptionReference"

minOccurs="0" maxOccurs="1" />

<xsd:element ref="wsnt:Topic"

minOccurs="0" maxOccurs="1" />

<xsd:element ref="wsnt:ProducerReference"

minOccurs="0" maxOccurs="1" />

<xsd:element name="Message">

<xsd:complexType>

<xsd:sequence>

<xsd:any namespace="##any" processContents="lax"

minOccurs="1" maxOccurs="1"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

</xsd:sequence>

</xsd:complexType>

<xsd:element name="NotificationMessage"

type="wsnt:NotificationMessageHolderType"/>

<!-- ========== Message Types for NotificationConsumer  =========== -->

<xsd:element name="Notify" >

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="wsnt:NotificationMessage"

minOccurs="1" maxOccurs="unbounded" />

<xsd:any namespace="##other" processContents="lax"

minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<!-- ======== Message Types for PullPoint  ======================== -->

<xsd:element name="GetMessages">

<xsd:complexType>

<xsd:sequence>

<xsd:element name="MaximumNumber"

type="xsd:nonNegativeInteger"

minOccurs="0"/>

<xsd:any namespace="##other" processContents="lax"

minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

<xsd:anyAttribute/>

</xsd:complexType>

</xsd:element>

<xsd:element name="GetMessagesResponse">

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="wsnt:NotificationMessage"

minOccurs="0" maxOccurs="unbounded" />

<xsd:any namespace="##other" processContents="lax"

minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

<xsd:anyAttribute/>

</xsd:complexType>

</xsd:element>

</xsd:schema>

The following WSDL represents the portion of WS-Notifications that is used for the receipt of Notification messages.

<?xml version="1.0" encoding="utf-8"?>

<!--

OASIS takes no position regarding the validity or scope of any intellectual property or other rights that might be claimed to pertain to the implementation or use of the technology described in this document or the extent to which any license under such rights might or might not be available; neither does it represent that it has made any effort to identify any such rights. Information on OASIS's procedures with respect to rights in OASIS specifications can be found at the OASIS website. Copies of claims of rights made available for publication and any assurances of licenses to be made available, or the result of an attempt made to obtain a general license or permission for the use of such proprietary rights by implementors or users of this specification, can be obtained from the OASIS Executive Director.

OASIS invites any interested party to bring to its attention any copyrights, patents or patent applications, or other proprietary rights which may cover technology that may be required to implement this specification. Please address the information to the OASIS Executive Director.

Copyright (C) OASIS Open (2004-2006). All Rights Reserved.

This document and translations of it may be copied and furnished to others, and derivative works that comment on or otherwise explain it or assist in its implementation may be prepared, copied, published and distributed, in whole or in part, without restriction of any kind, provided that the above copyright notice and this paragraph are included on all such copies and derivative works. However, this document itself may not be modified in any way, such as by removing the copyright notice or references to OASIS, except as needed for the purpose of developing OASIS specifications, in which case the procedures for copyrights defined in the OASIS Intellectual Property Rights document must be followed, or as required to translate it into languages other than English.

The limited permissions granted above are perpetual and will not be revoked by OASIS or its successors or assigns.

This document and the information contained herein is provided on an "AS IS" basis and OASIS DISCLAIMS ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO ANY WARRANTY THAT THE USE OF THE INFORMATION HEREIN WILL NOT INFRINGE ANY RIGHTS OR ANY IMPLIED WARRANTIES OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE.

-->

<wsdl:definitions name="WS-BaseNotification"

targetNamespace="http://docs.oasis-open.org/wsn/bw-2"

xmlns:wsntw="http://docs.oasis-open.org/wsn/bw-2"

xmlns:wsnt="http://docs.oasis-open.org/wsn/b-2"

xmlns:wsa="http://www.w3.org/2005/08/addressing"

xmlns:wsrf-rw="http://docs.oasis-open.org/wsrf/rw-2"

xmlns:xsd="http://www.w3.org/2001/XMLSchema"

xmlns:wsdl="http://schemas.xmlsoap.org/wsdl/">

<!-- ========================== Imports =========================== -->

<wsdl:import

namespace="http://docs.oasis-open.org/wsrf/rw-2"

location="http://docs.oasis-open.org/wsrf/rw-2.wsdl"/>

<!-- ===================== Types Definitions ====================== -->

<wsdl:types>

<xsd:schema>

<xsd:import

namespace="http://docs.oasis-open.org/wsn/b-2"

schemaLocation="http://docs.oasis-open.org/wsn/b-2.xsd"/>

</xsd:schema>

</wsdl:types>

<!-- ================ NotificationConsumer::Notify ================

Notify(

NotificationMessage

(SubscriptionReference, TopicExpression, ProducerReference,

Message)*

returns: n/a (one way)

-->

<wsdl:message name="Notify">

<wsdl:part name="Notify" element="wsnt:Notify"/>

</wsdl:message>

<!-- ========== PullPoint::GetMessages ===========

GetMessages(MaximumNumber)

returns: NotificationMessage list

-->

<wsdl:message name="GetMessagesRequest">

<wsdl:part name="GetMessagesRequest"

element="wsnt:GetMessages"/>

</wsdl:message>

<wsdl:message name="GetMessagesResponse">

<wsdl:part name="GetMessagesResponse"

element="wsnt:GetMessagesResponse"/>

</wsdl:message>

<wsdl:message name="UnableToGetMessagesFault">

<wsdl:part name="UnableToGetMessagesFault"

element="wsnt:UnableToGetMessagesFault"/>

</wsdl:message>

<!-- =================== PortType Definitions ===================== -->

<!-- ========= NotificationConsumer PortType Definition =========== -->

<wsdl:portType name="NotificationConsumer">

<wsdl:operation name="Notify">

<wsdl:input message="wsntw:Notify" />

</wsdl:operation>

</wsdl:portType>

<!-- ========== PullPoint PortType Definition ===================== -->

<wsdl:portType name="PullPoint">

<wsdl:operation name="GetMessages">

<wsdl:input  name="GetMessagesRequest"

message="wsntw:GetMessagesRequest" />

<wsdl:output name="GetMessagesResponse"

message="wsntw:GetMessagesResponse" />

<wsdl:fault  name="ResourceUnknownFault"

message="wsrf-rw:ResourceUnknownFault" />

<wsdl:fault  name="UnableToGetMessagesFault"

message="wsntw:UnableToGetMessagesFault" />

</wsdl:operation>

</wsdl:definitions>

# Appendix B: WSDL for Market Requests

This WSDL uses a set of operations for servicing all market requests, related to bidding information requests and alert acknowledgements.

<?xml version="1.0" encoding="UTF-8"?>

<wsdl:definitions xmlns:soap="http://schemas.xmlsoap.org/wsdl/soap/" xmlns:wsdl="http://schemas.xmlsoap.org/wsdl/" xmlns:xsd="http://www.w3.org/2001/XMLSchema" xmlns:http="http://schemas.xmlsoap.org/wsdl/http/" xmlns:mime="http://schemas.xmlsoap.org/wsdl/mime/" xmlns:ns="http://www.ercot.com/wsdl/nodal/2006-12" xmlns:ns1="http://schemas.xmlsoap.org/soap/encoding/" name="Nodal" targetNamespace="http://www.ercot.com/wsdl/nodal/2006-12">

<wsdl:types>

<xsd:schema targetNamespace="http://www.ercot.com/wsdl/nodal/2006-12">

<xsd:include schemaLocation="Message.xsd"/>

</xsd:schema>

</wsdl:types>

<wsdl:message name="Request">

<wsdl:part name="Message" element="ns:RequestMessage"/>

</wsdl:message>

<wsdl:message name="Response">

<wsdl:part name="Message" element="ns:ResponseMessage"/>

</wsdl:message>

<wsdl:portType name="Nodal">

<wsdl:operation name="MarketTransactions">

<wsdl:input message="ns:Request"/>

<wsdl:output message="ns:Response"/>

</wsdl:operation>

<wsdl:operation name="MarketInfo">

<wsdl:input message="ns:Request"/>

<wsdl:output message="ns:Response"/>

</wsdl:operation>

<wsdl:operation name="Alerts">

<wsdl:input message="ns:Request"/>

<wsdl:output message="ns:Response"/>

</wsdl:operation>

</wsdl:portType>

<wsdl:binding name="NodalSOAP" type="ns:Nodal">

<soap:binding style="document" transport="http://schemas.xmlsoap.org/soap/http"/>

<wsdl:operation name="MarketTransactions">

<soap:operation soapAction="http://www.ercot.com/Nodal/MarketTransactions"/>

<wsdl:input>

<soap:body use="literal"/>

</wsdl:input>

<wsdl:output>

<soap:body use="literal"/>

</wsdl:output>

</wsdl:operation>

<wsdl:operation name="MarketInfo">

<soap:operation soapAction="http://www.ercot.com/Nodal/MarketInfo"/>

<wsdl:input>

<soap:body use="literal"/>

</wsdl:input>

<wsdl:output>

<soap:body use="literal"/>

</wsdl:output>

</wsdl:operation>

<wsdl:operation name="Alerts">

<soap:operation soapAction="http://www.ercot.com/Nodal/Alerts"/>

<wsdl:input>

<soap:body use="literal"/>

</wsdl:input>

<wsdl:output>

<soap:body use="literal"/>

</wsdl:output>

</wsdl:operation>

</wsdl:binding>

<wsdl:service name="Nodal">

<wsdl:port name="NodalSOAP" binding="ns:NodalSOAP">

<soap:address location="http://www.ercot.com/Nodal/"/>

</wsdl:port>

</wsdl:service>

</wsdl:definitions>

# Appendix C: XML Schemas for Message and Payload Definitions

The following XML schema is used to define Message structures for request and response messages for the WSDL defined in Appendix B.

<?xml version="1.0" encoding="UTF-8"?>

<!-- edited with XMLSpy v2007 sp2 (http://www.altova.com) by Scott Neumann (UISOL) -->

<xsd:schema xmlns="http://www.ercot.com/wsdl/nodal/2006-12" xmlns:xsd="http://www.w3.org/2001/XMLSchema" xmlns:wsse="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd" xmlns:wsu="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd" targetNamespace="http://www.ercot.com/wsdl/nodal/2006-12" elementFormDefault="qualified" attributeFormDefault="unqualified">

<xsd:import namespace="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd" schemaLocation="WSS200401wssecurity-secext-10.xsd"/>

<xsd:import namespace="http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd" schemaLocation="WSS200401wssecurity-utility-10.xsd"/>

<xsd:element name="Request">

<xsd:complexType>

<xsd:sequence>

<xsd:element name="MarketType" type="xsd:string" minOccurs="0"/>

<xsd:element name="OperatingDate" minOccurs="0"/>

<xsd:element name="StartTime" type="xsd:dateTime" minOccurs="0"/>

<xsd:element name="EndTime" type="xsd:dateTime" minOccurs="0"/>

<xsd:element name="Zone" minOccurs="0"/>

<xsd:element name="ASType" minOccurs="0"/>

<xsd:element name="Option" minOccurs="0"/>

<xsd:element name="ID" type="xsd:string" minOccurs="0" maxOccurs="unbounded"/>

<xsd:any namespace="##other" minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="Reply">

<xsd:complexType>

<xsd:sequence>

<xsd:element name="ReplyCode" type="xsd:string"/>

<xsd:element name="Error" type="xsd:string" minOccurs="0" maxOccurs="unbounded"/>

<xsd:element name="Timestamp" type="xsd:dateTime" minOccurs="0"/>

<xsd:element name="ID" type="xsd:string" minOccurs="0"/>

<xsd:any namespace="##other" minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="Payload">

<xsd:complexType>

<xsd:sequence>

<xsd:choice>

<xsd:any namespace="##other" minOccurs="0" maxOccurs="unbounded"/>

<xsd:element name="Document" type="xsd:string" minOccurs="0" maxOccurs="unbounded"/>

<xsd:element name="Compressed" type="xsd:string" minOccurs="0"/>

</xsd:choice>

<xsd:element name="format" type="xsd:string" minOccurs="0"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="ReplayDetection">

<xsd:complexType>

<xsd:sequence>

<xsd:element name="Nonce" type="wsse:EncodedString"/>

<xsd:element name="Created" type="wsu:AttributedDateTime"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="Header">

<xsd:complexType>

<xsd:sequence>

<xsd:element name="Verb" default="get">

<xsd:simpleType>

<xsd:restriction base="xsd:string">

<xsd:enumeration value="cancel"/>

<xsd:enumeration value="canceled"/>

<xsd:enumeration value="change"/>

<xsd:enumeration value="changed"/>

<xsd:enumeration value="create"/>

<xsd:enumeration value="created"/>

<xsd:enumeration value="close"/>

<xsd:enumeration value="closed"/>

<xsd:enumeration value="delete"/>

<xsd:enumeration value="deleted"/>

<xsd:enumeration value="get"/>

<xsd:enumeration value="reply"/>

<xsd:enumeration value="submit"/>

</xsd:restriction>

</xsd:simpleType>

</xsd:element>

<xsd:element name="Noun" type="xsd:string"/>

<xsd:element ref="ReplayDetection"/>

<xsd:element name="Revision" type="xsd:string" default="001"/>

<xsd:element name="Source" type="xsd:string"/>

<xsd:element name="UserID" type="xsd:string" minOccurs="0"/>

<xsd:element name="MessageID" type="xsd:string" minOccurs="0"/>

<xsd:element name="Comment" type="xsd:string" minOccurs="0"/>

<xsd:any namespace="##other" minOccurs="0" maxOccurs="unbounded"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="Message">

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="Header"/>

<xsd:choice>

<xsd:element ref="Request" minOccurs="0"/>

<xsd:element ref="Reply" minOccurs="0"/>

</xsd:choice>

<xsd:element ref="Payload" minOccurs="0"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="RequestMessage">

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="Header"/>

<xsd:element ref="Request" minOccurs="0"/>

<xsd:element ref="Payload" minOccurs="0"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="ResponseMessage">

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="Header"/>

<xsd:element ref="Reply" minOccurs="0"/>

<xsd:element ref="Payload" minOccurs="0"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

<xsd:element name="FaultMessage">

<xsd:complexType>

<xsd:sequence>

<xsd:element ref="Reply"/>

</xsd:sequence>

</xsd:complexType>

</xsd:element>

</xsd:schema>

The following XML schema provides examples for the definition of structures for payload definitions. The focus of the examples provided here are for bids, offers and ERCOT notifications. The examples provide here should be extended with valid enumerations and defaults in some cases. This XML schema is referenced by the preceding WSDL definition.

<?xml version="1.0" encoding="UTF-8"?>

<!-- edited with XMLSpy v2007 sp2 (http://www.altova.com) by Scott Neumann (UISOL) -->

<xs:schema xmlns="http://www.ercot.com/wsdl/nodal/2006-12/mms" xmlns:xs="http://www.w3.org/2001/XMLSchema" targetNamespace="http://www.ercot.com/wsdl/nodal/2006-12/mms" elementFormDefault="qualified" attributeFormDefault="unqualified">

<!--Simple Type Definitions-->

<xs:simpleType name="URL">

<xs:annotation>

<xs:documentation>URL</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:anyURI"/>

</xs:simpleType>

<xs:simpleType name="SettlementPoint">

<xs:annotation>

<xs:documentation>Settlement point, identified by name</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="ElectricalBus">

<xs:annotation>

<xs:documentation>Electrical bus, identified by name</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="QSE">

<xs:annotation>

<xs:documentation>QSE type, identified by name</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="ASType">

<xs:annotation>

<xs:documentation>Ancillary services type</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string">

<xs:enumeration value="REGUP"/>

<xs:enumeration value="REGDN"/>

<xs:enumeration value="NSPIN"/>

<xs:enumeration value="RRS"/>

</xs:restriction>

</xs:simpleType>

<xs:simpleType name="RUCType">

<xs:annotation>

<xs:documentation>RUC type</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string">

<xs:enumeration value="DRUC"/>

<xs:enumeration value="HRUC"/>

<xs:enumeration value="DAM"/>

</xs:restriction>

</xs:simpleType>

<xs:simpleType name="OperatingMode">

<xs:annotation>

<xs:documentation>Operating mode type</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string">

<xs:enumeration value="ON"/>

<xs:enumeration value="ONREG"/>

<xs:enumeration value="ONTEST"/>

<xs:enumeration value="ONOS"/>

<xs:enumeration value="ONOSREG"/>

<xs:enumeration value="ONDSRREG"/>

<xs:enumeration value="ONDSR"/>

<xs:enumeration value="OFF"/>

<xs:enumeration value="OFFNS"/>

</xs:restriction>

</xs:simpleType>

<xs:simpleType name="Resource">

<xs:annotation>

<xs:documentation>Resource, identified by name</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="Equipment">

<xs:annotation>

<xs:documentation>Equipment, identified by name</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="EnergyConsumer">

<xs:annotation>

<xs:documentation>EnergyConsumer</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<xs:simpleType name="DayType">

<xs:annotation>

<xs:documentation>Day type</xs:documentation>

</xs:annotation>

<xs:restriction base="xs:string"/>

</xs:simpleType>

<!--CIM type definitions-->

<xs:complexType name="IdentifiedObject">

<xs:annotation>

<xs:documentation>CIM IdentifiedObject superclass</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="name"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="PowerSystemResource">

<xs:annotation>

<xs:documentation>CIM PSR superclass</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IdentifiedObject"/>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="ConductingEquipment">

<xs:annotation>

<xs:documentation>CIM Conducting Equipment</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="PowerSystemResource"/>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="BasicIntervalSchedule">

<xs:annotation>

<xs:documentation>CIM Basic Interval Schedule</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="IrregularIntervalSchedule">

<xs:annotation>

<xs:documentation>CIM Irregular Interval Schedule</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="BasicIntervalSchedule">

<xs:sequence>

<xs:element name="IrregularTimePoint" type="IrregularTimePoint" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="IrregularTimePoint">

<xs:annotation>

<xs:documentation>CIM Irregular Time Point</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="time" type="xs:int"/>

<xs:element name="value1" type="xs:float" minOccurs="0"/>

<xs:element name="value2" type="xs:float" minOccurs="0"/>

<xs:element name="value3" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="RegularIntervalSchedule">

<xs:annotation>

<xs:documentation>CIM Regular Interval Schedule</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="BasicIntervalSchedule">

<xs:sequence>

<xs:element name="timeStep" type="xs:int"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="RegularTimePoint" type="RegularTimePoint" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="RegularTimePoint">

<xs:annotation>

<xs:documentation>CIM Regular Time Point</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="sequenceNumber" type="xs:int"/>

<xs:element name="value1" type="xs:float"/>

<xs:element name="value2" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Curve">

<xs:annotation>

<xs:documentation>CIM Curve</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IdentifiedObject">

<xs:sequence>

<xs:element name="curveStyle" type="xs:string" minOccurs="0"/>

<xs:element name="CurveData" type="CurveData" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="CurveData">

<xs:annotation>

<xs:documentation>CIm Curve Data</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="xvalue" type="xs:float" minOccurs="0"/>

<xs:element name="y1value" type="xs:float" minOccurs="0"/>

<xs:element name="y2value" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Document">

<xs:annotation>

<xs:documentation>CIM Document superclass</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="mRID" type="xs:string" minOccurs="0"/>

<xs:element name="docType" type="xs:string"/>

<xs:element name="lastModified" type="xs:dateTime"/>

<xs:element name="comments" type="xs:string" minOccurs="0"/>

<xs:element name="docStatus" type="xs:string" minOccurs="0"/>

<xs:element name="docTitle" type="xs:string"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="PNode">

<xs:annotation>

<xs:documentation>CIM Pricing Node</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="name" type="xs:string"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="LoadForecast">

<xs:annotation>

<xs:documentation>Forecasted load: value1Unit is MW</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule"/>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="RegulatingCondEq">

<xs:annotation>

<xs:documentation>CIM Regulating conducting equipment</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="ConductingEquipment"/>

</xs:complexContent>

</xs:complexType>

<!--Types for bidding-->

<xs:complexType name="MarketRequest">

<xs:annotation>

<xs:documentation>Market common request parameters</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="tradingDate" type="xs:date"/>

<xs:element name="status" type="xs:string" minOccurs="0"/>

<xs:element name="mode" type="xs:string" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="PriceCurve">

<xs:annotation>

<xs:documentation>Relationship between a price in $/hour (Y-axis) and a MW value (X-axis). </xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="curveStyle" minOccurs="0">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="FIXED"/>

<xs:enumeration value="VARIABLE"/>

<xs:enumeration value="CURVE"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="CurveData" maxOccurs="unbounded">

<xs:complexType>

<xs:annotation>

<xs:documentation>The point data values that define a curve</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="xvalue" type="xs:float">

<xs:annotation>

<xs:documentation>The data value of the X-axis variable,  depending on the X-axis units</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="y1value" type="xs:float">

<xs:annotation>

<xs:documentation>The data value of the  first Y-axis variable, depending on the Y-axis units</xs:documentation>

</xs:annotation>

</xs:element>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="xUnit" type="xs:string" minOccurs="0"/>

<xs:element name="y1Unit" type="xs:string" minOccurs="0">

<xs:annotation>

<xs:documentation>The Y1-axis units of measure.</xs:documentation>

</xs:annotation>

</xs:element>

</xs:sequence>

</xs:complexType>

<xs:complexType name="BidPriceCurve">

<xs:annotation>

<xs:documentation>Relationship between a price in $/hour (Y-axis) and a MW value (X-axis). </xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0">

<xs:annotation>

<xs:documentation>Start time to identify when curve is used</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0">

<xs:annotation>

<xs:documentation>End time to indicate when curve is no longer used</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="curveStyle" minOccurs="0">

<xs:annotation>

<xs:documentation>Style of curve: FIXED, VARIABLE, CURVE</xs:documentation>

</xs:annotation>

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="FIXED"/>

<xs:enumeration value="VARIABLE"/>

<xs:enumeration value="CURVE"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="CurveData" maxOccurs="11">

<xs:complexType>

<xs:annotation>

<xs:documentation>The point data values that define a curve</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="xvalue" type="xs:float">

<xs:annotation>

<xs:documentation>The data value of the X-axis variable,  depending on the X-axis units</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="y1value" type="xs:float">

<xs:annotation>

<xs:documentation>The data value of the  first Y-axis variable, depending on the Y-axis units</xs:documentation>

</xs:annotation>

</xs:element>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="incExcFlag" minOccurs="0">

<xs:annotation>

<xs:documentation>Inclusive/Exclusive flag for three part offers to identify whether ancillary services are included or excluded</xs:documentation>

</xs:annotation>

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="INC"/>

<xs:enumeration value="EXC"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="reason" minOccurs="0">

<xs:annotation>

<xs:documentation>Reason for adjustment</xs:documentation>

</xs:annotation>

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="OUT"/>

<xs:enumeration value="FUEL"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

</xs:sequence>

</xs:complexType>

<xs:complexType name="BidSet">

<xs:annotation>

<xs:documentation>CIM container class for bids and offers</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="MarketRequest">

<xs:sequence>

<xs:element name="ASOffer" type="ASOffer" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="ASTrade" type="ASTrade" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="CapacityTrade" type="CapacityTrade" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="COP" type="COP" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="CRR" type="CRR" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="DCTieSchedule" type="DCTieSchedule" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="EnergyBid" type="EnergyBid" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="EnergyOnlyOffer" type="EnergyOnlyOffer" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="EnergyTrade" type="EnergyTrade" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="IncDecOffer" type="IncDecOffer" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="OutputSchedule" type="OutputSchedule" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="PTPObligation" type="PTPObligation" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="SelfArrangedAS" type="SelfArrangedAS" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="SelfSchedule" type="SelfSchedule" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="ThreePartOffer" type="ThreePartOffer" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="FipFop">

<xs:annotation>

<xs:documentation>FIP FOP percentages</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="fipPercent" type="xs:float" minOccurs="0"/>

<xs:element name="fopPercent" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="StartupCost">

<xs:annotation>

<xs:documentation>Resource startup costs</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="hot" type="xs:float" minOccurs="0"/>

<xs:element name="intermediate" type="xs:float" minOccurs="0"/>

<xs:element name="cold" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="MinimumGeneration">

<xs:annotation>

<xs:documentation>Resource minimum generation costs</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="cost" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="MaximumPrice">

<xs:annotation>

<xs:documentation>Maximum prices</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="price" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="MinimumPrice">

<xs:annotation>

<xs:documentation>Minimum prices</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="price" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ResourceStatus">

<xs:annotation>

<xs:documentation>Resource Status </xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="operatingMode" type="OperatingMode"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Limits">

<xs:annotation>

<xs:documentation>Resource Limits</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="maximumEconomicMW" type="xs:int"/>

<xs:element name="minimumEconomicMW" type="xs:int"/>

<xs:element name="maxEmergencyMW" type="xs:int"/>

<xs:element name="minEmergencyMW" type="xs:int"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ASCapacity">

<xs:annotation>

<xs:documentation>Ancillary Services Capacity</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="regUp" type="xs:int" minOccurs="0"/>

<xs:element name="regDown" type="xs:int" minOccurs="0"/>

<xs:element name="rrs" type="xs:int" minOccurs="0"/>

<xs:element name="nonSpin" type="xs:int" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="NERCTags">

<xs:annotation>

<xs:documentation>NERC Tags</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime"/>

<xs:element name="endTime" type="xs:dateTime"/>

<xs:element name="tag" type="xs:string"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="CapacitySchedule">

<xs:annotation>

<xs:documentation>Capacity Schedule: value1Unit is MW</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule"/>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="PriceSchedule">

<xs:annotation>

<xs:documentation>Price Schedules: value1Unit is $/MW</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule"/>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="EnergySchedule">

<xs:annotation>

<xs:documentation>MW Schedules: value1Unit is MW</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule"/>

</xs:complexContent>

</xs:complexType>

<!--Parent classes for bidding-->

<xs:complexType name="Bid">

<xs:annotation>

<xs:documentation>CIM Bid class</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="mRID" type="xs:string" minOccurs="0"/>

<xs:element name="marketType" type="xs:string" minOccurs="0"/>

<xs:element name="status" type="xs:string" minOccurs="0"/>

<xs:element name="error" type="xs:string" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Trade">

<xs:annotation>

<xs:documentation>Abstract super class for trades</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Bid">

<xs:sequence>

<xs:element name="buyer" type="xs:string" minOccurs="0"/>

<xs:element name="seller" type="xs:string" minOccurs="0"/>

<xs:element name="tradeID" type="xs:string" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="Offer">

<xs:annotation>

<xs:documentation>Abstrract super class for offers</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Bid">

<xs:sequence>

<xs:element name="expirationTime" type="xs:dateTime" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<!--Market products-->

<xs:complexType name="ThreePartOffer">

<xs:annotation>

<xs:documentation>Three Part Offer</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Offer">

<xs:sequence>

<xs:element name="resource" type="Resource" minOccurs="0"/>

<xs:element name="combinedCycle" minOccurs="0"/>

<xs:element name="FipFop" type="FipFop" minOccurs="0"/>

<xs:element name="StartupCost" type="StartupCost" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="MinimumGeneration" type="MinimumGeneration" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="COP">

<xs:annotation>

<xs:documentation>Current Operating Plan (should consider adaptation of CIM GenUnitOpSchedule)</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Schedule">

<xs:sequence>

<xs:element name="resource" type="Resource" minOccurs="0"/>

<xs:element name="ResourceStatus" type="ResourceStatus" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="Limits" type="Limits" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="ASCapacity" type="ASCapacity" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="IncDecOffer">

<xs:annotation>

<xs:documentation>Incremental Decremental Offer</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Offer">

<xs:sequence>

<xs:element name="resource" type="Resource" minOccurs="0"/>

<xs:element name="combinedCycle" minOccurs="0"/>

<xs:element name="FipFop" type="FipFop" minOccurs="0"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="EnergyBid">

<xs:annotation>

<xs:documentation>Energy Bid</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Bid">

<xs:sequence>

<xs:element name="expirationTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="sp" type="SettlementPoint" minOccurs="0"/>

<xs:element name="bidID" type="xs:string" minOccurs="0"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="EnergyOnlyOffer">

<xs:annotation>

<xs:documentation>Energy Only Offer</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Offer">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint" minOccurs="0"/>

<xs:element name="bidID" type="xs:string" minOccurs="0"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="EnergyTrade">

<xs:annotation>

<xs:documentation>Energy Trade</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Trade">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint" minOccurs="0"/>

<xs:element name="EnergySchedule" type="EnergySchedule" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="CapacityTrade">

<xs:annotation>

<xs:documentation>Capacity Trade</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Trade">

<xs:sequence>

<xs:element name="CapacitySchedule" type="CapacitySchedule" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="ASTrade">

<xs:annotation>

<xs:documentation>Ancillary Services Trade</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Trade">

<xs:sequence>

<xs:element name="asType" type="ASType"/>

<xs:element name="CapacitySchedule" type="CapacitySchedule"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="ASOffer">

<xs:annotation>

<xs:documentation>Ancillary Services Offer</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Offer">

<xs:sequence>

<xs:element name="resource" type="Resource" minOccurs="0"/>

<xs:element name="asType" type="ASType" minOccurs="0"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SelfArrangedAS">

<xs:annotation>

<xs:documentation>Self-Arranged Ancillary Services</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Schedule">

<xs:sequence>

<xs:element name="asType" type="ASType" minOccurs="0"/>

<xs:element name="CapacitySchedule" type="CapacitySchedule" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="CRR">

<xs:annotation>

<xs:documentation>Congestion Revenue Rights</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Bid">

<xs:sequence>

<xs:element name="crrId" minOccurs="0"/>

<xs:element name="source" type="SettlementPoint" minOccurs="0"/>

<xs:element name="sink" type="SettlementPoint" minOccurs="0"/>

<xs:element name="CapacitySchedule" type="CapacitySchedule" minOccurs="0"/>

<xs:element name="MinimumReservationPrice" type="MinimumPrice" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="NOIEPeakLoadForecast" type="LoadForecast" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="PTPObligation">

<xs:annotation>

<xs:documentation>PTP Obligation</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Bid">

<xs:sequence>

<xs:element name="source" type="SettlementPoint" minOccurs="0"/>

<xs:element name="sink" type="SettlementPoint" minOccurs="0"/>

<xs:element name="bidId" type="xs:string" minOccurs="0"/>

<xs:element name="CapacityShedule" type="CapacitySchedule" minOccurs="0"/>

<xs:element name="MaximumPrice" type="MaximumPrice" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<!--Schedules-->

<xs:complexType name="Schedule">

<xs:annotation>

<xs:documentation>CIM Schedule class</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="startTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="mRID" type="xs:string" minOccurs="0"/>

<xs:element name="marketType" type="xs:string" minOccurs="0"/>

<xs:element name="status" type="xs:string" minOccurs="0"/>

<xs:element name="error" type="xs:string" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="OutputSchedule">

<xs:annotation>

<xs:documentation>Output Schedule</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Schedule">

<xs:sequence>

<xs:element name="resource" type="Resource" minOccurs="0"/>

<xs:element name="EnergySchedule" type="EnergySchedule" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="DCTieSchedule">

<xs:annotation>

<xs:documentation>DC Tie Schedule</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Schedule">

<xs:sequence>

<xs:element name="buyer" type="xs:string" minOccurs="0"/>

<xs:element name="seller" type="xs:string" minOccurs="0"/>

<xs:element name="sp" type="SettlementPoint" minOccurs="0"/>

<xs:element name="EnergySchedule" type="EnergySchedule" minOccurs="0"/>

<xs:element name="NERCTags" type="NERCTags" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SelfSchedule">

<xs:annotation>

<xs:documentation>Self schedules</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Schedule">

<xs:sequence>

<xs:element name="source" type="SettlementPoint" minOccurs="0"/>

<xs:element name="sink" type="SettlementPoint" minOccurs="0"/>

<xs:element name="EnergySchedule" type="EnergySchedule" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<!--Notifications-->

<xs:complexType name="Notification">

<xs:annotation>

<xs:documentation> Notitication class</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="notificationID" type="xs:string"/>

<xs:element name="notificationType" type="xs:string"/>

<xs:element name="priority" type="xs:int"/>

<xs:element name="source" type="xs:string"/>

<xs:element name="issued" type="xs:dateTime"/>

<xs:element name="expiration" type="xs:dateTime" minOccurs="0"/>

<xs:element name="summary" type="xs:string"/>

<xs:element name="details" type="xs:string" minOccurs="0"/>

<xs:element name="objectID" type="xs:string" minOccurs="0"/>

<xs:element name="referenceURL" type="xs:string" minOccurs="0"/>

<xs:any namespace="##other" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="UnconfirmedTrades">

<xs:annotation>

<xs:documentation>Unconfirmed trades</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="ASTrade" type="ASTrade" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="CapacityTrade" type="CapacityTrade" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="EnergyTrade" type="EnergyTrade" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<!--Awards-->

<xs:complexType name="AwardSet">

<xs:annotation>

<xs:documentation>Container for awards</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="tradingDate" type="xs:date"/>

<xs:element name="marketType" type="xs:string" minOccurs="0"/>

<xs:sequence>

<xs:element name="AwardedAS" type="AwardedAS" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="AwardedCRR" type="AwardedCRR" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="AwardedEnergyBid" type="AwardedEnergyBid" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="AwardedEnergyOffer" type="AwardedEnergyOffer" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="AwardedEnergyOnlyOffer" type="AwardedEnergyOnlyOffer" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="AwardedPTPObligation" type="AwardedPTPObligation" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Award">

<xs:annotation>

<xs:documentation>Award superclass</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="qse" type="QSE"/>

<xs:element name="startTime" type="xs:dateTime"/>

<xs:element name="endTime" type="xs:dateTime"/>

<xs:element name="tradingDate" type="xs:date"/>

<xs:element name="mRID" type="xs:string"/>

<xs:element name="marketType" type="xs:string" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="AwardedAS">

<xs:annotation>

<xs:documentation>Ancillary Service Award</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="asType" type="ASType"/>

<xs:element name="dispatchMW" type="xs:int" minOccurs="0"/>

<xs:element name="selfSchedMW" type="xs:int" minOccurs="0"/>

<xs:element name="mcpc" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="AwardedEnergyOffer">

<xs:annotation>

<xs:documentation>EnergyAward Offer</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="dispatchMWh" type="xs:int"/>

<xs:element name="spp" type="xs:float" minOccurs="0"/>

<xs:element name="lmp" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="AwardedCRR">

<xs:annotation>

<xs:documentation>CRR award</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="awardedMW" type="xs:int"/>

<xs:element name="source" type="SettlementPoint"/>

<xs:element name="sink" type="SettlementPoint"/>

<xs:element name="price" type="xs:float"/>

<xs:element name="crrId" type="xs:string"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="AwardedEnergyBid">

<xs:annotation>

<xs:documentation>Energy Bid Award</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint"/>

<xs:element name="awardedMWh" type="xs:int"/>

<xs:element name="spp" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="AwardedPTPObligation">

<xs:annotation>

<xs:documentation>PTP Obligation award</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="awardedMW" type="xs:int"/>

<xs:element name="source" type="SettlementPoint"/>

<xs:element name="sink" type="SettlementPoint"/>

<xs:element name="price" type="xs:float"/>

<xs:element name="bidId" type="xs:string" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="AwardedEnergyOnlyOffer">

<xs:annotation>

<xs:documentation>Energy Only Offer Award</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Award">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint"/>

<xs:element name="awardedMWh" type="xs:int"/>

<xs:element name="spp" type="xs:float" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="ASObligation">

<xs:annotation>

<xs:documentation>Ancillary Service Obligation</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="RegularIntervalSchedule">

<xs:sequence>

<xs:element name="asType" type="ASType"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="ASObligations">

<xs:annotation>

<xs:documentation>Container for AS Obligations</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="ASObligation" type="ASObligation" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<!--Market Information-->

<xs:complexType name="VoltageProfile">

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule">

<xs:sequence>

<xs:element name="bus" type="ElectricalBus"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="MCPCs">

<xs:annotation>

<xs:documentation>Market clearing price for capacity</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="MCPCSchedule" type="MCPCSchedule" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="LMP">

<xs:annotation>

<xs:documentation>Locational Marginal Price</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="PriceSchedule">

<xs:sequence>

<xs:element name="bus" type="ElectricalBus"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SPP">

<xs:annotation>

<xs:documentation>Settlement Point Price</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="PriceSchedule">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="MCPCSchedule">

<xs:complexContent>

<xs:extension base="PriceSchedule">

<xs:sequence>

<xs:element name="asType" type="ASType"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="LoadRatioShare">

<xs:complexContent>

<xs:extension base="IrregularIntervalSchedule">

<xs:sequence>

<xs:element name="qse" type="QSE"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="Constraint">

<xs:complexContent>

<xs:extension base="IdentifiedObject">

<xs:sequence>

<xs:element name="value">

<xs:annotation>

<xs:documentation>Value that triggered constraint</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="limit">

<xs:annotation>

<xs:documentation>Limit defined for constraint</xs:documentation>

</xs:annotation>

</xs:element>

<xs:element name="maxShadowPrice" minOccurs="0">

<xs:annotation>

<xs:documentation>Maximum shadow price</xs:documentation>

</xs:annotation>

</xs:element>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SettlementPointFactor">

<xs:sequence>

<xs:element name="sp" type="SettlementPoint"/>

<xs:element name="shiftFactor" type="xs:decimal"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="SCEDViolatedConstraint">

<xs:complexContent>

<xs:extension base="Constraint">

<xs:sequence>

<xs:element name="timestamp" type="xs:dateTime"/>

<xs:element name="SF" type="SettlementPointFactor" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SCEDViolatedConstraints">

<xs:sequence>

<xs:element name="SCEDViolatedConstraint" type="SCEDViolatedConstraint" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="DynamicRatings">

<xs:complexContent>

<xs:extension base="Curve">

<xs:sequence>

<xs:element name="equipment" type="ConductingEquipment"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="BindingConstraint">

<xs:complexContent>

<xs:extension base="Constraint">

<xs:sequence>

<xs:element name="deliveryTime" type="xs:dateTime"/>

<xs:element name="SF" type="SettlementPointFactor" maxOccurs="unbounded"/>

<xs:element name="rucType" type="RUCType" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="BindingConstraints">

<xs:sequence>

<xs:element name="BindngConstraint" type="BindingConstraint" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="CompetitiveConstraint">

<xs:complexContent>

<xs:extension base="IdentifiedObject">

<xs:sequence>

<xs:element name="limit" type="xs:float"/>

<xs:element name="value" type="xs:float"/>

<xs:element name="status" type="xs:string"/>

<xs:element name="timestamp" type="xs:dateTime"/>

<xs:element name="flag">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="DAILY"/>

<xs:enumeration value="MONTHLY"/>

<xs:enumeration value="YEARLY"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="CompetitiveConstraints">

<xs:sequence>

<xs:element name="CompetiveConstraint" type="CompetitiveConstraint" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="LoadDistributionFactor">

<xs:sequence>

<xs:element name="name"/>

<xs:element name="level">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="ZONE"/>

<xs:enumeration value="LOADGROUP"/>

<xs:enumeration value="LOAD"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="factor" type="xs:float"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ShiftFactor">

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="equipment" type="Equipment"/>

<xs:element name="factor" type="xs:float"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="AggregatedASOfferCurve">

<xs:sequence>

<xs:element name="asType" type="ASType"/>

<xs:element name="PriceCurve" type="PriceCurve"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ASSystemPlan">

<xs:sequence>

<xs:element name="startTime"/>

<xs:element name="endTime"/>

<xs:element name="asType"/>

<xs:element name="quantity"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ASSchedule">

<xs:sequence>

<xs:element name="asType" type="ASType"/>

<xs:element name="Schedule" type="IrregularIntervalSchedule"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="StartupShutdown">

<xs:annotation>

<xs:documentation>Unit startup and shitdown instructions</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="rucType" type="RUCType"/>

<xs:element name="deliveryDate" type="xs:dateTime"/>

<xs:element name="resource" type="Resource"/>

<xs:element name="clearedCommit" type="xs:boolean"/>

<xs:element name="clearedDecommit" type="xs:boolean"/>

<xs:element name="decommitReasonCode" type="xs:string"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="UnitAvailability">

<xs:annotation>

<xs:documentation>Unit availability schedule</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="contractType" minOccurs="0">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="RMR"/>

<xs:enumeration value="BlackStart"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="startTime" type="xs:dateTime"/>

<xs:element name="endTime" type="xs:dateTime" minOccurs="0"/>

<xs:element name="available" type="xs:boolean"/>

<xs:element name="availableMW" type="xs:integer" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="DeratedCRR">

<xs:annotation>

<xs:documentation>Derated CRRs</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="crrHolder" type="xs:string"/>

<xs:element name="crrId" type="xs:string"/>

<xs:element name="source" type="SettlementPoint"/>

<xs:element name="sink" type="SettlementPoint"/>

<xs:element name="startTime" type="xs:dateTime"/>

<xs:element name="endTime" type="xs:dateTime"/>

<xs:element name="inputQuantity" type="xs:integer"/>

<xs:element name="deratedQuantity" type="xs:integer"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="DynamicRating">

<xs:annotation>

<xs:documentation>Dynamic rating</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="equipment" type="Equipment"/>

<xs:element name="rating" type="Rating" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="Rating">

<xs:annotation>

<xs:documentation>Rating</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="ratingType">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="Normal"/>

<xs:enumeration value="2-hour"/>

<xs:enumeration value="15-min"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

<xs:element name="ratingValue"/>

<xs:element name="units" minOccurs="0">

<xs:simpleType>

<xs:restriction base="xs:string">

<xs:enumeration value="MVA"/>

</xs:restriction>

</xs:simpleType>

</xs:element>

</xs:sequence>

</xs:complexType>

<xs:complexType name="NonConformLoadSchedule">

<xs:annotation>

<xs:documentation>Non conforming load schedule</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="RegularIntervalSchedule">

<xs:sequence>

<xs:element name="EnergyConsumer" type="EnergyConsumer"/>

<xs:element name="DayType" type="DayType" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="VoltageLimits">

<xs:sequence>

<xs:element name="bus" type="ElectricalBus"/>

<xs:element name="minimumKV" type="xs:float"/>

<xs:element name="maximumKV" type="xs:float"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="TapLimits">

<xs:sequence>

<xs:element name="equipment" type="Equipment"/>

<xs:element name="minimumStep" type="xs:integer"/>

<xs:element name="maximumStep" type="xs:integer"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="ProxyCurve">

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve"/>

</xs:sequence>

</xs:complexType>

<xs:complexType name="MitigatedCurve">

<xs:sequence>

<xs:element name="resource" type="Resource"/>

<xs:element name="BidPriceCurve" type="BidPriceCurve"/>

</xs:sequence>

</xs:complexType>

<!--Model Management-->

<xs:complexType name="Project">

<xs:annotation>

<xs:documentation>Project parent class</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Document">

<xs:sequence>

<xs:element name="participant" type="xs:string"/>

<xs:element name="projectName" type="xs:string"/>

<xs:element name="projectOwner" type="xs:string"/>

<xs:element name="projectType" type="xs:string" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="compressedDataFile" type="xs:string" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="energizationDate" type="xs:dateTime" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="NOMCR">

<xs:annotation>

<xs:documentation>Network Operating Model Change Request</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Project">

<xs:sequence>

<xs:element name="originalNOMCR" minOccurs="0"/>

<xs:element name="dependentNOMCR" minOccurs="0"/>

<xs:element name="dependentSAMR" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="SAMR">

<xs:complexContent>

<xs:extension base="Project">

<xs:sequence>

<xs:element name="associatedNOMCR" minOccurs="0"/>

</xs:sequence>

</xs:extension>

</xs:complexContent>

</xs:complexType>

<xs:complexType name="PMCR">

<xs:annotation>

<xs:documentation>Planning Model Change Request</xs:documentation>

</xs:annotation>

<xs:complexContent>

<xs:extension base="Project"/>

</xs:complexContent>

</xs:complexType>

<!--Outage Scheduling-->

<xs:complexType name="Outage">

<xs:annotation>

<xs:documentation>Scheduled Outage</xs:documentation>

</xs:annotation>

<xs:sequence>

<xs:element name="mRID" minOccurs="0"/>

<xs:element name="outageType"/>

<xs:element name="requestId"/>

<xs:element name="version"/>

<xs:element name="participant"/>

<xs:element name="resource"/>

<xs:element name="resourceType"/>

<xs:element name="primaryContact"/>

<xs:element name="secondaryContact"/>

<xs:element name="status" minOccurs="0"/>

<xs:element name="description"/>

<xs:element name="cause"/>

<xs:element name="workDescription"/>

<xs:element name="stationVoltage" minOccurs="0"/>

<xs:element name="plannedStart"/>

<xs:element name="plannedEnd"/>

<xs:element name="earliestStart" minOccurs="0"/>

<xs:element name="actualStart" type="xs:dateTime" minOccurs="0"/>

<xs:element name="actualEnd" type="xs:dateTime" minOccurs="0"/>

<xs:element name="latestEnd" minOccurs="0"/>

<xs:element name="mwCurtailed" minOccurs="0"/>

<xs:element name="remedialAction" minOccurs="0"/>

<xs:element name="NOMCR" minOccurs="0"/>

<xs:element name="dependentTransmissionId" minOccurs="0"/>

<xs:element name="terminals" minOccurs="0"/>

</xs:sequence>

</xs:complexType>

<!--Elements used for payload definitions using ComplexTypes-->

<xs:element name="ASOffer" type="ASOffer"/>

<xs:element name="ThreePartOffer" type="ThreePartOffer"/>

<xs:element name="SelfSchedule" type="SelfSchedule"/>

<xs:element name="BidSet" type="BidSet"/>

<xs:element name="Notification" type="Notification"/>

<xs:element name="SelfArrangedAS" type="SelfArrangedAS"/>

<xs:element name="ASCapacity" type="ASCapacity"/>

<xs:element name="CRR" type="CRR"/>

<xs:element name="CapacityTrade" type="CapacityTrade"/>

<xs:element name="ASTrade" type="ASTrade"/>

<xs:element name="PTPObligation" type="PTPObligation"/>

<xs:element name="DCTieSchedule" type="DCTieSchedule"/>

<xs:element name="COP" type="COP"/>

<xs:element name="IncDecOffer" type="IncDecOffer"/>

<xs:element name="EnergyBid" type="EnergyBid"/>

<xs:element name="EnergyOnlyOffer" type="EnergyOnlyOffer"/>

<xs:element name="EnergyTrade" type="EnergyTrade"/>

<xs:element name="AwardedAS" type="AwardedAS"/>

<xs:element name="AwardedEnergyOffer" type="AwardedEnergyOffer"/>

<xs:element name="AwardedCRR" type="AwardedCRR"/>

<xs:element name="AwardedPTPObligation" type="AwardedPTPObligation"/>

<xs:element name="AwardedEnergyBid" type="AwardedEnergyBid"/>

<xs:element name="AwardedEnergyOnlyOffer" type="AwardedEnergyOnlyOffer"/>

<xs:element name="LoadForecast" type="LoadForecast"/>

<xs:element name="SystemLoad" type="RegularIntervalSchedule"/>

<xs:element name="OutputSchedule" type="OutputSchedule"/>

<xs:element name="MarketTotals" type="RegularIntervalSchedule"/>

<xs:element name="SPPs">

<xs:annotation>

<xs:documentation>Settlement Point Prices</xs:documentation>

</xs:annotation>

<xs:complexType>

<xs:sequence>

<xs:element name="SPP" type="SPP" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="LMPs">

<xs:annotation>

<xs:documentation>Locational Marginal Prices</xs:documentation>

</xs:annotation>

<xs:complexType>

<xs:sequence>

<xs:element name="LMP" type="LMP" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="MCPCs" type="MCPCs"/>

<xs:element name="BindingConstraints" type="BindingConstraints"/>

<xs:element name="SCEDViolatedConstraints" type="SCEDViolatedConstraints"/>

<xs:element name="ASObligations" type="ASObligations"/>

<xs:element name="UnconfirmedTrades" type="UnconfirmedTrades"/>

<xs:element name="NOMCR" type="NOMCR"/>

<xs:element name="SAMR" type="SAMR"/>

<xs:element name="PMCR" type="PMCR"/>

<xs:element name="ProjectStatus">

<xs:complexType>

<xs:sequence>

<xs:element name="Project" type="Document" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="OutageSchedule">

<xs:complexType>

<xs:sequence>

<xs:element name="Outage" type="Outage" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="TotalRegulation" type="IrregularIntervalSchedule"/>

<xs:element name="LoadRatioShares">

<xs:complexType>

<xs:sequence>

<xs:element name="LoadRatioShare" type="LoadRatioShare" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="TotalEnergy" type="IrregularIntervalSchedule"/>

<xs:element name="Outage" type="Outage"/>

<xs:element name="CompetitiveConstraints" type="CompetitiveConstraints"/>

<xs:element name="ShiftFactors">

<xs:complexType>

<xs:sequence>

<xs:element name="ShiftFactor" type="ShiftFactor" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="AggregatedASOfferCurves">

<xs:complexType>

<xs:sequence>

<xs:element name="AggregatedASOfferCurve" type="AggregatedASOfferCurve" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="TotalASOffers">

<xs:complexType>

<xs:sequence>

<xs:element name="ASOffers" type="ASSchedule" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="ASSystemPlan">

<xs:complexType>

<xs:sequence>

<xs:element name="ASSchedule" type="ASSchedule" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="StartupShutdownInstructions">

<xs:complexType>

<xs:sequence>

<xs:element name="StartupShutdown" type="StartupShutdown" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="UnitAvailabilities">

<xs:complexType>

<xs:sequence>

<xs:element name="UnitAvailability" type="UnitAvailability" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="DynamicRatings">

<xs:complexType>

<xs:sequence>

<xs:element name="DynamicRating" type="DynamicRating" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="LoadProfiles">

<xs:complexType>

<xs:sequence>

<xs:element name="LoadProfile" type="NonConformLoadSchedule" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="LoadDistributionFactors">

<xs:complexType>

<xs:sequence>

<xs:element name="LoadDistributionFactor" type="LoadDistributionFactor" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="VoltageProfiles">

<xs:complexType>

<xs:sequence>

<xs:element name="VoltageLimits" type="VoltageLimits" minOccurs="0" maxOccurs="unbounded"/>

<xs:element name="TapLimits" type="TapLimits" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="DeratedCRRs">

<xs:complexType>

<xs:sequence>

<xs:element name="DeratedCRR" type="DeratedCRR" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="ProxyCurves">

<xs:complexType>

<xs:sequence>

<xs:element name="ProxyCurve" type="ProxyCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

<xs:element name="MitigatedCurves">

<xs:complexType>

<xs:sequence>

<xs:element name="MitigatedCurve" type="MitigatedCurve" minOccurs="0" maxOccurs="unbounded"/>

</xs:sequence>

</xs:complexType>

</xs:element>

</xs:schema>

Appendix D: Sample Code for Signing a SOAP Message

The purpose of this appendix is to provide examples for signing SOAP messages.

J2EE

Java Cryptography Architecture Example

import java.security.*;

...

// generate new RSA keypair

KeyPairGenerator k =

KeyPairGenerator.getInstance(“RSA”);

KeyPair kp = k.generateKeyPair();

// sign data

Signature s =

Signature.getInstance("SHA1withRSA");

s.initSign(kp.getPrivate());

byte[] signature = s.sign(data);

.NET

public static string ClientBase64KeyID = "ODytWwSUPj9/uGbXZTAdEhhzxLE=";

public void CallWebService()

{

PDCRegistrationProxy proxy = new PDCRegistrationProxy();

SoapContext requestContext = proxy.RequestSoapContext;

X509SecurityToken token = GetSigningToken();        //private–keystore

SignupRequest request = new SignupRequest();

request.Name = "Utility Integration Solutions";

request.Address = ERCOT, Taylor, TX";

requestContext.Security.Tokens.Add(token);

requestContext.Security.Elements.Add(new Signature(token));

SignupResponse response = proxy.SignupForPDC(request);

….

# Appendix E: Annotated SOAP Message

An annotated example of a SOAP message follows, which includes the required security elements. The example is divided into sections and marked by a number, e.g. 1.  Following the SOAP message are explanatory notes describing each numbered section. In order to improve readability, some attributes that have URI values have been shortened.

The example does not include any namespace declarations.  The table below lists the namespaces used in this example.

| Prefix | Description | Namespace |
| --- | --- | --- |
| SOAP-ENV | SOAP Envelop | http://schemas.xmlsoap.org/soap/envelope/ |
| ds | XML Digital Signature | http://www.w3.org/2000/09/xmldsig# |
| wsse | Web Service Security Extensions | http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-secext-1.0.xsd |
| wsu | Web Services Security Utility | http://www.docs.oasis-open.org/wss/2004/01/oasis-200401-wss-wssecurity-utility-1.0.xsd |
| xsd | XML Schema | http://www.w3.org/2001/XMLSchema |
| msg | An private namespace for specifying elements and attributes that are specific to ERCOT Web Services | TBD |

1

<SOAP-ENV:Envelope ">

<SOAP-ENV:Header ">

2

<wsse:Security SOAP-ENV:mustUnderstand="1">

<wsse:BinarySecurityToken

EncodingType="…#Base64Binary"

ValueType="…#X509v3"

wsu:Id="CertId-1776694">

MIIDDDCCAfSgAwIBAgIQM6YEf7FVYx/tZyEXgVComTANBgkqhkiG9w0 DAVPQVNJUzEeMBwGA1UEAwwVT0FTSVMgSW50ZXJvcCBUZXN0IENBMB4DTE4MDMxOTIzNTk1OVowQjEOMAwGA1UECgwFT0FTSVMxIDAeBgNVBAsVGVzdCBDZXJ0MQ4wDAYDVQQDDAVBbGljZTCBnzANBgkqhkiG9w0BAQE9By1VYo0aHrkKCNT4DkIgPL/SgahbeKdGhrbu3K2XG7arfD9tqIBIKMyvq+mUnMpNcKnLXLOjkTmMCqDYbbkehJlXPnaWLzve+mW0pJdPxtf3r sZKT8DN5Kyz+EZsCAwEAAaOBkzCBkDAJBgNVHRMEAjAAMDMGA1UdHwQaW50ZXJvcC5iYnRlc3QubmV0L2NybC9jYS5jcmwwDgYDVR0PAQH/BAQ4l0TUHZ1QV3V2QtlLNDm+PoxiDAfBgNVHSMEGDAWgBTAnSj8wes1oR3 JTw==

</wsse:BinarySecurityToken>

3

<ds:Signature>

<ds:SignedInfo>

<ds:CanonicalizationMethod

Algorithm="http://www.w3.org/2001/10/xml-exc-c14n#" />

<ds:SignatureMethod

Algorithm="http://www.w3.org/2000/09/xmldsig#rsa-sha1" />

4

<ds:Reference URI="#id-1464350">

<ds:Transforms>

<ds:Transform

Algorithm="http://www.w3.org/2001/10/xml-exc-c14n#" />

</ds:Transforms>

<ds:DigestMethod

Algorithm="http://www.w3.org/2000/09/xmldsig#sha1" />

<ds:DigestValue">

1JmC1C0FrlPB42xfFKolgaCew5k=

</ds:DigestValue>

</ds:Reference>

5

<ds:Reference URI="#STRId-13498124">

<ds:Transforms>

<ds:Transform

Algorithm="…#STR-Transform" />

<wsse:TransformationParameters">

<ds:CanonicalizationMethod

Algorithm="...xml-exc-c14n#"/>

</wsse:TransformationParameters>

</ds:Transform>

</ds:Transforms>

<ds:DigestMethod

Algorithm="http://www.w3.org/2000/09/xmldsig#sha1" />

<ds:DigestValue>

sEaCJjrObpDVfM8zuabwQdBGKbY=

</ds:DigestValue>

</ds:Reference>

6

</ds:SignedInfo>

<ds:SignatureValue">

H1b7jH2bHpbrzJXkFS0msdUYycDMH4n6m4oTRtbo4Yk35/JzGcuwUYZ3

AwPcnqmcP5ROshjJparaPGuvQhbFR7zCxet2aoawJFWgG8jIeuDZDE8y6n+kbBzxadF2tGN8/nH6IlKg0+onD09i81rPHDAa 2kstCclX2NDet1Rnmfs=

</ds:SignatureValue>

7

<ds:KeyInfo>

<wsse:SecurityTokenReference wsu:Id="STRId-13498124">

<wsse:Reference URI="#CertId-1776694" ValueType="…#X509v3" />

</wsse:SecurityTokenReference>

</ds:KeyInfo>

</ds:Signature>

</wsse:Security>

</SOAP-ENV:Header>

8

<SOAP-ENV:Body wsu:Id="id-1464350" >

<msg:Message>

<msg:Header>

<msg:Verb>verb</msg:Verb>

<msg:Noun>noun</msg:Noun>

<msg:ReplayDetection>

<wsu:Created>

2006-11-29T20:05:55.022Z

</wsu:Created>

<wsse:Nonce EncodingType="…#Base64Binary">

75753793-50c2-455b-a9b3-123cb26474e7

</wsse:Nonce>

</msg:ReplayDetection>

<msg:Revision>1</msg:Revision>

<msg:Source>market participant ID</msg:Source>

</msg:Header>

.

.

.

</msg:Message>

</SOAP-ENV:Body>

</SOAP-ENV:Envelope>

1

This section starts the SOAP envelope and the SOAP header

2

This section starts the Web Services Security Extensions, which includes security tokens and the digital signature. The first element in this section is the signer’s X.509 certificate, which is encoded in Base 64 binary. Note the identification of this element (CertId-1776694). The ID is later used in section 7 to reference this certificate. Note that there is only one certificate in this message. The message verifier must ensure that the certificate chains to a trusted root.

3

This section starts the digital signature block of the SOAP message. The signature is computed using the SHA-1 hash algorithm with RSA encryption.

4

This section designates the first of two objects that are signed. This one points to the entire message body (#id-1464350), which is specified in section 8 . The hashing algorithm is SHA-1.

5

This section designates the second of two objects that are signed. This one points to the reference to the certificate (#STRId-13498124), which is specified in section 7 .

6

This section specifies the value of the signature. That is, the SHA-1 hash of references to sections 7 and 8  and the encryption of this hash using the signer’s private key.

7

This section designates a reference to the signer’s certificate. In this case, the certificate is embedded in this SOAP message, and is referenced via the ID #CertId-1776694. This ID instructs the message verifier to get the certificate from section 2of this SOAP message.

8

This section starts the SOAP message body. It is designated using ID id-1464350, which is referenced as a signed element in section 2. Note that the message body includes an element called ReplayDetection, which consists of a timestamp indicating when the message was signed and a unique number (the nonce). These two elements help detect and prevent replay attacks. The rest of the message body (i.e., the business transaction) is not shown.

# Appendix F: XSL Examples

The purpose of this appendix is to provide XSL examples related to the processing and transformation of thre XML described in this specification. One example of XSL usage would be to convert UTC time into separate date and hour values based on the local time zone. For example, given the following XML:

<startTime>2007-12-17T06:00:00Z</startTime>

An XSL template can be used to generate tags that are desired by a consumer of the message such as the following where the hour is an hour ending in local time:

<startTime>2007-12-17T06:00:00Z</startTime>

<startDate>2007-12-17</startDate>

<startHour>1</startHour>

The following XSL example is implemented using custom functions within TIBCO BusinessWorks.

<?xml version='1.0'?>

<xsl:stylesheet version="1.0"

xmlns:xsl="http://www.w3.org/1999/XSL/Transform"

xmlns:msg="http://www.uisol.com"

xmlns:tib="http://www.tibco.com/bw/xslt/custom-functions"

exclude-result-prefixes="msg tib">

<xsl:template match="/">

<xsl:apply-templates/>

</xsl:template>

<xsl:template match="*">

<xsl:choose>

<xsl:when test="name() = 'msg:startTime'">

<xsl:copy>

<xsl:apply-templates/>

</xsl:copy>

<xsl:variable name="vStartTime"><xsl:value-of select="tib:translate-timezone(text(), tib:get-timezone-from-dateTime(current-dateTime()))"/></xsl:variable>

<msg:startDate>

<xsl:value-of select="substring($vStartTime,1,10)"/>

</msg:startDate>

<msg:startTime>

<xsl:choose>

<xsl:when test="substring($vStartTime,12,2) = '00'">24</xsl:when>

<xsl:otherwise><xsl:value-of select="format-number(substring($vStartTime,12,2),'#0')"/></xsl:otherwise>

</xsl:choose>

</msg:startTime>

</xsl:when>

<xsl:when test="name() = 'msg:endTime'">

<xsl:copy>

<xsl:apply-templates/>

</xsl:copy>

<xsl:variable name="vEndTime"><xsl:value-of select="tib:translate-timezone(text(), tib:get-timezone-from-dateTime(current-dateTime()))"/></xsl:variable>

<msg:endDate><xsl:value-of select="substring($vEndTime,1,10)"/></msg:endDate>

<msg:endTime>

<xsl:choose>

<xsl:when test="substring($vEndTime,12,2) = '00'">24</xsl:when>

<xsl:otherwise><xsl:value-of select="format-number(substring($vEndTime,12,2),'#0')"/></xsl:otherwise>

</xsl:choose>

</msg:endTime>

</xsl:when>

<xsl:otherwise>

<xsl:copy>

<xsl:apply-templates/>

</xsl:copy>

</xsl:otherwise>

</xsl:choose>

</xsl:template>

</xsl:stylesheet>

The following XSL example is implemented using Xalan:

<?xml version='1.0'?>

<xsl:stylesheet version="1.0"

xmlns:xsl="http://www.w3.org/1999/XSL/Transform"

xmlns:msg="http://www.uisol.com"

xmlns:lxslt="http://xml.apache.org/xslt"

xmlns:mk="ext1"

extension-element-prefixes="mk"

exclude-result-prefixes="msg lxslt">

<lxslt:component prefix="mk" functions="ConvertDate">

<lxslt:script lang="javascript">

function ConvertDate(inYear,inMonth,inDay,inTime,inType){

var strDate = inMonth + "/" + inDay + "/" + inYear + " " + inTime + " UTC";

var GMTDate = new Date(strDate);

strDate = inType == "Date" ? GMTDate.getFullYear() + "-" + GMTDate.getMonth() + "-" + GMTDate.getDate() : GMTDate.getHours();

return strDate.toString();

}

</lxslt:script>

</lxslt:component>

<xsl:template match="/">

<xsl:apply-templates/>

</xsl:template>

<xsl:template match="*">

<xsl:choose>

<xsl:when test="(name() = 'msg:startTime' or name() = 'msg:endTime')”>

<xsl:copy>

<xsl:apply-templates/>

</xsl:copy>

<xsl:variable name="vYear"><xsl:value-of select="substring(text(),1,4)"/></xsl:variable>

<xsl:variable name="vMonth"><xsl:value-of select="substring(text(),6,2)"/></xsl:variable>

<xsl:variable name="vDay"><xsl:value-of select="substring(text(),9,2)"/></xsl:variable>

<xsl:variable name="vTime"><xsl:value-of select="substring(text(),12,8)"/></xsl:variable>

<xsl:choose>

<xsl:when test="name() = 'msg:startTime'">

<msg:startDate>

<xsl:value-of select="mk:ConvertDate(string($vYear),string($vMonth),string($vDay),string($vTime),'Date')"/>

</msg:startDate>

<msg:startTime>

<xsl:value-of select="mk:ConvertDate(string($vYear),string($vMonth),string($vDay),string($vTime),'Time')"/>

</msg:startTime>

</xsl:when>

<xsl:when test="name() = 'msg:endTime'">

<msg:endDate>

<xsl:value-of select="mk:ConvertDate(string($vYear),string($vMonth),string($vDay),string($vTime),'Date')"/>

</msg:endDate>

<msg:endTime>

<xsl:value-of select="mk:ConvertDate(string($vYear),string($vMonth),string($vDay),string($vTime),'Time')"/>

</msg:endTime>

</xsl:when>

</xsl:choose>

</xsl:when>

<xsl:otherwise>

<xsl:copy>

<xsl:apply-templates/>

</xsl:copy>

</xsl:otherwise>

</xsl:choose>

</xsl:template>

</xsl:stylesheet>

# Appendix G: Issues

The purpose of this section is to capture issues and resolutions.

| Issue ID | Date | Issues | Resolution |
| --- | --- | --- | --- |
| 1 | 1/15/2007 | Bid IDs. Need to augment interfaces to provide a unique bid ID that can be used for the update and cancellation of bids as opposed to specifying a set of primary key values that differ for each bid type | Added mRID definition. |
| 2 | 1/15/2007 | Need to finalize scheme for acceptance and rejection of trades | Duplicate trades must be entered. Periodic notification for unmatched trades. |
| 3 | 1/17/2007 | Currently EnergySchedules and CapacitySchedules use CIM IrregularTimeSchedules. Could decide to use a more compact/custom structure | Decided to stay consistent with CIM. |
| 4 | 1/17/2007 | References to resources (i.e. resource names) could be more CIM-compliant using RegisteredResource.name | Reference is by name only. Use simplest XML. |
| 5 | 1/17/2007 | References to sources, sinks and sp could be more CIM-compliant by using Pnode.name. Related to issue 4. | Reference is by name only. Use simplest XML. |
| 6 | 1/18/2007 | May want to add QSE ID to each award message | Done. |
| 7 | 1/23/2007 | Need to clarify the use of market types for bidding interfaces for consistency with Nodal protocols. | Market types are not used. Retain as an optional field for potential future use. |
| 8 | 1/23/2007 | SOAP faults will be added to the WSDL in the future. | Added to SandBox. |
| 9 | 2/11/2007 | Need to define indicator for ASOffer and mcpc for AwardedAS. Define lmp and spp for AwardedEnergyOffer. | Use curveStyle |
| 10 | 2/11/2007 | Need to define enumerations for AS types and revise section 2.3.5 and add enumerations to XML schema. We would then update examples. | Need to decide upon (REG_UP, REG_DOWN, NSPIN, RRS) or (URS, DRS, NSRS, RRS) |
| 11 | 2/20/2007 | Need to define resource status enumerations and add to XML Schema |  |
| 12 | 3/2/2007 | Need to decide whether or not expiration is used for EnergyOnlyBid or EnergyOnlyOffer | Current view is both. |
| 13 | 3/2/2007 | Need to identify the specific identifier to be used to retrieve load profiles for non-IDR customers. |  |
| 14 | 3/2/2007 | Need to add notifications to MPs for the create, update or cancel of Outages | Section 5.3.11 |
| 15 | 3/14/2007 | Need to define SLAs |  |
| 16 | 3/14/2007 | In section 3.3.4, is indicator needed? | Indicator is now handled by curveStyle |
| 17 | 3/14/2007 | Consider segmentation of Ercot.xsd into more XSDs, e.g. ErcotCommon.xsd, ErcotBid.xsd, ErcotNotification.xsd, ErcotInfo.xsd |  |
| 18 | 3/21/2007 | Need to define convention for resource names, as unit names are not unique unless concatenated with the station name |  |
| 19 | 3/23/2007 | Depending upon usage (i.e. more than one record per bid), it may be more efficient to redefine complex types for StartupCost, MinimumGeneration, MaximumPrice, MinimumReservationPrice, Limits, ResourceStatus or ASCapacity as an IrregularIntervalSchedule. |  |
| 20 | 3/23/2007 | XML examples should be use correct namespaces and qualifications. |  |
| 21 | 3/27/2007 | After revision 1.0 and finalization of the MMS representation of market intervals, the bidding interfaces will be revised as appropriate to use ‘market time’, where market hours and intervals will be identified. TPTF will be consulted on the final design. |  |
| 22 | 3/27/2007 | Need to identify the means to notify market participants where documents in the repository have been updated or created. |  |
| 23 | 3/27/2007 | MPs need to provide input with respect to additional filtering capabilities needed for interfaces. This would apply primarily to those interfaces in section 4. This input would be used to extend the interface specifications. |  |
| 24 | 3/27/2007 | Note that ASOffer may change pending MMS design |  |
| 25 | 3/27/2007 | IncDecOffer should be modified to allow two curves. |  |