## Slide 1: WMS Report TO TAC
April 2007
(which is in March)

## Slide 2: In Brief
One Working Group Report
Two Task Force Reports
One participant discussion
More discussion on EILS
Discussion on the Joint WMS/PRS Taskforce
Notes: One Working Group report CMWG – presented the Competitive Constraint NPRR which I will talk more about later.
Two Task force reports – GATF presented their report as did the RTTF
Clayton’s presentation on RUC payments to generators not being a motivator to be available. It was informative and discussions are proceeding within ERCOT. An NPRR may be forthcoming, but WMS has taken no action so far.
We always talk about EILS and our meeting was on top of the PUC meeting where the rule was addopted and Paul gave us an update on that.

## Slide 3: Working Group Reports CMWG
Completed work on the NPRR regarding competitive constraint determination
WMS voted to support and pass on to TPTF and PRS
Notes: The nodal market includes the Texas Two Step which requires a distinction between competitive and non-competitive constraints.
Although the WMS supported this as written, it still needs to go through the TPTF and PRS before it comes to you for a vote.
Here is a little about what it contains:

## Slide 4: Competitive Constraint Test …the test formerly known as the Element Competitiveness Index
What it is: Determines whether there is sufficient competition in generation to solve constraints (ahead of time). Two Part Test—(i) physical dispatch impacts (ii) controlling concentration. Need to pass both to be Competitive.
How Results are Used: Competitive Constraints (CCs) are not subject to prospective mitigation in SCED. (Protocols 6.5.7.3).
Currently expect existing CSCs to be Competitive at Market Open
Notes: Determines whether there is sufficient competition to resolve the constraint on both the import and export side
S1: On the import side, SF of all elect buses relative to import side.
Look at effective load on export side (using SF from step 1)
Det effective capacity to meet load to supply power over constraint
  All avail cap by corres SF from S1
  Stack in SF order
  Select to meet load plus flow limit
    These resources are NOT available to help solve the congestion
On export side: det abs val of all SFs relative to export terminal
  Det effective cap to resolve constr on import side (limiting choice of resources to those with SF higher than 1/3 of highest resoruce SF from S1)
  Take this effective cap from SF for REs
S2: det effective cap to resolve constr on export side
  Det abs valof SF relative to export term
  Det effective load by X all load at elec buses by the SF from S2
  Det effective cap needed to meet load less imported power
    X all avail cap at elect buses by SF from S1
    Stack, dec SF order
    Select suff cap to meet load. These resources are NOT avail to resolve cong
    All remaining cap X SF in S2 is avail to solve on import side
  ECI = looks at Managed Capacity
    Entity or affil has decision making auth over how portion of res is offered/scheduled
    Managed Cap on export and import side
    ECI on IM/EX= sum of square of percentages of managed cap by entity and affil on import/export
    ECI > 2000 import and ECI > 2500 Export  Fails ECI test for month
Test 2 Pivotal Player—take out cap owned/controlled by one entity over peak load and try to solve constraint again. If can’t player is pivotal. If no player is pivotal, constraint passes test

## Slide 5: SCED 2-Step
Step 1: Enforce only Competitive Constraints. Determine Reference LMPs.
Step 2: Enforce all Constraints. Determine Basepoints. Each Energy Offer curve is capped at:
  On the top by: Max (Reference LMP, Offer Curve up to Mitigated Offer Cap).
  On the bottom by: Min (Ref LMP, down to Mitigated Offer Floor)

## Slide 6: What does the NPRR Change?
No Changes Proposed to Annual Process |  | 
 | Monthly | Daily
Current Nodal Protocols | Competitive  Noncompetitive | Competitive  Noncompetitive
NPRR | Competitive  Noncompetitive Delete requirements for NCC CC | Competitive  Noncompetitive Delete reqs for NCC CC ERCOT post CCs by 0600
NCC = Noncompetitive Constraint, CC = Competitive Constraint

## Slide 7: Task Force Reports GATF
Address point by point the inputs to the ERCOT Reserve calculation
Has develop a revised methodology for the calculation
Has recommend changes in the format of the ERCOT CDR summary page

## Slide 8: GATF Recommendations
Load Forecast – No Change
Demand Response - No Change
DC Ties - No Change
“Switchable” Capacity - No Change
Wind Capacity – Change
“Mothballed” Capacity - No Change
Retired Capacity - No Change
Private Network Capacity – No Change
New Generating Capacity - Change

## Slide 9: Effective Load Carrying Capability (ELCC)
Process:
Run the LOLP model with the base set of generating units and a generic thermal generator (550 MW) and determine the expected unserved energy.
Remove the generic thermal generator and add new wind generation until the same expected unserved energy is achieved.
The amount of new wind generation will have the same effective load-carrying capability as the 550-MW generic thermal generator
Results:
6,300 MW of wind had the same load carrying capacity as 550 MW of thermal generation (i.e., 8.7%).
Notes: Describe the process for wind.

## Slide 10: Recommendation
GATF believes that a change in methodology is warranted and that the ELCC methodology should be used until better (i.e., more) actual performance data becomes available to make an accurate determination of the true capacity value of wind in ERCOT.
Recommendation: Use the ELCC for wind as determined in the ERCOT LOLP study (8.7%) and update the ELCC value every two years.
Notes: All other things being equal, this will increase the result of the reserve margin calculation.

## Slide 11: New Generating Capacity (Fossil)
New Generating Capacity
  Existing methodology: Requires signed Generation Interconnect Agreement (SGIA) to count in the CDR
  GATF was concerned a SGIA alone would not ensure that a new planned fossil capacity addition would actually be built (since new coal units require air permits from the TCEQ prior to construction)
  In order to provide a reasonable likelihood that a new fossil-fueled generating project will be built, GATF recommends adding the requirement for a project to have a SGIA and a TCEQ-approved air permit.
Recommendation: Include future fossil-fueled generating projects in the CDR if the project has both an SGIA and an air permit from the TCEQ
Notes: This could hypothetically decrease the results of the reserve margin calculation, but in fact will have not much impact if any. The only plant that was in the CDR with an Interconnection Agreement and no TCEQ permit last year now has a permit. There is another plant that has an SGIA but no air permit, but it had neither last year. So without this change, that plant would have boosted our margin a little.

## Slide 12: Format Changes to CDR
GATF also recommends two format changes to the CDR summary page:
Delete additional reserve margin percentages for “high” , “low”, and “publicly announced” to avoid confusion on what is the “official” ERCOT reserve margin
Add line item for “uncommitted” resources, which would include:
  Remaining “mothballed” capacity not included in the “official” reserve margin calculation
  Remaining “switchable” capacity not included in the “official” reserve margin calculation
  Remaining DC tie capacity not included in the “official” reserve margin calculation
  New generating units that have initiated transmission interconnection studies (new wind generating units would be discounted appropriately)
Notes: WMS supported the work of the GATF and endorsed the final product which is the report that was part of the TAC package.
The canceled TXU plants will reduce the announced MW row, but there will no longer be a % value calculated for that row.

## Slide 13: Task Force Reports RTTF
This is a work in progress.
There is some very good work in the Task Force regarding how to do something.
There is some uncertainty within WMS regarding the need to do anything.
Notes: The RTTF report has gotten longer and more sophisticated over the past couple months. I won’t give you an update from WMS, as WMS has not spoken clearly yet.
This should be back next month.

## Slide 14: EILS
WMS understands that there is more to do to be responsive to PUC requests for solutions.
WMS is open to suggestions from TAC regarding how to proceed with developing long term solutions.
Notes: Slide from last month
We got an update from ERCOT staff on the activity that morning at the PUC. Kevin has reported on the activity of the PRS.
Last month TAC asked that we set up a joint task force of the ROS/WMS and schedule a couple meetings. We have done that and set meeting dates for the 2nd and 23rd.

## Slide 15: Mission Statement for the Long-Term Solution Task Force
TAC has charged this Joint Task Force of the WMS and ROS with the following:
(Members of TAC: this would be the point where you tell me what to write)