## Slide 1: Outline
General Items
Nodal Non-Spin Deployment
EECP Events
EECP Lessons Learned
EECP Event Analysis Process
Coordination
Priorities

## Slide 2: General Items
OOM units based on ARR
  Work with WMS to minimize impact
SCE performance continues to decline
Black Start study proposed by ROS was not setup as project
Ancillary Service Review
Nodal Synchronization of EECP

## Slide 3: General Items
NERC Standards Forum
Point-to-Point Model Checkout
NPRR-036 – Give TDSP SOTE access. TDSP needs coverage during transition to Nodal
Completion of Nodal Operating Guides delayed until May 2007
NERC monitoring analysis of four ERCOT EECP events

## Slide 4: Nodal Non-Spin Deployment Procedure
Nodal Protocols
TAC – Assigned to ROS April 2006
ROS work group developed draft
TAC remanded to WMS – November 2006
ROS and WMS made multiple revisions
ROS and WMS approved current version

## Slide 5: EECP Events
March 8, 2007
March 9, 2007

## Slide 6: March 8, 2007
Wind SCE went below -650MW
Drop in wind generation had a negative impact on ARR
Rapid load increase depleted ARR
Little response to Alert
RMR units at maximum output
Brought on two gas turbines

## Slide 7: March 9, 2007
RPRS for hour 19:00 was 37,903 MW
ARR was 35,761 MW
Actual capacity was 2,142 MW below day ahead forecast
Off-line quick start units not in ARR
RPRS for wind was 681 MW
Actual wind output was 36 MW

## Slide 8: Initial EECP Lessons Learned
Minor unit adjustments can avoid EECP
Drop in wind output effects ARR
Have significant negative Wind SCE
RPRS uses projected wind
Some quick start units in RPRS but not in ARR
ARR can be significantly lower than RPRS forecast
Little ARR response to Alerts

## Slide 9: EECP Analysis Process
Document December 22, 2006 analysis process
Coordinate update of ERCOT Compliance Process (filed at PUC)
  Stakeholder role
  ERCOT staff role
  Texas RE role
  ROS role
Who notifies NERC about events?
Who sends final reports to NERC?

## Slide 10: Coordination Issues
ERCOT staff and stakeholders requesting ROS WG perform work
  Copy ROS Chair on request
  Review request in overall priorities
Transition to Texas RE

## Slide 11: Priorities
Minimize changes to existing Protocols, Guides, Systems and Market Products
  Create “parking lot” for issues
Coordinate priorities and requests from PUC, ERCOT Board, Task Forces, Subcommittees and Stakeholders
Stop Forum Shopping