## Slide 1: Protocol Revision Subcommittee
Presentation to the
ERCOT Technical Advisory Committee
March 30, 2007

## Slide 2: PRS Summary
4 PRRs for Approval
  1 System Change – IA/CBA
  3 Non-System Change – IA only
Updates
  Alternative funding mechanism for the ERCOT ERO/TRE Fee
  Nodal NPRR Implementation Process
  PRR Appeals Process
  “Pens Down” on Zonal Wholesale System Changes

## Slide 3: PRR 705 – Emergency Interruptible Load Service – Interim Solution -- URGENT
Purpose (ERCOT) | Allows ERCOT use of an Emergency Interruptible Load when an EECP is declared and all available generation and LaaRs have been deployed. | 
Benefit | Conforms to PUC Subst. R. 25.507; ERCOT requested product in an effort to avoid firm load shed during EECP. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval by a 6.0 to 1.0 vote, 2 opposed and 6 abstentions; all market segments were present | 
Effective Date | April 19, 2007 (Following April BOD) | 

## Slide 4: PRR 705 – Emergency Interruptible Load Service – Interim Solution -- URGENT
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
<$100K, O&M
New functions to be implemented
Minor impacts

## Slide 5: PRR 706 – Provisional Qualification for Ancillary Services
Purpose (BTU on behalf of QMWG -- Muni) | Provides for a provisional qualification time for Ancillary Service provision and discontinues the practice of “borrowing” units for AS qualification. | 
Benefit | Allows ERCOT to apply testing procedures to the very same units that will provide AS resulting in improved knowledge of QSE capabilities and improved system operation and reliability. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval unanimously; all market segments were present | 
Effective Date | June 1, 2007 | 

## Slide 6: PRR 706 – Provisional Qualification for Ancillary Services
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 7: PRR 707 – Prioritization/Timing of Transactions Based Upon PRR672 Collaborative Process & Retry Process for 814_20s
Purpose (ERCOT) | Outlines ERCOT transaction prioritization; revises transaction timing of Off-Cycle Switches and Off-Cycle Drops to AREP; and adds language regarding a retry process. | 
Benefit | Reduction in consumer complaints and allows TDSPs as much time as possible to accurately schedule and manage daily workload. | 
Market Impact | More timely transaction processing. | 
System Change | Yes | Rank 2-High; Priority 8.5 (consistent with other PRR 672 projects)
Assumptions | CBA Ratio 2.5 | 
PRS Vote | PRS recommended approval with 1 abstention; all market segments were present | 
Effective Date | Upon System Implementation | 

## Slide 8: PRR 707 – Prioritization/Timing of Transactions Based Upon PRR672 Collaborative Process & Retry Process for 814_20s
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact
<$100K

## Slide 9: PRR 708 – Data Provided by ERCOT to TDSPs
Purpose (AEP -- IOU) | Requires ERCOT to provide Generation/Load IDR adjusted interval data to TDSPs involved in planning activities, subject to Sec. 1.3, Protected Information. | 
Benefit | Assists in transmission/distribution planning. | 
Market Impact | N/A | 
System Change | No | N/A
Assumptions | N/A | 
PRS Vote | PRS recommended approval with 2 abstentions; all market segments were present | 
Effective Date | June 1, 2007 | 

## Slide 10: PRR 708 – Data Provided by ERCOT to TDSPs
Item Reviewed
Description
No
Impact
Credit Monitoring/
Liability
Budget
Staffing
Computer Systems
Business Functions
Grid Operations
Impact

## Slide 11: PRS Summary
PRRs Recommended for Approval
  PRR 705 – Emergency Interruptible Load Service
  PRR 706 – Provisional Qualification for Ancillary Services
  PRR 707 – Prioritization/Timing of Transactions Based Upon PRR 672 Collaborative Process & Retry Process for 814_20s
  PRR 708 – Data Provided by ERCOT to TDSPs

## Slide 12: PRS Summary
Updates
  Alternative funding mechanism for the ERCOT ERO/TRE Fee
PRS April Meeting Discussion
  Nodal NPRR Implementation Process
    ERCOT Nodal PMO proposed a process for PRS consideration
  PRR Appeals Process
    BOD proposal sent to PRS mailing list
  “Pens Down” on Zonal Wholesale System Changes