Texas Nodal EDW

Data Collection and Market Monitoring

Software Requirements Specification

For Protocol Section 17

Version 0.98

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 10/13/2006 | 0.1 | Draft version based on comments from Joel Firestone and EIS/Nodal EDW team members. | Jessica Goehring |
| 10/17/2006 | 0.2 | Integrated comments from Stan and Randy | Jessica Goehring |
| 10/17/2006 | 0.3 | Notes from IBM discussion | Jessica Goehring |
| 10/17/2006 | 0.4 | IDA and Other Example input | Sylvia Shiroyama |
| 10/18/2006 | 0.5 | Feedback from Diana S. and Randy J. | Diana Sparacin Jessica Goehring |
| 10/18/2006 | 0.6 | Feedback from Sylvia and Jessica | Sylvia Shiroyama Jessica Goehring |
| 10/18/2006 | 0.7 | Tracing of SR to FR | Diana Sparacin |
| 10/19/2006 | 0.8 | Feedback from Joel F., Matt M., and Bob B., Diana S. | Sylvia Shiroyama |
| 11/2/2006 | 0.91 | Feedback from TPTF presentation | Sylvia Shiroyama |
| 2/1/2007 | 0.92 | Included remaining requirements to reflect scope of NP.Section 17.1 and NP.Section 17.3.5 | Scott Privette |
| 2/5/2007 | 0.93 | Incorporated feedback from Dan Jones (IMM Lead) on tools sets for the IMM function for NP.Section 17.3.1. | Scott Privette |
| 2/19/2007 | 0.94 | Incorporated TNMIP external teams functional areas to more fully address content of NP.Section 17.1 and NP.Section 17.3.5. | Scott Privette |
| 3/5/2007 | 0.95 | Incorporated small wording changes requested from EIS. | Scott Privette |
| 3/8/2007 | 0.96 | Incorporated Nodal Program review recommendations. | Scott Privette |
| 3/15/2007 | 0.97 | Incorporated Independent Market Monitor review recommendations. | Scott Privette |
| 4/1/2007 | 0.98 | Updated for TPTF comments from 3/29/2007 review. | Scott Privette |

Table of Contents

1.	Introduction	4

1.1	Scope	4

1.2	Document Conventions	4

1.3	Assumptions and Dependencies	4

1.4	Definitions	4

2.	Structure	4

3.	Functional Requirements	4

3.1	Requirements from Nodal Protocols	4

3.2	Requirements from Other Binding Documents	4

4.	Supplementary Requirements	4

4.1	Performance Requirements	4

4.2	Legal and Regulatory requirements	4

4.3	System and Communication Requirements	4

4.4	System Security Requirements	4

4.5	Back up and Recovery Requirements	4

4.6	Availability and Redundancy Requirements	4

4.7	Maintainability Requirements	4

4.8	Training and Documentation Requirements	4

4.9	Usability Requirements	4

5.	Protocol Coverage	4

6.	Sub-Process Coverage	4

Software Requirements Specification

# Introduction

## Scope

The TNMIP EDW Project is designed to provide or transition the enterprise data solution foundation and functional components to:

(a)	Replicate and archive the ERCOT data sets identified in the Nodal Protocols;

(b)	Ensure data extraction and reporting is provided to the nodal market in a manner consistent with the intent of the Nodal Protocols;

(c)	Ensure ERCOT operational and market support entities have access to current and historical data sets provided to the nodal market and query capability to resolve market inquires; and

(d)	Ensure ERCOT data archival systems have in place row-level security measures for constructing data access procedures consistent with protocol section 1.3.1, Restrictions on Protected Information;

The TNMIP EDW Project will provide the services for market monitoring data collection that is designed to assist the PUCT and WEMM conducting the functions necessary to:

(a)	Protect Market Participants and Customers from the exercise of market power and from market manipulations;

(b)	Ensure that there is effective and persistent competition for events that are not mitigated;

(c)	Ensure that the market design and implementation are efficient;

(d)	Guard against inefficiencies in the market and market manipulations;

(e)	Ensure a justifiable and reasonable price impact; and

(f)	Ensure that data posted on the MIS Public Area fulfills the objective of transparency of market information consistent with Section 1.3, Confidentiality.

## Document Conventions

- All text lifted from the Nodal Protocols or PUCT Rulings is in italic font.

- All dependencies are identified using D1, D2, etc.

- All assumptions are identified using A1, A2, etc.

## Assumptions and Dependencies

### A1) The Data Archive as stated in the Protocols is a data system which archives on-line operational data for 4 years and data in this system will be maintained and accessible for an additional 3 years.

### A2) The Data Warehouse as stated in the protocols is a data system which retains on-line operational data used for reporting for 4 years.

### A3) Auditing entity will provide recommendations to address potential areas for improvement after auditing the Data Services of required data and processes. (Reference to FR8)

### D1) ERCOT data and process owners, commonly referred to as business owners, will identify the appropriate source system of record for all required and included data to be collected into the systems delivered by the EDW Project.

### D2) The business owners of each source system data set are responsible for data validation and accuracy prior to replication into the systems delivered by the EDW Project.  (Reference to FR1, FR2, FR3)

### D3) The business owners of each source system data set are responsible for testing data validation and accuracy of data stored in systems and products delivered by the EDW Project.  (Reference to FR1, FR2, FR3)

### D4) The study tools required by the WEMM function will be delivered by the TNMIP project delivering the associated source system.  (Reference to FR4)

### D5) The presentation functions of the MIS Public Area will be provided by the Nodal MIS project.

## Definitions

Definitions listed below provide clarity to the language used in Functional and Supplemental Requirements.

| Business Intelligence Products | A business intelligence product delivers a concise set of highly integrated data elements to support detailed business analysis functions as trending, statistics, simulations, operational projections, historical analysis, and gap analysis. |
| --- | --- |
| Data Archive/ Data Archival | The function of replicating data off of the ERCOT source systems to a data store that provides the function of access to historical data. The previous ERCOT database for this function was also named “Data Archive” and in certain places in the protocols appears as a reference to a specific system. For the purpose of these requirements the term is used as the generic function without reference to a specific database that performs the function. |
| Data Attributes/ Attributes | Entities that define properties of data elements. |
| Data Element | A basic unit of information built on standard structures having a unique meaning and distinct units or values. |
| Data Integrity | The accuracy, correctness, and validity of data individually and as a whole. |
| Data Repository | Any system which has as it primary function that of retaining data from other systems, and typically serves as a distribution point for data products. Also see “Data Archive” |
| Data Services | Data services is the high-level grouping of IT functions including data replication, data archiving, data extraction, real-time and historic reporting, and generation of business intelligence products. |
| Data Warehouse | The function of transforming data and storing such data for the expressed purpose of reporting. The previous ERCOT database for this function was also named “Data Warehouse” and in certain places in the protocols appears as a reference to a specific system. For the purpose of these requirements the term is used as the generic function without reference to a specific database that performs the function. |
| ERCOT data storage systems | This phrase is used throughout these requirements and addresses the systems used to replicate, store, and report required data to WEMM and PUCT as defined in FR1 |
| Functional Requirements | Functional requirements specify specific behaviors of a system. This should be contrasted with non-functional requirements which specify overall characteristics. |
| Latency | Latency is the time delay between the moment a request for data is initiated, and the moment when the requested data is returned. |
| Performance | How fast a business operation performs under defined circumstances. |
| Reliability | The ability in percent of operational time that a device or system performs a required function under stated conditions. |
| Report, Reporting | The creation and distribution of distinct data sets, bound by specific business rules to assist a ERCOT business function, PUCT function, WEMM function, or Market data request. |
| Role | The named set of features defined over a collection of entities (e.g., people, systems, organizations) participating in a particular context. |
| SLA | Service Level Agreement (SLA) – the part of a service contract in which a certain level of service is agreed between service provider and service recipient. |
| Supplementary Requirements | Also known as non-functional requirements. Supplementary requirements impose constraints and specify overall characteristics. Examples of supplementary requirements include performance, reliability, availability, security, legal and reusability, etc, |
| Supportability | The level to which the system enables the technical support personnel to troubleshoot or perform root cause analysis in pursuit of solving a problem with a product/system. |
| Usability | The ease with which people can employ a particular tool or system in order to achieve a particular goal. In user-interface design usability usually refers to the degree in which the design utilizes intuitively constructed symbols, icons, and layouts. |

# Structure

This document is titled as TN.EDW.RequirementsSpecification.v[x].doc

The Requirements sections of this document are:

- Functional Requirements

  - Nodal Protocol Requirements

  - Other Binding Document

- Supplemental Requirements

All protocol references are from the current draft Nodal Protocols as of March 1, 2007.

# Functional Requirements

## Requirements from Nodal Protocols

| Requirement ID | FR1 |
| --- | --- |
| Requirement Name | Market Monitoring Data And Data Collection |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.1 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall collect all data required for Market Monitoring purposes by the PUCT staff and the WEMM, and shall work with the PUCT staff and the WEMM to identify such data initially and as needs may change from time to time. The Public Utility Commission of Texas (PUCT), with the assistance of the Wholesale Electric Market Monitor (WEMM) established in accordance with PUCT rules, has the ultimate responsibility for market oversight in ERCOT. ERCOT shall assist the PUCT and the WEMM by performing the data collection functions specified in this Section. |  |

| Requirement ID | FR2 |
| --- | --- |
| Requirement Name | Market Data Collection and Use |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall establish procedures which govern access of the PUCT staff and the WEMM to all the data identified and collected by the ERCOT data storage systems. This shall also include procedures to be used for granting access to the established ERCOT operational databases by the PUCT staff and WEMM. ERCOT shall establish procedures to ensure that the PUCT staff and WEMM may access all data maintained by ERCOT and deemed necessary by the PUCT staff and WEMM to perform its market oversight activities, pursuant to subsection (e) of P.U.C. Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) Governance. |  |

| Requirement ID | FR3 |
| --- | --- |
| Requirement Name | Information System Data Collection and Retention |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.1 |
| Coverage of Protocol | Partial |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall provide the Data Archive and Data Warehouse functions and services necessary to create and store Data Services identified by the Nodal Protocols dated January 2007, and shall update data services within a reasonable time frame as those Protocols are revised. (2) ERCOT shall provide Data Services as required by ERCOT business in support of the following business areas: (a) Energy Market Products Telemetry Monitoring Real-Time Activities Generation Subsystem Management Activities Dynamic Ratings EMS Day Ahead Energy Management System Market Application System Market Infrastructure System Outage Scheduler Market Management System At a minimum the data retained to support the Energy Market Products shall include all telemetered generator MW, MVAR outputs, Telemetered transmission equipment flow MW & MVAR, Equipment ratings, SCED LMP’s, SCED generator setpoints, regulation deployments, Responsive Reserve deployments, Non-spin deployments, Regulation, RRS, and Non-spin schedules, All data variables required for settlements, Load flow cases used in generating constraints for each SCED execution, SCED cases suitable for re-solving, DAM cases used to set Day ahead prices, DAM prices, D-RUC cases, H-RUC cases used to justify procuring additional generation, Planned outages, Forced outages, VSS recommendations, and Constraints active in SCED solutions This list is not all inclusive but is provided as examples. (b) Commercial Systems Products Registration Settlements & Billing Financial Transfer Load Profiling & Aggregation Metering Renewable Credits (c) Credit Management Monitoring Products Credit Analytics Credit Reporting Counter-Party Relations and Credit Qualifications Collateral Management Counter-Party Default Analysis Credit Rating and Limit Management Credit Exposure Monitoring (d) Congestion Revenue Rights Products CRR Auction CRR Allocation CRR Bilateral Trades (3) ERCOT shall provide transition of existing (zonal) data services into nodal data services as required by ERCOT business and these Protocols. (4) ERCOT shall retain those zonal data services that will not be transitioned for a minimum of 24 months after initial production service of the Nodal market, the zonal data itself will continue to be retained for the mandated 7-year period. (5) ERCOT shall replicate the identified data from ERCOT source systems in as near real time as is practical into an on-line data archival system. (6) ERCOT shall store the identified data in an on-line data archival system capable generating point-in-time reconstruction of all data sets for query by the PUCT staff and WEMM functions. ERCOT shall develop and operate an information system to collect and to store data required by these Protocols. ERCOT shall provide adequate communication equipment and necessary software packages to enable the PUCT staff and the WEMM to establish electronic access to the information system and to facilitate the development and application of quantitative tools necessary for the market monitoring function. Data from source systems must be replicated near Real Time and available for remote query by the PUCT staff and the WEMM until data is available in the Data Archive and Data Warehouse. The Data Warehouse and Data Archive must be designed to accommodate a remote query function by the PUCT staff and the WEMM at any time. |  |

| Requirement ID | FR4 |
| --- | --- |
| Requirement Name | Information System Data Access and Tool Sets |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.1 |
| Coverage of Protocol | Partial |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall make all identified market, operations and settlement data and a reasonable history of such data available through remote query by the PUCT staff and the WEMM. (2) ERCOT shall make the interface tools and specifications necessary available to the PUCT and WEMM to access all data within the Data Archive and Data Warehouse systems. (3) ERCOT shall maintain the Data Archive and Data Warehouse systems to be accessible to the PUCT and WEMM at any time. (4) ERCOT shall provide Data Archive expertise to the PUCT staff and WEMM function to assist in the development and application of quantitative tools. (5) ERCOT shall provide the WEMM function access to source systems utilizing the following study mode tool sets: - Market Management System SCED Study Mode - Market Management System DAM Study Mode - Market Management System RUC Study Mode - Market Management System MOI interface - Market Management System MPI Interface - Energy Management System State Estimator Study Mode - Energy Management System Network Analysis Study Mode - Congestion Revenue Rights CRR Study Mode (6) ERCOT shall ensure adequate interface definitions for the IMM ISR tool to be altered to accommodate the changes to inputs from the Nodal systems (Savecases, Market Cases, Telemetry, Data Archive, Data Warehouse, and Settlements). (7) ERCOT shall provide the WEMM function the same access to the Market Information System (MIS) portal as Market Participants with the additional capability to view all content. I think this needs to be added back in per discussions with Raj (dan) (8) ERCOT shall provide the WEMM function with the results of Competitive Constraint Tests (CCT) on a daily basis. (9) ERCOT shall work with the WEMM function to define adequate data access and market monitoring tools necessary for Market Monitoring not explicitly stated in these requirements ERCOT shall develop and operate an information system to collect and to store data required by these Protocols. ERCOT shall provide adequate communication equipment and necessary software packages to enable the PUCT staff and the WEMM to establish electronic access to the information system and to facilitate the development and application of quantitative tools necessary for the market monitoring function. Data from source systems must be replicated near Real Time and available for remote query by the PUCT staff and the WEMM until data is available in the Data Archive and Data Warehouse. The Data Warehouse and Data Archive must be designed to accommodate a remote query function by the PUCT staff and the WEMM at any time. |  |

| Requirement ID | FR5 |
| --- | --- |
| Requirement Name | Data Catalog |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.2, 17.3.4 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall develop and maintain a detailed data catalog which defines the data that ERCOT collects. (2) ERCOT shall establish, to the greatest extent possible, automated processes using business input to facilitate maintenance of the data catalog. (3) ERCOT shall follow the existing ERCOT standard practices for data protection. (4) ERCOT shall update its detailed data catalog at the request of the PUCT staff or WEMM. (5) ERCOT shall make the data catalog available for electronic distribution, and maintain a versioning system that can be used to validate the current document status. ERCOT shall develop, and refine based on experience, a detailed catalog of all data categories that it can acquire and the procedures that it will use to handle such data, including procedures for protecting Protected Information. This catalog must include documentation of the meaning of the data elements, and must be updated upon any change in systems (e.g. EMMS or settlements) that affect the data elements or interpretation of these elements. The PUCT staff and WEMM may review the catalogs of information and data collection verification criteria, developed by ERCOT according to these Protocols, and may propose such changes, additions, or deletions to the catalogs and criteria as it sees fit. In so doing, the PUCT staff or WEMM may require database items or evaluation criteria to be included in the pertinent catalogs. |  |

| Requirement ID | FR6 |
| --- | --- |
| Requirement Name | Accuracy of Data Collection |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.3 (1) |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall verify the accurate collection of data in the data repository on a continuous basis. (2) ERCOT shall require all required data stored by the data archive or data warehouse functions to maintain a minimum set of operational metadata to support an automated auditing process of the data collection systems. (3) ERCOT shall implement an automated data auditing process within the data archive and data warehouse systems to evaluate data accuracy against the source systems on a daily basis. (4) ERCOT shall implement a set of daily audit reports and provide immediate alerts to production support for any identified discrepancies. (5) ERCOT shall provide reports of audit results, performance metrics, and system outage notifications to ERCOT business, the PUCT staff, and WEMM functions on a regular schedule or as defined by specific SLA. (6) ERCOT shall have a process in place for requesting, by written notice, Market Participants to verify the accuracy of the data previously submitted to ERCOT. ERCOT shall continuously apply appropriate procedures for the accurate collection of data into the Data Warehouse and accurate communication of that data for use by the PUCT staff and WEMM. By written notice, ERCOT may require Market Participants to verify the accuracy of data previously submitted to ERCOT. |  |

| Requirement ID | FR7 |
| --- | --- |
| Requirement Name | Accuracy of Data Submission |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.3 (2) |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall create processes to identify incomplete, missing, or probably erroneous data submitted under the nodal protocols, and shall create procedures to notify the PUCT and WEMM of these data errors. ERCOT shall report to the PUCT and WEMM any failure by a Market Participant to provide accurate and complete information in the manner and time requested under these Protocols, and that failure may be treated as grounds for action against the Market Participant. |  |

| Requirement ID | FR8 |
| --- | --- |
| Requirement Name | Annual Data Accuracy Audit |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.3 (3) |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall initiate an annual audit of the data services reviewing data integrity, data collection, and data and procedural documentation and perform an audit on the adequacy and accuracy of the data being stored and delivered under these Protocols. ERCOT shall cause to be performed an annual audit of ERCOT data, data collection, and data documentation for adequacy and accuracy. The auditor will provide recommendations to address potential areas of improvements. |  |

| Requirement ID | FR9 |
| --- | --- |
| Requirement Name | Data Retention |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.3.5 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall create processes to maintain information collected in the Data Archive and Data Warehouse systems to be available online for four years from ERCOT’s creation or receipt of the data. (2) ERCOT shall create processes to maintain the data stored in the Data Archive and be able to retrieve it on-line for an additional three years. Data stored in the Data Warehouse and Data Archive must be available online for four (4) years from ERCOT’s creation or receipt of the data. Data stored in the Data Archive must be maintained by ERCOT for a total of seven years from ERCOT’s creation or receipt of the data. |  |

| Requirement ID | FR10 |
| --- | --- |
| Requirement Name | Provision of Data to Individual Market Participants |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.4 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall develop the Data Archive and Data Warehouse systems with the capability to provide data services to support requests made by individual Market Participants or ERCOT business units for data not available on the MIS. (2) For Market data requests that require additional data services not required by these protocols ERCOT shall provide the data service fee structure to Market Participants through the MIS. (3) ERCOT shall incorporate the work effort to deliver additional Market data requests within their normal delivery cycles and inform the Market participants of the delivery timelines, either directly or through the appropriate market subcommittee. Data requested by a Market Participant that is not available to the requesting Market Participant via the MIS may be provided by ERCOT to the requesting Market Participant on approval of the ERCOT CEO or designee and subject to constraints on ERCOT’s resources, but this Section is not an authorization to release Protected Information of other Entities. Where answering the request imposes a burden or expense on ERCOT, the data may be provided on the condition that a reasonable contribution to ERCOT for its cost incurred is made by the requesting Market Participant according to the ERCOT service fee schedule posted on the MIS Public Area. ERCOT shall accommodate these requests on a nondiscriminatory basis. |  |

| Requirement ID | FR11 |
| --- | --- |
| Requirement Name | Regulatory Reports |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.5 (1), 17.5 (2) |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall define with PUCT staff and the WEMM function the desired elements to be included in a nightly report. (2) ERCOT shall generate the nightly report to be sent to the PUCT staff and the WEMM function on a daily basis and a schedule agreeable to the PUCT staff and the WEMM function. (3) ERCOT shall create and deliver any additional reports required by PUCT staff, the WEMM, and FERC according to the schedule approved by the ERCOT Board, the PUCT staff and WEMM. - ERCOT shall make data available to the PUCT staff and WEMM in a nightly report. PUCT staff or WEMM may require, after consultation with ERCOT, changes to the form of the nightly report, reasonably limited to data ERCOT is able to collect. (2) ERCOT staff shall develop a schedule and format for reports to the PUCT staff, WEMM, and the Federal Energy Regulatory Commission (FERC) as required. ERCOT staff shall prepare and submit the reports according to the schedule approved by the ERCOT Board, the PUCT staff and WEMM. |  |

| Requirement ID | FR12 |
| --- | --- |
| Requirement Name | Evaluation of ERCOT Operations and Market Performance |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | NP.Section 17.6 |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall develop Data Archive and Data Warehouse systems with the capability to provide reporting and business intelligence products that enable ERCOT to evaluate its system operation and market performance. ERCOT shall procure appropriate analysis tools to use with these datasets to produce “ad Hoc” queries of this data. This functionality shall include statistical analysis functions. (2) ERCOT shall ensure these products from the Data Archive and Data Warehouse systems can be integrated with operational reports from the ERCOT source systems to deliver comprehensive status assessments. (3) ERCOT shall use these products to identify potential areas for improvements and communicate those results to PUCT staff, WEMM function, Market Participants, and other interested Entities. ERCOT shall evaluate its system operation and market performance to identify potential areas for improvements. This evaluation must consider impacts on system operations and market performance of PUCT rules, these Protocols, Operating Guides, and any other ERCOT operating procedures. Upon identification of areas that require improvements, ERCOT shall take appropriate actions to make those improvements including revising its procedures, proposing changes to these Protocols through the process specified in Section 21, Process for Protocol Revision, and submitting recommendations to the PUCT or other appropriate Governmental Authorities. In performing these tasks, ERCOT shall seek comments and recommendations from the WEMM, PUCT staff, Market Participants, and other interested Entities. |  |

## Requirements from Other Binding Documents

| Requirement ID | FR13 |
| --- | --- |
| Requirement Name | Response to PUCT Data Requests |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | PUCT Rule: Substantive Rules Applicable to Electric Service Providers 25.362(e)(1)(C) |
| Coverage of Protocol | Full |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall develop the Data Archive and Data Warehouse systems with the capability to respond to probable data requests from Commission or Commission staff in order to support legislated Commission functions. (2) ERCOT shall notify the Commission or Commission staff in the event that any such requests can not be immediately executed within the performance capability of the Data Archive and Data Warehouse systems, and in this notification provide solution alternatives that seek to satisfy the requests within the operations of the existing data services. The procedures adopted by ERCOT under this subsection shall include provisions for promptly responding to a request from the commission or commission staff for information that ERCOT collects, creates or maintains in order to provide the commission access to information that the commission or commission staff determines is necessary to assess market power and the development and operation of competitive wholesale and retail markets; to evaluate possible violations of laws, rules, protocols, or codes of conduct; or to carry out the commission’s responsibilities for oversight of ERCOT. |  |

# Supplementary Requirements

| Requirement ID | SR1 |
| --- | --- |
| Requirement Name | Data Requirement Specification |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall work with PUCT, ERCOT Business, and the WEMM function to provide a list of all data requirements which satisfy the requirements of this Protocol. This definition of data requirements will describe: - Specific data products requirements - Specific product content requirements - Specific delivery schedule requirements - A change management process to be created by which PUCT, ERCOT Business, or the WEMM function will inform ERCOT of changes to “required data needs” Protocol Reference: 17.1 |  |

| Requirement ID | SR2 |
| --- | --- |
| Requirement Name | Data Collection Timing Specification |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description - ERCOT shall define Service Level Agreements (SLAs) for each data source to support the replication requirements for the data source including latency requirements. Protocol Reference: 17.1 |  |

| Requirement ID | SR3 |
| --- | --- |
| Requirement Name | Data Access Specification |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description - ERCOT shall provide PUCT staff and WEMM with direct read-only access to ERCOT-sponsored databases, most of which are Oracle-based. "Direct access" includes, but is not limited to, client-server access and access through industry-standard Internet protocols. - ERCOT shall provide PUCT staff and WEMM with extracts of data from the data repository or direct access to the data repository as defined in SLAs defining access requirements. - ERCOT shall define with PUCT staff and WEMM required roles for data access. Protocol Reference: 17.3.1 |  |

| Requirement ID | SR4 |
| --- | --- |
| Requirement Name | Data Access Security |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description - ERCOT shall comply with security architectural guidelines for the Nodal Market to maintain appropriate access privileges and protections for data collected under the scope of this protocol. - ERCOT shall ensure that all data requests to and resultant data sets from the Data Archive and Data Warehouse are routed through the security layer. Nodal Reference: High-Level Nodal Architecture |  |

| Requirement ID | SR5 |
| --- | --- |
| Requirement Name | Data Access Performance Requirement |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description ERCOT shall create a set of SLAs to set expectations around : - the timeliness of ERCOTs response to data requirements changes - the latency associated with availability of replicated data - the performance of extract and report requests Protocol Reference: 17.3, 17.3.1 |  |

| Requirement ID | SR6 |
| --- | --- |
| Requirement Name | Data Services Architecture |
| Source Mapping (Protocol/NERC/FERC and other binding documents Ref #) | Supplementary to Protocols |
| Coverage of Source |  |
| Traceability to Sub-Process |  |
| Sub-Process Element Coverage |  |
| Description (1) ERCOT shall ensure the architectural foundations of Data Services are developed to be flexible and configurable to meet Nodal Market data needs that will be identified after the initial go-live of the Nodal market. Protocol Reference: 17.4 |  |

## Performance Requirements

No performance requirements exist in the protocols or supplementary documents.  Performance characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and detailed in the detailed requirements documents for each data service, product, or groups of products.

## Legal and Regulatory requirements

ERCOT shall conform to collection, handling, verification, and retention guidelines outlined in subsection (e) of P.U.C Subst. R. 25.362, Electric Reliability Council of Texas (ERCOT) governance.

## System and Communication Requirements

Protocols requests concerning the System and Communication requirements are specified in requirements FR4, FR5, FR6, FR8, FR10, FR13, and SR1.

## System Security Requirements

Protocols requests concerning the system security requirements are specified in requirements SR4.

## Back up and Recovery Requirements

No back up and recovery requirements exist in the protocols or supplementary documents.  Back up and recovery characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and detailed in the detailed requirements documents for each data service, product, or groups of products.

## Availability and Redundancy Requirements

The availability of data repositories required Section 17 protocols are specified in requirements  SR4.

No Redundancy requirements exist in the protocols or supplementary documents.  Redundancy characteristics will be defined in the EDW conceptual design in accordance with ERCOT standard disaster recovery plans.

## Maintainability Requirements

Protocols requests concerning the Maintainability requirements are specified in requirements FR9 and SR6.

## Training and Documentation Requirements

Protocols requests concerning the Data Catalog are specified in requirements FR5.

Additional training and documentation related to deliverables required by these protocols will be developed according to existing ERCOT processes and standards and delivered with the specific Data Services.

## Usability Requirements

No usability requirements exist in the protocols or supplementary documents.  Usability characteristics will be defined by PUCT, ERCOT Business, the WEMM function, or Market Participant agreement and detailed in the detailed requirements documents for each data service, product, or groups of products.

# Protocol Coverage

| Protocol Sub-Section # (To the lowest level of granularity as possible) | Description | Coverage by Requirements (Full/Partial) |
| --- | --- | --- |
| 17.1 | Marketing Monitoring Data Collection | Full (FR1) |
| 17.2 | Objective and Scope of Market monitoring Data Collection | n/a |
| 17.3 | Market Data Collection and Use | Full (FR2) |
| 17.3.1 | Data Collection and Retention | Full (FR3, FR4) |
| 17.3.2 | Data Catalog | Full (FR5) |
| 17.3.3 (1) | Accuracy of Data Collection | Full (FR6) |
| 17.3.3 (2) | Accuracy of Data Submission | Full (FR7) |
| 17.3.3 (3) | Annual Data Accuracy Audit | Full (FR8) |
| 17.3.4 | Data Catalog | Full (FR4) |
| 17.3.5 | Data Retention | Full (FR9) |
| 17.4 | Provision of Data to Individual Market Participants | Full (FR10) |
| 17.5 (1) | Regulatory Reports - Nightly | Full (FR11) |
| 17.5 (2) | Regulatory Reports – Scheduled | Full (FR11) |
| 17.6 | Evaluate ERCOT Operations and Market Performance | Full (FR12) |

# Sub-Process Coverage

| Sub-Process ID | Sub-Process Name | Coverage by Requirements (Full/Partial) |
| --- | --- | --- |
| n/a |  |  |