| PRR Number | 714 | PRR Title | Qualification and Periodic Testing of Loads acting as Resources (LaaRs) |
| --- | --- | --- | --- |
| Date |  | March 7, 2007 |  |
| Submitter’s Information |  |  |  |
| Name |  | Fred Sherman |  |
| E-mail Address |  | freds@gplops.org |  |
| Company |  | Garland Power and Light |  |
| Company Address |  | 525 E. Ave. B, Garland, Texas 75040 |  |
| Phone Number |  | 972-205-3184 |  |
| Fax Number |  | 972-205-3106 |  |

ERCOT/Market Segment Impacts and Benefits

| Assumptions | 1 |  |  |
| --- | --- | --- | --- |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 |  |  |
| Additional Qualitative Information | 1 |  |  |
| Other Comments | 1 |  |  |

Comments

In understanding the events of 4/17/06 and 10/3/06, this PRR may be somewhat problematic in changing the Protocols to require an actual load interruption at ERCOT’s request for testing purposes only. While a LaaR is never aware of the day or time that it could be interrupted, they participate based on interruptions caused by actual system events. The current method of testing in the Protocols should be sufficient to test and verify the appropriate operation of the LaaR. The actual interruption by ERCOT for testing purposes only would be the equivalent of ERCOT requiring a Resource to be brought on line for Ancillary Service Testing once per year at ERCOT’s discretion. Perhaps a better way would be to apply language that is already contained in the Protocols under the following:

6.10.12	Non-Compliance Actions of ERCOT

ERCOT may revoke any or all Ancillary Service qualifications of any QSE providing an Ancillary Service(s) for continued failure to comply with required performance standards.

If a LaaR failed to respond per Protocols, then ERCOT can revoke the LaaR’s qualifications and cause the LaaR to undergo provisional qualification to be able to re-enter the market.

It appears that simply following the current Protocols would solve the issue making the need for this PRR unnecessary.

Revised Proposed Protocol Language

None