DRAFT

OGRTF 03/19/2007 Meeting Notes

Attendance:

Stephen C. Knapp (Chair)	Constellation                	QSE            	410-468-3606

Jack Thormahlen         	LCRA                          	QSE           	512-473-3200 x-2635

Ann Boren                    	ERCOT	ISO 	512-275-7411

Wayne Kemper          	Centerpoint                  	TO              	713-207-2192

Colleen Frosch              	ERCOT                        	ISO          	512-248-4219

Rick Keetch                	Reliant                        	QSE           	713-497-2526

Van Weldon               	ERCOT 	ISO          	512-225-7031

Jose Gaytan             	ERCOT                      	ISO            	512-248-4279

David Bogan	TXU	TO

Pat Moast	ERCOT	ISO

Bill Blevins	ERCOT	ISO

- 9:30a.m.  Anti-trust Admonition

- Review meeting notes from 02/13/07, minor changes were made and were approved.

- David Bogan will rework 8.1.1.2 #1 and will work with Bill Blevins.

- Jose Gaytan will check with David Bogan to see if 8.1.1.2 #2b is needed.  If so we need to specify what the “other” possible failures are.  (email was sent)

- Sections 8.3.1.1 & 8.3.1.1.1 may not be needed because ERCOT uses ICCP and there is no longer a need for DNS serves.  (email was sent to David Dickenson)

- Jose Gaytan will speak to the Manager of the Help Desk due to section 8.3.2 (g).  There will be a need to report failures in communication and get updates from the help desk. (email sent to Craig Rushing)

- Ann Boren will Contact Jim Brenton regarding Section 8.3.3 #4

Feb 20, 2007 Meeting Notes

- 9:10 Anti-trust Admonition

- Continue with review of section 8 of the Nodal Operating Guides.

- April meeting will be held 16th,17th and 19th.

- May meeting will be held 14th, 15th and 17th.