## Portlets List
Portlet | 1 | My Applications | prepopulated with selection of applications the user has access to (launchable) | links
Portlet | 2 | My Reports | user specified links to reports | links
Portlet | 3 | Load Forecasts | Load – system-wide and by zone. Need an indicator showing when ERCOT manually overrides the automated load forecast. | dashboard | within 10 sec
Portlet | 4 | Weather | Weather - by city and zone | dashboard | at least hourly
Portlet | 5 | LMPs | Day Ahead & Real Time By bus, hub, zone, system wide and other published aggregate prices | dashboard | data refreshed every 5 minutes
Portlet | 6 | Imports/Exports | Imports/Exports over the DC Ties | dashboard | within 10 sec
Portlet | 7 | Shadow Prices | Shadow prices (congestion info) | dashboard | data refreshed every 5 minutes
Portlet | 8 | LMPs Ticker | A scroll bar with LMPs going across the top | dashboard | data refreshed every 5 minutes
Portlet | 9 | ERCOT ACE | ERCOT SCE (Comparable to the PJM ACE display on eData) and individual company SCE | dashboard | within 10 sec
Portlet | 10 | ERCOT Time | Current ERCOT date and time (for people in other time zones) | timestamp? | within 10 sec
Portlet | 12 | Deployed Ancillaries | Deployed ancillaries | dashboard | within 10 sec
Portlet | 13 | Frequency | Frequency | dashboard | within 10 sec
Portlet | 17 | Responsive Reserve Capacity | - Generation Resources; Load Resources excluding - Controllable Load Resources; - Controllable Load Resources; | dashboard
Portlet | 18 | Non-Spinning Reserve | - On-Line Generation Resources with Energy Offer Curves; - undeployed Load Resources; - Off-Line Generation Resources; - Resources with Output Schedules; | dashboard
Portlet | 19 | Undeployed Reg-Up & Reg-Down |  | dashboard
Portlet | 20 | Available capacity | with Energy Offer Curves - that can be used to increase Base Points in SCED; - that can be used to decrease Base Points in SCED; without Energy Offer Curves in the ERCOT System - that can be used to increase Base Points in SCED; - that can be used to dec | dashboard
Portlet | 21 | IN THIS SECTION: | List each page and either the entire list of portlets on that page, or a truncated list. | Informational |  | Public
Portlet | 22 | CRR Auction | Contains links Elements below E126 E127 E128 E129 E131 E133 E135 possibly: E132 E134 | List of links |  | Public
Portlet | 23 | Settlements | Contains links Elements below: E138 E139 E140 E142 E143 E147 E148 E149 E151 E186 | list of links |  | Secure
Portlet | 24 | Day Ahead Market Useful Links | Contains links Elements below: E59 E61 E64 E65 | Links |  | Certified
Portlet | 25 | Energy Offers & Trades | Contains links Elements below: E63 E71 E73 E74 | links |  | Secure
Portlet | 26 | Ancillary Service Trades | Contains links Elements below: E67 E69 | list of links |  | Certified
Portlet | 27 | PTP Obligation Bid | continuous display of PTP Obligation Bid | download table |  | Certified
Portlet | 28 | Valid Startup and Minimum-Energy Offers | continuous display of valid Startup Offers and Minimum Energy Offers | download table |  | Certified
Portlet | 29 | Day-Ahead MCPC | for each type of Ancillary Service for each hour of the operating day | download table |  | Public
Portlet | 30 | Day-Ahead Settlement Point Prices | for each settlement point for each hour of the operating day | download table |  | Public
Portlet | 31 | Day-Ahead Hourly LMPs | for each electrical bus for each hour of the operating day | download table |  | Public
Portlet | 32 | Day-Ahead Shadow Prices | for every binding constraint for each hour of the operating day | download table |  | Public
Portlet | 33 | Day-Ahead Ancillary Service Offers | in MW by AS type for each hour of the operating day | download table |  | Public
Portlet | 34 | Day-Ahead Total Energy Bought | in MWh by at each setttlement point for each AS type for each hour of the operating day | download table |  | Public
Portlet | 35 | Day-Ahead Total Energy Sold | in MWh by at each settlement point for each AS type for each hour of the operating day | download table |  | Public
Portlet | 36 | Aggregated Ancillary Service Offer Curve | of all AS offers for each type of AS for each hour of the operating day | download table |  | Public
Portlet | 37 | Real-Time Market Useful Links | Contains links Elements below: E86 E88 E95 E97 | list of links |  | Secure
Portlet | 38 | Real Time Prices Parameters | Parameters as required by Section 6.4.8 | download table |  | Secure
Portlet | 39 | Changes in ERCOT System Conditions | - Changes in ERCOT System conditions | download table |  | Secure, some currently Public
Portlet | 40 | Transmission Facilities Status | - Changes or potential changes in the status of transmission facilities | download table |  | Secure, some currently Public
Portlet | 41 | Adverse Weather Conditions | - Adverse weather conditions | data |  | Secure, some currently Public
Portlet | 42 | System-Wide Load Forecasts | -system wide load forecasts | download table |  | Secure, some currently Public
Portlet | 43 | RMR Services Quantities | - for each hour of operating day | download table |  | Secure, some currently Public
Portlet | 44 | Updated Electrical Bus Load Distribution Factors | - for each hour of operating day and all hours of next operating day | download table |  | Secure, some currently Public
Portlet | 45 | SASM MCPC | for each type of Ancillary Service for each hour, questionable prices are flagged | download table |  | Public
Portlet | 46 | Total Ancillary Service | procured in MW by AS type for each hour | download table |  | Public
Portlet | 48 | Dispatch Instruction Limitations | procured in MW by AS type for each hour | download table |  | Secure
Portlet | 49 | IN THIS SECTION: | List each page and either the entire list of portlets on that page, or a truncated list. | List of links |  | Public
Portlet | 50 | Responsive Reserve Capacities | - Generation Resources - Load Resources | data |  | Secure
Portlet | 51 | Non-Spinning Reserve | - On-Line Generation Resources - Undeployed Load Resources - Off-Line Generation Resources - Resources with Output Schedules | data |  | Secure
Portlet | 52 | Undeployed | - Undeployed Reg-Up - Undeployed Reg-Down | data |  | Secure
Portlet | 53 | Available Capacity | - with AND without offer curves - to increase Base Points in SCED - to decrease Base Points in SCED | data |  | Secure
Portlet | 54 | Security Violations and Binding Transmission Constraints | describe the limiting element | download table |  | Secure
Portlet | 55 | Aggregated Resource Outages | Contains links Elements below: E18 E19 | links |  | Secure
Portlet | 56 | RMR Information | Contains links Elements below: E46 E48 E49 E50 | links |  | Secure
Portlet | 57 | Suspension of Operation | - posting of received Notifications of suspension of operation - comments received from MPs - ERCOT's determination - "Part II" Information - links to all existing relevant studies and data Word Docs - also a notice?? | table and list of links ?? |  | Secure
Portlet | 58 | Generation Useful Links | Contains links Elements below: E167 E54 E55 E57 E17 E44 | list of links |  | Secure
portlet | 59 | Validated Output Schedules | a QSEs particular validation schedule | data |  | Certified
portlet | 60 | Total Generation Data | total generation, total AML | download table |  | Certified
Portlet | 61 | Load Useful Links | Contains links Elements below: E15 E56 E183 E184 | list of links |  | Secure
portlet | 62 | Mid-Term Load Forecast | Hourly post about forecasted load over next 168 hours, by weather zone | download table |  | Secure, currently Public
portlet | 63 | Long-Term Load Forecast | Daily post about forecasted load over next 365 days, by weather zone | graphic? |  | Secure, currently Public
portlet | 64 | Load Profiles | - links to load profiles - link to archive - link to profiling models | download table |  | Public
portlet | 65 | Validation Tests | - details of all tests - reports generated as exceptions identified and posted | download table |  | Public
Portlet | 66 | Transmission Useful Links | Contains links Elements below: E22 E32 E195 | list of links |  | Secure
Portlet | 67 | New Transmission Elements | summary level info about new transmission elements | links? |  | Secure
Portlet | 68 | Planned Transmission Outages | Schedule of maintenance, planned outages | links? |  | Secure, currently Public
Portlet | 69 | Scheduled Transmission Outages | Schedule of maintenance, Scheduled outages | links? |  | Secure, currently Public
Portlet | 70 | Loss Factors | Contains links Elements below: E170 E171 | list of links |  | Secure, currently Public
portlet | 71 | Network Model Information | Contains links Elements below: E23 E24 E25 E33 E35 E27 E39 | list of links |  | Secure
portlet of links | 72 | Transmission Model | - link to transmission model - submittal schedule for updating transmission info - link to SSWG Procedure Manual | list of links |  | Secure, currently Public
portlet | 73 | CRR Network Model | link to CRR Network Model, link to documents relating to SEPS | list of links |  | Secure
portlet | 74 | Model Information Useful Links | Contains links Elements below: E40 E41 E51 E34 E125 | list of links |  | Secure
portlet | 75 | Forecasted ERCOT System Conditions | - link to applications: weather assumptions, ERCOT System, Weather Zone and Load Zone Forecasts - link to files: Network Operations Model topology, weather-related changes to transmission contingency list, load profiles for non-IDR, distribution loss fact | list of links |  | Secure
Portlet | 76 | Dynamic Ratings | dynamic ratings adjusted for the current temperature | download table |  | Secure
Portlet | 77 | Application Launch Pad | All Applications the user can access | links
Portlet | 79 | Report Configurator | configurable report portlet | GUI
Portlet | 80 | Report Explorer | portlet that presents report explorer in some way
Portlet | 81 | Notices | Notices portlet | GUI
Portlet | 82 | IN THIS SECTION: | List each page and either the entire list of portlets on that page, or a truncated list. | informational |  | Public
portlet | 83 | Qualified Scheduling Entities | - list of all QSEs - cautionary statement | links |  | Public
portlet | 84 | Services Useful Links | Contains the following: E175 E163 E172 E177 | links |  | Public
portlet | 85 | Registration Procedures and Forms | - agreements and procedures documents, see CI for list - info about fees? (ci 151) - forms for all MPs to register | list of links to docs, also maybe to an application |  | Public
Portlet | 86 | IN THIS SECTION: | List each page and either the entire list of portlets on that page, or a truncated list. | List of links |  | Public
Portlet | 89 | IN THIS SECTION: | List each page and either the entire list of portlets on that page, or a truncated list. | List of links |  | Public
Portlet | 90 | ERCOT Fee Schedule | Contains the links elements below: E153 E155 E156 maybe E164 if link | list of links |  | Public
Portlet | 91 | Other Binding Documents | list of other binding documents pages on ERCOT.com | index, links |  | Public
Portlet | 92 | Recent Audit Reports | Audit reports created in the last time period, link to page of all | list of links |  | Public
Portlet | 93 | Dashboard Portlets | explanation and links to view static examples (perhaps gifs) of dashboard portlets | links to information
Portlet | 94 | Search | the portlet that displays advanced search and search results | unique |  | Public
Portlet | 95 | Protocols | Contains the links below: | list of links |  | Public
Portlet | 96 | Compliance | Contains elements below | list of links |  | Public
Portlet | 97 | Change Requests | contains E28 below, maybe others | list of links |  | Secure
Portlet | 99 | Nodal Protocols | Contains the links below: | list of links |  | Public
Portlet | 100 | McCamey Area Maps | maps for wind data of a particular area in Texas | list of links
Portlet | 101 | Contingencies | links below | List of links
Portlet | 102 | Changes to RUC Committed Resources | Changes to RUC committed Resources | download table
Portlet | 103 | Verifiable Costs Processes | - Process for Determining Verifiable Costs - Process for determining verifiable actual costs | List of links
Portlet | 104 | Transmission Outage Statistics | Transmission Outage Statistics | download table
Portlet | 105 | Resource Outage Statistics | Resource Outage Statistics | download table
Portlet | 106 | Dynamic Rating Report | Dynamic Rating Report | download table
Portlet | 107 | Breaker and Switch Status | Breaker and Switch Status | download table
Portlet | 108 | Transmission Flows and Voltages | Transmission Flows and Voltages | download table
Portlet | 109 | Transformer Flows, Voltages and Tap Position | Transformer Flows, Voltages and Tap Position | download table
Portlet | 110 | Voltage Schedules | Voltage Schedules | download table
Portlet | 111 | Binding Transmission Constraints | Binding Transmission Constraints | download table
Portlet | 112 | Shadow Prices on Binding Transmission Constraints | what does this look like? | download table
Portlet | 113 | Average of Loads | what does this look like? - 15 min. averages | download table
Portlet | 114 | Total Amount of Regulation Service |  | download table
Portlet | 115 | Weather Responsiveness Data | - Annual data - Monthly Update (how many??) | List of links
Portlet | 116 | Unaccounted For Energy | UFE Analysis - UFE for each settlement interval | download table
Portlet | 117 | Weather Zone Assignment | Assignment of Weather Zones to ESI IDs | List of links
Portlet | 118 | RMR Orders |  | download table??