| OGRR Number |  | OGRR Title |  |
| --- | --- | --- | --- |
| Operating Guide Section Requiring Revision (include Section No. and Title) |  | Section 4 Emergency Operation, 4.5 Emergency Electric Curtailment Plan, 4.5.3 Implementation |  |
| Protocol Section Requiring Revision, if any. |  | ## N/A |  |
| Requested Resolution (Normal or Urgent) |  | ## Urgent |  |
| Revision Description |  | Language in the ERCOT Operating Guides to provide maximum time periods allowed for firm load shed implementation by TDSPs at the request of ERCOT System Operators when in EECP Step 3. |  |
| ###### Reason for Revision |  | Provides guidance to ERCOT Compliance in monitoring TDSPs response to firm load shed requests from ERCOT System Operators during EECP Step 3. |  |
| Timeline |  |  |  |
| Date Posted |  |  |  |
| Please access the ERCOT website for current timeline information. |  |  |  |

| Sponsor |  |
| --- | --- |
| Name | John Jonte |
| E-mail Address | john.jonte@CenterPointEnergy.com |
| Company | CenterPoint Energy |
| Company Address | P.O. Box 1700 Houston, Tx 77251-1700 |
| Phone Number | 713-207-2252 |
| Fax Number | 713-207-2444 |

ERCOT/Market Segment Impacts and Benefits

Instructions:  To allow for comprehensive OGRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the OGRR.

| Assumptions | 1 | Firm load shed requests from ERCOT are initiated when in EECP Step 3. |  |
| --- | --- | --- | --- |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Cost | 1 | TDSPs | N/A |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
|  |  | Impact Area | Monetary Impact |
| Market Benefit | 1 | ERCOT Compliance | N/A |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Additional Qualitative Information | 1 |  |  |
|  | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |
| Other | 1 |  |  |
| Comments | 2 |  |  |
|  | 3 |  |  |
|  | 4 |  |  |

Proposed Operating Guide Language Revision

Add new paragraph to the end of 4.5.3 IMPLEMENTATION with the following language:

During EECP Step 3 ERCOT must be capable of shedding sufficient firm load in a timeframe adequate for responding to the emergency.  Each TDSP, or its Designated Agent, will be capable of shedding their allocation of firm load, with out avoidable delay.  The maximum time for the TDSP to interrupt firm load will depend on how much load is to be shed and by whether the load is to be interrupted by SCADA or by the dispatch of personnel to substations.  The following requirements apply for an ERCOT instruction to shed firm load, up to a total of 1000 MW:

- Load interrupted by SCADA will be shed without delay and in a time period not exceed 30 minutes.

- Load interrupted by dispatch of personnel to substations to manually shed load will be implemented within a time period not to exceed one (1) hour.

ERCOT must know what portion of the firm load shed is provided by SCADA compared to that provided by the dispatch of personnel.  This proportion will be considered when determining the amount of  firm load shed requested for the event.

Firm load shed amounts in excess of a 1000 MW block may require more time to implement.

Question from WEK:  Is there a maximum timeframe for these additional load shed requests?

Each TDSP, or its Designated Agent, will provide ERCOT a status report of load shed progress within thirty (30) minutes of the time of ERCOT’s instruction or upon ERCOT’s request.