From: 	<Sherry.Looney@txu.com>

To:	<Jack.Thormahlen@lcra.org>

Date: 	4/3/2007 9:25:22 AM

Subject: 	RE: OGRTF Comments on OGRR192

My comments:

Add language to clarify that if a unit is not capable of conducting the

online test due to the possibility of equipment damage, the unit will be

exempt from testing if it is not online at the time of a frequency

disturbance event within the two year time for testing.

Thanks,

Sherry Looney

-----Original Message-----

From: Jack Thormahlen [mailto:Jack.Thormahlen@lcra.org]

Sent: Tuesday, April 03, 2007 9:20 AM

To: Looney, Sherry

Subject: RE: OGRTF Comments on OGRR192

Steve's father-in-law had a second heart attack last weekend and Steve

has not been in the office to forward your response to me. Please resend

the response to me for my use in the tally of responses.

Thanks

Jack Thormahlen, P.E.

LCRA

Sr. Power System Analyst

1-800-776-5272 ext.2635

>>> <Sherry.Looney@txu.com> 4/3/2007 8:51 AM >>>

I sent my comments to Steve Knapp the day the email went out.

Thanks,

Sherry

-----Original Message-----

From: Jack Thormahlen [mailto:Jack.Thormahlen@lcra.org]

Sent: Friday, March 30, 2007 10:53 AM

To: ERCOT Operations Working Group

Subject: Fwd: OGRTF Comments on OGRR192

As promised - This email is for the purpose of obtaining consensus from

the OWG to forward the OGRR192 (attached) as the recommendation of OWG

to ROS. This is with the proviso that an additional OGRR will be

produced by Tenaska and/or TXU or anyone else that cares to submit the

test procedure, that provides for an off-line test procedure. Please

respond to this email with your desire to have the attached OGRR192

revision as the OWG recommendation to ROS by stating YES or by stating

NO. If NO, please provide the reason. If, YES is a consensus, then Ann

and I will officially make the document reflect this response. I look

forward to your quick response by EOB Monday, April 2, 2007.

Thanks

Jack Thormahlen, P.E.

LCRA

Sr. Power System Analyst

1-800-776-5272 ext.2635