Nodal Protocol Revision Request


	NPRR Number
	
	NPRR Title
	

	Nodal Protocol Section(s) Requiring Revision (include Section No. and Title)
	2.1
Definitions

3.5.2
Hub Definitions

	Revision Description
	This revision clarifies the concept of “Hub Bus” allowing for direct assignment of Electrical Buses to a Hub and clarifies the number of Hub Buses in a Hub based on operating model Electrical Bus configuration

	Reason for Revision
	Currently, the “Hub Bus” is not a modeling concept that lends itself to the node based model, and does not provide the linkages from Hub to Electrical Bus in the manner envisioned in the initial drafting of the protocols.  This revision seeks to concretely define the relationship from Electrical Bus to Hub Bus and from Hub Bus to Hub.

	Reason for Revision (from Transition Plan Task Force (TPTF) Charter Scope)
	 FORMCHECKBOX 
(1) Revisions resulting from Commission orders; 

 FORMCHECKBOX 
(2) Clarifications of Protocol language that do not change the intent or technical specifications of the Protocols; 

 FORMCHECKBOX 
(3) Correction of technical errors or processes that are found to not be technically feasible; 

 FORMCHECKBOX 
(4) Revisions to the Protocols necessary to implement the results of the value engineering analysis or to otherwise avoid severe cost impacts; or
 FORMCHECKBOX 
(5) Other (describe):

	TPTF Review (Yes or No, and summary of conclusion)
	

	Credit Implications (Yes or No, and summary of impact)
	

	Timeline

	Date Posted
	

	Please access the ERCOT website for current timeline information.



	Sponsor

	Name
	John Moseley

	E-mail Address
	jmoseley@ercot.com

	Company
	ERCOT

	Company Address
	2705 West Lake Drive

	Phone Number
	(512) 248-6362

	Fax Number
	(512) 248-3055


	ERCOT/Market Segment Impacts and Benefits


Instructions:  To allow for comprehensive NPRR consideration, please fill out each block below completely, even if your response is “none,” “not known,” or “not applicable.”  Wherever possible, please include reasons, explanations, and cost/benefit analyses pertaining to the NPRR.
	

	Assumptions
	1
	

	
	2
	

	
	3
	

	
	4
	

	

	
	Impact Area
	Monetary Impact

	Market Cost
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	

	
	Impact Area
	Monetary Impact

	Market Benefit
	1
	
	

	
	2
	
	

	
	3
	
	

	
	4
	
	

	

	Additional Qualitative Information

	1
	

	
	2
	

	
	3
	

	
	4
	

	

	Other
	1
	

	Comments
	2
	

	
	3
	

	
	4
	

	


	Proposed Nodal Protocol Language Revision


2.1 DEFINITIONS

Definitions are supplied for terms used in more than one Section of the Protocols.  If a term is used in only one Section, it is defined there at its earliest usage.

Hub 

A designated Settlement Point consisting of a Hub Bus or group of Hub Buses and the settlement price calculation methodology that is set out in the definition of the Hub in Section 3.5.2, Hub Definitions. Hubs may only be created by an amendment to Section 3.5.2.   The list of Hub Buses and the settlement price calculation methodology that define a Hub can never be modified and a Hub, once defined, exists in perpetuity.
Hub Bus

An energized Electrical Bus or group of energized Electrical Buses defined as a single element in the  Hub definition. The LMP of the Hub Bus is the simple average of the LMPs assigned to each energized Electrical Bus in the Hub Bus.  If all Electrical Buses within a Hub Bus are de-energized the LMP of the Hub Bus is zero.  This is used solely for calculating the prices of existing Hub Buses defined in Section 3.5.2, Hub Definitions. 
Electrical Bus

A physical transmission element that connects, using breakers and switches, one or more:
a) Loads, b) lines, c) transformers, d) generators, e) capacitors, f) reactors,g) phase shifters and h) other reactive control devices to the ERCOT Transmission Grid where there is negligible impedance between the connected Transmission Elements.  Electrical Buses may be connected to other Electrical Buses using breakers and associated switches.  There are no breakers or switches within an Electrical Bus.  The breakers and associated switches that are used to interconnect Electrical Buses are not themselves an Electrical Bus.  All Electrical Buses are designated by ERCOT and TSPs for modeling the electrical topology of the ERCOT Transmission Grid.  

3.5
Hubs

3.5.1
Process for Defining Hubs

(1)
Hubs settled through ERCOT may only be created by an amendment to Section 3.5.2, Hub Definitions.  Hubs are made up of one or more Electrical Buses. ERCOT shall post the list of Electrical Buses (including their names) that are part of a Hub on the MIS Public Area.  A Hub, once defined, may not be modified except as explicitly described in the definition of that Hub. 

(2)
When any Electrical Bus within a Hub Bus is removed from the Network Operations Model or the CRR Network Model through permanent changes to the Network Operations Model or CRR Network Model, ERCOT shall provide notice to all Market Participants on the MIS Public Area as soon as practicable and exclude that Electrical Bus from the Hub Bus price calculation.
(3)
When any Electrical Bus within a Hub Bus is added to the Network Operations Model or the CRR Network Model through changes to the Network Operations Model or CRR Network Model, ERCOT shall provide notice to all Market Participants as soon as practicable and include that Electrical Bus in the Hub Bus price calculation.

(4)
When any Electrical Bus is disconnected from the Network Operations Model or the CRR Network Model through operations changes in transmission topology temporarily, ERCOT shall provide notice through the Outage Scheduler to all Market Participants and exclude that Electrical Bus from the Hub Bus price calculation.
(5)
In the event of a permanent change that removes the Hub Bus from the ERCOT Transmission Grid, ERCOT shall file a Protocol Revision Request to revise the appropriate Hub definition.  

(6)
If a TSP or ERCOT plans a nomenclature change in the Network Operations Model or the CRR Network Model, ERCOT shall file a Protocol Revision Request to include the nomenclature change in the Hub Bus definitions before implementing the name change to either the Network Operations Model or the CRR Network Model.

3.5.2
Hub Definitions


3.5.2.1
North 345 kV Hub (North 345)

(1)
The North 345 kV Hub is composed of the following Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ANASW
	345
	NORTH

	2
	CN345
	345
	NORTH

	3
	WLSH
	345
	NORTH

	4
	FMRVL
	345
	NORTH

	5
	LPCCS
	345
	NORTH

	6
	MNSES
	345
	NORTH

	7
	PRSSW
	345
	NORTH

	8
	SSPSW
	345
	NORTH

	9
	VLSES
	345
	NORTH

	10
	ALNSW1
	345
	NORTH

	11
	ALNSW2
	345
	NORTH

	12
	ALLNC
	345
	NORTH

	13
	BNDVS
	345
	NORTH

	14
	BNBSW
	345
	NORTH

	15
	BBSES
	345
	NORTH

	16
	BOSQUESW
	345
	NORTH

	17
	CDHSW
	345
	NORTH

	18
	CNTRY1
	345
	NORTH

	19
	CNTRY3
	345
	NORTH

	20
	CRLNW
	345
	NORTH

	21
	CMNSW
	345
	NORTH

	22
	CNRSW
	345
	NORTH

	23
	CRTLD
	345
	NORTH

	24
	DCSES
	345
	NORTH

	25
	EMSES
	345
	NORTH

	26
	ELKTN
	345
	NORTH

	27
	ELMOT
	345
	NORTH

	28
	EVRSW
	345
	NORTH

	29
	KWASS
	345
	NORTH

	30
	FGRSW
	345
	NORTH

	31
	FORSW
	345
	NORTH

	32
	FRNYPP1
	345
	NORTH

	33
	FRNYPP2
	345
	NORTH

	34
	GIBCRK
	345
	NORTH

	35
	HKBRY
	345
	NORTH

	36
	VLYRN
	345
	NORTH

	37
	JEWETN
	345
	NORTH

	38
	JEWETS
	345
	NORTH


	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	39
	KNEDL
	345
	NORTH

	40
	KLNSW
	345
	NORTH

	41
	LCSES
	345
	NORTH

	42
	LIGSW
	345
	NORTH

	43
	LEG
	345
	NORTH

	44
	LFKSW
	345
	NORTH

	45
	LWSSW
	345
	NORTH

	46
	MLSES
	345
	NORTH

	47
	MCCREE
	345
	NORTH

	48
	MDANP1
	345
	NORTH

	49
	MDANP2
	345
	NORTH

	50
	ENTPR
	345
	NORTH

	51
	NCDSE
	345
	NORTH

	52
	NORSW
	345
	NORTH

	53
	NUCOR
	345
	NORTH

	54
	PKRSW
	345
	NORTH

	55
	KMCHI
	345
	NORTH

	56
	PTENN
	345
	NORTH

	57
	RENSW
	345
	NORTH

	58
	RCHBR1
	345
	NORTH

	59
	RCHBR2
	345
	NORTH

	60
	RNKSW
	345
	NORTH

	61
	RKCRK
	345
	NORTH

	62
	RYSSW
	345
	NORTH

	63
	SGVSW
	345
	NORTH

	64
	SHBSW
	345
	NORTH

	65
	SHRSW
	345
	NORTH

	66
	SHRTP
	345
	NORTH

	67
	SCSES
	345
	NORTH

	68
	SYCRK
	345
	NORTH

	69
	THSES
	345
	NORTH

	70
	TMPSW
	345
	NORTH

	71
	TNP_ONE
	345
	NORTH

	72
	TRCNR
	345
	NORTH

	73
	TRSES1
	345
	NORTH

	74
	TRSES2
	345
	NORTH

	75
	TOKSW
	345
	NORTH

	76
	VENSWN
	345
	NORTH

	77
	VENSWS
	345
	NORTH


	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	78
	WLVEE
	345
	NORTH

	79
	W_DENT
	345
	NORTH

	80
	WTRML
	345
	NORTH

	81
	WCSWS
	345
	NORTH

	82
	WEBBS
	345
	NORTH

	83
	WHTNY
	345
	NORTH

	84
	WCPP
	345
	NORTH


EDITING NOTE:  Numbers above were NOT changed but should change if approved.)
(2)
The North 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP North345
=

[image: image1.wmf]hb

S

(HUBDF hb, North345 * DAHBP hb, North345)

Where:

DAHBP hb, North345
=

[image: image2.wmf]b

S

(HBDF b, hb, North345 * DALMP b, hb, North345)
HUBDF hb, North345
=
IF(HB=0, 0, 1 / HB North345)
HBDF b, hb, North345
=
IF(B=0, 0, 1 / B hb, North345)
The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP North345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, North345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, North345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, North345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, North345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


TXU Comment:  The TXU suggested changes are required to implement the provisions in the definition of Hub Bus that address energized electrical buses. 
(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP North345
=

[image: image3.wmf]hb

S

(HUBDF hb, North345 * (
[image: image4.wmf]y

S

(RTHBP hb, North345, y * TLMP y) / (
[image: image5.wmf]y

S

TLMP y)))

Where:

RTHBP hb, North345, y
=

[image: image6.wmf]b

S

(HBDF b, hb, North345 * RTLMP b, hb, North345, y)

HUBDF hb, North345
=
IF(HB=0, 0, 1 / HB North345)
HBDF b, hb, North345
=
IF(B=0, 0, 1 / B hb, North345)
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP North345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, North345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, North345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, North345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, North345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


3.5.2.2
South 345 kV Hub (South 345)

(1)
The South 345 kV Hub is composed of the following Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	AUSTRO
	345
	SOUTH

	2
	BLESSING
	345
	SOUTH

	3
	CAGNON
	345
	SOUTH

	4
	COLETO
	345
	SOUTH

	5
	CLEASP
	345
	SOUTH

	6
	NEDIN
	345
	SOUTH

	7
	FAYETT
	345
	SOUTH

	8
	FPPYD
	345
	SOUTH

	
	
	
	

	10
	GARFIE
	345
	SOUTH

	11
	GUADG
	345
	SOUTH

	12
	HAYSEN
	345
	SOUTH

	13
	HILLCTRY
	345
	SOUTH

	14
	HOLMAN
	345
	SOUTH

	15
	KENDAL
	345
	SOUTH

	16
	LA_PALMA
	345
	SOUTH

	17
	LON_HILL
	345
	SOUTH

	18
	LOSTPI
	345
	SOUTH

	19
	LYTTON_S
	345
	SOUTH

	20
	MARION
	345
	SOUTH

	21
	PAWNEE
	345
	SOUTH

	22
	RIOHONDO
	345
	SOUTH

	23
	RIONOG
	345
	SOUTH

	24
	SALEM
	345
	SOUTH

	25
	SDSES
	345
	SOUTH

	26
	SANMIGL
	345
	SOUTH

	27
	SKYLINE
	345
	SOUTH

	28
	STP
	345
	SOUTH

	29
	CALAVERS
	345
	SOUTH

	30
	BRAUNIG
	345
	SOUTH

	31
	WHITEPT
	345
	SOUTH

	32
	ZORN
	345
	SOUTH

	
	
	
	


(EDITING NOTE:  Numbers above were NOT changed but should change if approved.)
(2)
The South 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP South345
=

[image: image7.wmf]hb

S

(HUBDF hb, South345 * DAHBP hb, South345)
Not sure this equation is correct given the above definitions that we only want to include “energized electrical buses”.  Does the HBDF for a non-energized bus also need to come out of this equation so as to essentially ignore the effect of the not-energized bus or should we average in zero?  Agree that if all electrical buses in a station are not-energized the Hub Bus LMP is zero.  This likely should be shown here too.  This comment applies to all the calculation formulas in this section.
Where:

DAHBP hb, South345
=

[image: image8.wmf]b

S

(HBDF b, hb, South345 * DALMP b, hb, South345)
HUBDF hb, South345
=
IF(HB=0, 0, 1 / HB South345)
HBDF b, hb, South345
=
IF(B=0, 0, 1 / B hb, South345)
The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP South345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, South345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, South345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, South345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, South345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB South345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP South345
=

[image: image9.wmf]hb

S

(HUBDF hb, South345 * (
[image: image10.wmf]y

S

(RTHBP hb, South345, y * TLMP y) / (
[image: image11.wmf]y

S

TLMP y)))

Where:

RTHBP hb, South345, y
=

[image: image12.wmf]b

S

(HBDF b, hb, South345 * RTLMP b, hb, South345, y)

HUBDF hb, South345
=
IF(HB=0, 0, 1 / HB South345)
HBDF b, hb, South345
=
IF(B=0, 0, 1 / B hb, South345)
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP South345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, South345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, South345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, South345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, South345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB South345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


3.5.2.3
Houston 345 kV Hub (Houston 345)

(1)
The Houston 345 kV Hub is composed of the following listed Hub Buses:

Are the names given here for the Hub Buses the exact ERCOT name ERCO T will use to generate the Network Operations Model or will there be further changes.  Could we see some examples of the stations where ERCOT suggests using a N or S designation and when ERCOT suggests we just delete one of the Hub Buses? Same comment for all Hub definitions.
	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ADK
	345
	HOUSTON

	2
	_BI
	345
	HOUSTON

	3
	CBY
	345
	HOUSTON

	4
	CTR
	345
	HOUSTON

	5
	CHB
	345
	HOUSTON

	6
	DPW
	345
	HOUSTON

	7
	DOW
	345
	HOUSTON

	8
	RNS
	345
	HOUSTON

	9
	GBY
	345
	HOUSTON

	10
	_JN
	345
	HOUSTON

	11
	_KG
	345
	HOUSTON

	12
	KDL
	345
	HOUSTON

	13
	_NB
	345
	HOUSTON

	14
	_OB
	345
	HOUSTON

	15
	PHR
	345
	HOUSTON

	16
	SDN
	345
	HOUSTON

	17
	SMITHERS
	345
	HOUSTON

	18
	THW
	345
	HOUSTON

	19
	WAP
	345
	HOUSTON

	20
	_WO
	345
	HOUSTON


(2)
The Houston 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time-weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP Houston345
=

[image: image13.wmf]hb

S

(HUBDF hb, Houston345 * DAHBP hb, Houston345)

Where:

DAHBP hb, Houston345
=

[image: image14.wmf]b

S

(HBDF b, hb, Houston345 * DALMP b, hb, Houston345)
HUBDF hb, Houston345
=
IF(HB=0, 0, 1 / HB Houston345)
HBDF b, hb, Houston345
=
IF(B=0, 0, 1 / B hb, Houston345)
The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP Houston345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, Houston345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, Houston345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, Houston345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, Houston345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB Houston345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP Houston345
=

[image: image15.wmf]hb

S

(HUBDF hb, Houston345 * (
[image: image16.wmf]y

S

(RTHBP hb, Houston345, y * TLMP y) / (
[image: image17.wmf]y

S

TLMP y)))

Where:

RTHBP hb, Houston345, y
=

[image: image18.wmf]b

S

(HBDF b, hb, Houston345 * RTLMP b, hb, Houston345, y)

HUBDF hb, Houston345
=
IF(HB=0, 0, 1 / HB Houston345)
HBDF b, hb, Houston345
=
IF(B=0, 0, 1 / B hb, Houston345)
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP Houston345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, Houston345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, Houston345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, Houston345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, Houston345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB Houston345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


3.5.2.4
West 345 kV Hub (West 345)

(1)
The West 345 kV Hub is composed of the following listed Hub Buses:

	
	ERCOT Operations
	

	No.
	Hub Bus
	kV
	Hub

	1
	ABMB
	345
	WEST

	2
	BOMSW
	345
	WEST

	3
	OECCS
	345
	WEST

	4
	BTRCK
	345
	WEST

	5
	FSHSW
	345
	WEST

	6
	FLCNS
	345
	WEST

	7
	GRSES
	345
	WEST

	8
	JCKSW
	345
	WEST

	9
	MDLNE
	345
	WEST

	10
	MOSSW
	345
	WEST

	11
	MGSES
	345
	WEST

	12
	DCTM
	345
	WEST

	13
	ODEHV
	345
	WEST

	14
	OKLA
	345
	WEST

	15
	SARC
	345
	WEST

	16
	SWCOG
	345
	WEST

	17
	TWINBUTE
	345
	WEST


(2)
The West 345 kV Hub Price is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP West345
=

[image: image19.wmf]hb

S

(HUBDF hb, West345 * DAHBP hb, West345)

Where:

DAHBP hb, West345
=

[image: image20.wmf]b

S

(HBDF b, hb, West345 * DALMP b, hb, West345)
HUBDF hb, West345
=
IF(HB=0, 0, 1 / HB West345)
HBDF b, hb, West345
=
IF(B=0, 0, 1 / B hb, West345)
The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP West345
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, West345
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, West345
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, West345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, West345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB West345
	none
	The total number of Hub Buses in the Hub.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP West345
=

[image: image21.wmf]hb

S

(HUBDF hb, West345 * (
[image: image22.wmf]y

S

(RTHBP hb, West345, y * TLMP y) / (
[image: image23.wmf]y

S

TLMP y)))

Where:

RTHBP hb, West345, y
=

[image: image24.wmf]b

S

(HBDF b, hb, West345 * RTLMP b, hb, West345, y)

HUBDF hb, West345
=
IF(HB=0, 0, 1 / HB West345)
HBDF b, hb, West345
=
IF(B=0, 0, 1 / B hb, West345)
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP West345
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, West345, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, West345, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, West345
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, West345
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB West345
	none
	The total number of Hub Buses in the Hub with at least one energized component in each Hub Bus.


3.5.2.5
ERCOT Hub Average 345 kV Hub (ERCOT 345)

(1)
The ERCOT Hub Average 345 kV Hub price, for both Day-Ahead and Real-Time, is the simple average of four prices from the applicable time period: the North 345 kV Hub price, the South 345 kV Hub price, the Houston 345 kV Hub price, and the West 345 kV Hub price.

(2)
The Day-Ahead Settlement Point Price for the Hub “ERCOT 345” for a given Operating Hour is calculated as follows: 

DASPP ERCOT345
=
(DASPP North345 + DASPP South345 + DASPP Houston345 + DASPP West345) / 4

TXU Note: HBDF is not used in the calculation of the simple arithmetic average of the 4 Hub Settlement Point Prices; therefore the follow is deleted.





















The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP ERCOT345
	$/MWh
	Day-Ahead Settlement Point Price at ERCOT 345(The DAM Settlement Point Price at ERCOT 345 Hub for the hour.

	DASPP North345
	$/MWh
	Day-Ahead Settlement Point Price at North 345(The DAM Settlement Point Price at the North 345 Hub for the hour.

	DASPP South345
	$/MWh
	Day-Ahead Settlement Point Price at South 345(The DAM Settlement Point Price at the South 345 Hub for the hour.

	DASPP Houston345
	$/MWh
	Day-Ahead Settlement Point Price at Houston 345(The DAM Settlement Point Price at the Houston 345 Hub for the hour.

	DASPP West345
	$/MWh
	Day-Ahead Settlement Point Price at West 345(The DAM Settlement Point Price at the West 345 Hub for the hour.

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


(3)
The Real-Time Settlement Point Price for the Hub “ERCOT 345” for a given 15-minute Settlement Interval is calculated as follows: 

RTSPP ERCOT345
=
(RTSPP North345 + RTSPP South345 + RTSPP Houston345 + RTSPP West345) / 4


The above variables are defined as follows:

	Variable
	Unit
	Definition

	RTSPP ERCOT345
	$/MWh
	Real-Time Settlement Point Price at ERCOT 345(The Real-Time Settlement Point Price at ERCOT 345 Hub for the 15-minute Settlement Interval.

	RTSPP North345
	$/MWh
	Real-Time Settlement Point Price at North 345(The Real-Time Settlement Point Price at the North 345 Hub for the 15-minute Settlement Interval.

	RTSPP South345
	$/MWh
	Real-Time Settlement Point Price at South 345(The Real-Time Settlement Point Price at the South 345 Hub for the 15-minute Settlement Interval.

	RTSPP Houston345
	$/MWh
	Real-Time Settlement Point Price at Houston 345(The Real-Time Settlement Point Price at the Houston 345 Hub for the 15-minute Settlement Interval.

	RTSPP West345
	$/MWh
	Real-Time Settlement Point Price at West 345(The Real-Time Settlement Point Price at the West 345 Hub for the 15-minute Settlement Interval.


3.5.2.6
ERCOT Bus Average 345 kV Hub (ERCOT 345 Bus)

(1)
The ERCOT Bus Average 345 kV Hub is composed of the Hub Buses listed in Section 3.5.2.1, North 345 kV Hub (North 345); Section 3.5.2.2, South 345 kV Hub (South 345); Section 3.5.2.3, Houston 345 kV Hub (Houston 345); and Section 3.5.2.4,West 345 kV Hub (West 345).

(2)
The ERCOT Bus Average 345 kV Hub is the simple average of the Hub Bus prices for each hour of the Settlement Interval of the DAM in the Day-Ahead and is the simple average of the time weighted Hub Bus prices for each 15-minute Settlement Interval in Real-Time, for each Hub Bus included in this Hub.

(3)
The Day-Ahead Settlement Point Price of the Hub for a given Operating Hour is calculated as follows: 

DASPP ERCOT345Bus
=

[image: image25.wmf]hb

S

(HUBDF hb, ERCOT345Bus * DAHBP hb, ERCOT345Bus)

Where:

DAHBP hb, ERCOT345Bus
=

[image: image26.wmf]b

S

(HBDF b, hb, ERCOT345Bus * DALMP b, hb, ERCOT345Bus)
HUBDF hb, ERCOT345Bus
=
1 / (HB North345 + HB South345 + HB Houston345 + HB West345)

If Electrical Bus b is a component of “North 345”



HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, North345)
Otherwise



If Electrical Bus b is a component of “South 345”




HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, South345)
Otherwise




If Electrical Bus b is a component of “Houston 345”





HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, Houston345)
Otherwise





HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, West345)
The above variables are defined as follows:

	Variable
	Unit
	Definition

	DASPP ERCOT345Bus
	$/MWh
	Day-Ahead Settlement Point Price(The DAM Settlement Point Price at the Hub, for the hour.

	DAHBP hb, ERCOT345Bus
	$/MWh
	Day-Ahead Hub Bus Price at Hub Bus(The DAM energy price at Hub Bus hb for the hour.

	DALMP b, hb, ERCOT345Bus
	$/MWh
	Day-Ahead Locational Marginal Price at Electrical Bus of Hub Bus(The DAM LMP at Electrical Bus b that is a component of Hub Bus hb for the hour.

	HUBDF hb, ERCOT345Bus
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, ERCOT345Bus
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “North 345”.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “South 345”.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “Houston 345”.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “West 345”.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in “North 345”.

	HB South345
	none
	The total number of Hub Buses in “South 345”.

	HB Houston345
	none
	The total number of Hub Buses in “Houston 345”.

	HB West345
	none
	The total number of Hub Buses in “West 345”.


(4)
The Real-Time Settlement Point Price of the Hub for a given 15-minute Settlement Interval is calculated as follows:

RTSPP ERCOT345Bus
=

[image: image27.wmf]hb

S

(HUBDF hb, ERCOT345Bus * (
[image: image28.wmf]y

S

(RTHBP hb, ERCOT345Bus, y * TLMP y) / (
[image: image29.wmf]y

S

TLMP y)))

Where:

RTHBP hb, ERCOT345Bus, y
=

[image: image30.wmf]b

S

(HBDF b, hb, ERCOT345Bus * RTLMP b, hb, ERCOT345Bus, y)

HUBDF hb, ERCOT345Bus
=
1 / (HB North345 + HB South345 + HB Houston345 + HB West345)

If Electrical Bus b is a component of “North 345”



HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, North345)
Otherwise



If Electrical Bus b is a component of “South 345”




HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, South345)
Otherwise




If Electrical Bus b is a component of “Houston 345”





HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, Houston345)
Otherwise





HBDF b, hb, ERCOT345Bus
=
IF(B=0, 0, 1 / B hb, West345)
The above variables are defined as follows:

	Variable
	Unit
	Description

	RTSPP ERCOT345Bus
	$/MWh
	Real-Time Settlement Point Price(The Real-Time Settlement Point Price at the Hub, for the 15-minute Settlement Interval.

	RTHBP hb, ERCOT345Bus, y
	$/MWh
	Real-Time Hub Bus Price at Hub Bus per SCED interval(The Real-Time energy price at Hub Bus hb for the SCED interval y.

	RTLMP b, hb, ERCOT345Bus, y
	$/MWh
	Real-Time Locational Marginal Price at Electrical Bus of Hub Bus per interval(The Real-Time LMP at Electrical Bus b that is a component of Hub Bus hb, for the SCED interval y.

	TLMP y
	second
	Duration of SCED interval per interval(The duration of the portion of the SCED interval y within the 15-minute Settlement Interval

	HUBDF hb, ERCOT345Bus
	none
	Hub Distribution Factor per Hub Bus(The distribution factor of Hub Bus hb.  

	HBDF b, hb, ERCOT345Bus
	none
	Hub Bus Distribution Factor per Electrical Bus of Hub Bus(The distribution factor of Electrical Bus b that is a component of Hub Bus hb.  

	y
	none
	A SCED interval in the 15-minute Settlement Interval.  The summation is over the total number of SCED runs that cover the 15-minute Settlement Interval.

	b
	none
	An energized Electrical Bus that is a component of a Hub Bus.

	B hb, North345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “North 345”.

	B hb, South345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “South 345”.

	B hb, Houston345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “Houston 345”.

	B hb, West345
	none
	The total number of energized Electrical Buses in Hub Bus hb that is a component of “West 345”.

	hb
	none
	A Hub Bus that is a component of the Hub.

	HB North345
	none
	The total number of Hub Buses in “North 345”.

	HB South345
	none
	The total number of Hub Buses in “South 345”.

	HB Houston345
	none
	The total number of Hub Buses in “Houston 345”.

	HB West345
	none
	The total number of Hub Buses in “West 345”.


Comments_TXUReliant_NPRR_Hub_Clarification_updated.docComments_TXUReliant_NPRR_Hub_Clarification_updated.doc







Page 







Page 13 of  of 21

_1218369990.unknown

_1218369998.unknown

_1218370003.unknown

_1218370007.unknown

_1218370009.unknown

_1218370011.unknown

_1218370012.unknown

_1218370013.unknown

_1218370010.unknown

_1218370008.unknown

_1218370005.unknown

_1218370006.unknown

_1218370004.unknown

_1218370000.unknown

_1218370002.unknown

_1218369999.unknown

_1218369994.unknown

_1218369996.unknown

_1218369997.unknown

_1218369995.unknown

_1218369992.unknown

_1218369993.unknown

_1218369991.unknown

_1218369985.unknown

_1218369987.unknown

_1218369989.unknown

_1218369986.unknown

_1218369983.unknown

_1218369984.unknown

_1218369982.unknown

