MMS Design: Clarification Requested.

- SCED Timestamp:

Current design has the SCED timestamp set to the wall clock time when SCED execution starts – i.e. the time when the latest telemetry, offers, generation to be dispatched is input to the SCED process.

Should SCED time stamp to be the wall clock time at the completion of SCED run? i.e. The time when Base Point becomes effective (the time stamp used for Real Time Settlement Point Price Calculation, Base Point deviation charge calculation, time stamp telemetered to QSE etc)

- NPRR005: Impact on DAM: Reallocation of MCFRI in the Day Ahead Market Process.

Please see attached document “Reallocation of MCFRI in DAM.doc”

- Modeling of interruptible loads.

Description of issue:

The protocol assigns loads the parameters Minimum and Maximum Interruption Time and Minimum restoration time. These items refer to how long we can interrupt load  in case of an event.. The current modeling requires that loads would need to be online to supply online reserve and offline to supply offline reserve. 

The load parameters refer to when reserve is being procured. They are interpreted to be:

- Minimum restoration time (MNRT) : Minimum time when reserve is NOT being scheduled.

- Minimum interruption time (MNIT) : Minimum time when reserve is being scheduled.

Maximum interruption time (MXIT) : Maximum time when reserve is being scheduled. 

Thus if MNRT = 5, MNIT = 3, MXIT = 6, then load can be scheduled to provide reserve as follows: 

Hour:     1  2  3  4  5  6  7  8  9 10 11 12 13 14 15 16 17 18 19 20 21 22 23 24 
Sched:  -   -   -  X  X  X  X  X  X  -  -  -  -  -  -  X  X  X  X  X  -  -  -  - 

where "X" indicates hour when reserve is scheduled.  The current modeling would not allow us to schedule reserve from hours 4 through 20. 

Clarifications requested:

- The first issue we have is what is the meaning of Offline reserve from a load.  Should that be allowed? Should load be allowed to submit a status as Offline?

- The second issue is does ERCOT want the scheduling of reserve from load to obey these parameters, For the above example, should we allow reserve to be  scheduled for all the hours 4 through 20 and interpret the parameters as instructions to the operator for cases when the reserve is actually be deployed and not as parameters for the optimization program as to when reserve can be scheduled. Should Load Parameters such as Max/Min Interruption Time, which are real time parameters, be enforced in procurement (DAM/SASM)?

- Modeling of weekly energy constraints (RUC):

Clarifications requested:

- The Maximum weekly starts/energy are only used for the weekly RUC problem.  The weekly RUC would also observe the daily startup constraints.

- Add a Maximum Daily Energy constraint in Resource Parameter if needed (need Protocols change).

- Market Participants can submit and update the Maximum daily starts/energy on daily basis, i.e. MPs manage the daily constraints by themselves.

- DRUC will enforce the maximum daily startup/energy constraints and will not enforce the weekly startup/energy constraints.

- HRUC will enforce the maximum daily startup/energy constraints and will not enforce the weekly startup/energy constraints. For HRUC, for the study period of the current Operating Day, the left over of daily startup/energy constraints from current Operating Day will be used; for the study period of the next Operating Day, the daily startup/energy constraints will be used.

- DSR Output Schedule Validation in Real Time:

Please see attached document “RT issue Output Schedule_DSR OS Validation_V1.doc”

- NPRR for SURAMP :This was missed in NPRR049.

Please find attached the draft NPRR for updating SURAMP. The previous NPRR for TPTF approved white paper is NPRR049

http://nodal.ercot.com/protocols/nprr/049/keydocs/049NPRR-01%20Generation%20Subsystem%20Changes%20to%20Incorporate%20Appro.doc

http://nodal.ercot.com/protocols/nprr/049/index.html