DSR Output Schedule Validation in Real Time

Protocol Reference:

Protocol Section 6.4.2.2 (2 d) says that “After the DSR is no longer dispatched to a Base Point other than its Output Schedule, the 15 MW or 15% limit, whichever is greater, under paragraph (3) Section 6.4.2.3, Output Schedule Criteria, does not apply to the DSR until four consecutive, complete 15-minute Settlement Intervals have occurred after the DSR is no longer dispatched to a Base Point other than its Output Schedule.”

Protocol Section 6.4.2.3 (3) says that “For a QSE representing one or more Dynamically Scheduled Resources, the sum of all Output Schedules (excluding Ancillary Services Energy deployments, energy deployed through Dispatch Instructions, and Energy Trades) for the QSE must be within 15% or 15 MW (whichever is greater) of the aggregate telemetered DSR Load”

When is it done?

When a DSR is dispatched to a Base Point other than its Output Schedule the QSE should

(1) follow the Base Point and

(2) keep updating the Output Schedule to meet DSR Load irrespective of the Base Point amount.

Since the Output Schedule is not going to be changed based on the Base Point, the Real- Time DSR Output Schedule validation will be done even if the QSE is dispatched to a Base Point other than the Output Schedule. i.e. The validation will be done for all DSR resources every time SCED runs.

How is it done?

Protocol Section 6.5.7.6.2.3 requires DSR QSE to update Output Schedule of DSR when Non-Spin is deployed. DSRQSE can purchase energy to meet the DSR Load or sell energy from the DSR Generation Resource. The DSR Generation Resource also has to follow the QSE’s DSR Load. i.e. The submitted Output Schedule for the QSE’s DSRs should account for the Non-Spin deployment from the DSRs, Energy Trades for the DSRs and DSR Load.

The error in the submitted Output Schedule is

- Sum of Output Schedule for the QSE

- – S um of Non-Spin deployment from the DSR Resource of the QSE

- – Sum of Energy Trades sold by the QSE for DSR

- + Sum of Energy Trades purchase by the QSE for DSR

- – QSE’s DSR Load

The Real Time DSR Output Schedule is valid if Absolute of the error is less than be 15% or 15MW (whichever is greater) of the aggregate telemetered DSR Load;

I.e. Output Schedule(OS) is valid if

ABS(Net OS – Net Non-Spin – Net Energy trade sold + Net Energy Trade purchased  - Net DSR load )<= Maximum (15 MW, 0.15 * DSR Load)

Changes to current design

A QSE can have DSR as well as non-DSR Generation Resource. But the Energy Trade is submitted at a QSE level. For ERCOT to find out the net Energy Trade done for the DSR Generation Resource, some indication has to be given by the QSE that a particular Energy Trade is for DSR and not for Non-DSR Generation Resource. Hence a check box will be added to the Energy Trade MPI for the QSE to specify whether the Energy Trade is for a DSR Generation Resource or not. i.e.  When DSR QSE is submitting an Energy Trade, it should indicate whether the Energy Trade is for a DSR Resource or not.